Testing, Inspection and Marking Requirements for Cylinders

Justification    #2137-0022

- Circumstances that make the collection necessary.

Summary:

This is a request for a revision of a currently approved information collection under OMB No. 2137-0022 for testing, inspection and marking information collection and recordkeeping requirements for cylinders (Expiration date: August 31, 2008).  This for a revision of a currently approved information collection is being submitted at this time due to the August 29, 2006, publication of the HM-220F Final Rule (71 FR 51122) which increases the information collection burden.

Background:

The Pipeline and Hazardous Materials Safety Administration (PHMSA) submitted an information collection package under Docket HM-220F, “Hazardous Materials: Aluminum Cylinders Manufactured of Aluminum Alloy 6351-T6 Used in SCUBA, SCBA, and Oxygen Service - Revised Requalification and Use Criteria,” Notice of Proposed Rulemaking (NPRM) (published in the Federal Register on September 10, 2003)(68 FR 53314)) to the Office of Management and Budget (OMB) on September 10, 2003, that would have increased the information collection burden.  That information collection was rejected by OMB on October 27, 2003, pending an NPRM comment review regarding information collections, and re-submittal of the information collection at the final rule stage.  One (1) information collection-related comment was received by PHMSA in response to the NPRM.  A comment review was completed by PHMSA and submitted to OMB on March 19, 2004, and is attached to this current information collection package submittal.  The HM-220F rulemaking was subsequently placed on hold until further notice.  However, an information collection reflecting the pre-HM-220F additional burden was submitted to OMB in 2005 due to an upcoming expiration date of September 30, 2005.  That information collection was approved by OMB and assigned an expiration date of August 31, 2008.

The HM-220F rulemaking has been removed from hold status; a Final Rule was published in the Federal Register on August 29, 2006 (71 FR 51122), and is attached to this information collection package.  This current information collection is being re-submitted per the aforementioned OMB instructions.

In the HM-220F NPRM, PHMSA proposed to amend the Hazardous Materials Regulations (HMR; Parts171-180) (HMR) applicable to DOT 3AL aluminum cylinders that are manufactured of aluminum alloy 6351-T6.

The purpose of the HM-220F rulemaking initiative is to minimize personal injury and property damage during the cylinder filling process and to adopt a standard for early detection of sustained load cracking (SLC) to reduce the risk of a cylinder rupture.  The revisions to this information collection as adopted in the final rule increase the burden and cost.  In addition, the burden hours have been revised to correct mathematical errors discovered during review of this information collection.  The specific revisions are discussed in the narrative in item 2 below. These information collection requirements document qualifications, inspections and tests pertaining to the manufacture and use of cylinders under various provisions in Parts 173 and 178 of the HMR.  The information is needed to ascertain whether cylinders have been inspected and re-qualified in accordance with the HMR.  For example, cylinders are required to be periodically inspected and re-qualified to ensure continuing compliance with the packaging standards.

Information collection requirements also address registration of manufacturers, re-qualifiers and repairers, and marking of cylinders by re-qualifiers and re-certifiers.  The information is used to verify that cylinders meet required manufacturing standards prior to being authorized for initial use, and once manufactured, the cylinders are maintained and used in compliance with applicable requirements of the HMR as safe packagings for hazardous materials. This information collection supports the Departmental Strategic Goal for Safety. Copies of applicable sections are at Attachment I.  The HMR are promulgated in accordance with U.S.C. 5110, the Federal hazardous materials transportation law.

2.	How, by whom, and for what purpose the information is to be used.

HM-220F Final Rule changes:

This final rule revises the HMR to address a known safety problem with cylinders manufactured of 6351-T6 aluminum alloy by requiring these cylinders manufactured and used in SCUBA (diving), SCBA (firefighting), and oxygen service to undergo a specific technique of a Non-destructive Examination (NDE) at the time of the required five-year periodic re-qualification.  This NDE to be used will be an Eddy Current Testing (ET), combined with a Visual Inspection (VI), collectively referred to as a Visual Examination (VE).  To minimize personal injury and property damage, we are requiring suitable safeguards must be provided to protect personnel and facilities should failure occur during the filling of cylinders manufactured of Aluminum Alloy 6351-T6 used in Self-Contained Underwater Breathing Apparatus (SCUBA).

The various information collection and recordkeeping requirements, purpose and use as found in § 173.34 and Part 178 - Applicability and Responsibility and Subpart C - Specifications for Cylinders are as follows:

Legibility of Cylinder Markings:  Each required marking on a cylinder must be maintained so that it is legible.  Retest markings and original markings which are becoming illegible may be reproduced by stamping on a metal plate which must be permanently secured to the cylinder.

MANUFACTURE OF CYLINDERS - PART 178

Specification Marking:  The packaging identification markings required by Part 178 including, where applicable, the name and address or symbol of the packaging manufacturer or approval agency.

Except for marked service pressure, markings required on cylinders may not be altered or removed.  The marked service pressure may be changed through application to PHMSA and receipt of written instructions applicable to the procedure to be followed, §§ 178.2 and 178.3 - Each packaging represented as manufactured to a DOT specification or a UN standard must be marked with specification markings conforming to the applicable specifications.  The marking certifies that all requirements of the DOT specification or UN standard, including performance tests have been met and that all functions performed by, or on behalf of, the person whose name or symbol appears as part of the marking conform to the all specified requirements.  A packaging not conforming to the applicable specifications or standards may not be marked.

Notification:  Except as specifically provided in §§ 178.337-18 and 178.345-10 of Part 178, the manufacturer or other person certifying compliance with the requirements of Part 178, and each subsequent distributor of that packaging shall:

Notify in writing each person to whom that packaging is transferred;

(a)	All requirements not met at the time of transfer and

(b)	Type and dimensions of any closures, including gaskets, needed to satisfy performance test requirements.

(c)	Retain copies of each written notification for at least one year from date of issuance, and make copies of all written notifications available for inspection.

The following section in Part 178 requires that cylinders be marked:

§ 178.35(f).

Inspectors Report Retention:  An inspector determines that all materials are in compliance with the specification requirements in Part 178 for that specific cylinder.  After completion of the inspection, an inspector must determine that each cylinder is marked in compliance with the specification and furnish complete test reports to the maker of the cylinder, and upon request, to the purchaser.  The inspector's report must be retained by the inspector and the manufacturer for 15 years from the original test date or the authorized service life of the cylinder.

The following sections in Part 178 require inspectors and manufacturers to comply with the statement above:

§§ 178.35(g)(h), 178.44(s), 178.45(n), 178.46(m), 178.47(p), 178.57(q), 178.59(n), 178.60(r), 178.61(p), and 178.68(n).

REQUALIFICATION OF CYLINDERS (§ 173.34)

No person may represent that he has retested a DOT specification cylinder under this section, by marking the cylinder with a test date or by any other means unless that person holds a current retester's identification number issued by PHMSA.  Each required marking on a cylinder must be maintained so that it is legible.  Original and retest markings which are becoming illegible may be reproduced by stamping on a metal plate which must be permanently secured to the cylinder.

No cylinder required to be retested may be used for the transportation of a hazardous material unless it has been retested successfully and the retester has marked the cylinder by stamping the cylinder retester identification number and date of retest plainly and permanently into the metal of the cylinder or on a metal plate which must be permanently secured to the cylinder.

Retester Application:  Any person seeking approval as a cylinder retester shall apply to an independent inspection agency, approved by PHMSA pursuant to § 173.300a, for inspection of its retest facility.  The applicant shall bear the cost of the inspection.  A list of approved independent inspection agencies is available from the Associate Administrator for Hazardous Materials Safety, Office of Hazardous Materials Special Permits and Approvals (DHM-32), Pipeline and Hazardous Materials Administration, U.S. Department of Transportation, Washington, DC  20590-0001.

(a)	After the inspection, the person seeking approval must submit a letter of recommendation and inspection report from the independent inspection agency and a completed approval application to the Associate Administrator.

(b)	The Association Administrator reviews the application, the inspection report and recommendation submitted by the independent inspection agency, and other available information.  The Associate Administrator issues a Retester Identification Number (RIN) if it finds that the applicant's facility and qualifications are adequate to properly inspect, test and mark cylinders under this section.  Unless otherwise provided in the RIN issuance letter, a RIN expires five years from the date of issuance.

The retester shall apply for RIN renewal in a timely manner.  An inspection report and a recommendation of an independent inspection agency are required for renewal.  If the Associate Administrator receives a renewal application at least 50 days before expiration of the RIN, the RIN will remain in effect until the Associate Administrator issues the renewal or notifies the retester that the RIN will not be reissued.

A current RIN remains valid provided the retester's facility and qualifications are maintained at or above the level observed at the time of inspection by the independent inspection agency.  The RIN holder shall report in writing any change in name, address, ownership or management of the holder; personnel performing any function under this section; or testing equipment to the Associate Administrator for Hazardous Materials Safety, Office of Hazardous Materials Special Permits and Approvals (DHM-32), Pipeline and Hazardous Materials Administration, U.S. Department of Transportation, Washington, DC  20590-0001 within 20 days of the change.

Recordkeeping:  A retester shall maintain, at each location at which it inspects, retests or marks cylinders under this section, current copies of:

(a)	Those portions of this subchapter that apply to its cylinder inspection, retesting and marking activities at that location.

(b)	All exemptions governing exemption cylinders inspected, retested, or marked by the retester at that location.

(c)	Each CGA publication incorporated by reference in § 171.7 of this subchapter that applies to the retester's cylinder inspection, retesting and marking activities that location.

The following records must be maintained, on paper or in a form from which a paper copy can be produced on request.

(a)	Records of authority to inspect, retest, and mark must be maintained, as follows:

(1)	Current RIN issuance letter;

(2)	If the RIN has expired and renewal is pending, a copy of the renewal application; and

(3)	Copies of notifications to PHMSA of retest personnel and equipment changes.

(4)	Daily records of visual inspection and hydrostatic retest must be maintained in chronological order for five years.  These records must include:

For each test to demonstrate calibration, the date; serial number of the calibrated cylinder; calibration test pressure; total, elastic and permanent expansions; and legible identification of retest operator.  Calibrations must be recorded on the same sheets as, and in chronological order with, retest records for that date.

(b)	For each cylinder retested or visually inspected, records containing the date; serial number; ICC/DOT specification or exemption number; service pressure; dimensions; manufacturer(name or symbol); owner; result of visual inspection; test pressure; total, elastic and permanent expansions; percent permanent expansion; disposition, with reason for retest, rejection or condemnation; and legible identification of test operator.  For each cylinder marked pursuant to

§ 173.302(c)(5), the retest sheet must indicate the method by which average and maximum wall stresses were computed.  Records must be kept for all completed retests, as well as unsuccessful retests.  The entry for a later retest when performed after a cylinder fails to hold test pressure, or retest of a cylinder re-qualified after rejection, must indicate the date of the earlier inspection or retest; and

(c)	Calculations of average and maximum wall stress pursuant to § 173.302(c)(3), if performed.

(d)	The most recent certificate of calibration must be maintained for each calibrated cylinder used by the retester.

Cylinders made in compliance with certain specifications in the table in § 173.34(e)(10) and used exclusively in the service indicated may, in lieu of the periodic hydrostatic retest, be given a complete external visual inspection at the time such periodic retest becomes due.  External visual inspection as described in the applicable CGA Pamphlet will, in addition to the following requirements, meet the requirements for visual inspection.

When this inspection is used in lieu of hydrostatic retesting, subsequent inspections are required.  Inspections will be made only by competent persons and results will be recorded on a suitable data sheet, the completed copies to be kept by the owner or his authorized agent until either expiration of the retest period or until the cylinder is again re-inspected or retested, whichever occurs first.

The points to be recorded and checked on these data sheets are:  date of inspection (month and year; DOT specification number; cylinders identification (registered symbol and serial number; cylinders identification (registered symbol and serial number, date of manufacture, and ownership symbol (if needed for adequate identification); type cylinder protective coating (painted, etc., and statement as to need of refinishing or recoating); conditions checked (leakage, corrosion, gouges, dents or digs in shell or heads, broken or damaged footring or protective ring or fire damage); disposition of cylinders (returned to service, to cylinder manufacturer for repairs or scrapped); a cylinder which passes the inspection prescribed shall have the date recorded in the manner presently prescribed for the recording of the retest date, except that an "E" is to follow the date (month and year) indicating re-qualification by the external inspection method.

Cylinder markings:  Each cylinder passing retest must be marked with the cylinder retester's identification number set in a square pattern, between the month and year of the retest date in characters not less than 1/8" high with the first character occupying the upper left corner of the square pattern.  The second character must in the upper right, the third in the lower right and the fourth in the lower left.  For example, a cylinder retested May 1984 and approved by a retester who has been issued identification number A123 would be stamped:

A	1

5			84

3	2

Variations from the marking requirements may be permitted upon written request to, and approval from, PHMSA.  Stamping must be in accordance with the location requirements of the cylinder specification.  Date of previous tests must not be obliterated.  Cylinders which are subject to the modified hydrostatic test only are not required to be marked with a retester's identification number.

Most cylinders must be subjected, at least once in five years, to a test by hydrostatic pressure in a water jacket for the determination of the expansion of the cylinder.  A cylinder must be condemned if the elastic expansion exceeds the marked rejection elastic expansion.

A particular cylinder (DOT-3HT) must be condemned if there is any evidence of any denting or bulging.  A cylinder must be condemned at the termination of a 24-year period following the date of the original test or after 4,380 pressurizations whichever occurs first.  If a cylinder is recharged more than an average of once every other day, an accurate record of the number of re-chargings must be maintained by its owner, or his agent.  Retest dates shall be applied by low stress type steel stamping to a depth no greater than that of the original marking at the time of manufacture.

Condemned markings:  A cylinder that is condemned may not be filled with hazardous material for transportation in commerce where use of a specification packaging is required and may not be marked as meeting the requirements of this section or any DOT exemption.  When a cylinder is required to be condemned, the retester must stamp a series of X's over the DOT specification number and marked service pressure, must stamp "CONDEMNED" on the shoulder, top head, or neck using a steel stamp and must notify the cylinder owner, in writing, that the cylinder is condemned and may not be filled with hazardous material for transportation in commerce where use of a specification packaging is required.  Alternatively, at the direction of the owner, the retester may render the cylinder incapable of holding pressure.  No person may remove or obliterate the "CONDEMNED" marking.

A cylinder made in compliance with DOT-3A specification or 3AA, not exceeding 125 pounds water capacity, currently in compliance with listed requirements and stamped with a five pointed star at least one-fourth of an inch high following the test date.  If at any time a cylinder marked with the star is used other than as specified, the star following the most recent test date is obliterated and subsequent tests are made every 5 years.

A cylinder that previously contained a commodity classified as a "Class 8" must not be used for the transportation of any compressed gas unless the listed requirements are complied with.  In addition to records showing the result of re-inspection and retest being kept by the owner or his authorized agent until either expiration of the retest period or until the cylinder is again re-inspected or retested, whichever occurs first, the record of the inspection and test shall include the date (month and year) of the inspection and test; the cylinder identification (including ICC or DOT specification number, registered symbol, serial number, date of manufacture, and ownership symbol); the conditions checked (leakage, corrosion, gouges, dents, or digs in shell heads, broken or damaged footrings, or fire damage) and the disposition on the cylinder (returned to service, returned to the manufacturer for repairs, or scrapped).

An acetylene cylinder must be re-qualified by a person who holds a valid retester's identification number.  Each cylinder successfully passing a shell or filler re-qualification must be marked with the retester's identification number.  In addition, the cylinder must be appropriately marked to identify the type of re-qualification performed in accordance with paragraph 4.8 of CGA Pamphlet C-13.  For example, the letter "S" shall be used for a shell re-qualification and the letter "F" for a porous filler re-qualification.

Fire extinguishers in compliance with § 173.309 are authorized to be retested in accordance with § 173.34(e) if using the modified hydrostatic test method.  The cylinder must be marked with the date of the rests (month and year) followed by the letter "S".

Reheat treatment:  Previous to the reheat treatment procedure, each cylinder must be subjected to a careful internal and external inspection.  The cylinders must be segregated for reheat treatment in lots of 100 or less cylinders of the same general size having practically the same chemical composition.  The reheat treatment must be carried out, supervised and reported as prescribed for the heat treatment in the specification in Part 178 covering the manufacture of the cylinder in question.  Data from the original reports of manufacture of the cylinders must be available.

The reheat treatment must be followed by hydrostatic retest, such retest to be carried out, supervised and reported and prescribed for the hydrostatic test (as discussed above) in the specification covering the manufacture of the cylinder in question.  Repair by welding or brazing of specification DOT 3A, 3AA, 3B, 3C cylinders, but only for the removal and replacement of neckrings and footrings attached to cylinders originally manufactured to conform to § 178.36(e), 178.37(e), 178.38(e),  whichever applies.  Replacement must be followed by reheat treating, testing, inspection, and supervised and reported as prescribed by the specification covering their original manufacture.

Repaired and rebuilt cylinders:  Inspectors reports must conform to that required by the specification covering original manufacture with the word "repaired" substituted for "manufactured."  Original markings are shown and new additional markings added and statement:  "Cylinders were carefully inspected for defects after removal of neckrings and after replacement when replacement was made by process of welding-brazing)".

Rebuilt DOT 4 and DOT 8 welded or brazed cylinders - Such rebuilding must be done by a manufacturer of these types of cylinders or a repair facility approved by PHMSA, and by a process similar to that used in its original manufacture and under the following specific requirements:

(1)	The replacement of a pressure part such as wall, heads, or bottoms of cylinders or the replacement of the porous filling material shall be considered rebuilding;

(2)	Rebuilt cylinders shall be considered as new cylinders and conform to all requirements of the specifications applying, including verification of material, examination, inspection, etc., and the rendering of the proper reports to the purchaser, cylinder rebuilder, and PHMSA.  The report must show that cylinders were rebuilt;

(3)	Information in sufficient detail regarding previous serial numbers and identification symbols must be filed with PHMSA.

The various information collection and recordkeeping requirements, purposed and used as found in § 173.301of Part 173, Subpart G - Gases; Preparation and Packaging; and sections 180.205, 180.209, 180.211, 180.213, and 180.215 of Part 180, Subpart C - Qualification, Maintenance and Use of Cylinders and Part 178, Subpart C - Specifications for Cylinders.

The current requalification functions include a visual inspection and a volumetric expansion test.   Pressure tests, repairs, and rebuilding approval are existing requirements.  The information collection for these persons does not change.

3.	Consideration of improved information technology.

The information required is particular and unique.  Industry may use any type of technology to meet information collection and recordkeeping requirements as long as it is retrievable when requested.  PHMSA encourages the use of automated technology to reduce burden.

The Government Paperwork Elimination Act directs agencies to allow the option of electronic filing and recordkeeping by October 2003, when practicable.  Electronic filing and recordkeeping for tests for manufacture and inspection of cylinders is authorized; however, we do not require these records to be submitted to us, so this is not applicable.

4.	Efforts to identify duplication.

There is no duplication, as the information requested is not required by any other source.  Each response is unique and information derived from one source may not be obtained from another.

5.	Methods used to minimize burden on small businesses or other small entities.

Because this information is unique, similar information is unavailable.  However, the collection of this information is reviewed periodically to ensure that the requirements involving safety in the transportation of hazardous materials are kept to the necessary standards to protect all involved.

6.	Consequences to Federal program or policy activities if this information were conducted less frequently.

Due to the hazards involved in transporting cylinders, if collection of information or recordkeeping was required less frequently, the hazards to the public safety would increase due to the probability of incidents during transportation.

7.	Special circumstances affecting conduct of information collection activity.

This collection of information is generally conducted in a manner consistent with the guidelines in 5 CFR 1320.5(d)(2) with the following qualifications:

a.	Length of time between tests and inspections and results of prior tests that must be kept until the next re-qualification.

b.	Tests that must be made every time a cylinder is recharged or when there is evidence of damage or corrosion and records maintained of re-qualification results.

c.	Tests that must be made after repairs to verify integrity of repaired cylinders and records maintained to verify repairs.

8.	Efforts to consult with persons outside the agency to obtain their views.

This is a request for a renewal with change for a current approval under OMB No. 2137-0022 for testing, inspection, and marking information collection and recordkeeping requirements for cylinders.

The Pipeline and Hazardous Materials Safety Administration (PHMSA) submitted an information collection package under Docket HM-220F, “Hazardous Materials: Aluminum Cylinders Manufactured of Aluminum Alloy 6351-T6 Used in SCUBA, SCBA, and Oxygen Service - Revised Requalification and Use Criteria,” Notice of Proposed Rulemaking (NPRM) to the Office of Management and Budget (OMB) on September 10, 2003, that would have increased the information collection burden.  That information collection was rejected by OMB on October 27, 2003, pending an NPRM comment review regarding information collections, and re-submittal of the information collection at the final rule stage.  One (1) information collection-related comment was received by PHMSA in response to the NPRM.  A comment review was completed by PHMSA and submitted to OMB on March 19, 2004, and is attached to this current information collection package submittal.  The HM-220F rulemaking was subsequently placed on hold, but was removed from this status and was published in the Federal Register on August 29, 2006, as a final rule (71 FR 51122).

A Supplemental Notice of Proposed Rulemaking (SNPRM) was published in the Federal Register on October 26, 2005 (70 FR 61762).  The comment period closed on December 27, 2005.  No comments were received.

A 30-day Federal Register notice requesting comments on the renewal of this current information collection was published in the Federal Register on June 28, 2005 (70 FR 37149).  The comment period closed on July 28, 2005.  No comments were received.

A 60-day Federal Register notice requesting comments on the renewal of this current information collection was published on April 14, 2005 (70 FR 19837).  The comment period closed on June 13, 2005.  One comment was received in response to this request that was not germane to this information collection.

9.	Explanation of decision to provide any payment or gift to respondents.

There is no payment or gift provided to respondents associated with this collection of information.

10.	Assurance of confidentiality provided to respondents.

None of the data collected contain personally identifiable information (PII) or business confidential information. Therefore, no guarantees of confidentiality are provided to applicants.

11.	Additional information for questions of a sensitive nature.

Not applicable. Information is not of a sensitive nature.

12.	Estimates of current burden for collection of information.

This information collection has been revised to reflect corrected mathematical errors discovered during the review of this information collection, and to incorporate new information collections requirements resulting from the HM-220F final rule.

Estimate of annual burden:	133,333 hours (HM-220F)

+ 138,128 hours (corrected)

= 271,461 total burden hours.

Estimate of first-year start-up costs:  $964,000.

Estimate of total annualized cost:	$1,800,000 (HM-220F)

+ $814,396 (corrected)

= $2,614,396.

HM-220F Final Rule Changes

Approximately 800 persons and 4,000,000 cylinders will be affected by this final rule each year (once every 5 years) at the time of requalification.  It will take approximately 10 minutes to perform the ET on aluminum cylinders manufactured of 6351-T6 aluminum alloy. Therefore, we estimate the annual burden hours for the HM-220F final rule as follows:

4,000,000 cylinders x 10 minutes = 40,000000 minutes, divided by 60/ hour = 666,666, divided by 5 years = 133,333 hours.

We estimate that the annual cost of the additional ET will be $0.45 per cylinder. The average cost of ET is the annual cost per cylinder ($.45) multiplied by the number of cylinders (4,000,000), or $1,800,000.

We also estimate a one-time start-up cost for new equipment of approximately $1,205 per respondent. $1,205 x 800 respondents = $964,000 first-year total start-up costs.

Current Burden Hours (Corrected)

Current burden hours have been revised to correct mathematical errors discovered during

review of this information collection.

Corrected Estimate of Annual Burden Hours: 138,128 hours (417 + 792 + 180 + 1,666 + 360 + 30 + 133,333 + 100 + 1,250).

The respondent's hour burden is estimated as follows:

2,000,000 cylinders requalified annually by 1,975 respondents with each cylinder taking approximately 0.75 seconds to stamp identification number and requalification date.

2,000,000 cylinders x 0.75 seconds = 1,500,000 seconds, divided by 60 seconds / minute = 25,000 minutes, divided by 60 minutes / hour = 417 hours.

The annual information collection burden for this requirement is 417 hours.

An average of 66 applications for a cylinder identification number are received each month for an annual total of 792 applications.  Each application will take approximately one hour.

66 applications / month x 12 months x 1 hour / application = 792.

The annual information collection burden for this application is 792 hours.

An average of two requests for approval of rebuilding facilities are received annually.  These requests will take an average of 10 hours each to complete.  Recordkeeping for each request will take approximately 80 hours for cylinder rebuilding facilities.

(2 requests / year x 10 hours / request) + (2 requests / year x 80 hours / request) =

20 + 160 = 180 hours.

The total information collection burden for this approval request is 180 hours.

Approximately 500 cylinder owners will each annually requalify an average of 10 cylinders that contained corrosive liquid.  This is an annual total of 5,000 cylinders.  Each cylinder will take approximately 20 minutes to requalify, inspect, and record test results.

500 owners x 10 cylinders = 5,000 cylinders x 20 minutes / cylinder = 100,000 minutes, divided by 60 minutes / hour = 1,666 hours.

The annual information collection burden for requalification is 1,666 hours.

The average burden for maintaining an accurate record of the number of cylinders recharged more than once every other day is 360 hours.  This is arrived at as follows:  100 user-owners, airlines and private aircraft operators will recharge these cylinders an average of 108 times per year.  It will take approximately two minutes to note this on a log.

100 owners x 108 recharges = 10,800 x 2 minutes = 21,600 minutes, divided by

60 minutes / hour = 360 hours.

The total annual information collection burden and recordkeeping burden of cylinders recharged more than once every other day is 360 hours.

An average of 10 requests to change marked service pressure is received annually.  The request takes approximately three hours to complete.

10 requests x 3 hours / request = 30 hours.

The annual information collection burden for this request is 30 hours.

The general hydrostatic retest and visual inspection requirements for all cylinders and related recordkeeping requirements will involve retesting or inspecting approximately 2,000,000 cylinders annually with records maintained by approximately 100,000 cylinder owners.  These recordkeeping requirements will take approximately 4.0 minutes based on the following:

Internal visual inspection	40 seconds

Pressurization			20 seconds

External visual inspection

and holding time		60 seconds

Pressure release			30 seconds

Checking data sheet	      	90 seconds

240 seconds or 4.0 minutes

2,000,000 cylinders x 4.0 minutes, divided by 60 minutes / hour = 133,333

burden hours.

The total annual information collection and recordkeeping burden is 133,333

hours.

Approximately 300 cylinders will be repaired by welding or brazing annually.  Each report, due to welding or brazing time will take approximately 20 minutes to prepare.

300 cylinders x 20 minutes / cylinder = 6,000 minutes, divided by 60 minutes / hour = 100.

The annual recordkeeping burden for this activity is 100 hours.

Approximately 100 processors of acetylene will each test approximately 500 cylinders annually for an annual total of 50,000 cylinders tested.  Each test will take approximately 1.5 minutes.

100 processors x 500 cylinders = 50,000 cylinders x 1.5 minutes / cylinder = 75,000 minutes, divided by 60 / hour = 1,250.

The annual recordkeeping burden is 1,250 hours.

Current Burden Costs (Corrected)

Estimate of annual cost for burden hours: $1,800,000 (HM-220F) + $814,396 (corrected current cost) = $2,614,396.

Current burden costs for burden hours have been revised to correct mathematical errors discovered during review of this information collection.

Corrected Estimate of Annual Burden Costs: $814,396 ($124,170 + $405.780 + $66 +

$416 + $64 + $640 + $25,000 + $5,760 + $2,500 + $250,000)

Cylinder requalification - Approximately 2,000 dies each costing an average of $60.  2,000 x $60 = $120,000 total cost.  A labor cost of approximately $10 per hour x 417 hours.  417 x $10 = $4,170.

$120,000 + $4,170 = Total cost of $124,170.

Cylinder requalifier identification - New and renewed application to become a cylinder requalifier  (i.e., to receive or renew RIN) -- 792 applications each taking approximately 18 minutes of professional time or 240 hours at a cost of approximately $25 per hour.  792 x 18/60 x $25 = $5,940.  Clerical cost for 240 hours is approximately $16 per hour.  240 x $16 = $3,840.  Average cost for an independent inspector is $500 each.  Total cost for independent inspection is 792 x $500 = $396,000.

Total cost is $5,940 + $3,840 + $396,000 = $405,780.

Requests to change marked service pressure - Each applicant will use 2 hours professional time at a cost of approximately $25 per hour.  Total cost of one applicant is 2 hours x $25 = $50.  Clerical costs will be approximately $16 per hour x one hour = $16.

Total cost is $50 + $16 = $66

Rebuilt cylinder requests - One professional from each respondent spending an average of 8 hours at an average salary of $26 for each response.  For the two responses received annually, the result is an average cost to respondents for professional time of:

Total cost is 2 x 8 x $26 = $416.

One clerical employee from each respondent spending an average of 2 hours per response at an average salary of $16 per hour.  For the two responses received annually, this will result in an average cost to respondents for clerical time of:

Total cost is 2 x 2 x $16 = $64.

Approximately 20 hours of clerical time will be spent annually on recordkeeping.  This will result in an average hourly wage cost of $16 per hour or $320 annually for each respondent.  There are two companies approved, making the total annual recordkeeping burden:

Total cost is 2 x 20 x $16 = $640.

Total yearly cost to respondents for rebuilding:

Professional:		 $ 416

Clerical:		    704 ($64 + $640)

$1,120

Inspection and test of cylinders previously containing corrosive liquid - approximately 5,000 cylinders at an average cost of $5 each are tested annually.

The total annual cost is 5,000 x $5 =  $25,000.

Recordkeeping requirements for cylinders recharged more than once a day - The total annual burden is 360 hours at an average salary of $16 per hour to record the recharging.

Total cost is 360 x $ 16 = $5,760.

Welding and brazing recordkeeping - 300 cylinders each taking approximately 20 minutes to repair for a total of 100 hours at a cost of approximately $25 per hour.

Total cost is 300 x 20 = 6,000, divided by 60 minutes in an hour x $25 = total

cost of $2,500.

Tests and recordkeeping of acetylene cylinders - approximately 50,000 cylinders at an average cost of $5 each are tested annually.

The total annual cost to all respondents is 50,000 x $5 = $250,000.

Total annualized cost is $814,396 (corrected current cost) + $1,800,000 (HM-220F) = $2,614,396.

13.	Total annual cost burden to respondents resulting from collection of information.

We estimate a one time start-up cost for new equipment of approximately $1,205 per respondent. $1,205 x 800 respondents = $964,000 first year total start-up costs.

14.	Estimate of annualized cost to the Federal Government.

One clerical employee spending approximately 500 hours annually on each request (typing, filing, mailing, etc.) at a cost of $10.23 per hour.  500 x $10.23 = total clerical cost of $5,115.

Contractor to input data received on volumetric expansion tests, requalification applications, generate letters, forms, etc., are approximately $35,000 annually.

15.	Reasons for change in burden.

There is a change in burden due to mathematical corrections to this information collection and the implementation of the HM-220F final rule (71 FR 51122).

16.	Plans for tabulation, statistical analysis and publication.

There is no publication for statistical use and no statistical techniques are involved.

17.	Display of expiration date of OMB Approval.

Approved OMB number is prominently displayed in the text of 49 CFR 171.6

18.	Exceptions to certification statement (OMB Form 83-I, Item 19).

There is no exception to PHMSA's certification of this request for information collection approval.