FDA Home Page | Search FDA Site | FDA A-Z Index | Contact FDA

# Federal Food, Drug, and Cosmetic Act

## CHAPTER V—DRUGS AND DEVICES 
SUBCHAPTER A—DRUGS AND DEVICES

ADULTERATED DRUGS AND DEVICES

SEC. 501. [21 U.S.C. 351] A drug or device shall be deemed to be adulterated— 1

(a)(1) If it consists in whole or in part of any filthy, putrid, or decomposed substance; or (2)(A) if it has been prepared, packed, or held under insanitary conditions whereby it may have been contaminated with filth, or whereby it may have been rendered injurious to health; or (B) if it is a drug and the methods used in, or the facilities or controls used for, its manufacture, processing, packing, or holding do not conform to or are not operated or administered in conformity with current good manufacturing practice to assure that such drug meets the requirements of this Act as to safety and has the identity and strength, and meets the quality and purity characteristics, which it purports or is represented to possess; or (C) if it is a compounded positron emission tomography drug and the methods used in, or the facilities and controls used for, its compounding, processing, packing, or holding do not conform to or are not operated or administered in conformity with the positron emission tomography compounding standards and the official monographs of the United States Pharmacopoeia to assure that such drug meets the requirements of this Act as to safety and has the identity and strength, and meets the quality and purity characteristics, that it purports or is represented to possess; or (3) if its container is composed, in whole or in part, of any poisonous or deleterious substance which may render the contents injurious to health; or (4) if (A) it bears or contains, for purposes of coloring only, a color additive which is unsafe within the meaning of section 721(a), or (B) it is a color additive the intended use of which in or on drugs or devices is for purposes of coloring only and is unsafe within the meaning of section 721(a); or (5) if it is a new animal drug which is unsafe within the meaning of section 512; or (6) if it is an animal feed bearing or containing a new animal drug, and such animal feed is unsafe within the meaning of section 512.

(b) If it purports to be or is represented as a drug the name of which is recognized in an official compendium, and its strength differs from, or its quality or purity falls below, the standards set forth in such compendium. Such determination as to strength, quality, or purity shall be made in accordance with the tests or methods of assay set forth in such compendium, except that whenever tests or methods of assay have not been prescribed in such compendium, or such tests or methods of assay as are prescribed are, in the judgment of the Secretary, insufficient for the making of such determination, the Secretary shall bring such fact to the attention of the appropriate body charged with the revision of such compendium, and if such body fails within a reasonable time to prescribe tests or methods of assay which, in the judgment of the Secretary, are sufficient for purposes of this paragraph, then the Secretary shall promulgate regulations prescribing appropriate tests or methods of assay in accordance with which such determination as to strength, quality, or purity shall be made. No drug defined in an official compendium shall be deemed to be adulterated under this paragraph because it differs from the standard of strength, quality, or purity therefor set forth in such compendium, if its difference in strength, quality, or purity from such standards is plainly stated on its label. Whenever a drug is recognized in both the United States Pharmacopeia and the Homeopathic Pharmacopeia of the United States it shall be subject to the requirements of the United States Pharmacopeia unless it is labeled and offered for sale as a homeopathic drug, in which case it shall be subject to the provisions of the Homeopathic Pharmacopeia of the United States and not to those of the United States Pharmacopeia.

(c) If it is not subject to the provisions of paragraph (b) of this section and its strength differs from, or its purity or quality falls below, that which it purports or is represented to possess.

(d) If it is a drug and any substance has been (1) mixed or packed therewith so as to reduce its quality or strength or (2) substituted wholly or in part therefor.

(e)(1) If it is, or purports to be or is represented as, a device which is subject to a performance standard established under section 514, unless such device is in all respects in conformity with such standard.

(2) If it is declared to be, purports to be, or is represented as, a device that is in conformity with any standard recognized under section 514(c) unless such device is in all respects in conformity with such standard.

(f)(1) If it is a class III device—

(A)(i) which is required by a regulation promulgated under subsection (b) of section 515 to have an approval under such section of an application for premarket approval and which is not exempt from section 515 under section 520(g), and

(ii)(I) for which an application for premarket approval or a notice of completion of a product development protocol was not filed with the Secretary within the ninety-day period beginning on the date of the promulgation of such regulation, or

(II) for which such an application was filed and approval of the application has been denied, suspended, or withdrawn, or such a notice was filed and has been declared not completed or the approval of the device under the protocol has been withdrawn;

(B)(i) which was classified under section 513(f) into class III, which under section 515(a) is required to have in effect an approved application for premarket approval, and which is not exempt from section 515 under section 520(g), and

(ii) which has an application which has been suspended or is otherwise not in effect; or

(C) which was classified under section 520(l) into class III, which under such section is required to have in effect an approved application under section 515, and which has an application which has been suspended or is otherwise not in effect.

(2)(A) In the case of a device classified under section 513(f) into class III and intended solely for investigational use, paragraph (1)(B) shall not apply with respect to such device during the period ending on the ninetieth day after the date of the promulgation of the regulations prescribing the procedures and conditions required by section 520(g)(2).

(B) In the case of a device subject to a regulation promulgated under subsection (b) of section 515, paragraph 2 (1) shall not apply with respect to such device during the period ending—

(i) on the last day of the thirtieth calendar month beginning after the month in which the classification of the device in class III became effective under section 513, or

(ii) on the ninetieth day after the date of the promulgation of such regulation, whichever occurs later.

(g) If it is a banned device.

(h) If it is a device and the methods used in, or the facilities or controls used for, its manufacture, packing, storage, or installation are not in conformity with applicable requirements under section 520(f)(1) or an applicable condition prescribed by an order under section 520(f)(2).

(i) If it is a device for which an exemption has been granted under section 520(g) for investigational use and the person who was granted such exemption or any investigator who uses such device under such exemption fails to comply with a requirement prescribed by or under such section.