SUPPORTING STATEMENT

ENVIRONMENTAL PROTECTION AGENCY

NSPS - Other Solid Waste Incineration Units (40 CFR Part 60, Subpart EEEE) (Renewal)

1.  Identification of the Information Collection

1(a)  Title of the Information Collection

NSPS - Other Solid Waste Incineration Units (40 CFR Part 60, Subpart EEEE) (Renewal),        EPA ICR Number 2163.03, OMB Control Number 2060-0563

1(b)  Short Characterization/Abstract

The New Source Performance Standards (NSPS) - Other Solid Waste Incineration (OSWI) Units (40 CFR Part 60, Subpart EEEE), were proposed on December 9, 2004 and promulgated on December 16, 2005.  These regulations apply to very small municipal waste combustion units and institutional waste incineration units.  A new incineration unit subject to this subpart should meet either of the two criteria: 1) commenced construction after December 9, 2004; or 2) commenced reconstruction or modification on or after June 16, 2006.  This information is being collected to assure compliance with 40 CFR part 60, subpart EEEE.

In general, all NSPS standards require initial notifications, performance tests, and periodic reports by the owners/operators of the affected facilities.  They are also required to maintain records of the occurrence and duration of any startup, shutdown, or malfunction in the operation of an affected facility, or any period during which the monitoring system is inoperative.  Other requirements are, siting analysis, waste management plan, and records of operator training and qualification.  These notifications, reports, and records are essential in determining compliance, and are required of all affected facilities subject to NSPS.  Annual and semiannual reports are also required.

Owners or operators of OSWI facilities are required to maintain a file of these measurements, and retain the file for at least five years following the date of such measurements, maintenance reports, and records.  All reports are sent to the delegated state or local authority.  In the event that there is no such delegated authority, the reports are sent directly to the United States Environmental Protection Agency (EPA) regional office.

At present there are no OSWI units that are currently subject to the regulations, and it is estimated that no additional respondents per year will become subject to the regulation over the next three years.  The economical cost of complying with the proposed NSPS makes it more likely that sources will select an alternative method of waste disposal.

Based on the information gathered including the results of our consultations, we have concluded that, to date, no new OSWI units are being constructed, even in the absence of regulations, because other waste disposal alternatives, such as landfills, are more economical.  Therefore, the number of respondents remains at zero.  It was brought to our attention by the Office of Air Quality Planning and Standards that they are anticipating filing a joint motion with the Sierra Club for vacature of the OSWI standards, but was unable to give a firm date as to the filing.

All of the other solid waste incineration (OSWI) units in the United States are owned and operated by the solid waste incineration industry (the “Affected Public”), which is privately, owned for-profit businesses.  None of the facilities in the United States are owned by state, local, tribal or the Federal government.  The burden to the “Affected Public” is listed in Table 1: Annual Industry Burden and Cost – NSPS - Other Solid Waste Incineration Units (40 CFR Part 60, Subpart EEEE), (Renewal).  The Federal government burden associated with the review of reports submitted by the respondent is shown in Table 2: Average Annual EPA Burden – NSPS - Other Solid Waste Incineration Units (40 CFR Part 60, Subpart EEEE), (Renewal).

The Office of Management and Budget (OMB) approved the currently active Information Collection Request (ICR) without any “Terms of Clearance.”

2.  Need for and Use of the Collection

2(a)  Need/Authority for the Collection

The EPA is charged under Section 111 of the Clean Air Act (CAA), as amended, to establish standards of performance for new stationary sources that reflect:

. . . application of the best technological system of continuous emissions reduction which (taking into consideration the cost of achieving such emissions reduction, or any non-air quality health and environmental impact and energy requirements) the Administrator determines has been adequately demonstrated.  Section 111(a)(l).

The Agency refers to this charge as selecting the best demonstrated technology (BDT).  Section 111 also requires that the Administrator review and, if appropriate, revise such standards every four years.

In addition, section 114(a) states that the Administrator may require any owner/operator subject to any requirement of this Act to:

(A) Establish and maintain such records; (B) make such reports;   (C) install, use, and maintain such monitoring equipment, and use such audit procedures, or methods; (D) sample such emissions (in accordance with such procedures or methods, at such locations, at such intervals, during such periods, and in such manner as the Administrator shall prescribe); (E) keep records on control equipment parameters, production variables or other indirect data when direct monitoring of emissions is impractical; (F) submit compliance certifications in accordance with Section 114(a)(3); and (G) provide such other information as the Administrator may reasonably require.

In the Administrator's judgment, emissions from other solid waste incineration units cause or contribute to air pollution that may reasonably be anticipated to endanger public health or welfare.  Therefore, the NSPS was promulgated for this source category at 40 CFR part 60, subpart EEEE.

2(b)  Practical Utility/Users of the Data

The recordkeeping and reporting requirements in the standard ensure compliance with the applicable regulations which were promulgated in accordance with the Clean Air Act.  In addition, the collected information is used for targeting inspections and as evidence in legal proceedings.

Performance tests are required in order to determine an affected facility’s initial capability to comply with the emission standard.  Continuous emission monitors are used to ensure compliance with the standard at all times.  During the performance tests, a record of the operating parameters under which compliance was achieved may be recorded and used to determine compliance in place of a continuous emission monitor.

The notifications required in the standard are used to inform the Agency or delegated authority when a source becomes subject to the requirements of the regulations.  The reviewing authority may then inspect the source to ensure that the pollution control devices are properly installed and operated, that leaks are being detected and repaired, and that the standards are being met.  The performance test may also be observed.

3.  Non-duplication, Consultations, and Other Collection Criteria

The requested recordkeeping and reporting are required under 40 CFR part 60, subpart EEEE.

3(a)  Non-duplication

If the subject standards have not been delegated, the information is sent directly to the appropriate EPA regional office.  Otherwise, the information is sent directly to the delegated state or local agency.  If a state or local agency has adopted their own similar standards to implement the Federal standards, a copy of the report submitted to the state or local agency can be sent to the Administrator in lieu of the report required by the Federal standards.  Therefore, no duplication exists.

3(b)  Public Notice Required Prior to ICR Submission to OMB

An announcement of a public comment period for the renewal of this ICR was published in the Federal Register (73 FR 31088) on May 30, 2008.  No comments were received on the burden published in the Federal Register.

3(c)  Consultations

The Agency’s industry experts have been consulted, and the Agency’s internal data sources and projections of industry growth over the next three years have been considered.  The primary source of information as reported by industry, in compliance with the recordkeeping and reporting provisions in the standard, is the Online Tracking Information System (OTIS) which is operated and maintained by the EPA Office of Compliance.  OTIS is the EPA database for the collection, maintenance, and retrieval of all compliance data.  The growth rate for the industry is based on our consultations with the Agency’s internal industry experts.  There are no known respondents that are subject to the standard, and no new respondent expected over the three-year period covered by this ICR.

Industry trade associations and other interested parties were provided an opportunity to comment on the burden associated with the standard as it was being developed.  For this renewal, we contacted the National Solid Waste Management Association (NSWMA), Mr. Edward Repa at (202) 364-3773, and the Solid Waste Association of North America (SWANA), Mr. Chris Hurwitz at (240) 494-2253.  Mr. Hurwitz consulted with a number of SWANA members for additional information on this industry.

It is our policy to respond after a thorough review of comments received since the last ICR renewal as well as those submitted in response to the first Federal Register notice.

3(d)  Effects of Less Frequent Collection

Less frequent information collection would decrease the margin of assurance that facilities are continuing to meet the standards.  Requirements for information gathering and recordkeeping are useful techniques to ensure that good operation and maintenance practices are applied and emission limitations are met.  If the information required by these standards was collected less frequently, the proper operation and maintenance of control equipment and the possibility of detecting violations would be less likely.

3(e)  General Guidelines

None of these reporting or recordkeeping requirements violate any of the regulations established by OMB at 5 CFR part 1320, section 1320.5.

These standards require the respondents to maintain all records, including reports and notifications for at least five years.  This is consistent with the General Provisions as applied to the standards.  EPA believes that the five-year records retention requirement is consistent with the part 70 permit program and the five-year statute of limitations on which the permit program is based.  The retention of records for five years allows EPA to establish the compliance history of a source, any pattern of non-compliance, and to determine the appropriate level of enforcement action.  EPA has found that the most flagrant violators have violations extending beyond the five years.  In addition, EPA would be prevented from pursuing the violators due to the destruction or nonexistence of essential records.

3(f)  Confidentiality

Any information submitted to the Agency for which a claim of confidentiality is made will be safeguarded according to the Agency policies set forth in title 40, chapter 1, part 2, subpart B - Confidentiality of Business Information (CBI) (see 40 CFR 2; 41 FR 36902, September 1, 1976; amended by 43 FR 40000, September 8, 1978; 43 FR 42251, September 20, 1978; 44 FR 17674, March 23, 1979).

3(g)  Sensitive Questions

None of the reporting or recordkeeping requirements contain sensitive questions.

4.  The Respondents and the Information Requested

4(a)  Respondents/SIC Codes

The respondents to the recordkeeping and reporting requirements are other solid waste incineration units.  The North American Industry Classification System (NAICS) code, are listed below for source category description.

| Standard (40 CFR, part 60, subpart FFFF) | NAICS Codes |
| --- | --- |
| Solid Waste Combustors and Incinerators | 562213 |
| Administration of Air and Waste Resource and Solid Waste Management Programs | 92411 |
| Elementary and Secondary Schools | 6111 |
| Nursing and Residential Care Facilities | 623 |
| Justice, Public Order, and Safety Activities | 922 |
| National Security and International Affairs | 928 |
| Junior Colleges | 6112 |
| Colleges, Universities, and Professional Schools | 6113 |
| Museums, Historical Sites, and Similar Institutions | 7121 |
| Religious Organizations | 8131 |
| Civic and Social Organizations | 8134 |

4(b)  Information Requested

None of these reporting or recordkeeping requirements violate any of the regulations established by OMB at 5 CFR part 1320, section 1320.5.

(i)  Data Items

In this ICR, all the data recorded or reported is required by NSPS - Other Solid Waste Incineration Units (40 CFR Part 60, Subpart EEEE).

A source must make the following reports:

| Notifications |
| --- |
| Notification to commence construction | 60.2952 (a)-(e) |
| Notification of initial startup | 60.2953 |
| Initial performance test report | 60.2954 |
| Annual test report | 60.2955 and 60.2956 |
| Notification of operating limit deviation report | 60.2957 and 60.2958 |
| Notification of deviation | 60.2959(a)(1) |
| Notification of status report | 60.2959(a)(2) |
| Notification of resumed operation | 60.2959(b) |

| Reports |
| --- |
| Annual compliance report | 60.2961 and 60.2955 |
| Semiannual report of deviation | 60.2962 and 60.2957 |

A source must keep the following records:

| Recordkeeping |
| --- |
| Maintain records of all test reports | 60.2973(b) |
| Records are required to be retained for five years | 60.2973(f) |
| Maintain waste management plan records | 60.2901 |

Electronic Reporting

Some of the respondents are using monitoring equipment that automatically records parameter data.  Although personnel at the affected facility must still evaluate the data, internal automation has significantly reduced the burden associated with monitoring and recordkeeping at a plant site.

Also, regulatory agencies in cooperation with the respondents continue to create reporting systems to transmit data electronically.  However, electronic reporting systems are not widely used.  At this time, there is no respondent that is subject to this regulation; therefore, electronic reporting would not be applicable to this ICR.

(ii)  Respondent Activities

Respondent Activities

Read instructions.

Install, calibrate, maintain, and operate continuous emission monitoring systems (CEMS) for carbon monoxide and oxygen.

Perform initial performance test, Reference Methods, 1, 3A, 3B, 26A tests, and repeat performance tests if necessary.

Write the notifications and reports listed above.

Enter information required to be recorded above.

Submit the required reports developing, acquiring, installing, and utilizing technology and systems for the purpose of collecting, validating, and verifying information.

Develop, acquire, install, and utilize technology and systems for the purpose of processing and maintaining information.

Develop, acquire, install, and utilize technology and systems for the purpose of disclosing and providing information.

Adjust the existing ways to comply with any previously applicable instructions and requirements.

Train personnel to be able to respond to a collection of information.

Transmit, or otherwise disclose the information.

Currently, sources are using monitoring equipment that provides parameter data in an automated way (e.g., continuous parameter monitoring system).  Although personnel at the source still need to evaluate the data, this type of monitoring equipment has significantly reduced the burden associated with monitoring and recordkeeping.

5.  The Information Collected: Agency Activities, Collection Methodology, and Information Management

5(a)  Agency Activities

EPA conducts the following activities in connection with the acquisition, analysis, storage, and distribution of the required information.

Agency Activities

Observe initial performance tests and repeat performance tests if necessary.

Review notifications and reports, including performance test reports, excess emissions reports, required to be submitted by industry.

Audit facility records.

Input, analyze, and maintain data in the OTIS.

5(b)  Collection Methodology and Management

Following notification of startup, the reviewing authority might inspect the source to determine whether the pollution control devices are properly installed and operational.  Performance test reports are used by the Agency to discern a source’s initial capability to comply with the emission standard, and note the operating conditions under which compliance was achieved.  Data and records maintained by the respondents are tabulated and published for use in compliance and enforcement programs.

Information contained in the reports is entered into OTIS which is operated and maintained by the EPA Office of Compliance.  OTIS is the EPA database for the collection, maintenance, and retrieval of compliance data for approximately 125,000 industrial and government-owned facilities.  EPA uses OTIS for tracking air pollution compliance and enforcement by local and state regulatory agencies, EPA regional offices, and EPA headquarters.  EPA delegated Authorities can edit, store, retrieve and analyze the data.

The records required by this regulation must be retained by the owner or operator for five years.

5(c)  Small Entity Flexibility

The majority of the respondents are large entities (i.e., large businesses).  However, the impact on small entities (i.e., small businesses) was taken into consideration during the development of the regulation.  Due to technical considerations involving the process operations and the types of control equipment employed, the recordkeeping and reporting requirements are the same for both small and large entities.  The Agency considers these to be the minimum requirements needed to ensure compliance and, therefore, cannot reduce them further for small entities.  To the extent that larger businesses can use economies of scale to reduce their burden, the overall burden will be reduced.

5(d)  Collection Schedule

The specific frequency for each information collection activity within this request is shown in Table 1: Annual Industry Burden NSPS - Other Solid Waste Incineration Units (40 CFR Part 60, Subpart EEEE), (Renewal), attached.

6.  Estimating the Burden and Cost of the Collection

Table 1 documents the computation of individual burdens for the recordkeeping and reporting requirements applicable to the industry for the subpart included in this ICR.  The individual burdens are expressed under standardized headings believed to be consistent with the concept of burden under the Paperwork Reduction Act.  Wherever appropriate, specific tasks and major assumptions have been identified.  Responses to this information collection are mandatory.

The Agency may not conduct or sponsor, and a person is not required to respond to, a collection of information unless it displays a currently valid OMB Control Number.

6(a)  Estimating Respondent Burden

The average annual burden to industry over the next three years from these recordkeeping and reporting requirements is estimated to be zero (Total Labor Hours from Table 1).  This is based on Agency studies and background documents from the development of the regulation, Agency knowledge and experience with the NSPS program, the previously approved ICR, and any comments received.

6(b)  Estimating Respondent Costs

(i)  Estimating Labor Costs

This ICR uses the following labor rates:

Managerial 	$111.43 ($53.04 + 110%)

Technical	$94.33   ($44.92 + 110%)

Clerical	$45.28   ($21.56 + 110%)

These rates are from the United States Department of Labor, Bureau of Labor Statistics March 2008 “Table 2: Civilian Workers, by Occupational and Industry group.”  The rates are from column 1, “Total Compensation.”  The rates have been increased by 110 percent to account for the benefit packages available to those employed by private industry.

(ii)  Estimating Capital/Startup and Operation and Maintenance Costs

The type of industry costs associated with the information collection activities in the subject standard are both labor costs, which are addressed elsewhere in this ICR, and the costs associated with continuous monitoring.  The capital/startup costs are one-time costs when a facility becomes subject to the regulation.  The annual operation and maintenance costs are the ongoing costs to maintain the monitor and other costs, such as photocopying and postage.

(iii)  Capital/Startup vs. Operation and Maintenance (O&M) Costs

| Capital/Startup vs. Operation and Maintenance (O&M) Costs |
| --- |
| (A) Continuous Monitoring Device | (B) Capital/ Startup Cost for One Respondent | (C) Number of New Respondents | (D) Total Capital/ Startup Cost (B X C) | (E) Annual O&M Costs for One Respondent | (F) Number of Respondents with O&M | (G) Total O&M, (E X F) |
| Continuous emission monitoring system | $44,445 | 0 | $0 | $5,000 | 0 | $0 |
|  |  |  | $0 |  |  | $0 |

The total capital/startup costs for this ICR are zero.  This is the total of column D in the above table.

The total operation and maintenance (O&M) costs, consisting of photocopying and postage, are zero.  This is the total of column G.

The average annual cost for capital/startup and operation and maintenance costs to industry over the next three years of the ICR is estimated to be zero.

6(c)  Estimating Agency Burden and Cost

The only costs to the Agency are those costs associated with analysis of the reported information.  The EPA compliance and enforcement program includes activities such as: the examination of records maintained by the respondents; the periodic inspection of sources of emissions; and both the publication and distribution of collected information.

The term Agency in the ICR refers to the designated Administrator of each state plan or to the United States EPA Administrator in the event that a state plan is not approved.

The average annual Agency cost during the three years of the ICR is estimated to be zero.

This cost is based on the average hourly labor rate as follows:

Managerial	$59.63   (GS-13, Step 5, $37.27 + 60%)

Technical	$44.24   (GS-12, Step 1, $27.65 + 60%)

Clerical	$23.94   (GS-6, Step 3, $14.96 + 60%)

These rates are from the Office of Personnel Management (OPM) “2008 General Schedule” which excludes locality rates of pay.  The rates have been increased by 60 percent to account for the benefit packages available to government employees.  Details upon which this estimate is based appear in Table 2: Average Annual EPA Burden, NSPS - Other Solid Waste Incineration Units (40 CFR Part 60, Subpart EEEE) (Renewal), attached.

6(d)  Estimating the Respondent Universe and Total Burden and Costs

Based on our research for this ICR, no respondent will be subject to this standard in the next three years.  It is estimated that no additional sources per year will become subject to the standard.  The average number of respondents, as shown in the table below, is zero per year.

The number of respondents is calculated using the following table which addresses the three years covered by this ICR.

| Number of Respondents |
| --- |
| Year | (A) Number of New Respondents 1 | (B) Number of Existing Respondents | (C) Number of Existing Respondents That Keep Records But Do Not Submit Reports | (D) Number of Existing Respondents That Are Also New Respondents | (E) Number of Respondents (E=A+B+C-D) |
| 1 | 0 | 0 | 0 | 0 | 0 |
| 2 | 0 | 0 | 0 | 0 | 0 |
| 3 | 0 | 0 | 0 | 0 | 0 |
| Average | 0 | 0 | 0 | 0 | 0 |

1 New respondents include sources with constructed, reconstructed and modified affected facilities.

To avoid double-counting respondents, column D is subtracted.  As shown above, the average Number of Respondents over the three-year period of this ICR is zero.

The total number of annual responses per year is calculated using the following table:

| Total Annual Responses |
| --- |
| (A) Information Collection Activity | (B) Number of Respondents | (C) Number of Responses | (D) Number of Existing Respondents That Keep Records But Do Not Submit Reports | (E) Total Annual Responses E=(BxC)+D |
| Notification to commence construction | 0 | 0 | 0 | 0 |
| Notification of initial startup | 0 | 0 | 0 | 0 |
| Notification of final compliance | 0 | 0 | 0 | 0 |
| Initial compliance report | 0 | 0 | 0 | 0 |
| Waste management plan | 0 | 0 | 0 | 0 |
| Annual compliance reports | 0 | 0 | 0 | 0 |
| Semiannual deviation reports | 0 | 0 | 0 | 0 |
|  |  |  | Total | 0 |

The number of Total Annual Responses is zero.

The total annual labor costs are zero.  Details regarding these estimates may be found in Table 1: Annual Industry Burden and Cost – NSPS - Other Solid Waste Incineration Units (40 CFR Part 60, Subpart EEEE) (Renewal), attached.

6(e)  Bottom Line Burden Hours Burden Hours and Cost Tables

The detailed bottom line burden hours and cost calculations for the respondents and the Agency are shown in Tables 1 and 2, respectively, and summarized below.

(i)  Respondent Tally

The total annual labor costs are $0.  Details regarding these estimates may be found in Table 1. Annual Respondent Burden and Cost: NSPS - Other Solid Waste Incineration Units (40 CFR Part 60, Subpart EEEE) (Renewal), attached.  Furthermore, the annual public reporting and recordkeeping burden for this collection of information is estimated to average zero hours per response.

The total annual capital/startup and O&M costs to the regulated entity are zero.

(ii)  The Agency Tally

The average annual Agency burden and cost over the next three years is estimated to be zero labor hours at a cost of $0.  See Table 2. Annual Agency Burden and Cost: NSPS - Other Solid Waste Incineration Units (40 CFR Part 60, Subpart EEEE) (Renewal), attached.

6(f)  Reasons for Change in Burden

There are no changes in the total estimated burden as currently identified in the OMB Inventory of Approved Burdens.  At present, there are no OSWI units that are currently subject to the regulations, and it is estimated that no new units are expected to be constructed or operated over the next three years.  It is assumed that potential respondents would use alternative methods of waste disposal that are more economical, e.g. landfills, rather than replacing existing OSWI units.  As a result of this, no respondent or agency burdens or costs have been estimated, also no annual burden expected.  It was brought to our attention by the Office of Air Quality Planning and Standards that they are anticipating filing a joint motion with the Sierra Club for the vacature of the OSWI standards.

There are no capital/startup and operating and maintenance (O&M) costs associated with this ICR, as with the previous ICR.  This is attributed to the fact that at present there are no known OSWI sources and no new units are expected to be constructed over the next three years.

6(g)  Burden Statement

The annual public reporting and recordkeeping burden for this collection of information is estimated to average zero hours per response.  Burden means the total time, effort, or financial resources expended by persons to generate, maintain, retain, disclose or provide information to or for a Federal agency.  This includes the time needed to review instructions; develop, acquire, install, and utilize technology and systems for the purposes of collecting, validating, and verifying information, processing and maintaining information, and disclosing and providing information; adjust the existing ways to comply with any previously applicable instructions and requirements; train personnel to be able to respond to a collection of information; search data sources; complete and review the collection of information; and transmit or otherwise disclose the information.

An agency may not conduct or sponsor, and a person is not required to respond to, a collection of information unless it displays a valid OMB Control Number.  The OMB Control Numbers for EPA’s regulations are listed at 40 CFR part 9 and 48 CFR chapter 15.

To comment on the Agency's need for this information, the accuracy of the provided burden estimates, and any suggested methods for minimizing respondent burden, including the use of automated collection techniques, EPA has established a public docket for this ICR under Docket ID Number EPA-HQ-OECA-2008-0290.  An electronic version of the public docket is available at http://www.regulations.gov/ which may be used to obtain a copy of the draft collection of information, submit or view public comments, access the index listing of the content of the docket, and to access those documents in the public docket that are available electronically.  When in the system, select “search” than key in the docket ID number identified in this document.  The documents are also available for public viewing at the Enforcement and Compliance Docket and Information Center in the EPA Docket Center (EPA/DC), EPA West, Room 3334, 1301 Constitution Avenue, N.W., Washington, DC.  The EPA Docket Center Public Reading Room is open from 8:30 a.m. to 4:30 p.m., Monday through Friday, excluding legal holidays.  The telephone number for the Reading Room is (202) 566-1744, and the telephone number for the Enforcement and Compliance Docket and Information Center Docket is (202) 566-1927.  Also, you can send comments to the Office of Information and Regulatory Affairs, Office of Management and Budget, 725 17th Street, N.W., Washington, DC 20503, Attention: Desk Officer for EPA.  Please include the EPA Docket ID Number EPA-HQ-OECA-2008-0290 and OMB Control Number 2060-0563 in any correspondence.

Part B of the Supporting Statement

This part is not applicable because no statistical methods were used in collecting this information.

Table 1:  Annual Respondent Burden and Cost – NSPS - Other Solid Waste Incineration Units (40 CFR Part 60, Subpart EEEE)

| Burden item | (A) Person hours per occurrence | (B) No. of occurrences per respondent per year | (C) Person hours per respondent per year (C=AxB) | (D) Respondents per year a | (E) Technical person- hours per year (E=CxD) | (F) Management person hours per year (Ex0.05) | (G) Clerical person hours per year (Ex0.1) | (H) Total Cost Per year b |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. Applications | N/A |  |  |  |  |  |  |  |
| 2. Survey and Studies | N/A |  |  |  |  |  |  |  |
| 3. Reporting requirements |  |  |  |  |  |  |  |  |
| A. Read instructions c | 40 | 1 | 40 | 0 | 0 | 0 | 0 | $0 |
| B. Required activities |  |  |  |  |  |  |  |  |
| 1) Initial performance test and reports |  |  |  |  |  |  |  |  |
| a) Initial performance tests and test reports (PM, dioxins/furans, opacity, fugitives, HCI, Cd, Pb, Hg) c | 24 | 1 | 24 | 0 | 0 | 0 | 0 | $0 |
| b) Repeat of initial performance tests | 24 | 1 | 24 | 0 | 0 | 0 | 0 | $0 |
| 2) CEMS demonstration (CO, 02) |  |  |  |  |  |  |  |  |
| a) Repeat of initial demonstration | 229 | 1 | 229 | 0 | 0 | 0 | 0 | $0 |
| 3) Annual performance tests and test reports (PM, dioxins/furans, opacity, fugitives, HCI, Cd, Pb, Hg) | 24 | 1 | 24 | 0 | 0 | 0 | 0 | $0 |
| 4) Daily calibration and operation d | 1 | 250 | 250 | 0 | 0 | 0 | 0 | $0 |
| C. Create information | See 3B |  |  |  |  |  |  |  |
| D. Gather information | See 3E |  |  |  |  |  |  |  |
| E. Report preparation |  |  |  |  |  |  |  |  |
| 1) Preconstruction report | 8 | 1 | 8 | 0 | 0 | 0 | 0 | $0 |
| 2) Startup notification | 2 | 1 | 2 | 0 | 0 | 0 | 0 | $0 |
| 3) Initial compliance report c | 40 | 1 | 40 | 0 | 0 | 0 | 0 | $0 |
| 4) Annual compliance reports | 40 | 1 | 40 | 0 | 0 | 0 | 0 | $0 |
| 5) Semiannual deviation reports | 24 | 2 | 48 | 0 | 0 | 0 | 0 | $0 |
| Subtotal for Reporting Requirements |  |  |  |  |  | 0 |  |  |
| 4. Recordkeeping requirements |  |  |  |  |  |  |  |  |
| A. Read instructions | See 3A |  |  |  |  |  |  |  |
| B. Plan activities | See 3B |  |  |  |  |  |  |  |
| C. Implement Activities | See 3B |  |  |  |  |  |  |  |
| D. Develop record system | N/A |  |  |  |  |  |  |  |
| E. Record information |  |  |  |  |  |  |  |  |
| 1) Records of SSM e | 1.5 | 52 | 78 | 0 | 0 | 0 | 0 | $0 |
| 2) Records of emission rate computations, all emission exceedances and periods when there is no data e | 1.5 | 52 | 78 | 0 | 0 | 0 | 0 | $0 |
| 3) Records of employee review of operations manual | 4 | 1 | 4 | 0 | 0 | 0 | 0 | $0 |
| 4) Record of control devices operating Parameters e | 1.5 | 52 | 78 | 0 | 0 | 0 | 0 | $0 |
| F. Personnel training | N/A |  |  |  |  |  |  |  |
| G. Time for audits | N/A |  |  |  |  |  |  |  |
| Subtotal for Recordkeeping Requirements |  |  |  |  |  | 0 |  |  |
|  |  |  |  |  |  |  |  | $0 |
| TOTAL LABOR BURDEN AND COST (rounded) |  |  |  |  |  | 0 |  | $0 |

Assumptions:

a  We have assumed that there are no OSWI units that are currently subject to the regulations, and it is estimated that no new units are expected to be constructed or in operation over the next three years.

b  This ICR uses the following labor rates:  $111.43 per hour for Executive, Administrative, and Managerial labor; $94.33 per hour for Technical labor, and $45.28 per hour for Clerical labor.  These rates are from the United States Department of Labor, Bureau of Labor Statistics, March 2008 “Table 2: Civilian Workers, by Occupational and Industry group.”  The rates are from column 1, “Total compensation.”  The rates have been increased by 110 percent to account for the benefit packages available to those employed by private industry.

c  We have assumed that this is a one-time only cost.

d  We have assumed that each respondent will take 1 hour 250 times per year to record daily calibration and operation.

e  We have assumed that each  respondent will record information 52 times per year.

Table 2:  Average Annual Designated Administrator Burden – NSPS - Other Solid Waste Incineration Units (40 CFR Part 60, Subpart EEEE)

| Activity | (A) EPA person- hours per occurrence | (B) No. of occurrences per plant per year | (C) EPA person- hours per plant per year (C=AxB) | (D) Plants per year a | (E) Technical person- hours per year (E=CxD) | (F) Management person-hours per year (Ex0.05) | (G) Clerical person-hours per year (Ex0.1) | (H) Cost, $ b |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. Applications | N/A |  |  |  |  |  |  |  |
| 2. Read and understand rule requirements | 16 | 1 | 16 | 0 | 0 | 0 | 0 | $0 |
| 3. Required activities |  |  |  |  |  |  |  |  |
| A. Create information | N/A |  |  |  |  |  |  |  |
| B. Gather information | See 3A & 3F |  |  |  |  |  |  |  |
| C. Report reviews |  |  |  |  |  |  |  |  |
| 1) Notification of final compliance c | 1.5 | 1 | 1.5 | 0 | 0 | 0 | 0 | $0 |
| 2) Review initial compliance test report c | 40 | 1 | 40 | 0 | 0 | 0 | 0 | $0 |
| 3) Review annual compliance report | 40 | 1 | 40 | 0 | 0 | 0 | 0 | $0 |
| 4) Review semiannual deviation reports | 16 | 2 | 32 | 0 | 0 | 0 | 0 | $0 |
| 5) Review waste management plan c | 16 | 1 | 16 | 0 | 0 | 0 | 0 | $0 |
| D. Annual summary report d | 4 | 1 | 4 | 0 | 0 | 0 | 0 | $0 |
| Subtotals Labor Burden and cost |  |  |  |  | 0 | 0 | 0 | $0 |
| TOTAL ANNUAL BURDEN AND COST (rounded) |  |  |  |  | 0 | $0 |

Assumptions:

a  We have assumed that there are no OSWI units that are currently subject to the regulations, and it is estimated that no new units are expected to be constructed or in

operation over the next three years.

b  This cost is based on the following hourly labor rates times a 1.6 benefits multiplication factor to account for government overhead expenses: $59.63 for Managerial (GS-13, Step 5, $37.27 x 1.6), $44.24 for Technical (GS-12, Step 1, $27.65 x 1.6) and $23.94 Clerical (GS-6, Step 3, $14.96 x 1.6).  These rates are from   the Office of Personnel Management (OPM) “2008 General Schedule”, which excludes locality rates of pay.

c  We have assumed that this is a one-time only cost.

d  We have assumed that all affected facilities will be required to prepare an annual summary plan.