INFORMATION COLLECTION REQUEST RENEWAL

FOR THE ACID RAIN PROGRAM

UNDER THE CLEAN AIR ACT AMENDMENTS TITLE IV

October 1, 2009

DRAFT

INFORMATION COLLECTION REQUEST RENEWAL

FOR THE ACID RAIN PROGRAM

UNDER THE CLEAN AIR ACT AMENDMENTS TITLE IV

(AUGUST 2009 THROUGH JULY 2012)

DRAFT SUPPORTING STATEMENT

1.  IDENTIFICATION OF THE INFORMATION COLLECTION

1.1  Background

Title IV of the Clean Air Act Amendments of 1990 (the acid rain title) established goals to reduce annual emissions of sulfur dioxide (SO2) and nitrogen oxides (NOx) and placed a national cap on sulfur dioxide emissions beginning in the year 2000.  Emissions reductions were mandated in two phases:

●	During Phase I, which covered 1995 through 1999, emissions were reduced about 50 percent for SO2 and 32 percent for NOx from 1990 levels from the 263 highest-emitting sources;

●	Phase II, which began in 2000 for both SO2 and NOx, affects more than 3,500 sources at virtually all fossil fuel power plants.

To help meet emissions reduction goals, Title IV provides for a program that allocates emissions allowances to affected utility units based on a national target for SO2 reductions, and allows market forces to achieve the targeted reductions in the most cost-effective manner.  Under this program, each affected unit receives its allocation of allowances for every year.  An affected unit must hold one allowance for each ton of SO2 it emits.  Affected utilities and individuals may buy and sell allowances, or save them for future use or sale.

The ability to buy and sell (or transfer) allowances provides substantial economic benefits, by encouraging the greatest emissions reductions where costs of reductions are lowest.  This concept of allowance transfers cannot be implemented, however, unless regulations governing emissions monitoring and permitting of acid rain sources are in place as well.  To ensure compliance with the emissions reduction requirements and to provide the national consistency needed to foster the allowance market, sections 408 and 412 of Title IV require the designated representative of the owners and operators of each affected acid rain source to obtain an operating permit for the affected source and to certify that an approved emissions monitoring system has been installed and is properly operated at each affected unit's source of emissions.

Emissions monitoring and reporting is the foundation upon which the allowance trading system is based.  Without accurate monitoring and reporting of emissions, the integrity of the allowance system would be undermined, and there would be no assurance that emissions had been reduced.

Acid rain permits allow sources the flexibility to comply with the emissions reduction requirements of Title IV for both SO2 and NOx.  The procedures specified in the acid rain permits regulations, including the use of standardized forms, ensure that the intended flexibility and accountability is preserved as the Acid Rain Program is implemented nationwide by different permitting authorities.

Participation in the annual auction is voluntary.  Information is collected by EPA's Clean Air Markets Division and used to conduct and facilitate the administration of the auction.  Auction participants must submit a bid form and payment method.

Section 410 of Title IV provides that sources of SO2 emissions that are not regulated, i.e., small utility units and industrial boilers, may elect to "opt in" to the allowance allocation and trading program.  To opt in, the source owner or operator must submit an opt-in permit application to EPA.  Sources that opt in (1) become affected sources, (2) receive an annual allocation of allowances, and (3) may sell any allowances they do not use for their own emissions.  Because opting in is voluntary, only those unaffected sources that would profit by opting in are expected to do so.

Although the principal purpose of Title IV of the Clean Air Act is to reduce acid rain by requiring reductions in emissions of SO2 and NOx, it is also the purpose of this title to encourage energy conservation and pollution prevention as a long-range strategy for reducing air pollution and other adverse effects of energy production and use.  As an incentive for electric utilities to (1) implement energy conservation measures and (2) use renewable energy, section 404(f) of Title IV establishes provisions for qualifying electric utilities to receive allowances from the Conservation and Renewable Energy Reserve for SO2 emissions avoided through either of these two options.

The NOx emission reductions are achieved through maximum allowable emission rates for coal-fired utility boilers.  The allowable rate for a given boiler depends on the type of boiler.  The NOx regulations for coal-fired boilers are applied to two groups of boilers, as specified by the Clean Air Act Amendments of 1990 (CAAA).  Boilers in each group become affected at different times, as described below.  Group 1 boilers are (1) dry bottom wall-fired boilers that do not apply cell burner technology or (2) tangentially fired boilers.  Group 2 boilers are all other types of utility boilers, including (1) wet bottom wall-fired boilers, (2) cyclones, and (3) boilers applying cell burner technology.  In Phase II, which began January 1, 2000, NOx emission limitations became effective for both groups of boilers.

1.2  Information to Be Collected

EPA has developed regulations to implement the emissions reduction provisions of Title IV of the Clean Air Act Amendments that cover

●	Allowance tracking and transfers (section 403);

●	Energy conservation and renewable energy incentives (section 404);

●	Permits (section 408);

●	Emissions monitoring (section 412);

●	Auctions (section 416);

●	Opt-in (section 410 a-g); and

●	NOx permitting (section 407).

This Information Collection Request (ICR) addresses the paperwork burden related to (1) transferring and tracking allowances; (2) obtaining and distributing allowances from the Conservation and Renewable Energy Reserve; (3) obtaining and issuing permits (e.g., submitting permit applications); (4) submitting and certifying emissions monitoring data; (5) the opt-in program; (6) NOx permitting.  Burden estimates provided in this ICR are for the period from July 1, 2009 to June 30, 2012 (i.e., the years 2010 through 2012).

1.2.1  Allowance Transfers

Participants in the allowance transfer system now have two options for submitting transfers:  to submit electronically using the internet to record their own allowance transfers, either by entering the data on screen or by submitting an Extensible Markup Language (XML) file; or complete a paper form and send it the Agency.  Participants in the transfer system that are not affected sources under Title IV are also required to file a one time account information application using a paper form to establish an account in the EPA allowance tracking system.  As part of the annual compliance determination process, designated representatives have the option of submitting an allowance deduction form to identify specific serial numbered allowances to be deducted for annual compliance.

1.2.2  Conservation and Renewable Energy Reserve

To receive allowances for emissions avoided through the use of energy conservation measures or renewable energy, utilities must submit an application to receive allowances that (1) designates and verifies the measures used to avoid emissions, (2) calculates the tons of emissions avoided, and (3) demonstrates qualification to receive allowances from the Conservation and Renewable Energy Reserve.

1.2.3  Permits

Permit applicants are required to submit an acid rain permit application for each affected source.  The permit application must include, for each unit at the source, (1) general information on the unit, (2) a complete compliance plan for each unit, and (3) the Acid Rain Program standard requirements.

1.2.4  Emissions Monitoring

To meet the emissions monitoring record-keeping and reporting requirements, affected units are required to (1) submit a monitoring plan and certification of monitors, (2) record hourly pollutant and flow monitor data, and (3) submit electronic quarterly reports of their emissions data to EPA.  Operators of new electric generating units of 25 megawatts (MW) capacity or less may receive a continuous emission monitoring systems (CEMS) exception if they certify their use of very-low-sulfur fuel.

1.2.5  Submissions Purposes and Procedures

Allowance transfer notifications may be submitted to EPA electronically or on paper.  Emissions reports must be submitted electronically.  All Phase II permit applications must be submitted on paper.

The allowance transfer submittal is used to record allowance transfers for compliance purposes and to track the disposition of all allowances in the system.  Applications for allowances from the Energy Conservation and Renewable Energy Reserve provide information on the emissions avoided through the use of energy conservation measures and renewable energy, and are used to allocate allowances from the reserve.

Acid rain permit applications are used to issue operating permits to affected sources under the Acid Rain Program.  Because the permit applications and permits are public documents, they provide an opportunity for the affected public to examine activities undertaken by affected sources.  The designated representative certification, which designates a responsible official through whom the owners and operators of each affected source and each affected unit can trade allowances and obtain and maintain permits, serves to remove EPA from involvement in disputes between owners and operators of affected units.

Monitoring plan submissions are used by EPA to verify that the emissions monitoring system at a unit meets the requirements set forth in Title IV of the Act and in the implementing regulations.  Results of continuous emission monitoring system performance tests allow EPA to certify that monitors perform well enough to produce accurate emissions data.  Emissions data are used to monitor compliance with emissions requirements under Title IV and to provide a basis for analyzing progress in meeting air quality objectives.  Allowance tracking information, emissions data, and the contents of permit applications all provide information for the allowance market and the general public.

1.2.6  Opt-in Program

This ICR also addresses the paperwork burden for small utility units and industrial boilers that opt-in.  The Agency has identified five burden areas associated with a source's opting in to the allowance allocation and trading program.  These areas are (1) completing the permit application, (2) recording and reporting emissions data, (3) compliance reporting, and (4) withdrawing from the program.  Estimates for the opt-in program detail the burden for both operating and shut-down opt-ins.

The opt-in program requires respondents to submit an acid rain permit application.  For all respondents, the application must provide (1) general information about the source, (2) specific data about the source's fuel consumption and operating data for 1985, 1986, 1987, and (3) data on the source's actual and allowable emission rates for 1985, as well as the current allowable emission rate.  The permit application and proposed thermal energy compliance plan for sources that opt-in and shut down must include information describing the source's plans for the replacement of thermal energy.

To meet emissions monitoring, record-keeping and reporting requirements, sources that opt-in and continue operating will be required to (1) submit a monitoring plan and certification of monitors, (2) record hourly pollutant and flow monitor data, and (3) submit quarterly reports of their emissions data to EPA.  Sources that opt-in and shut down will not have to perform tasks associated with emissions monitoring, reporting, and recording.

Meanwhile, to meet requirements for reporting compliance, respondents must submit an annual compliance report in which they (1) report their utilization information, (2) report any replacement of thermal energy, and (3) report on allowances transferred as a result of the replacement of thermal energy.  Finally, all sources that have opted in and later decide to withdraw are required to complete withdrawal notification.

1.2.7  NOx Permitting

An owner or operator of a unit subject to a NOx emission limitation may meet the requirements through one of three compliance options:

●	Meeting the standard limit;

●	Obtaining approval for an emissions averaging plan; or

●	Obtaining an alternative emission limitation (AEL).

Two or more units may average their NOx emissions, as provided for by Title IV.  In an approved NOx emissions averaging group, the NOx emission rates of some of the individual units may exceed their respective emission limitations, as long as the Btu-weighted average NOx emission rate for the entire group is less than or equal to the weighted average of the emission limitations for the individual units.  The ability to average emissions allows utilities to meet the NOx requirements at lower cost.

Title IV also provides that an owner or operator of an affected unit may petition EPA for a higher, alternative emission limitation (AEL) if the unit cannot meet the emission limitations even after a retrofit with low NOx burner technology.  The opportunity to obtain AELs will allow for adjustment of emission limitations for specific units where the technologies on which the limitations were based do not provide the expected level of emission reductions in practice.

Meeting the standard limit is the least burdensome administratively for sources.  All owners and operators of affected units are eligible to comply with the NOx regulations using this option.  The submission of an application for emissions averaging, or an AEL, is optional and voluntary.

For units that comply by meeting the standard limits applicants are required only to identify the unit.  Applicants seeking approval for emissions averaging are required to identify the units in the group, assign alternative contemporaneous emissions limitations to each unit, and demonstrate that the Btu-weighted average of these alternative limits is less than or equal to the Btu-weighted average of the limits that would apply in the absence of averaging.

All applicants for AELs are required to demonstrate that they are eligible for an AEL, by providing (1) evidence that the appropriate emissions control equipment has been installed, and (2) monitoring data showing that the unit cannot meet the applicable emission rate.

The respondent reporting burden for this collection of information is estimated to be 2,056,946 hours each year for the years 2010 through 2012.  The burden to EPA is estimated to be 19,192.5 hours in each year for the years 2010 through 2012.

2.  NEED FOR AND USE OF THE COLLECTION

This section describes EPA's need for the information collections described above and the legal authority for conducting collections.  The users of collected information are also described.

2.1  Need/Authority for the Collection

Section 403(b) of Title IV of the Clean Air Act Amendments of 1990 provides for the transfer of allowances among designated representatives of owners and operators of affected sources and any person who holds allowances.  Transfers of allowances are not deemed effective until written certification of the transfer, signed by a responsible official of each party to the transfer, is received and recorded by EPA.  Section 403(d) of Title IV requires that EPA develop a system for issuing, recording, and tracking allowances (intended to help ensure an orderly and competitive allowance system).

2.1.1  Conservation and Renewable Energy Reserve

Section 404(f) of Title IV establishes provisions for qualifying electric utilities to receive allowances from the Conservation and Renewable Energy Reserve for SO2 emissions avoided through the use of qualifying energy conservation measures or renewable energy.  The allowances are allocated on a first come, first served basis during the period from January 1, 1992 to December 31, 2009.

2.1.2  Permits

Section 408 of Title IV and Title V of the Clean Air Act Amendments of 1990 require that the designated representative of the owners and operators of each affected source under the Acid Rain Program obtain a permit.  In Phase II, section 408 also specifies that the permitting authority, usually a state or local agency, issue the permits with a term of five years.

2.1.3  Emissions Monitoring

Section 412(a) of Title IV requires the use of CEM systems (or alternative monitoring systems demonstrated to be equivalent) at each affected unit's source of emissions.  Section 504(a) of Title V requires that the results of any required monitoring be submitted to the permitting authority no less often than every six months.  The information collection is consistent with satisfying these minimum statutory requirements.  Note that reports are submitted quarterly rather than semiannually.  The Acid Rain Advisory Committee recommended that EPA collect emissions data on a quarterly basis and this schedule has proven to allow for effective implementation of the program.

2.1.4  Auctions

Although participation in the annual auction is voluntary, the information to be collected is necessary to operate and administer the program and is required specifically under Title IV, Section 416(d)(2).

2.1.5  Opt-in

Section 410(a) of Title IV of the Clean Air Act Amendments of 1990 allows the owner or operator of any SO2 source that is not an affected unit under section 403(e), 404, or 405 to elect to designate that source as an affected source and receive allowances under Title IV.  Section 410(a) requires sources opting in to submit a permit application and a compliance plan to the Administrator.

Section 410(b) requires the Administrator to establish a baseline utilization rate for SO2 emissions for opt-in sources based on fuel consumption and operating data for calendar years 1985, 1986, 1987.  Section 410(c) requires the Administrator to establish a limit for SO2 emissions based on the baseline utilization rate and the lesser of the source's actual or allowable 1985 emissions.

Section 410(e) requires that the Administrator issue allowances to sources that become affected sources under Section 410.  The number of allowances is to be based on calculations made under Section 410(c).

2.1.6  NOx Permitting

Section 408 of Title IV of the Clean Air Act Amendments of 1990 specifies that utility owners and operators of units affected under Title IV must submit permit applications and compliance plans (including NOx compliance plans), and that EPA must issue permits.

●	Section 408 provides general authority for the information collections under this ICR related to compliance options.

●	Section 407(e) of Title IV allows the owner or operator of two or more affected units to petition the permitting authority for a NOx averaging plan.

●	Section 407(d) provides for AELs for utility units that cannot meet the applicable limitation using low NOx burner technology or the technology on which the limitation was based.  Section 407(d) specifies that an owner or operator requesting an AEL must show the permitting authority that (1) appropriate control equipment has been properly installed, and (2) the equipment has been properly operated for a period of fifteen months (or another period of time as established by regulation) and operating and monitoring data for such period demonstrate that the unit cannot meet the applicable emission rate.  The owner or operator must also specify an emission rate that the unit can meet on an annual average basis.

2.2  Practical Utility/Users of the Data

2.2.1  Allowance Transfers

Information collected on allowance transfers is used by EPA to track allowances for the purpose of determining compliance with the Acid Rain Program.  Information on allowance transfers is also used by participants in the allowance market and the public to evaluate the activities of utilities, and by EPA for program evaluation.

2.2.2  Auctions

EPA or its designated agent uses the information collected for the allowance auction to conduct and facilitate administration of auctions.  The basic information requested requires little evaluation.  Bids submitted for auctions are ranked to select winning bidders and to conduct transfers of emission allowances.  The auction information results are also used by participants in the allowance market.

2.2.3  Conservation and Renewable Energy Reserve

Information collected on the use of energy conservation measures and renewable energy is used by EPA to issue allowances from the Conservation and Renewable Energy Reserve.

2.2.4  Permits

Acid rain permit applications are used by EPA and permitting authorities to issue operating permits.  A permit application is legally binding on the owners, operators, and designated representative of a source until the actual permit is issued.  This aspect of the permit application reduces significantly the uncertainty imposed on a source due to possible delays at EPA or the permitting authority.  Affected sources may rely on the permit for information on the requirements with which they must comply.  Because permit applications and permits are public documents, they may be used by the public to examine activities undertaken by affected sources.

2.2.5  Emissions Monitoring

Data from emissions monitoring is indispensable to successful implementation of the Acid Rain Program for two reasons:

●	Title IV of the Act clearly states that its primary purpose is to reduce the adverse effects of acid deposition by reducing annual emissions of sulfur dioxide and nitrogen oxides.  For sulfur dioxide emissions, the statutory objective is achieved through an emissions trading program.  For nitrogen oxide emissions, the statutory objective is achieved through annual emission limitations on certain units.

●	EPA can only enforce the sulfur dioxide trading program and the nitrogen oxide emission limitation program by having accurate emissions data for each affected unit.

Electric utilities, energy consultants, and power marketing companies can use the Acid Rain program emissions data to project future SO2 allowance costs and availability.  Academic institutions can perform data modeling to evaluate environmental benefits and estimate health effects of SO2 reductions.  EPA and other agencies use it to try to correlate the reduction of SO2 and NOx emissions with a decrease in acid precipitation, and also to measure the impacts of other existing and proposed emissions trading programs.

Together, the allowance trading system, operating permits, and emissions data provide the accountability to allow the Acid Rain Program to function without more stringent command and control approaches.

2.2.6  Opt-in

Information collected on opt-in respondents is used by EPA to record which sources are to be designated affected sources, and hence are to be bound by the regulations of the CAAA that are relevant to affected sources.

Opt-in permit applications are used by EPA to issue operating permits.  Fuel usage and emissions rate data in the opt-in application is used to allocate allowances to the opt-in source.

The information on annual utilization and the replacement of thermal energy, if covered by a Thermal Energy Plan, contained in the annual compliance report is used by EPA to determine compliance with the Act.

For respondents who choose to withdraw from the program, the withdrawal notification is essential to notify EPA to discontinue the allocation of allowances to the source and enforcement of the acid rain provisions.

2.2.7  NOx Permitting

Information collected on NOx compliance plans is used by EPA to evaluate these compliance plans.  Information collected on applications for emissions averaging groups or AELs is used by EPA to determine whether to approve these applications.  This information may also be used by the regulated community and the public to evaluate the activities of utilities, and by EPA for program evaluation.

3.  NONDUPLICATION, CONSULTATIONS, AND OTHER COLLECTION CRITERIA

This section describes (1) efforts by EPA to learn whether the information requested is available from other sources, (2) consultations with respondents and data users to plan collections, monitor their usefulness, and minimize the collection burden, (3) effects of less frequent collections, and (4) justification for deviations from OMB's general guidelines.

3.1  Nonduplication

Almost all information requested from respondents under this ICR is required by statute and, in most cases, is not available from other sources.  Review of earlier and proposed forms resulted in the elimination of many redundant requirements.  Where EPA needs information that has already been submitted, EPA is simply requiring a photocopy of the prior submittal.

EPA notes that many of the units that are subject to the Acid Rain Program are also subject to other programs, such as the New Source Performance Standards (NSPS).  Under programs such as NSPS, sources are required to submit monitoring data reports that match the particular format and averaging time of the applicable emission limits under those standards.  Although not the same information as the information provided under the Acid Rain Program, the information is often generated by the same monitoring equipment.

3.2  Consultations

The data requirements for the Acid Rain Program were developed with the benefit of extensive consultation with the Acid Rain Advisory Committee (ARAC) during five meetings in 1991 lasting two to three days each.  The Committee was composed of representatives of those entities most affected by or interested in the information requirements of the Acid Rain Program.  Representation on the Committee was provided for industry, states, and environmental groups.  Other parties consulted include the Utility Air Regulatory Group (UARG), the State and Territorial Air Pollution Program Administrators (STAPPA), and the Association of Local Air Pollution Control Officers (ALAPCO).

Recommendations provided by ARAC strongly supported the use of standardized reporting forms for acid rain permit applications:

●	Utilities affirmed that standardized forms reduce uncertainty about what constitutes a complete application and thus reduce the need to supply additional information in a second submission;

●	States asserted that the use of standardized forms developed by EPA would reduce the time and effort states will need to implement an acid rain permit program; and

●	Environmental groups argued that the use of standardized forms provides greater assurance that permits will be enforceable in a consistent manner nationwide.

Many ARAC recommendations were incorporated into the acid rain regulations regarding permits and the related standardized forms.

Since the beginning of implementation of the Acid Rain Program, representatives from the utility industry, monitoring equipment vendors, software programmers, consultants working together with utilities, and other interested parties have offered comments on the existing rule requirements, standard forms and electronic data reporting formats used to implement the Part 75 program.  The EPA has used these comments to revise the rules, forms, and reporting formats, especially changes in the formats to cover a wider group of units.  In particular, the revised forms and electronic data reporting format have been revised in the past to address reporting requirements for gas-fired units and oil-fired units that are using pre-approved monitoring exceptions to the use of CEMS.  Industry groups have also worked together with EPA to revise the recordkeeping and reporting requirements in revisions to Part 75 in 1995, 1996, and 1999.  Comments and suggestions from working groups, comprised of UARG, Class of '85 Regulatory Response Group, and the PJM Powerpool also were incorporated in designing the annual compliance forms.

In May 2002, EPA promulgated additional revisions to Part 75.  For these revisions, EPA solicited and obtained input from a number of affected utilities and other interested parties.  The Agency received numerous written comments on the proposed revisions, and used those comments, in part, to develop the final revisions with minor reporting changes and minimal impact on respondents' burdens and costs.

In September 2007, additional Part 75 revisions (such as the use of a wall adjustment factor in determining flow rate data) resulted in minor changes to monitoring and/or reporting requirements for some units.  Other revisions (such as no longer requiring a hardcopy certification application form (EPA form 7610.14) were also adopted, that could result in time savings.  Overall, these revisions do not impose significant new or different requirements upon sources.

In January 2008, EPA announced revisions to the Continuous Emissions Monitoring Rule for the Acid Rain Program that involve a reengineered data system for the collection and processing of data for monitoring plans, quality assurance and certification, and emissions.  For the users, ECMPS saves time, simplifies data submission and reporting, and offers added flexibility in the submission of updates and emissions data.

The new reporting data system and process, which became mandatory in 2009, uses a new extensible markup language (XML) data format in place of the record type/column ("flat file") format that EPA used previously for electronic data collection.  This new format provides added process automation and a better organized reporting system.  With the new system, the Agency implements and assesses submissions more efficiently, offering streamlined access to data and reduced redundant reporting.  ECMPS' extensive data checking process eliminates errors that were inherent in the use of the flat file format and reduces the potential for user errors as well, all before a report is sent.  By conducting data quality assurance prior to submission, ECMPS saves users' time, eliminating the burden of waiting for EPA data evaluation feedback, responding to EPA error messages, and potentially making required data resubmissions.

The ECMPS reporting format software is provided at no cost to the respondents; the only additional software cost is the DAHS software upgrade which is discussed below (see page 20).  These revisions do not impose significant new requirements upon sources with regard to monitoring or quality assurance activities.  Although ECMPS has not been in use long enough for EPA to be able quantify time savings for the purposes of this ICR, the process should simplify all elements of users' data reporting and reduce data reporting time.  Improvements such as real time feedback and evaluation of the data prior to submission should reduce overall number of hours required to quality assure and report data.

In June 2009, EPA contacted eight companies subject to Acid Rain Program (ARP) monitoring requirements, and asked for voluntary input regarding the number of hours involved in several tasks related to Acid Rain Program monitoring and reporting.  Six respondents offered their estimates.  EPA reviewed these estimates and found that there was a wide range of expected burden, but that most estimates were within the range of results that might be expected given average the hourly burdens used in the 2007 – 2009 renewal.  Further, with the exception of the new data collection/reporting format, no regulatory changes are likely to change burden levels.  Thus, while hourly rates and other costs elements have been revised to reflect 2009 dollars and the number of units subject to the ARP has been updated to include projected new units and opt-in units, the estimated hours for each task remains unchanged consistent with the previous renewal of this ICR.  EPA anticipates that there may be long-term savings for affected sources once they become accustomed to using the newly re-engineered reporting system, and will use the first few years of experience with the new system to reassess potential cost/burden changes when preparing the next renewal of the ARP ICR.

3.3  Effects of Less Frequent Collection

Collection of allowance transfer information for each transfer of allowances is necessary to effectively implement a system for issuing, recording, and tracking allowances, which is required by statute.

3.3.1  Conservation and Renewable Energy Reserve

Collection of applications for allowances from the Conservation and Renewable Energy Reserve for emissions avoided through the use of conservation measures or renewable energy is required by statute and is vital to (1) determine qualification for these allowances, and (2) establish the sequence for allocating allowances on a first-come, first-served basis.

3.3.2  Permits

The requirement for the designated representatives of owners and operators of affected sources to submit permit applications every five years is a statutory requirement.

3.3.3  Emissions Monitoring

Submission of monitoring plans once and submission of the results of any required monitoring to EPA no less often than every six months are required by statute.  More frequent collections of emissions data (i.e., quarterly), however, allows the opportunity to check data for errors and provide rapid feedback on needed adjustments to data collection systems, and thereby promotes accurate and reliable emissions data.  For this same reason, existing federal and state emission monitoring programs often require quarterly reporting, or in some cases, monthly.  Less frequent collection, such as semi-annually or annually, would increase the amount of preparation and review time at the end of the year both for regulated sources and for EPA.  This would slow down the process of true up and end of year verification of compliance.

Records of monitoring information are to be kept at the source for three years after the date of creation of the record.  In certain circumstances, fuel flowmeter calibration and Appendix E testing records may have to be kept for up to five years if the owner or operator takes advantage of rule provisions that allow up to five years between tests.  These five year recordkeeping requirements only apply if the owner or operator voluntarily elects either of these options as a cost-effective approach for the owner or operator's specific circumstances.

3.3.4  Opt-in

Collection of permit applications for the opt-in program occurs only once every five years, thus minimizing the respondent burden.  This collection is necessary for the operation of the program; without it, EPA would not know which sources wanted to opt in, nor their baseline utilization, nor the lower of their 1985 actual or allowable emission rate.  Collection of withdrawal notifications also occurs once; this is also a necessary collection.

3.3.5  NOx Permitting

The Agency is required by statute to include NOx compliance plans as part of the Acid Rain permits.  As mentioned earlier, Acid Rain permits are renewed every five years, so NOx affected sources must submit a NOx compliance plan once every five years.

3.4  General Guidelines

Section 403(d) of Title IV requires that EPA establish a system for issuing, recording, and tracking allowances.  To track allowances accurately and to help ensure the orderly and competitive functioning of the allowance system, it is essential that participants be able to report information on allowance transfers as they occur.

The general requirement that permit applicants submit information on standard forms is established by Section 502(b) of Title V.  The five year life of an acid rain permit is established by Section 408(a) of Title IV.  This information collection does not violate the guidelines set forth by OMB.  In some cases, records of Part 75, Appendix E test results or fuel flowmeter calibration test results may need to be retained for up to five years, but only if the owner or operator chooses to take advantage of the ability to extend the period between tests up to five years.  In all other circumstances, Part 75 monitoring records must be kept for only three years.

3.5  Confidentiality and Sensitive Questions

Information collected through this activity is not confidential or of a sensitive nature.

3.6  Public Notice

EPA received a single comment in response to the public notice that was published in the Federal Register.  This comment pointed out that elements of the first published draft of this ICR supporting statement were out-dated and required revision.  EPA has addressed these issues in the current version of the ICR.  The comment can be found in Docket ID No. EPA-OAR-2009-0022, which is available for online viewing at www.regulations.gov, or in person viewing at the Air and Radiation Docket in the EPA Docket Center (EPA/DC), EPA West, Room B102, 1301 Constitution Ave., NW, Washington, D.C.

4.  THE RESPONDENTS AND THE INFORMATION REQUESTED

This section lists the major categories of businesses that participate in the Acid Rain Program, the data items requested from program participants, and the activities in which the participants must engage to assemble or submit the required data items.

4.1  Respondents/NAICS and SIC Codes

Title IV applies to "utility units," which are defined to include units that serve a generator producing electricity for sale or that did so in 1985.  Entities owning "utility units" that are likely to participate in allowance transactions are Fossil Fuel Electric Power Generators (NAICS code 221111) electric service providers (SIC code 4911) and selected firms in the non-utility generation industry, such as Coal Mining (NAICS code 2121) coal mining service companies (SIC code 1241).  Participants in transactions and the annual auctions include security and commodity contracts intermediation and brokerages (NAICS code 5231) (SIC code 62).

4.1.1  Emissions Monitoring

Utility units are required to submit emissions monitoring data under this ICR.

4.1.2  Opt-in

Potential participants in the opt-in program are facilities that emit SO2 but are not designated affected units under Title IV.  Such facilities include utility units that serve an electric generator of less than 25 MW that produces electricity for sale or that did so in 1985.  Entities owning utility units under 25 MW that may participate in the opt-in program are electric service providers (SIC code 4911).  Other potential participants are industrial boilers that are represented in a wide range of SIC categories.

4.2  Information Requested

This section lists the data items requested from affected sources for the collections described in this ICR.  This section also defines the activities in which respondents must engage to assemble, submit, or store these data items.

4.2.1  Data Items, Including Recordkeeping Requirements

A.  Allowance Transfers

All participants to allowance transfers are required to provide the following information for each allowance transfer:

●	Allowance tracking system account number;

●	Name, phone number, and facsimile number of the authorized account representative, along with the representative's signature and date of submission; and

●	Serial numbers of allowances to be transferred.

In addition, if the designated representative chooses to identify the specific serialized allowances to be deducted from the unit's allowance tracking system account for annual reconciliation, then the following information is required:

●	Allowance tracking system account number;

●	Type of deduction;

●	Serial numbers of the allowance blocks to be deducted; and

●	Dated signature of the designated representative.

B.  Certificate of Representation

Affected sources are assigned an allowance tracking system number and appoint a designated representative by submitting a certificate of representation.  The data items requested for the certificate of representation are as follows:

●	Source identification;

●	Unit identification, including:

--	Unit type and category;

--	Commence commercial operation date;

--	Generator IDs of generators served by unit;

--	Nameplate capacity(s) of the generators served by the unit;

--	List of applicable programs that the unit is subject to; and

--	NAICS Code.

●	Name, address, email, telephone, and facsimile number of the designated representative;

●	Name, address, email, telephone, and facsimile number of the alternate designated representative;

●	List of "owners and operators" of the source and each unit at the source;

●	Certification statement;

●	Signature of designated representative;

●	Signature of alternate designated representative; and

●	Date signed.

C.  Notification for Distribution of Proceeds from EPA Auctions

EPA disburses one payment using electronic funds transfer/direct deposit (EFT/DD) for each plant represented for the proceeds from the annual auctions of allowances.  The following information is required for this notification for distribution of proceeds:

●	Authorized Account Representative (AAR) Identification;

●	Name of the company receiving the payment;

●	The company's taxpayer identification number;

●	Bank account information;

●	Plant name and plant code; and

●	Signature of AAR.

D.  General Account Holders (Allowance Market Participants)

Entities that are not affected sources (such as individuals holding allowances) are required to submit a completed account information application or provide the following information to obtain an allowance tracking system account number, prior to or simultaneous with the first transfer:

●	Organization or company name (if applicable);

●	Name, mailing address, phone number, facsimile number, and email address of the authorized account representative;

●	Name of the alternate authorized account representative (optional);

●	A list of all persons subject to a binding agreement for the authorized account representative to represent their ownership interest with respect to the allowances held in the account; and

●	Certification statement and the signatures and date for the authorized account representative, and alternate authorized account representative, if any.

E.  Conservation and Renewable Energy Reserve

In order to receive allowances from the Conservation and Renewable Energy Reserve for emissions avoided, each electric utility must submit an application to EPA.  The application requires the following items:

●	Name and phone number of the person(s) who completed the application; and name and phone number of contact person;

●	Demonstration of qualification to receive allowances for emissions avoided;

●	A list of the qualified energy conservation measures implemented and the qualified renewable energy sources used for purposes of avoiding emissions during the previous calendar year;

●	Verification of (1) installation of energy conservation measures and the energy savings attained, and (2) plant operation using renewable energy and the energy generation attributable to renewable energy input;

●	For utilities using the EPA Conservation Verification Protocol, the information and methodologies used in determining energy savings, including a description of the conservation measures, the dates of claimed savings, the number of installations, the calculations used to determine energy savings, aggregate statistical information needed to calculate confidence levels, and a description of any comparison groups;

●	Calculations of the number of tons of emissions avoided by implementing conservation measures or using renewable energy; and

●	Identification of allowance tracking account(s) to which the Reserve allowances are to be allocated.

F.  Permits

Every affected source is required to have an Acid Rain permit.  Acid Rain permits have five-year permit terms.  The permitting authority's operating permits rule governs the issuance of permits to new units and for renewal of existing Acid Rain permits.

A complete Acid Rain permit application includes the following information:

●	Identification of the source (plant name, ORIS code, state);

●	Identification of affected units;

●	A complete compliance plan;

●	Standard requirements at 40 CFR 72.9;

●	For new units, commence operation date, and monitor certification deadline;

●	Standard certification; and

●	Name and signature of designated representative.

New Unit Exemption §72.7

Operators of new units that serve generators with a nameplate capacity of 25 MW or less and use fuel with a sulfur content by weight of less than 0.05 percent may obtain an exemption from monitoring, permitting, and allowance requirements if they submit a certification with the following information:

●	Unit Identification;

●	Nameplate capacity of each of the generators served by the unit;

●	The first full calendar year that the unit will meet the exemption requirements;

●	The fuels currently burned by the unit, and that will be burned in the future, and their sulfur content by weight;

●	Certification that the owners and operators will comply with all necessary requirements; and

●	Standard certification at §72.21(d)(2).

Retired Unit Exemption

Operators of affected units that are retired may obtain an exemption from the Acid Rain Program if they submit a retired unit exemption form with the following information:

●	Unit identification;

●	The date that the unit was (or will be) permanently retired;

●	The first full calendar year that the unit will meet the exemption requirements;

●	Certification that the unit is permanently retired and will comply with all necessary requirements; and

●	Standard certification at §72.21(d)(2).

All data items requested from permit applicants must be submitted on standard forms.  Most of the information requested in the forms is specifically required by law.

G.  Emissions Monitoring

Emissions monitoring requirements specify that affected sources must (1) submit a monitoring plan for each affected unit at a source, (2) submit data for certification of each monitor, and (3) record hourly operational, pollutant monitor, and flow monitor data for each affected unit and submit quarterly reports of their emissions data to EPA.  Appendix A to this ICR contains a list of the data items required by the recordkeeping and reporting provisions of Part 75.

Respondents are required by 40 CFR 75.64 to submit the quarterly emissions data electronically, by direct electronic submission to EPA, and must also include a certification statement by the designated representative of the unit.  Under the 2002 rule revisions, EPA requires the certification statement to be submitted electronically unless it approves a hardcopy submission.  All records are to be kept for three years, with two possible exceptions under voluntary options that are discussed in Section 3.3 of this ICR.

The 2002 Part 75 revisions added or revised some recordkeeping and reporting terms.  Some of these were necessary for the rule requirements to match the actual reporting practices used for the Acid Rain Program.  Others reflected minor rule changes.

In 2007, additional Part 75 revisions (such as the use of a wall adjustment factor in determining flow rate data) resulted in minor changes to monitoring and/or reporting requirements for some units.  Other revisions (such as no longer requiring a hardcopy certification application form (EPA form 7610.14)) may result in time savings.

The January 2008 revisions required upgrades and changes to the data acquisition and handling systems (DAHS) used by sources to record and request emissions consistent with the new EPA data system, the Emissions Collection and Monitoring Plan System (ECMPS).  This new system was required as of January 1, 2009, and has helped to streamline monitoring data management and reporting.  The January 2008 rule added some one-time burden costs for rule review and similar activities.  It also imposed the capital costs associated with the DAHS upgrade.  These labor burdens do not apply to the period covered by this ICR (i.e., 2010 – 2012) but the capital costs originally shown in the proposed ICR for the January 2008 rulemaking are now incorporated into this ICR for all ARP facilities.

H.  Auctions

For auctions, participants are required to submit a bid form and payment method at least six days prior to the date of the auction.  Sealed bids are submitted on a standard bid form developed by EPA.  Each bid provides the following basic information:

●	Name;

●	Account number (or new account information);

●	Allowance quantity and price; and

●	Type of auction.

The bid also specifies an acceptable method of payment for the total bid price regardless of the type of auction (spot or advance).  Full payment for allowances -- in an acceptable form -- is required with the bid at the time of submission.

I.  Opt-in

To obtain an opt-in permit, applicants are required to submit a certificate of representation and an opt-in permit application for each source.  For all respondents, the application must provide (1) general information on the source, (2) specific data about the source's fuel consumption and operating data for 1985, 1986, and 1987, and (3) data on the source's actual and allowable emission rates for 1985, as well as the current allowable emission rate.  For permit applicants who plan to opt-in and shut down, the compliance plan is based on a statement describing the source's plans for shutting down and replacing thermal energy.

The general information required of all opt-in sources include the following items, as listed in Section 74.16 or another section as listed below:

●	Source name and location;

●	Name, address, telephone, and facsimile number of the designated representative;

●	Name, address, telephone, and facsimile number of the alternate designated representative;

●	Statement of certification;

●	Complete record of fuel consumption and operating data for calendar years 1985, 1986, 1987, or other acceptable baseline;

●	Actual and allowable emission rates for 1985, or if source was not operating in 1985, for a calendar year to be determined by the Administrator, as well as the current allowable emission rate;

●	Statement provisions as indicated at 72.9; and

●	Signature of designated representative and date of signature.

In addition, sources that opt-in and continue to operate must meet the emission monitoring requirements that were listed above.

As part of the annual compliance certification report required in Section 74.43 for opt-in units, respondents must report utilization information, and replacement of thermal energy and resulting transfer of allowances.  The following information must be reported, as required in Sections 74.44 and 74.47:

●	Source name and location;

●	Name, mailing address, telephone, and facsimile number of source representative;

●	Benchmark utilization, annual utilization, average utilization, end-of-year determination of reduced utilization, and the calculation of allowances deducted for reduced utilization (if any);

●	Amount of thermal energy replaced (if the source has shut down or if the utilization rate has fallen due to replacement of thermal energy by another source), and the name and location of the source or sources providing replacement thermal energy;

●	A calculation of the number of allowances transferred to each source providing replacement thermal energy;

●	Allowance tracking system account number of the replacement units; and

●	Dated signatures for all designated representatives.

All respondents who choose to withdraw from the program are required to notify the Agency of their decision and provide the following information, as required in Section 74.18:

●	Source account number;

●	Name, address, telephone, and facsimile number of the designated representative; and

●	A certification that emissions requirements will be met through December 31 of the current year, and that all remaining allowances will be surrendered at that time.

J.  NOx Permitting

Regardless of the compliance option selected, the following elements must be included in the compliance plan for each source:

●	Identification of the source;

●	Identification of each affected unit at the source that is subject to these regulations;

●	Identification of the boiler type of each unit; and

●	Identification of the compliance option proposed for each unit.

For units that are choosing either standard or early election limits, the designated representative must simply check the appropriate box(es) to indicate the NOx compliance plan that is chosen.

For units that are in an averaging plan, the following additional information must be submitted:

●	Identification of each unit in the plan;

●	Each unit's standard emission limitation;

●	The alternative contemporaneous applicable emission limitation for each unit (in lb/mmBtu);

●	The annual heat input limit for each unit (in mmBtu);

●	The calculation for the equation outlined in Step 2 of the EPA form for emissions averaging; and

●	The calendar years for which the averaging plan applies.

For an AEL, the designated representative must submit the following information:

AEL Demonstration Period

For an AEL, the designated representative must first submit an application for an AEL demonstration period.  The application must contain the following information in accordance with 40 CFR §76.10(d):

●	Identification of the unit;

●	The type of control technology installed.  If low NOx burner technology incorporating advanced and/or separated overfire air is technically infeasible, a justification including a technical analysis and evaluative report from the vendor of the system or from an independent architectural and engineering firm explaining why;

●	Documentation that the installed NOx emission control system has been designed to meet the applicable emission limitation and that the system has been properly installed;

●	The date the specific unit commenced operation following the installation of the NOx control equipment, or the date the specific unit became subject to the emission limitations (whichever is later);

●	The dates of the operating period (minimum of three continuous months);

●	Certification by the designated representative that the unit and the NOx control equipment were operated during the operating period in accordance with specifications and procedures designed to achieve the applicable emission limitation, with the operating conditions upon which the design of the NOx control equipment was based, and with vendor specifications and procedures;

●	A brief statement describing the reason or reasons an AEL demonstration period is required for the specific unit;

●	For the control technology, load range, O2 range, coal volatile matter range, and percentage of combustion air introduced through overfire air ports;

●	Description of planned modifications;

●	List of parametric tests to be conducted in accordance with 40 CFR §76.15;

●	Identification of the continuous emission monitoring data submitted pursuant to 40 CFR Part 75 that is to be used in assessing this application;

●	An interim AEL, in lb/mmBtu; and

●	The proposed dates of the demonstration period.

Final AEL

After the demonstration period, the owner or operator may petition the permitting authority for a final AEL.  The petition must include the following information in accordance with 40 CFR §76.10(e):

●	Identification of the unit;

●	Certification that the affected unit and the NOx control equipment have been properly operated during the demonstration period;

●	Certification that the affected unit has installed all emission control equipment, made any operational modifications, and completed any upgrades and/or maintenance to equipment specified in the demonstration period plan;

●	A clear description of each step or modification taken during the demonstration period;

●	Engineering design calculations and drawings that show the technical specifications for installation of any additional operational or emission control modifications installed during the demonstration period;

●	Identification of the continuous monitoring data submitted pursuant to 40 CFR Part 75 that is to be used in assessing this application;

●	A report, based on the parametric testing, that describes the reasons for the failure of the installed NOx control equipment to meet the applicable emission limitation;

●	The minimum NOx emission rate, in lb/mmBtu, that the affected unit is able to achieve on an annual average basis;

●	All supporting data and calculations documenting the determination of the proposed AEL; and

●	For affected units that have installed an alternative technology, demonstration that the annual average reduction of NOx emissions is greater than 65 percent.

K.  Recordkeeping

All records are to be kept for three years, except for permitting records which are to be kept for the duration of the permit, or up to five years and certain new monitoring provisions.

4.2.2  Respondent Activities

A.  Allowance Transfers

Participants in the allowance transfer system that are not affected units are required to perform two tasks:  (1) negotiate an agreement to designate an authorized account representative and file an account information application to open an allowance tracking system general account; and (2) complete and submit allowance transfers.  Designating an authorized account representative and filing an account information application is required one time only, prior to or concurrent with conducting the first transfer of allowances.  For each transfer of allowances, participants are required to complete and submit an allowance transfer form or provide the required information using the Allowance Management System (AMS).  Affected units that were required to submit a certification of representation under the initial ICR, must continue to prepare and submit allowance transfer information for each allowance transfer, and if the designated representative chooses, identifying the serial numbers of allowances to be deducted for annual reconciliation using the Allowance Deduction Form.

General account holders and affected units may change the authorized account representatives by submitting a subsequent allowance account information form or certificate of representation form respectively.

B.  Conservation and Renewable Energy Reserve

The tasks that must be performed by utilities applying for allowances from the Conservation and Renewable Energy Reserve are (1) designate the qualified energy conservation measures implemented and the qualified renewable energy sources used to avoid emissions, (2) verify installation of energy conservation measures or the plant operation using renewable energy, and the resulting benefits, (3) calculate the tons of emissions avoided, and (4) demonstrate qualification to receive allowances for emissions avoided.  Generally, because utilities already perform these tasks to satisfy state requirements, utilities do not need to duplicate these efforts to apply for allowances from the Reserve.  Rather, utilities primarily assemble the information resulting from these activities in an application and submit this application to EPA.

C.  Obtaining a Permit

The primary tasks to obtain a permit are listed below.  These tasks are performed by existing sources required to renew their permits and new units during the period covered by this ICR.  In general, sources with existing units, must reapply at least six months prior to the expiration of an existing permit, but the actual timeframe is governed by the permitting authority's operating permits rules.

●	Designate a representative of the owners and operators of a source.  Read the designated representative certification procedures.  Negotiate an agreement to designate a representative for each unit at a source.  Complete and submit the certification.  This task is only relevant for a new Phase II source or if a source changes the designated representative.

●	Prepare the permit application.  Read the permit application instructions, then collect relevant information for the permit application.  Complete the Phase II acid rain permit application.  Where appropriate, provide specific information to support the use of compliance options for NOx.  Review the information for accuracy and appropriateness and report the information to the permitting authority.

D.  Emissions Monitoring

The primary tasks that are performed by respondents to meet the emissions monitoring requirements are (1) completing and submitting appropriate monitoring plan forms for each affected source and each affected unit at a source; (2) conducting tests to certify the operation of monitors, and submitting test results to EPA; (3) recording hourly emissions data (this activity generally is performed electronically); (4) operation and maintenance activities associated with the monitoring, including quality assurance activities; (5) assuring data quality, preparing quarterly reports of emissions data and submitting these reports to EPA; and (6) responding to error messages generated by EPA as a part of automated data checks or electronic audits, or to field audits conducted by EPA.  In addition, respondents must purchase the necessary monitoring hardware (or pay for fuel sampling and analysis in some cases) and purchase the electronic data reporting software (or software upgrades).  ECMPS  enables sources to run automated quality checks of reports prior to submittal to EPA and reduces the burden of having to respond to EPA generated error messages or follow-up EPA audits.

E.  Opt-in

In order to provide the information discussed in the previous section, participants must complete three tasks to participate in the opt-in program:  (1) submit a permit application; (2) meet monitoring requirements; and (3) submit annual compliance reports.  Respondents who choose to withdraw are required to submit a withdrawal notification.

The primary tasks that must be completed to obtain a permit and the activities associated with them are listed below.  These tasks will be performed only once during the period covered by this ICR.

●	Designate a representative of the owners and operators of a source.  Read the designated representative certification procedures.  Negotiate an agreement to designate a representative for each source.  Complete and submit the certification.

●	Prepare the permit application.  Read the permit application instructions, then collect relevant information for the permit application.  Complete written forms, including an application for an opt-in permit.  Review the information for accuracy and appropriateness.  Submit the information to EPA, sending copies to the appropriate EPA regional office.

Respondents who opt-in and continue to operate must also perform the task required under the emissions monitoring section above.  Respondents who opt-in and shut down do not need to perform any tasks related to monitoring.

To withdraw from the program, respondents must notify EPA of their decision to withdraw.  Notification entails providing EPA with the data items presented in Section 3.2.1.

Opt-in sources covered by a thermal energy plan, must also report information concerning the replacement of thermal energy, including the identification of the source or sources providing replacement thermal energy, and the allowances transferred as a result of the replacement of thermal energy.

F.  NOx Permitting

The primary tasks for a NOx compliance plan are listed below.

●	Prepare the NOx compliance plan application.  Read the application instructions, then collect relevant information.  Analyze compliance options and plan compliance.  Complete written forms.  Review the information for accuracy and appropriateness and report the information to the permitting authority and send a copy to the EPA.  Preparing a NOx compliance plan application may include interpreting the rule, collecting information and completing and submitting a NOx averaging plan, or an AEL petition.

Because each source must renew its Acid Rain permit every five years, EPA assumes the tasks for permitting will be performed by 20 percent of all NOx affected sources annually, in accordance with Section 408.

5.  THE INFORMATION COLLECTED -- AGENCY ACTIVITIES, COLLECTION METHODOLOGY, AND INFORMATION MANAGEMENT

The first part of this section describes Agency (EPA) activities related to the acquisition, analysis, storage, and distribution of the information collected from (1) participants in allowance transfers, (2) applicants for allowances from the Conservation and Renewable Energy Reserve, (3) permit applicants, (4) designated representatives of affected sources that are required to submit monitoring plans and emissions data, (5) participants in the annual auction, and (6) the opt-in program, and (7) NOx permitting.  The second part describes the information management techniques employed to increase the efficiency of collections.  The third part discusses the burden or benefits of the collection activities described in this ICR to small entities.  The last part outlines the schedule for collecting information.

5.1  Agency Activities

5.1.1  Allowance Transfers

Collections associated with operating the allowance transfer system require EPA to (1) track allowance holders and maintain allowance accounts, (2) review allowance transfer information for completeness and ensure that all requirements are met, (3) record allowance transfers, and (4) notify both participants in a transfer whether the transfer was recorded.  EPA has developed a computerized allowance tracking system to track allowances and maintain information on accounts.  In addition, EPA now has a system that allows market participants to submit transfers over the internet and that provides real time transfers and instantaneous confirmation.

5.1.2  Conservation and Renewable Energy Reserve

Activities that must be performed by EPA to distribute allowances from the Conservation and Renewable Energy Reserve include (1) registering applications and reviewing applications for completeness, (2) performing substantive reviews of applications to determine whether all necessary criteria to receive allowances have been met, (3) transferring allowances from the Reserve or notifying applicants of their failure to qualify for allowances from the Reserve, and (4) for utilities using the EPA Conservation Verification Protocol, verifying the quantified energy savings from conservation measures.

5.1.3  Permits

EPA staff administering the permit program perform the following task:

●	Review certificates of representation, enter the information in the Clean Air Markets Database (CAMD), and notify the representative.

Permitting authority staff, generally at the state or local level, perform the following task:

●	Review permit applications and issue permits.  Receive and review permit applications and record submissions.  Provide notice to applicants whether permit applications are complete.  Reformat collected data items to constitute proposed and final permits.  Provide opportunities for public comment and participation.

5.1.4  Emissions Monitoring

The major EPA activities related to emissions monitoring and reporting include (1) reviewing monitoring plans and certification applications, and (2) processing, reviewing and evaluating reports of quarterly emissions data from affected units.  EPA's ECMPS computer system tracks and maintains this information.  EPA also answers respondent questions and conducts audits of data submissions and field audits of monitoring systems.  The use of the ECMPS software streamlines EPA's process for conducting many of these checks.

5.1.5  Auctions

EPA staff administering the auctions receive the sealed bids and payments, enter the information provided on bid forms into a computer system, and deposit the checks into a designated bank account.  (Collectively, these activities comprise handling of bids and checks.)  After bids are recorded, they are ranked using a computer program and then the allowances are allocated.  EPA announces the results by posting them on the EPA website.  Finally, after payment is verified, EPA records the transfer of allowances and transfers the proceeds from the auction to the owners and operators from whom the allowances were withheld.  EPA has developed a computer system to track the payment of proceeds.

5.1.6  Opt-in

EPA staff administering the opt-in permit program perform the following tasks for each opt-in applicant:

●	Review certificate of representation, record information, and notify representative.

●	Review permit application.  Receive and review permit application and record submission.  Provide notice to applicant as to whether permit application is complete.  Reformat collected data items to constitute proposed and final permit.

●	Notify applicant regarding allowances.  Notify the opt-in permit applicant of the number of allowances the applicant would receive each year as an opt-in source.

EPA activities related to withdrawals will be to process the withdrawal notification, and ensure that all unused allowances have been surrendered at the end of the calendar year.

5.1.7  NOx Permitting

Agency staff perform the following task:

●	Review NOx compliance plan applications.  Receive and review applications and record submissions.  Provide notice to applicants whether applications are complete.

5.2  Collection Methodology and Management

To ensure consistency nationwide and to expedite (1) data entry, (2) the allocation of allowances from Reserves, and (3) permit issuance, EPA requires that standard reporting forms or equivalent formats or standard electronic reporting formats be used to submit all information to be collected under this ICR.  The standard forms are included in Appendix A.

Currently, respondents to collections for allowance transfer information may submit the required information on a standard written form, or using an electronic format.  Permit applications are submitted on standard paper forms, as are certifications for new and retired unit exemptions.  EPA requires that XML format be used to submit information to be collected under Part 75 and, under the 1999 rule revisions, EPA also required that data be sent via direct electronic submission to EPA beginning in the year 2001.

Several computer systems and associated databases have been developed to (1) track allowances, (2) record quarterly emissions monitoring data, (3) track auction proceed payments, and (4) calculate the number of allowances to be deducted each year.  In 2001, EPA also made available the Online Allowance Transfer System to permit online allowance transfers and allowance account maintenance activities.  The systems and databases are designed to coordinate the information for easy access and use by the Agency, states, regulated community, and the public.

The Data and Maps section of the EPA's Clean Air Markets Home Page on the internet includes detailed information collected from emissions reports, allowance transfer activity, and facility or source data.  Those without access to the internet may use the Acid Rain Hotline to request information.

5.3  Small Entity Flexibility

For the purposes of the Acid Rain Program, EPA has adopted the Small Business Administration's definition of a "small" electric power utility as one that generates a total of less than four billion kilowatt-hours per year.  Generally, although about two-thirds of the affected sources in Phase II generate a total of less than four billion kilowatt-hours per year and are required to participate in some collections under this ICR (e.g., submitting information for certification of monitors and submitting quarterly emissions monitoring reports), the costs to these sources for collections under this ICR are small relative to the revenues they generate.  This is based on an analysis that was included in the Regulatory Impact Analysis of the Final Acid Rain Implementation Regulations, dated October 19, 1992.

All affected sources under the Clean Air Act Amendments of 1990 are required to submit permit applications and to respond to other collections under this ICR, according to the same parameters (with the exception of operators of new units of 25 MW or less, who may receive an exemption from the Acid Rain Program requirements if they qualify).  Retired units may also be exempted from some reporting requirements.

The use of standardized forms will enable small entities to understand and complete permit application submissions without the level of staffing which would be necessary in the absence of such forms.

In the January 11, 1993 final Acid Rain Core Rules, EPA provided for a conditional exemption from the emissions reduction, permitting, and emissions monitoring requirements of the Acid Rain Program for new units having a nameplate capacity of 25 MW or less that burn fuels with a sulfur content no greater than 0.05 percent by weight, because of the high cost of monitoring emissions from these sources and the de minimis nature of their emissions.

The Part 75 rule revisions also create an additional small unit exception.  This exception incorporates optional reduced monitoring, quality assurance, and reporting requirements into Part 75 for units that combust gas and/or fuel oil and that have low levels of mass emissions (referred to as low mass emissions (LME) units.  Originally, EPA required that LME units emit no more than 25 tons of SO2 and no more than 50 tons of NOx annually, and that they calculate no more than 25 tons of SO2 and no more than 50 tons of NOx annually based on required procedures for calculating and reporting emissions.  As part of the 2002 Part 75 revisions, EPA has increased the NOx threshold to < 100 tons per year (and, for units that are subject to the NOx SIP Call, no more than 50 tons per ozone season).  Qualifying LME units are no longer required to keep monitoring equipment installed on (or conduct sulfur-in-fuel sampling for) low mass emissions units, nor are they required to perform quality assurance or quality control tests.  Moreover, emissions reporting requirements are significantly simplified for these units.

Even if a gas- or oil-fired unit does not qualify for the LME provisions, Part 75 allows gas- and oil-fired units to use methods other than continuous emission monitoring systems (CEMS).  The 1999 Part 75 revisions significantly reduced the costs and burdens associated with fuel sampling and QA activities for these non-CEMS methods.  As discussed in the Regulatory Impact Analysis (RIA) of the final Acid Rain Implementation Regulations (October 19, 1992), smaller utilities are more likely to be dependent on these oil- and gas-fired units, especially very small utilities (see pages 5 – 14 of that RIA document).

Further reductions in requirements aimed specifically for small entities are limited because of the statutory requirements that all affected units use CEMS (or an equivalent method) to record and report emissions data for Title IV purposes.

5.4  Collection Schedule

5.4.1  Allowance Transactions

There is no specific collection schedule associated with allowance transactions.

5.4.2  Conservation and Renewable Energy Reserve

Submitting applications for allowances from the Conservation and Renewable Energy Reserve is voluntary.  Allowances from the Reserve will be allocated on a first-come, first-served basis during the period from January 1, 1992 to December 31, 2009.

5.4.3  Permits

In general, each Acid Rain permit is effective for five years.  Revisions to the permit may be submitted at any time.

5.4.4  Emissions Monitoring

Monitoring plans must be submitted only once, although certain elements of the monitoring plan are submitted (and updated as necessary) routinely as part of the XML format.  Only new units will have to apply for certification during the 2010 through 2012 time period.  While some monitors will undergo changes which will require an application for recertification, there is no set schedule for recertification.

Quarterly reports are due for each quarter during the life of this information collection request.  In addition, EPA has provided for notifications to the Agency for semi-annual or annual quality assurance testing and for situations where a unit will have a revised certification deadline (for example, notifications of unit start-up for new units).

5.4.5  Auctions

The spot and advance auctions are currently held before March 31 of each year.  The cutoff date for submission of bids is only a few days prior to the auction in order to limit the time EPA holds the bidders' money.

5.4.6  Opt-in

Opting in to the allowance program requires just one information collection (although monitoring information for affected sources must be collected quarterly).  Opt-in permit applications may be submitted to EPA and the permitting authority at any time.  Permits must be renewed at that time, and every five years thereafter.  Revisions to the permit may be submitted at any time.

Monitoring plans must be submitted only once, at the time the opt-in permit application is submitted.  The data upon which EPA will base its certification of each emissions monitor may be submitted after the source receives a draft opt-in permit, but must be submitted before the source may be designated an affected source.  (Monitors must be installed, certified by EPA, and operating before the source may be designated an affected source.)  Emissions data to meet reporting requirements are collected quarterly, 30 days after the end of each calendar quarter, beginning at the end of the first quarter in which the source becomes an affected source.

Compliance reports must be sent annually.  Allowance transfer information must be submitted once for each transfer; a certificate of representation needs to be submitted only once, at the same time as the opt-in application.

Withdrawing requires only one information collection.

5.4.7  NOx Permitting

Acid Rain permits, including NOx compliance plans must be renewed every five years.

6.  ESTIMATING THE BURDEN AND COST OF COLLECTIONS

This section estimates the paperwork burden and cost of (1) tracking and transferring allowances, (2) obtaining and distributing allowances from the Conservation and Renewable Energy Reserve, (3) obtaining and issuing permits, (4) submitting monitoring plans, obtaining certification of each monitor, and recording and reporting data from CEM systems, (5) the auction program, (6) the opt-in program, and (7) NOx permitting.

First, assumptions regarding allowance transfers are presented, followed by the annual respondent and Agency burden and cost estimates associated with allowance transfers.  Subsequent sections separately address allowances for energy conservation and renewable energy use, permits, emissions monitoring, auctions, opt-in, and NOx permitting.  Finally, aggregate annual burden hour and cost estimates to respondents and to EPA for collections covered by this ICR are presented.

Estimating Labor Costs

Labor rates in this renewal ICR are wages and salaries with benefits, updated from the rates in the previous, 2006, ICR to January 2009.  In keeping with provisions in the EPA ICR Handbook (page A-26), EPA used the Bureau of Labor Statistics (BLS) Employment Cost Index (ECI) to adjust labor rates from $2006 to $2009.

Wages and salaries make up roughly 70 percent of the ECI category "total compensation."  The remainder is made up of benefits, including:  paid leave, supplemental pay, insurance, retirement and savings, and legally required benefits such as Social Security, Medicaid, unemployment insurance, and worker's compensation.  For a detailed breakdown of costs of wages and benefits, see Table 1 of the BLS September 10, 2009 News Release:  Employer Costs for Employee Compensation Summary (http://www.bls.gov/news.release/
ecec.t01.htm).

The process for deriving the adjustment factors is provided on the BLS ECI site:  http://www.bls.gov/ncs/ect/data.htm.  Using the online ECI labor rate calculator, the first step is to enter parameters defining the labor rate, in this case:  "total compensation," "private industry," and "management, business and financial -- excluding incentive paid" to arrive at a multiplier to update the managerial labor rate.  EPA repeated these steps, substituting "professional and related" for "management, business and financial -- excluding incentive paid" to arrive at a multiplier to update the technical labor rate.  (Among the occupational groups represented in the calculator, "management, business and financial -- excluding incentive paid" and "professional and related" were the most closely matched to the management and technical work performed under this ICR.)  The online system uses this information to generate a table of monthly and/or quarterly labor rates.  The percentage difference between the January 2006 and January 2009 compensation was used to develop multipliers for adjusting management and technical labor rates.  The increase in total compensation cost from January 2006 to January 2009 was 8.9 percent for management workers and 9.9 percent for technical workers.  The managerial labor rate for respondents was adjusted using a factor of 1.089, and the technical labor rate was adjusted using a factor of 1.099.  The Agency labor rate was adjusted upwards using a factor of 1.094, which is the average of the managerial and technical labor rate factors.

The respondent labor rates in the 2006 ICR were $84.14 per hour for managers and $58.00 per hour for technicians.  The labor rate for Agency personnel in the 2006 ICR was $54.65 per hour.  For this (2009) renewal, EPA used the following amounts:  $91.94 per hour for managers and $63.74 per hour for technicians and clerical workers.  EPA used $59.79 per hour for Agency labor.

6.1  Tracking, Transferring, and Deducting Allowances

Labor burden and costs for collections associated with tracking and transferring allowances are functions of the number of transfers anticipated.  The 2007 – 2009 ARP ICR assumed, based on an average of three units per facility, that the number of privately submitted allowance transfers would be about 1,700 each year (one-third of the 5,200 transfers in a typical prior year).  This assumption was made because of the Acid Rain Program's 2006 requirement for facility-level, rather than unit-level, compliance.  Transfers to move allowances among the different unit accounts at a facility were no longer needed for compliance purposes.  However, sources transfer allowances for a variety of purposes, and the assumption that transfers would drop by two-thirds over-estimated the impact on the number of transfers of switching to facility-level compliance.  Based on number of transfers recorded by EPA in 2007 and 2008, EPA now assumes that about 3,955 privately submitted allowance transfers will be made each year, 2010 through 2012.

Affected facilities have the option of identifying specific serial numbered allowances to be deducted by EPA.  Based on past experience, EPA assumes that approximately half of all affected facilities will submit an optional allowance deduction form each year.  EPA estimates that an average of 645 facilities will be submit the optional deduction forms each year during the period covered by this ICR (2010 through 2012).

6.1.1  Estimate of Respondent Burden and Costs for Transfers and Deductions

Exhibit 1 presents the annual burden and costs to participants in allowance transfers and deductions.  Participants that are not affected units are required to negotiate an agreement to designate an authorized account representative and file a new account application; this activity is required only one time, prior to or simultaneous with the participant's first transfer of allowances.  All participants are required to complete and submit allowance transfer information for each transfer of allowances.  EPA estimates about ten hours to designate an authorized account representative and to open a general account, about two hours to prepare and submit information for an allowance transfer, and about three hours to prepare and submit an optional allowance deduction.

Assuming that 55 participants file new general account applications, 3,955 transfers will be made annually, and 645 deduction forms are submitted, the burden to respondents will be about 10,395 hours annually.  The cost to respondents will be about $796,950.30 annually.

EXHIBIT 1

ANNUAL RESPONDENT BURDEN/COST ESTIMATES FOR

ALLOWANCE TRANSFERS AND DEDUCTIONS

| Tasks | Burden Hours per Occurrence | Cost per Occurrencea | Total Burdenb (hours) | Total Cost |
| --- | --- | --- | --- | --- |
| Designate an authorized account representative and file new account application. |  |  |  |  |
| Managerial. | 3 | $275.82 | 165 | $15,170.10 |
| Technical. | 7 | $446.18 | 385 | $24,539.90 |
| Prepare and submit allowance transfer information. |  |  |  |  |
| Managerial. | 1 | $91.94 | 3,955 | $363,622.70 |
| Technical. | 1 | $63.74 | 3,955 | $252,091.70 |
| Allowance deduction form (optional). |  |  |  |  |
| Managerial. | 1 | $91.94 | 645 | $59,301.30 |
| Technical. | 2 | $127.48 | 1,290 | $82,224.60 |
| TOTAL | 10,395 | $796,950.30 |

a	2009 dollars; managerial hours $91.94 per hour and technical hours $63.74 per hour.

b	Assumes 55 participants file new account applications, 3,955 transfers are made, and 645 optional deduction forms are submitted.

6.1.2  Estimate of Agency Burden and Costs for Transfers

Agency burden and costs are divided into those costs associated with enhancing a tracking system, and those associated with transferring and deducting allowances.

A.  Allowance Tracking System

The allowance system regulations set the general requirements for the tracking system, which has been developed by EPA.  In order to track allowances, the allowance tracking system must include information on (1) allowance allocations for each affected facility, (2) allowance transfers and deductions, and (3) allowance holders.  Also, to allow for the transfer of future year allowances, the allowance tracking system will contain allowance information for thirty years into the future.  EPA has made the information compiled in the allowance tracking system publicly available in several formats on the internet and is continually working to improve electronic access.

EPA incurs annual operation and maintenance (O&M) costs for running an electronic transmission network, system enhancement, general maintenance, and employee salaries.  These O&M costs are estimated at $1.5 million annually.

B.  Allowance Transfer System

Upon receipt of an allowance transfer notification in hard copy form, EPA will (1) review allowance transfer information for completeness and ensure that all requirements have been met, (2) record allowance transfers, and (3) notify both participants to a transfer whether the transfer was recorded.  EPA estimates that it will require an average of one hour to perform these activities for each notification.  Upon receipt of an optional allowance deduction form, in hard copy, EPA will record the data into the EPA data system.  This is estimated to take about 30 minutes per form.

Recent results indicate that only about one percent of all transfers employ paper forms.  So, assuming 40 (out of the 3,955 total) transfers will be made using paper forms each year and 100 (out of the 645 total) deduction submissions will be on paper, the annual burden to EPA will be about 90 hours.  There is no Agency burden when participants use the electronic online transfer system (also used for the optional deduction submission), since all EPA functions are automated.  Costs for maintaining the online system are included in the O&M costs.  The total cost to EPA will be about $5,381.60 annually.  Exhibit 2 summarizes the Agency burden and cost estimates for recording and transferring allowances.

EXHIBIT 2

ANNUAL AGENCY BURDEN/COST ESTIMATES FOR ALLOWANCE TRANSFERS

| Tasks | Burden Hours per Occurrence | Cost per Occurrencea | Total Burdenb (hours) | Total Cost |
| --- | --- | --- | --- | --- |
| Review allowance transfer information, record transfer, and notify transfer participants. | 1 | $59.79 | 40 | $2,391.60 |
| Enter deduction data and deduct allowances. | 0.5 | $29.90 | 50 | $2,990.00 |
| TOTAL | 90 | $5,381.60 |

a	2009 dollars.

b	Assumes 40 transfers and 100 optional deduction forms are submitted annually.

6.2  Obtaining and Distributing Allowances from the Conservation and Renewable Energy Reserve

Although it is difficult to predict the number of utilities that will apply for allowances from the Conservation and Renewable Energy Reserve, there have been only nine transactions involving these allowances in the past three years, and the program will be discontinued at the close of 2009.  This analysis assumes that no applications will be submitted each year (2010 through 2012).  This area of activity will be removed from the supporting statement of the next ARP ICR renewal.

6.2.1  Estimate of Respondent Burden and Costs

Exhibit 3 depicts the annual respondent burden and costs that historically have been associated with obtaining allowances from the Conservation and Renewable Energy Reserve.  Each utility applying for allowances from the Reserve is required to perform the following tasks:  (1) designate energy conservation measures implemented and renewable energy sources used to avoid emissions; (2) verify savings from energy conservation measures and/or amount of generation from renewable energy; (3) calculate the tons of emissions avoided; and (4) demonstrate qualification to receive allowances for emissions avoided.  Because most states already collect information on these activities from utilities, the primary burden to utilities would be that associated with assembling and submitting to EPA the application to receive allowances from the Reserve.  If someone chose to apply, EPA assumes it would take about 46 hours to assemble and submit an application to receive allowances from the Reserve to EPA, and an additional 32 hours if the applicant chose to assemble and submit the information required in the EPA Conservation Verification Protocol.

EXHIBIT 3

ANNUAL RESPONDENT BURDEN/COST ESTIMATES FOR

CONSERVATION AND RENEWABLE ENERGY ALLOWANCES

| Tasks | Burden Hours per Application | Cost per Applicationa | Total Burden (hours) | Total Costs |
| --- | --- | --- | --- | --- |
| Assemble and submit an application to receive allowances from the Reserve.b |  |  |  |  |
| Managerial. | 11 | $1,011.34 | 0 | $0 |
| Technical. | 35 | $2,230.90 | 0 | $0 |
| Assemble and submit the information required in the EPA Conservation Verification Protocol.c |  |  |  |  |
| Managerial. | 7 | $643.58 | 0 | $0 |
| Technical. | 25 | $1,593.50 | 0 | $0 |
| TOTAL | 0 | $0 |

a	2009 dollars.

b	Assumes zero applications  each year (2010 through 2012).

c	Assumes zero applicants will utilize the EPA Conservation Verification Protocol each year.

6.2.2  Estimate of Agency Burden and Costs

Exhibit 4 depicts the annual burden and costs to EPA that have been associated with distributing allowances from the Conservation and Renewable Energy Reserve.  Tasks performed by EPA related to the distribution of allowances from the Reserve include the following:  (1) register applications and review applications for completeness; (2) perform substantive reviews of applications to determine whether all necessary criteria to receive allowances have been met; (3) transfer allowances from the Reserve or notify applicants of their failure to qualify for allowances from the Reserve; and (4) for utilities that choose to use the EPA Conservation Verification Protocol, verify the quantified energy savings from conservation measures.  EPA assumes it takes about eleven hours to process each application and transfer allowances (or notify applicants).

EXHIBIT 4

ANNUAL AGENCY BURDEN/COST ESTIMATES FOR

CONSERVATION AND RENEWABLE ENERGY ALLOWANCES

| Tasks | Burden Hours per Application | Cost per Applicationa | Total Burden (hours) | Total Costs |
| --- | --- | --- | --- | --- |
| Register application and review for completeness.b | 1 | $59.79 | 0 | $0 |
| Perform substantive review of application.b | 4 | $239.16 | 0 | $0 |
| Transfer allowances from the Reserve or notify applicants.b | 1 | $59.79 | 0 | $0 |
| Verify energy savings based upon the EPA Conservation Verification Protocol.c | 5 | $298.95 | 0 | $0 |
| TOTAL | 0 | $0 |

a	2009 dollars.

b	Assumes zero applications each year (2010 through 2012).

c	Assumes zero applicants will utilize the EPA Conservation Verification Protocol.

6.3  Obtaining and Issuing Permits

This part presents estimates of the level of effort required and the associated costs to permit applicants and either EPA or the permitting authority of obtaining and issuing permits.  This analysis estimates the cost and burden for new sources required to obtain permits for Phase II, for sources changing designated representatives, and sources renewing their permit.

All applicants for permits will be required to submit a general acid rain permit application for each affected source that covers all units at the source.

6.3.1  Estimate of Respondent Burden and Costs for Permitting

Exhibit 5 depicts the burden and costs to respondents for (1) selecting a new designated representative, (2) submitting Phase II permit application, (3) submitting a retired unit exemption, and (4) submitting a new unit exemption.  Based on the past two years of operation, EPA assumes that each year 1,277 Certificate of Representation forms will be submitted to appoint new designated representatives, 20 percent of all sources will submit Phase II permit applications (this number includes both new sources and sources renewing their permits), 33 units will submit retired unit exemptions, and 33 units will submit new unit exemptions.

The total annual respondent burden is estimated to be 20,686 hours.  The costs associated with the permitting process are estimated at $1,691,413.84 annually.

EXHIBIT 5

RESPONDENT BURDEN/COST ESTIMATES FOR PERMITS

| Tasks | Burden Hours per Occurrence | Cost per Occurrencea | Total Burden | Total Cost |
| --- | --- | --- | --- | --- |
| Change Designated Representive.b |  |  |  |  |
| Managerial. | 10 | $919.40 | 12,770 | $1,174,073.80 |
| Technical. | 5 | $318.70 | 6,385 | $ 406,979.90 |
| Phase II Permit Applications.c |  |  |  |  |
| Managerial. | 2 | $183.88 | 500 | $45,970 |
| Technical. | 3 | $191.22 | 750 | $47,805 |
| Retired Unit Exemption.d |  |  |  |  |
| Managerial. | 1 | $91.94 | 33 | $3,034.02 |
| Technical. | 2 | $127.48 | 66 | $4,206.84 |
| New Unit Exemption.e |  |  |  |  |
| Managerial. | 1 | $91.94 | 33 | $3,034.02 |
| Technical. | 3 | $191.22 | 99 | $6,310.26 |
| TOTAL | 20,636 | $1,691,413.84 |

a	2009 dollars.

b	Assumes that 1,277 certificate of representation forms will be submitted.

c	Assumes 250 sources (20 percent of all affected sources) will submit Phase II permit applications each year.

d	Assumes 33 units will submit retired unit exemptions each year.

e	Assumes 33 units will submit new unit exemptions each year.

6.3.2  Estimate of Agency/Permitting Authority Burden and Costs for Permitting

Exhibit 6 presents the burden and costs to EPA and the permitting authority to review and process permit information.  The primary tasks performed by EPA are reviewing certificates of representation, and reviewing permit applications.  The primary tasks performed by the permitting authority are reviewing and processing permit applications, notifying the public, and issuing proposed and final permits, and reviewing new and retired unit exemptions.  Reviewing a certificate of representation and determining completeness is estimated to require half an hour.  Reviewing the permit application, notifying the public, and issuing proposed and final permits is estimated to require nine hours per occurrence.  The Agency's total annual effort will be 908.5 hours.  The total cost to EPA for all permitting activities will be about $54,313.84.  The total annual estimated burden and cost to the Permitting Authorities is 2,132 hours and $127,472.28.

EXHIBIT 6

ANNUAL AGENCY/PERMITTING AUTHORITY BURDEN/COST ESTIMATES FOR PERMITS

| Tasks | Burden Hours per Occurrence | Cost per Sourcea | Total Burden (hours) | Total Cost |
| --- | --- | --- | --- | --- |
| EPA reviews certificates of representation and records information.b | 0.5 | $29.90 | 638.5 | $38,182.30 |
| Review permit application, and issue draft, proposed, and final permit.c |  |  |  |  |
| Permitting Authority action. | 8 | $478.32 | 2,000 | $119,580 |
| EPA review. | 1 | $59.79 | 250 | $14,947.50 |
| Receive and process retired and new unit exemptions.d |  |  |  |  |
| Permitting Authority action. | 2 | $119.58 | 132 | $7,892.28 |
| EPA review. | 0.3 | $17.94 | 20 | $1,184.04 |
| TOTAL | 3,130.5 | $181,786.12 |

a	2009 dollars.

b	Assumes 1,277 sources submit a certificate of representation.

c	Assumes 250 sources (20 percent of all affected sources) will submit Phase II permit applications each year.

d	Assumes 33 retired and 33 new unit exemptions are submitted each year.

6.4  Emissions Monitoring Recording and Reporting

This section estimates the paperwork burden and cost of submitting monitoring plans, obtaining certification of each monitoring system, conducting monitor quality assurance activities, and recording and reporting data from CEM systems (or approved alternatives), and other ancillary activities (such as responding to EPA generated error messages, or responding to EPA audits).

The legislative requirements in Title IV require all affected Phase I and Phase II sources to install SO2 and NOx CEM systems, continuous opacity monitors (COMS), and flow monitors (or approved alternatives).  Data handling or reporting is required by the law, but not specified.  Under the promulgated regulations, however, EPA imposes data handling, reporting, and recordkeeping requirements.  The EPA requires that all affected units required to install CEM systems use a data acquisition and handling system (DAHS) to record hourly CEM and flow monitor data in the XML format.  Affected gas- and oil-fired units may elect to use the approved alternative SO2 monitoring method and record fuel sulfur analysis data, and then use a DAHS to record and report hourly fuel flow values from a fuel flow meter in the XML format.  In addition, peaking units that burn natural gas and/or fuel oil may use an excepted method for calculating NOx emission rates.  Finally, EPA allows certain low mass emissions (LME) units to use assumed emission factors together with operational data to calculate emissions.

Affected sources are required to complete and submit a monitoring plan and obtain certification of each monitor (on standard forms) for each affected unit at the source.  These plans and certifications, which are only submitted once, have already been submitted for most units.  Sources, however, may need to submit revised plans or even recertify if they change some aspect of their existing plan.  New units will still need to submit plans and certifications for the first time.  In addition, all affected units are required to submit quarterly reports of their emissions data to EPA; these reports include much of the basic monitoring plan data as well.

To develop this renewal ICR, EPA relied primarily on the extensive efforts to identify and calculate burdens for prior ICR renewals and the Clean Air Interstate Rule (CAIR) ICR.  In 1999, EPA promulgated significant revisions to Part 75 to address a number of implementation concerns that affected sources had raised.  In 2002, EPA promulgated less significant revisions to Part 75 that addressed a number of procedural and technical issues, the possibility of non-load based units using Part 75 as part of the NOx SIP Call, and the expanded use of the LME provisions.  In 2005, EPA promulgated Part 75 revisions that implement the new ECMPS data system and reporting process.

To quantify the respondents' burdens and costs, EPA has analyzed existing data reported by the affected sources and developed model unit categories to classify and characterize the affected population.

A projection of the number of new units that will come on line in 2010 through 2012 was also made and included in the unit counts.  The new unit estimates (37 new units each year, increasing the average total number of units by 74 units/year from 2010 through 2012) were based on the four year average of new units coming on line in the 2006 – 2009 period plus a one percent annual increase in the number of units (per the Energy Information Administration (EIA) projected approximately one percent annual increase in electricity generating capacity in the Annual Energy Outlook 2009).  New units were apportioned to the different monitoring methodologies based on the four year average of new units coming on line for each methodology.

The result of this analysis projects the total number of reporting units within the following model categories:

●	Model A (units with SO2, flow, NOx, and CO2 CEMS):  1,046 total units.

●	Model B (units with opacity CEMS solely as a result of Title IV):  500 total units.  (Note:  These units also are classified under other models for SO2, NOx, and CO2 requirements.)

●	Model C (units with Appendix D monitoring for SO2 and CEMS for NOx):  2,107 total units.

●	Model D (units using both Appendix D and Appendix E for SO2 and NOx):  438 total units.

●	Model E (units using the LME methodology):  145 total units

●	Model F (units with moisture monitors necessary for moisture correction):  32 total units.  (Note:  These units are also classified under other models for SO2, NOx, and CO2 requirements.)

To estimate the burden and/or cost for each model, EPA has relied on the sources estimates included in the prior ICR renewal for labor hour estimates of each activity.  O&M and capital costs were updated from estimates included in the 2006 – 2009 ICR renewal, using a factor (1.024) based on the BLM Producer Price Index.  In addition, the hourly labor rates for managerial, technical and clerical staff reflect the labor rates used in the existing ICR but are updated to 2009 dollars using the BLM Employment Cost Index, consistent with Agency ICR guidance.

6.4.1  Estimating Respondent Burden

The primary tasks performed by owners and operators of affected units are (1) reviewing the regulations, forms and instructions, (2) responding to EPA generated error messages and audits, (3) installing and reprogramming a DAHS and debugging the software, (4) completing and submitting monitoring plans for each unit at the source, (5) performing appropriate tests and providing test results to certify each monitor, (6) performing quality assurance testing and maintenance upon monitors, (7) assuring the quality of emissions data, preparing quarterly reports of emissions data, and submitting reports to EPA; and (8) fuel sampling.

A.  Regulatory Review

The estimate for time to review instructions and requirements remains consistent with the labor estimates used in previous ICRs (four manager hours and four technician hours) where no substantial changes have been made to the Rule.  These estimates apply at the facility level.  The estimates for burden in 2008 – 2009 to review the Part 75 rule revision in January 2008 were addressed in the proposed ICR for that rule, and are not expected to be included in the period covered by this ICR (2010 – 2012).  These hours cover reviews independent of the reviews that may occur as part of the reviewing task areas listed below.  EPA continues to make available a Part 75 Emissions Monitoring Policy Manual, as well as tutorials, questions and answers, and other guidance documents for using ECMPS.  Part 75 is available online through the electronic Code of Federal Regulations (e-CFR).  In addition, EPA in 2005 posted online a text version of its Plain English Guide to Part 75.

B.  Response to Error Messages/Audits

The EPA provides feedback to sources so that suspected errors in submissions by sources are noted and corrected.  With the use of the ECMPS software, this occurs before formal data submission because the ECMPS client tool checks all data with more than 1,000 QA checks, prior to the data being submitted.  Thus, EPA believes that the burdens for this activity will decrease over time.  At the same time, however, EPA has increased its audit oversight and expects to continue to conduct a number of electronic and field audits of facilities over the next few years.  In particular, EPA makes significant use of electronic audits as a means to provide continuous data quality improvement.  This effort has already been factored into respondent burden.  In addition, if EPA conducts a field audit, the burden to a source could involve from 24 to 36 hours.  However, on a per unit basis, these field audit impacts are less significant because not every unit will be subject to an audit in a particular year.  EPA projects no more than ten audits per year.  If the average burden of an audit is 30 hours per audit, the per unit burden for all units that would be associated with EPA's audit activities is less than one hour of burden per respondent.  Note that, because this activity should be inapplicable for the simplified reporting required of low mass emissions units, the total number of respondents for this activity excludes the LME units.

C.  DAHS Upgrade and Debugging

During the years immediately preceding the 2010 – 2012 ICR, sources installed computer software designed to implement updated electronic data reporting using XML formats required under the Acid Rain Program.  EPA promulgated revisions to Part 75 in late 2006 to accommodate changes in EPA's data systems that manage the data submitted by respondents.  These data system changes were necessary to modernize EPA's data systems, and to streamline reporting.  The costs of the required DAHS upgrade were analyzed in a separate, but closely related ICR (see EPA Docket EPA-HQ-OAR-2005-0132).  The capital costs for ARP facilities associated with that DAHS upgrade are accounted for in this ICR.  Use of XML format data systems became mandatory in January 2009, and updated values in this section reflect estimated changes in respondents' burden, some of which may be related to this upgrade.  Upon the next renewal of this ICR, EPA will continue to examine this issue as the impacts of the rule revisions and data system changes on the reporting burdens will be better understood at that time.  For the time period of this ICR, 2010 through 2012, no other changes would require a DAHS upgrade and therefore the burden hours for this activity remain zero.

D.  Monitoring Plans

Completing and submitting monitoring plans is estimated to require an average of about 20 hours per unit initially.  For existing units, initial monitoring plan submissions will be received prior to the time period covered in this renewal ICR, and, consistent with the existing ICR, EPA does not include burden hours for existing units under this initial monitoring plan development task area during 2010 through 2012.  The burden associated with revising the monitoring plan is included in the time for preparing and submitting each quarterly emissions report.

Based on EIA's projected one percent per year increase in electricity generating capacity, EPA projects that the number of new units in 2010 through 2012 will increase approximately one percent per year over the number of units reporting in 2009.  These units have a separate line item for initial monitoring plan preparation.

E.  Monitor Certification

Based on information gathered as part of the 1999 rule revisions, EPA included assumptions in the previous ICR renewal to include labor burdens for monitor certification activity as well as test contractor costs.  For existing units, only recertifications are included in the estimated activities for 2010 through 2012.  The Agency estimates a labor burden of 50 hours and a contractor cost of $3,482 per respondent.  The cost and burden figures exclude the costs and burdens associated with conducting a RATA as part of the recertification process because those costs are incorporated within the annual QA costs for previously certified monitoring systems.

Under Part 75, sources are required to recertify the monitoring systems whenever the source makes a replacement, modification, or change in a certified CEMS or continuous opacity monitoring system that may significantly affect the ability of the system to accurately measure or record the SO2 or CO2 concentration, stack gas volumetric flow rate, NOx emission rate, percent moisture, or to meet the QA and QC requirements.  Recertification is also necessary whenever the source makes a replacement, modification, or change to the flue gas handling system or the unit operation that may significantly change the flow or concentration profile.  Examples of changes which require recertification include:  replacement of the analyzer, change in location or orientation of the sampling probe or site; and complete replacement of an existing CEMS or continuous opacity monitoring system.

For new units, the monitor certification costs are included in the capital/startup costs.

F.  Quality Assurance

Quality assurance (QA) testing and maintenance upon monitoring systems is the largest burden item under the monitoring, reporting and recordkeeping requirements for the Acid Rain Program.  The requirements include daily, quarterly and annual QA requirements, depending on the monitoring approach being used.  For reporting units that use a full set of CEMS (SO2, flow, NOx and CO2), the Agency has developed a per unit labor burden based primarily on information gathered from affected sources.  For units that also are required to install and maintain a continuous opacity monitoring system (COMS) as a result of Part 75, additional labor burdens apply.  For units that rely on Appendix D excepted methods for SO2 but use a NOx and CO2 CEMS, reduced labor burden estimates apply because the quality assurance activities for the excepted methods are less than for a CEMS.  The labor burdens for these excepted methods were derived primarily from cost estimates provided by a group of affected utilities (see Docket A-97-35, Item II-D-48).  For units that rely on the excepted methods under both Appendix D and E (i.e., units without CEMS), the burden estimates are reduced further because no CEMS QA is required.  For the relatively small number of units that require moisture correction, labor burdens for moisture monitoring QA activities were added based on information supplied by an affected utility (see Docket A-97-35, Item II-D-94).  Finally, for units that use the LME provisions, no QA requirements apply except for units that use the unit-specific default value option.  Those units are required to test the unit to determine a unit specific value.  That cost has been included as a contractor cost for all new LME units.  Using the data discussed above, EPA estimates that the average respondent (using a weighted average for the units that fall under Models A – F) will require approximately 450 labor hours to meet the QA requirements of Part 75.  Consistent with the existing ICR, this labor is expected to be almost entirely technician labor.

G.  Quarterly Reports

Tasks performed by utilities in preparing quarterly reports include:  (1) assuring the quality of the data, (2) preparing the quarterly report, (3) revising the monitoring plan, if necessary, (4) preparation of hard copy documentation accompanying the quarterly reports, and (5) managerial review.  EPA has been improving electronic file transfer procedures over the past few years and has been developing automated tools that allow sources to quality assure their reports.  EPA believes these efforts have reduced the average burdens per report over time.  In addition, because the program is maturing, the respondents have developed procedures and methods to increase their efficiency with reporting.  The 1996 ICR estimated 240 hours per unit for this activity.  As a result of the 1999 Part 75 revisions, this estimate was decreased to 204 hours, but that estimate was not based on consideration of potential changes in burden that may have occurred outside the scope of the specific reduced reporting requirements in the 1999 rule revisions.  Based on consultations with a few utility representatives in 2002, EPA determined that this burden activity area significantly overstated the average burden levels, although it may have been accurate for some units.  The contacts provided a fairly wide range of estimates for this activity, however, and thus EPA conservatively used a 102 hour per unit estimate in the 2002 ICR renewal (a 50 percent reduction from the 1999 ICR).  This burden estimate was used in the prior ICR renewal as well.  For this renewal, consultations with affected sources continued to show a wide range of estimates for this activity.  EPA will use the existing estimate for 2010 – 2012, and they seek input from reporters as ECMPS reporting matures during the period.  In the next renewal, EPA will reassess this estimate.  For LME units, the estimate remains at 16 hours per year for each LME unit.

6.4.2  Estimating Respondent Costs

Exhibit 7 summarizes the annual respondent costs.  The following discussion describes how those costs were derived.

A.  Estimating Total Capital and Annual Operations and Maintenance Costs

Capital/start-up costs include the cost of installing required CEMS or alternatives.  The Agency developed the capital cost estimates for the CEM and other equipment based on EPA CEM cost models, existing ICRs, and comments from various affected utilities.  The cost estimates vary depending on the number and type of monitors that are required.  Annualized capital cost estimates are included for each of the Models 
A – F on Exhibit 7.  These annualized capital costs were originally drawn from CAIR EPA ICR #2152.02, and have been updated for this ICR using a factor based on the rate of inflation shown for 2006 through 2009 in Industrial Commodities Producer Price Index (PPI) maintained by the Bureau of Labor Statistics.  The annualized costs ranged from $29,572 for units with a full set of CEMS (Model A), to $19,200 for a unit that uses NOx CEMS and Appendix D methods (Model C), to $2,304 for units that use both Appendix D and Appendix E methods without any CEMS (Model D).  There are no capital/start-up costs for LME units.  A discussion of how the capital/start-up costs were annualized follows in Section C.  Annualizing Capital Costs.  As noted earlier, this ICR includes annualized capital costs for recent DAHS upgrades at all ARP facilities.

In addition to capital/start-up costs, respondents incur operation and maintenance (O&M) costs (exclusive of labor costs) that reflect ongoing costs to a unit.  These costs include both contractor costs for the required recertification, diagnostic, and quality assurance (QA) testing, and other direct maintenance-related expenses (e.g., spare parts and calibration gases).  The cost estimates used in this renewal ICR are generally the same as the CAIR EPA ICR #2152.02, and were derived from EPA CEM cost models, existing ICRs, Agency staff experience under the Acid Rain Program, information gathered during development of the 1999 and 2002 Part 75 revisions, and supplemental estimates provided by affected utilities and others related to the various cost items (see, e.g., EPA Air Docket A-97-35, Item II-D-48).  These O&M costs have also been updated to 2009 dollars based on the PPI.  The total cost for these operation and maintenance cost items (other than fuel sampling) is estimated at $31,949 for a unit with a full set of CEMS, while units that use alternate methodologies have reduced costs.

Note that testing contractor costs for certification, recertification and annual RATAs also are presented as other direct costs and are not converted to equivalent source labor hours.  This approach is consistent with the common business practice for obtaining outside contractors to conduct certification/recertification tests and annual relative accuracy test audits.  For initial certification, the certification test costs are commonly bundled with equipment purchase contracts, according to information provided by a range of CEMS equipment vendors.  For RATAs that are conducted either as part of the annual quality assurance requirements or as part of recertification, industry contacts have indicated that RATA testing is usually performed under a fixed price contract basis, except for travel costs that may be billed on an hourly basis beyond the basic contract cost.  For annual RATAs, the sources indicated that an annual contract between a testing company and utility is often used.  One municipal utility representative indicated that the applicable municipal regulations required that outside contracts be on a flat fee, not hourly, basis.

B.  Capital/Start-up vs. Operating and Maintenance (O&M) Costs

Capital costs reflect one-time costs for purchase of equipment which will be used over a period of years.  Conversely, operating and maintenance costs are those costs which are incurred on an annual or other scheduled basis.  For instance, costs associated with quality assurance activities, such as spare parts or contractor costs for work, will be incurred on an annual basis.

C.  Annualizing Capital Costs

The relevant capital costs for the emissions trading portion of this ICR were annualized at a rate of seven percent (i.e., the annualized capital cost was calculated assuming money to purchase the capital equipment was borrowed at a seven percent annual interest rate).  The cost of the loan was amortized over the life of the loan to repay original borrowed amount plus interest.  The result is the annualized capital cost reported.  The annualized cost of the necessary monitoring equipment capital purchases varies from $2,304 to $29,572, per year, per unit, depending on the type of monitoring methodology.  Exhibit 7 contains a breakdown of annual costs by monitoring methodology.  The capital costs are from the CAIR EPA ICR #2152.02, updated from 2006 dollars to 2009 dollars by a factor (1.024) based on the PPI for industrial commodities.

D.  Fuel Sampling

To calculate heat input where the source is using the fuel flowmeter option for an oil- or gas-fired unit, the source must obtain gross calorific value data from sampling in accordance with Appendix D of Part 75.  For purposes of this ICR, it is assumed that the GCV data would be collected as part of standard business operating procedures to assure compliance with contractual specifications.  Thus no additional fuel sampling burdens or costs should be incurred.  This is consistent with CAIR EPA ICR #2152.02.

6.4.3  Estimating Agency Burden and Cost

The tasks that will be performed by EPA include processing, reviewing, and evaluating emissions data reports submitted by utilities, and conducting appropriate audit activities to verify the information provided.  The estimated Agency burden has been reduced from two hours, in the 2007 – 2009 ICR, to one hour in the 2010 – 2012 ICR on a per report basis.  EPA's increased audit oversight efforts are more than offset by burden reductions from increasing familiarity with the program and improved automated tools.  Assuming that affected sources will submit 3,736 emissions reports to EPA per quarter, the total annual burden incurred by the Agency will be 15,072 hours.  The total annual cost to EPA for processing, reviewing, and evaluating these quarterly emissions reports will be approximately $901,155.  Exhibit 8 summarizes the Agency burden and costs associated with emissions reporting.

6.4.4  Estimating the Respondent Universe and Total Burden and Costs

Based on the number of units reporting in 2009 and the EIA projection that electricity generation capacity will increase by about one percent per year, EPA estimates that, during the 2010 – 2012 time period:  (a) 1,249 sources will review instructions and requirements; (b) 1,201 sources (this number excludes sources with only low mass emissions units and new units) will reprogram and debug DAHS computer software; (c) 3,736 units will submit quarterly reports; and (d) 3,591 units will respond to EPA generated error messages (of which about ten units will also respond to EPA audit activities), and perform QA testing and maintenance (units using the LME methodology are excluded from these activities).  In addition, from 2006 through 2008, an average of 913 units recorded recertification events annually.  Applying a one percent annual increase, based on EIA capacity projections, EPA estimates that approximately 922 units will recertify annually.  This is significantly more than the estimate (294 units) used in the 2007 – 2009 ICR, and some of these recertifications may have been related to changes made for compliance with CAIR.  EPA is using the larger number as a conservative estimate for recertifications from 2010 through 2012, and will again revisit the data when preparing the next (2013 – 2015) renewal of the ARP ICR.  Exhibit 7 shows the total burden and total cost based on this respondent universe.

EXHIBIT 7

ANNUAL RESPONDENT BURDEN/COST ESTIMATES FOR EMISSIONS MONITORING

| INFORMATION COLLECTION ACTIVITY | Mgr. $91.94/Hour | Tech. $63.74/Hour | Respondent Hours/Year | Labor Cost/Year | Cont./O&M Cost | Capital/Start-up Cost | No. of Respondents | Total Hours/Year | Total Cost/Year |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. Review Instructions and Requirements. | 4 | 4 | 8 | $623 | $ - | $ - | 1,249 | 9,992 | $777,777 |
| 2. Respond to EPA Generated Error Messages, Field Audits. | 6 | 18 | 24 | $1,699 | $ - | $ - | 3,591 | 86,184 | $6,100,965 |
| 3a. DAHS Upgrade. |  |  |  |  | $ - | $570 | 1,201 |  | $684,570 |
| 3b. DAHS Debugging. | 4 | 12 | 16 | $1,133 | $ - | $ - | 1,201 | 19,216 | $1,360,301 |
| 4. New Unit Monitoring Plans. | 10 | 10 | 20 | $1,557 | $ - | $ - | 37 | 740 | $57,602 |
| 5. Recertify Monitors. | 38 | 12 | 50 | $4,259 | $3,482 | $ - | 922 | 46,100 | $7,136,464 |
| 6. Startup/Capital Items and Perform QA Testing and Maintenance. |  |  |  |  |  |  |  |  |  |
| (a) Model A (CEMS). | 50 | 480 | 530 | $35,192 | $31,949 | $29,572 | 1,046 | 554,380 | $101,161,898 |
| (b) Model B (COMS). | - | 171 | 171 | $10,900 | $295 | $3,645 | 500 | 85,500 | $7,419,946 |
| (c) Model C (App D -- NOx CEM). | 20 | 375 | 395 | $25,741 | $17,818 | $19,200 | 2,107 | 832,265 | $132,233,002 |
| (d) Model D (App D and E). | 5 | 30 | 35 | $2,372 | $1,843 | $2,304 | 438 | 15,330 | $2,855,366 |
| (e) Model E (LME). | - | - | - | $ - | $1,991 | $ - | 145 | - | $288,645 |
| (f) Model F (H2O). | - | 40 | 40 | $2,550 | $8,192 | $874 | 32 | 1,280 | $371,715 |
| 7a. Assure Data Quality, Prepare Reports (inc. monitor plan update), Submit Reports. | 20 | 82 | 102 | $7,065 | $ - | $ - | 3,591 | 366,282 | $25,372,139 |
| 7b. LME Reporting. | 4 | 12 | 16 | $1,133 | $ - | $ - | 145 | 2,320 | $164,233 |
| 8. Annual Fuel Sampling. | - | - | - | $ - | $ - | $ - | - | - | $ - |
| Total | 2,019,589 | $285,984,623 |

Capital cost and O&M cost increase factor equal to 1.024 based on the 2006 to 2009 increase in PPI for industrial commodities.

Adding one percent per year for each of three years, an average of 74 additional units will report each year.  These additional units were apportioned to the various models based on the percent change in each model from 2006 to 2009.

Annualized capital costs for DAHS upgrades were drawn from the proposed DAHS upgrade ICR (EPA Docket EPA-HQ-OAR-2005-0132).

Capital cost and O&M cost increase factor equal to 1.024 based on the 2006 to 2009 increase in PPI for industrial commodities.

EXHIBIT 8

ANNUAL AGENCY BURDEN/COST ESTIMATES FOR EMISSIONS REPORTING

| Tasks | Quarterly Burden Hours per Report | Quarterly Cost per Reporta,b | Number of Reportsc | Total Burden per Year (hours) (2010 – 2012) | Total Cost |
| --- | --- | --- | --- | --- | --- |
| Process, review, and evaluate quarterly report and issue feedback letter. | 1 | $59.79 | 15,072 | 15,072 | $901,155 |

a	Based on an average total compensation rate of $59.79 per hour.

b	Updated from 2006 dollars using the average factor (1.09) used to update the Respondent labor cost.

c	Assumes 3,768 emission data reports each quarter.

6.5  Auctions

This part presents estimates of the burden and costs to participants and the Federal government associated with the auction program.

Auctions are held only once a year.  No restrictions are placed on the number of allowances for which a participant may bid.  Multiple bids from a given participant are permitted, but each bid is treated individually and requires a separate bid form.  Based on the average number of bids in the past four auctions, EPA estimates that 130 bids will be received each year.

6.5.1  Estimate of Respondent Burden and Costs

Exhibit 9 depicts the burden and costs to auction participants.  Auction participants must complete and submit the bid form along with a certified check, letter of credit, or wire transfer.  EPA estimates that the auction bid form takes approximately 30 minutes to prepare, and obtaining a means of payment takes approximately one hour.  This estimate includes time allocated to research the required information, fill out the form, arrange for a certified check, letter of credit, wire transfer, and send the material to EPA.  The burden and cost to auction participants is estimated to be 195 hours and $16,809 per year respectively.

EXHIBIT 9

ANNUAL RESPONDENT BURDEN/COST ESTIMATES FOR AUCTIONS

| Collection Activities | Burden Hours Per Bid | Cost Per Bida | Burden Hours Per Year | Cost Per Year |
| --- | --- | --- | --- | --- |
| 1. Completing bid forms.b | 0.5 | $43.10 | 65 | $5,603.00 |
| 2. Obtaining means of payment.b | 1 | $86.20 | 130 | $11,206.00 |
| TOTAL | 1.5 | $129.30 | 195 | $16,809.00 |

a	Based on an average rate of $86.20 per hour (for costing purposes, it is assumed that 80 percent of the total hours will be Managerial ($91.94 per hour) and 20 percent will be Technical ($63.74 per hour).  These estimates are based on 2009 dollars.

b	The 130 bids represents an average number of bids over the past four EPA auctions.

6.5.2  Estimate of Agency Burden and Costs

Exhibit 10 depicts the burden and cost to EPA for the auction program.  Based on past experience, the burden and cost to the Agency will be about the same each year.  Setting up and revising allowance tracking system accounts for auction participants is estimated to take ten hours, the handling of bids and checks is estimated to take 20 hours, tabulation, checking, and announcing the auction results is estimated to take fifteen hours, and transferring allowances and proceeds is expected to require 40 hours per year.  As Exhibit 10 shows, the total burden to EPA for auction activities is 85 hours at a cost of $5,082.

EXHIBIT 10

ANNUAL AGENCY BURDEN/COST ESTIMATES FOR AUCTIONS

| Collection Activities | Burden Hours Per Year | Cost Per Yeara |
| --- | --- | --- |
| 1. Setup allowance tracking system accounts. | 10 | $597.90 |
| 2. Handle bids and checks. | 20 | $1,195.80 |
| 3. Tabulate, check, and announce results. | 15 | $896.85 |
| 4. Transfer of allowances and proceeds. | 40 | $2,391.60 |
| TOTAL | 85 | $5,082.15 |

a	2009 dollars.

6.6  The Opt-in Program

This subsection describes projections for (1) the number and types of sources that elect to participate in the opt-in program for the time period covered by this ICR, (2) the paperwork burden hours for both respondents and EPA associated with the program, and (3) the total costs of the tasks required by the opt-in program.

There were three sources with a total of eight units listed as opt-in units in the ARP program in 2006.  Two additional sources with a total of twelve units opted into the ARP in 2008.  Twenty-eight applications were undergoing processing in early 2009, as sources prepared to comply with the CAIR SO2 trading.  The final form of SO2 regulation under CAIR remains in flux.  EPA currently estimates that sources could submit up to four additional applications per year from 2010 through 2012, and will revisit this estimate in the next renewal of this ICR.

Currently, there are five opt-in facilities, with 20 units.  Adding the 28 applications received in early 2009, plus four facilities per year with an average of four units per facility, the projected number of facilities involved in annual reconciliation processes is 37, and the number of units is 148.

Over the three years covered by this ICR, EPA estimates that up to four sources will opt into the program annually.  This figure is based on the number of opt-in applications EPA has received over the past four years.

6.6.1  Respondent Burden/Cost Estimates for the Opt-in Program

The tasks under this program are divided into the major categories of reporting -- permitting, emissions monitoring, and annual compliance certification.  This section includes only the burden for these task categories for opt-in sources.  Those affected sources covered by the mandatory requirements of the Acid Rain Program are covered in previous sections.

A.  Opt-in Permit Applications

EPA estimates that up to four sources per year will submit opt-in permit applications in the years covered by this ICR.  Sources that file an application must select a designated representative, report operating and fuel consumption data from past years, and report the actual and allowable emissions rates for 1985 (or their first year of operations, if after 1985) as well as the current allowable emission rate.  As shown below in Exhibit 11, EPA estimates a burden of 828 hours and a cost of $59,206 for this activity.

B.  Emissions Data Reporting

Emissions reporting is performed only by operating sources.  The tasks for opt-in sources are identical to other affected sources and are listed in Exhibit 7.  The burden and costs for emissions reporting from opt-in sources are included in the total in Exhibit 7.

C.  Annual Reconciliation

Annual reconciliation is performed by all opt-in sources.  Each unit at an opt-in source is required to submit an opt-in utilization form.  Additionally, if the source is covered by a thermal energy compliance plan, it must submit a thermal energy compliance report.  If an opt-in source has reduced utilization due to energy conservation or improved unit efficiency measures, it has the option of submitting an energy confirmation and improved unit efficiency confirmation report to verify the savings and offset the corresponding reduced utilization.  To date none of the opt-in sources have verified energy conservation or improved unit efficiency measures, so EPA is assuming no sources will do so during the three years covered by this ICR.  Finally, EPA assumes that half of the opt-in units will submit an optional allowance deduction form, which specifies the serial numbered allowances for deduction.

Total respondent burden and costs for annual compliance certification by opt-in sources are an estimated 4,033 hours and $277,931, respectively.  Exhibit 12 presents respondent burden and costs for annual reconciliation by opt-in sources.

6.6.2  Agency Burden/Cost Estimates for the Opt-in Program

In 2010 through 2012, the Agency's burden includes; processing opt-in applications, processing quarterly emissions reports (which is included in Exhibit 8), and processing annual reconciliation reports.  The Agency's total annual estimated burden and cost related to the opt-in program are 768 hours and $45,918.72, respectively.  Exhibit 13 presents the Agency's burden and costs for opt-in program.

EXHIBIT 11

RESPONDENT BURDEN/COST ESTIMATES FOR OPT-IN PERMIT APPLICATIONS

| Tasks | Burden Hours per Occurrence | Cost per Occurrencea | Total Burden (hours) | Total Cost |
| --- | --- | --- | --- | --- |
| Select a designated representative.b |  |  |  |  |
| Managerial. | 20 | $1,838.80 | 80 | $7,355.20 |
| Technical. | 7 | $446.18 | 28 | $11,784.72 |
| Prepare opt-in permit application.b |  |  |  |  |
| Managerial. | 20 | $1,838.80 | 80 | $7,355.20 |
| Technical. | 85 | $5,417.90 | 340 | $21,671.60 |
| Prepare thermal energy compliance plan. |  |  |  |  |
| Managerial. | 15 | $1,379.10 | 60 | $5,516.40 |
| Technical. | 55 | $3,505.70 | 220 | $14,022.80 |
| Complete withdrawal notification.d |  |  |  |  |
| Managerial. | 2 | $183.88 | 8 | $735.52 |
| Technical. | 3 | $191.22 | 12 | $764.88 |
| TOTAL | 828 | $59,206.32 |

a	2009 dollars.

b	Assumes four opt-in sources submit applications.

c	Assumes no sources file a thermal energy compliance plan.

d	Assumes that sources that have made the investment to opt-in will not withdraw.

EXHIBIT 12

ANNUAL RESPONDENT BURDEN/COST ESTIMATES FOR

OPT-IN ANNUAL COMPLIANCE CERTIFICATION

| Tasks | Burden Hours per Occurrence | Cost per Occurrencea | Total Burden (hours) | Total Cost |
| --- | --- | --- | --- | --- |
| Opt-in Utilization form.b |  |  |  |  |
| Managerial. | 2 | $183.88 | 296 | $27,214.24 |
| Technical. | 16 | $1,019.84 | 2,368 | $150,936.32 |
| Thermal energy compliance report (shutdown opt-in sources and replacement units).c |  |  |  |  |
| Managerial. | 10 | $919.40 | 370 | $34,017.80 |
| Technical. | 21 | $1,338.54 | 777 | $49,525.98 |
| Allowance deduction form (optional).d |  |  |  |  |
| Managerial. | 1 | $91.94 | 74 | $6,803.56 |
| Technical. | 2 | $127.48 | 148 | $9,433.52 |
| Energy conservation/improved unit efficiency confirmation report.e |  |  |  |  |
| Managerial. | 5 | $459.70 | 0 | 0 |
| Technical. | 25 | $1,593.50 | 0 | 0 |
| Excess emissions penalty payment.e |  |  |  |  |
| Managerial. | 4 | $367.76 | 0 | 0 |
| Technical. | 5 | $318.70 | 0 | 0 |
| TOTAL |  |  | 4,033 | $277,931.42 |

a	2009 dollars.

b	Assumes 37 opt-in sources (five currently listed, plus 28 current applications, plus four new opt-in sources) and 148 opt-in units (37 sources with an average of four units each).

c	Assumes 37 sources file reports.

d	Assumes 74 opt-in units submit allowance deduction forms.

e	EPA assumes no sources will claim savings from energy conservation or improved unit efficiency or have excess emissions.

EXHIBIT 13

ANNUAL AGENCY BURDEN/COSTS FOR THE OPT-IN PROGRAM

| Tasks | Burden Hours per Occurrence | Cost per Occurrencea | Total Burden (hours) | Total Cost |
| --- | --- | --- | --- | --- |
| Review certificates of representation and record information.b | 1 | $59.79 | 4 | $239.16 |
| Review permit application, issue proposed and final permit, and assign allowances.b | 80 | $4,783.20 | 320 | $19,132.80 |
| Review and process annual reconciliation submissions.c | 2 | $119.58 | 296 | $17,697.84 |
| Deduct allowances and send reconciliation reports.c | 1 | $59.79 | 148 | $8,848.92 |
| TOTAL | 768 | $45,918.72 |

a	2009 dollars.

b	Assumes four opt-in sources submit a permit application.

c	Assumes 37 opt-in sources and 148 opt-in units each year.

6.7  NOx Permitting

This section estimates the paperwork burden and cost of renewing and revising Phase II NOx compliance plans.

6.7.1  Estimate of Respondent Burden and Costs

Exhibit 14 presents the burden and costs to applicants for preparing and submitting NOx Compliance Plan renewal applications and revising NOx compliance plans.  Permits, including NOx Compliance Plans for units affected for NOx, must be renewed every five years.  Therefore, EPA assumes 20 percent of all units affected for NOx  (i.e., 200 units) will submit NOx Compliance Plan renewal applications each year.  Based on previous years of the program, EPA expects to receive 27 NOx compliance plan revisions each year.

For each compliance plan renewal, EPA estimates that the applicant will require about five hours, while compliance plan revisions will require about ten hours.  The total respondent burden for NOx permitting, as shown in Exhibit 14, is estimated to be 1,270 hours each year.  The costs associated with NOx permitting are estimated at $96,037 per year.

EXHIBIT 14

RESPONDENT BURDEN/COST ESTIMATES FOR NOx PERMITTING

| Tasks | Burden Hours per Occurrence | Cost per Occurrencea | Total Burden (hours) | Total Cost |
| --- | --- | --- | --- | --- |
| Prepare NOx Compliance Plan renewal applications.b |  |  |  |  |
| Managerial. | 2 | $183.88 | 400 | $36,776.00 |
| Technical. | 3 | $191.22 | 600 | $38,244.00 |
| Revise NOx Compliance Plan (e.g., emissions averaging plans).c |  |  |  |  |
| Managerial. | 5 | $459.70 | 135 | $12,411.90 |
| Technical. | 5 | $318.7 | 135 | $8,604.90 |
| TOTAL | 1,270 | $96,036.80 |

a	2009 dollars.

b	Assumes 200 units (20 percent of all NOx affected units) submit NOx compliance plan renewals each year.

c	Assumes 27 respondents revise emissions averaging plans each year.

6.7.2.  Estimate of Agency/Permitting Authority Burden and Costs for NOx

Exhibit 15 presents the paperwork burden and costs to EPA for NOx permitting.  The total annual burden and cost for renewing and revising NOx compliance plans is estimated at 127 hours and $7,593.33, respectively.

The tasks involved in reviewing applications will include reviewing forms for completeness and entering the revised data from the plans into a NOx compliance database.

EXHIBIT 15

AGENCY BURDEN/COST ESTIMATES FOR NOx PERMITTING

| Tasks | Burden Hours per Occurrence | Cost per Occurrencea | Total Burden (hours) | Total Cost |
| --- | --- | --- | --- | --- |
| Renew NOx compliance plans.b | 0.5 | $29.90 | 100 | $5,979.00 |
| Revise NOx emissions averaging plans.c | 1 | $59.79 | 27 | $1,614.33 |
| TOTAL | 127 | $7,593.33 |

a	2009 dollars.

b	Assumes 200 units (20 percent of all NOx affected units) submit NOx compliance plan renewals each year.

c	Assumes 27 respondents revise emissions averaging plans each year.

6.8  Summary of Burden Hours and Costs

Exhibit 16 summarizes the annual aggregate burden and cost estimates to respondents for the period of July 1, 2009 through June 30, 2012 for collections associated with allowance transfers, energy conservation and renewable energy allowances, permits, emissions reporting, auctions, the opt-in program, and NOx permitting.  Exhibit 17 summarizes the aggregate burden and cost estimates to EPA and permitting authorities for these collections.

6.9  Reasons for Change in Burden

This ICR renewal reflects a few differences from the previous ICR.  This section discusses the changes in burden since the last clearance.

Overall, the estimated annual burden in 2007 from the last clearance was 1,971,276 hours.  This ICR estimates the annual burden in 2010 will be 2,056,946 hours, which increases the burden by 85,670 hours, about four percent.  The reasons for this burden increase are explained below.

Most of the change in burden for this collection is due to adjustments.  Adjustments stem from actions outside the Agency's control.  Adjustments include changes to the number of responses and the time it takes to respond to a particular activity.  Some new estimates for the number of responses are based on queries of EPA databases for activities reported in recent years.  At this time, EPA does not believe any changes in burden are warranted as a result of the change to ECMPS.  Although the process may impact average burden, the basic information being requested remain basically the same, and it is too early at this juncture to determine if the new process will significantly impact a source's reporting burden.  The adjustments and corresponding change in burden are as follows:

●	Based on a query of allowance transfers in 2009, the estimated annual number of allowance transfer submissions increased from 1,700 to 3,995.  This, along with re-estimated time requirements for designating an authorized account representative, filing new account application, and preparing an optional allowance deduction form, changed the annual burden hours for allowance transfer activities from 5,885 to 10,395.

●	Permitting activities were estimated to require 13,531 burden hours in 2007.  The estimated annual burden hours for permitting under this ICR are 20,636.  This burden change reflects an increase in the number of units submitting Certificate of Representation forms.

●	Adjustments increased the annual average burden for monitoring and reporting activities from approximately 1,950,000 hours in the previous ICR renewal to approximately 2,019,589 hours.  This reflects an increase in the respondent universe because of the number of new units that came online in the last four years and hours associated with monitor recertification.

●	The estimated annual average burden for auction activities increased from 166.5 hours in the previous ICR renewal to 195 hours in the present renewal.  This reflects an increase in the number of bids received.

●	The estimated number of sources applying to opt-in to the ARP was increased from zero to four.  This increase, along with two opt-in sources (adding a total of twelve units) in 2008 and 28 applications received in early 2009, results in the estimated burden for applications and annual compliance certification increasing from 280 hours in 2007 to 4,861 hours in the current collection.

6.10  Burden Statement

The respondent reporting burden for this collection of information is estimated to be 2,056,946 hours each year for the years 2010 through 2012.  The burden to EPA is estimated to be 19,182.5 hours in each year for the years 2010 through 2012.

The annual public reporting and recordkeeping burden for this collection of information is estimated to average 90 hours per response.  Burden means the total time, effort, or financial resources expended by persons to generate, maintain, retain, or disclose or provide information to or for a Federal agency.  This includes the time needed to review instructions; develop, acquire, install, and utilize technology and systems for the purposes of collecting, validating, and verifying information, processing and maintaining information, and disclosing and providing information; adjust the existing ways to comply with any previously applicable instructions and requirements; train personnel to be able to respond to a collection of information; search data sources; complete and review the collection of information; and transmit or otherwise disclose the information.  An agency may not conduct or sponsor, and a person is not required to respond to, a collection of information unless it displays a currently valid OMB control number.  The OMB control numbers for EPA's regulations are listed in 40 CFR Part 9 and 48 CFR Chapter 15.

To comment on the Agency's need for this information, the accuracy of the provided burden estimates, and any suggested methods for minimizing respondent burden, including the use of automated collection techniques, EPA has established a public docket for this ICR under Docket ID Number EPA-HQ-OAR-2009-0022, which is available for online viewing at www.regulations.gov, or in person viewing at the Air and Radiation docket in the EPA Docket Center (EPA/DC), EPA West, Room B102, 1301 Constitution Avenue, NW, Washington, D.C.  The EPA Docket Center Public Reading Room is open from 8:30 a.m. to 4:30 p.m., Monday through Friday, excluding legal holidays.  The telephone number for the Reading Room is (202) 566-1744, and the telephone number for the Air and Radiation docket is (202) 566-1742.  An electronic version of the public docket is available at www.regulations.gov.  This site can be used to submit or view public comments, access the index listing of the contents of the public docket, and to access those documents in the public docket that are available electronically.  When in the system, select "search," then key in the Docket ID Number identified above.  Also, you can send comments to the Office of Information and Regulatory Affairs, Office of Management and Budget, 725 17th Street, NW, Washington, D.C.  20503, Attention:  Desk Officer for EPA.  Please include the EPA Docket ID Number EPA-HQ-OAR-2009-0022 and OMB Control Number 2060-0258 any correspondence.

EXHIBIT 16

AGGREGATE ANNUAL RESPONDENT BURDEN AND

COST OF COLLECTIONS (2010 through 2012)

| Program | Total Burden (hours) | Total Costsa |
| --- | --- | --- |
| Allowance transfers and deductions. | 10,395 | $796,950.00 |
| Energy conservation and renewable energy allowances. | 0 | $0.00 |
| Permits. | 20,636 | $1,691,413.89 |
| Emissions reporting. | 2,019,589 | $285,984,623 |
| Auctions. | 195 | $16,809.00 |
| Opt-in.b | 4,861 | $337,137.74 |
| NOx permitting. | 1,270 | $96,036.80 |
| TOTAL | 2,056,946 | $288,922,970.38 |

a	2009 dollars.

b	Includes permitting and annual reconciliation burdens for opt-in sources.

EXHIBIT 17

AGGREGATE ANNUAL AGENCY BURDEN AND COST OF COLLECTIONS

| Program | Total Burden (hours) | Total Costsa |
| --- | --- | --- |
| Allowance transfers and deductions. | 90 | $5,382.00 |
| Energy conservation and renewable energy allowances. | 0 | $0.00 |
| Permits. |  |  |
| Permitting Authority. | 2,132 | $127,472.28 |
| EPA. | 908.5 | $54,313.84 |
| Emissions reporting. | 15,072 | $901,155.00 |
| Auctions. | 85 | $5,082.15 |
| Opt-in. | 768 | $45,918.72 |
| NOx permitting. | 127 | $7,593.33 |
| Operation & Maintenance of data systems.b | N/A | $1,500,000.00 |
| TOTAL | 19,182.5 | $2,646,917.32 |

a	2009 dollars.

b	Average annual operation and maintenance costs associated with running electronic data systems are assumed to be incurred by an EPA contractor.  Therefore, EPA will not incur any labor burden for these activities.

Appendix A

Acid Rain Program Forms and Instructions

EPA Acid Rain Program Forms and Instructions are shown below, and can be downloaded from the Forms for Clean Air Markets Programs website, http://www.epa.gov/airmarkt/business/forms.html.

Acid Rain Program and CAIR Forms

Certificate of Representation Form

Certificate of Representation data can also be submitted online using the CAMD Business System (CBS)

Allowance Transfer Form (see also:  single signature requirement)

General Account Form

Retired Unit Exemption Form

Acid Rain Program

EPA SO2 Allowance Auction

2009 How to Bid Factsheet

2009 Bid Form and Instructions

2009 Offer Form and Instructions

Notification for Distribution of Proceeds from EPA Auctions 
	(This document is used for changing a recipient name on proceeds checks.)

2009 Letter of Credit Form and Instructions

For more information, see the Acid Rain Program Allowance Auction Fact Sheet

Acid Rain Permitting

Acid Rain Permit Application

Acid Rain NOx Compliance Plan

Acid Rain NOx Averaging Plan

Acid Rain New Unit Exemption

For more information, see Acid Rain Permits and Applicability

Monitoring

EPA form 7610-14, Certification Application, is no longer required.  For information on monitoring, see Emissions Monitoring and Report Emissions

Phase II Annual Reconciliation

Allowance Deduction Form

For more information, see the Acid Rain Program Annual Reconciliation Fact Sheet

For information and forms for opting into the Acid Rain Program, see:  http://www.epa.gov/airmarkets/progsregs/arp/opt-in.html#how.