|  | UNITED STATES ENVIRONMENTAL PROTECTION AGENCY NATIONAL AIR AND RADIATION ENVIRONMENTAL LABORATORY 540 SOUTH MORRIS AVENUE MONTGOMERY, AL 36115-2601 PHONE: (334) 270-3400 FAX: (334) 270-3454 |
| --- | --- |

RADNET AIR PARTICULATE REPORT

FOR USE BY NAREL PERSONNEL ONLY

SAMPLE ID:  RAN -			     DATE RECEIVED:

COMMENTS:

SAMPLE INFORMATION

1.   STATION NUMBER: 			        LOCATION: (city, state)

2.   DATE OF COLLECTION:

3.   STATION OPERATOR:

4.   STATION OPRATORS TELEPHONE:

5.   COMMENTS:

AIR SAMPLING DATA

6.   SAMPLE START TIME (month/day/year): ________________________	                             (hr: min)___________:__________

7.   SAMPLE STOP TIME (month/day/year): ____________________________________       (hr: min)___________:__________

8.   DURATION (hr: min: sec):	_______: ________: ________

9.   AVG AIR FLOW (m3/hr): _______________

10.  AIR VOLUME (m3) ____________________

FIELD ESTIMATE CALCULATION (Must wait 5 hours from time sample is collected to perform field estimate)

11.  FIELD ESTIMATE DATE/TIME (month/day/year):____________________________	                         (hr: min)_______:_______

12.  STANDARD ACTIVITY (pCi): ____________________

13.  STANDARD GROSS CPM: ______________________	                           16.  SAMPLE GROSS CPM: ___________________

14.  BACKGROUND CPM: __________________________	                           17.  BACKGROUND CPM: _____________________

15.  STANDARD NET CPM: _________________________	                           18.  SAMPLE NET CPM: ______________________

19.  GROSS BETA FIELD ESTIMATE CALCULATION

______________________×_____________________÷________________÷___________________=_______________________

Sample Net CPM	  Standard Activity (pCi)        Air Volume (m3)	Standard Net CPM	       Field Estimate (pCi/m3)

__________________________________

OPERATOR SIGNATURE						DATE

Comments: