|  | UNITED STATES ENVIRONMENTAL PROTECTION AGENCY NATIONAL AIR AND RADIATION ENVIRONMENTAL LABORATORY 540 SOUTH MORRIS AVENUE MONTGOMERY, AL 36115-2601 PHONE: (334) 270-3400 FAX: (334) 270-3454 |
| --- | --- |

RADNET FMHV CALIBRATION VERIFICATION REPORT

DATE: 								FMHV SERIAL #:

SAMPLER LOCATION (City, State):

SAMPLER LOCATION (CITY, STATE):

TABLE 1  Calibrated Instrument Inventory

| CALIBRATED INSTRUMENT | CALIBRATION DATE | CALIBRATION DUE DATE |
| --- | --- | --- |
| TEGAM Temperature Calibrator-Thermometer Serial #: |  |  |
| DRUCK Digital Pressure Indicator-Barometer Serial #: |  |  |
| DWYER Digital-Manometer Serial #: |  |  |
| ANDERSEN Reference Orifice Serial #: |  |  |

TABLE 2  Temperature, Pressure and Flow Calibration Data		*Difference = FMHV Value – Reference Value

| PARAMETER | REFERENCE VALUE | FMHV VALUE | *DIFFERENCE | REQUIRED ACCURACY | WARNING (YES/NO) |
| --- | --- | --- | --- | --- | --- |
| Ambient T | deg C | deg C | deg C | ±2 deg C |  |
| Abs P | mmHg | mmHg | mmHg | ±10 mmHg |  |
| Delta P | mmHg | mmHg | mmHg | ±0.2 mmHg |  |
| Flow | m3/hr | 60.0 m3/hr | m3/hr | ±5 % |  |

COMMENTS:

TIME VERIFICATION COMPLETED: 				OPERATOR SIGNATURE: