Supporting Statement for

FERC-725E, Mandatory Reliability Standards for the

Western Electric Coordinating Council (1902-0246)

As Proposed in Docket No. RM09-15-000

(Final Rule issued October 21, 2010)

Background

The Electricity Modernization Act of 2005 was enacted into law as part of the Energy Policy Act of 2005 by President George W. Bush on August 8, 2005.  Subtitle A of the Electricity Modernization Act amended the Federal Power Act (FPA) by adding a new section 215, titled “Electric Reliability.”  Section 215 of the FPA buttresses the Commission’s efforts to strengthen the reliability of the interstate grid through the grant of new authority which provides for a system of mandatory Reliability Standards developed by the Electric Reliability Organization (ERO) and reviewed and approved by FERC.

In the aftermath of the 1965 Blackout in the northeast United States, the electric industry established the North American Electric Reliability Council, a voluntary reliability organization and predecessor to the North American Electric Reliability Corporation (NERC).  Since its inception, NERC has developed Operating Policies and Planning Standards that provide voluntary guidelines for operating and planning the North American bulk-power system.  In April 2005, NERC adopted “Version O” reliability standards that translated the NERC Operating Policies, Planning Standards and compliance requirements into a comprehensible set of measurable standards.  While NERC developed a compliance enforcement program to ensure compliance with the reliability standards it developed, industry compliance was still voluntary and not subject to mandatory enforcement penalties.  Although NERC’s efforts have been important in maintaining the reliability of the nation’s bulk-power system, NERC itself recognized the need for mandatory, enforceable reliability standards and has been a proponent of legislation to establish a FERC-jurisdictional ERO that would propose and enforce mandatory reliability standards.

- On February 3, 2006, the Commission issued Order No. 672, implementing section 215 of the FPA.  In Order No. 672, the Commission certified one organization, NERC, as the ERO.  Reliability Standards that the ERO proposes to the Commission may include Reliability Standards that are proposed to the ERO by a Regional Entity.  A Regional Entity is an entity that has been approved by the Commission to enforce Reliability Standards under delegated authority from the ERO.  When the ERO reviews a regional Reliability Standard that would be applicable on an Interconnection-wide basis and that has been proposed by a Regional Entity organized on an Interconnection-wide basis, the ERO must rebuttably presume that the regional Reliability Standard is just, reasonable, not unduly discriminatory or preferential, and in the public interest.

RM06-16-000 Final Rule

On March 16, 2007, the Commission issued Order No. 693, a Final Rule that added part 40, to the Commission’s regulations.  The Final Rule stated that this part applies to all users, owners and operators of the Bulk-Power System within the United States (other than Alaska or Hawaii).  It also requires that each Reliability Standard identify the subset of users, owners and operators to which that particular Reliability Standard applies.  The new regulations also required that each Reliability Standard approved by the Commission will be maintained on the ERO’s Internet website for public inspection.

The Commission approved 83 of 107 proposed Reliability Standards, six of the eight proposed regional differences, and the Glossary of Terms used in Reliability Standards as developed by the North American Electric Reliability Corporation.  NERC was certified by the Commission as the Electric Reliability Organization (ERO) responsible for developing and enforcing mandatory Reliability Standards.  Those Reliability Standards meet the requirements of section 215 of the FPA and Part 39 of the Commission’s regulations.  However, although the Commission believes it is in the public interest to make these Reliability Standards mandatory and enforceable, the Commission also found that much work remained to be done.  Specifically, the Commission believed that many of these Reliability Standards require significant improvement to address, among other things, the recommendations of the Blackout Report.  Therefore, in accordance with section 215(d)(5), the Commission required the ERO to submit significant improvements to 56 of the 83 Reliability Standards that were approved as mandatory and enforceable.  The remaining 24 Reliability Standards remain pending at the Commission until further information is provided.

RR07-11-000 Order Approving Regional Reliability Standards for the
Western Interconnection

On March 26, 2007, the North American Electric Reliability Corporation submitted for approval eight proposed regional Reliability Standards for the Western Electricity Coordinating Council (WECC).  These regional Reliability Standards apply to the Western Interconnection in addition to the 83 mandatory Reliability Standards developed by NERC that took effect on a nation-wide basis in June 2007.  In accordance with section 215(d)(2) of the FPA, the Commission approved the regional Reliability Standards.  The approval of the regional Reliability Standards allowed for the continuation of certain reliability practices that were currently in effect in the Western Interconnection.  In addition, the Commission directed WECC to develop several specific modifications to the regional Reliability Standards when WECC develops, through its Reliability Standards development process, permanent, replacement Reliability Standards.

RM09-15-000 Notice of Proposed Rulemaking

- On March 18, 2010, the Commission issued a Notice of Proposed Rulemaking (NOPR) and proposed to remand a revised regional Reliability Standard developed by the Western Electricity Coordinating Council (WECC) and approved by the North American Electric Reliability Corporation (NERC).   NERC was certified by the Commission as the Electric Reliability Organization responsible for developing and enforcing mandatory Reliability Standards.

- The revised regional Reliability Standard, designated by WECC as BAL-002-WECC-1, would set revised Contingency Reserve requirements meant to maintain scheduled frequency and to avoid loss of firm load following transmission or generation contingencies.  The Commission believes that the proposed regional Reliability Standard does not meet the statutory criteria for approval, namely that it be just, reasonable, not unduly discriminatory or preferential, and in the public interest.  By remanding the proposed Reliability Standard the Commission is maintaining the status quo until future revisions to the Reliability Standard are approved by the Commission.  Because the Commission’s proposed action does not add to or increase entities’ reporting burden there are no changes to the burden as currently reported in OMB’s inventory.

RM09-15-000 Final Rule

- On October 21, 2010, the Commission in accordance with its authority under Section 215 of the Federal Power Act (FPA) is remanding a revised regional Reliability Standard developed by WECC and approved by NERC.  NERC as noted above was certified by the Commission as the Electric Reliability Organization (ERO) responsible for developing and enforcing mandatory Reliability Standards.

- The Commission’s remand of the proposed regional Reliability Standard is based on concerns that WECC has not provided adequate technical support to demonstrate that the requirements of the proposed regional Reliability Standard are sufficient to ensure the reliable operation of the Bulk-Power System within WECC.

- Specifically, WECC’s data indicated that extending the reserve restoration period from 60 to 90 minutes presents an unreasonable risk and that a second major contingency could occur before reserves are restored after an initial contingency.  Without further technical justification demonstrating that this less stringent requirement will adequately support reliability in the Western Interconnection, the Commission is unable to determine that the proposed regional Reliability Standard is just, reasonable, not unduly discriminatory or preferential, and in the public interest.  Accordingly, the Commission is directing the Regional Entity WECC to develop further modifications through the ERO of BAL-002-WECC-1.  By remanding the proposed Reliability Standard, the Commission is maintaining the status quo until future revisions to the Reliability Standard are approved by the Commission.  The Commission’s action does not add to or increase entities’ reporting burden and therefore there are no changes to OMB’s inventory.

A.	Justification

1.	CIRCUMSTANCES THAT MAKE THE COLLECTION OF INFORMATION NECESSARY

Since 1935, the Commission has regulated certain electric utility activities under the FPA.  Under FPA Sections 205 and 206, the Commission oversees the rates, terms and conditions of sales for resale of electric energy and transmission service in interstate commerce by public utilities.  The Commission must ensure that those rates, terms and conditions are just and reasonable and not unduly discriminatory or preferential.   One of the Commission’s continuing priorities is to promote electricity grid reliability.  Recent legislation has enhanced the Commission’s efforts to strengthen the reliability of the interstate grid by granting it with new authority.

Recent Events

A common cause of the past three major regional blackouts was violation of NERC’s then Operating Policies and Planning Standards.  During July and August 1996, the west coast of the United States experienced two cascading blackouts caused by violations of voluntary Operating Policies.  In response to the outages, the Secretary of Energy convened a task force to advise the Department of Energy (DOE) on issues needed to be addressed to maintain the reliability of the bulk-power system.  In a September 1998 report, the task force recommended, among other things, that federal legislation should grant more explicit authority for FERC to approve and oversee an organization having responsibility for bulk-power reliability standards.  Further, the task force recommended that such legislation provide for Commission jurisdiction for reliability of the bulk-power system and FERC implementation of mandatory, enforceable reliability standards.

Electric reliability legislation was first proposed after issuance of the September 1998 task force report and was a common feature of comprehensive electricity bills since that time.  A stand-alone electric reliability bill was passed by the Senate unanimously in 2000.  In 2001, President Bush proposed making electric Reliability Standards mandatory and enforceable as part of the National Energy Policy.

- Congress directed the development of mandatory, Commission-approved, enforceable electricity Reliability Standards. Section 215 of the FPA provides for a system of mandatory, enforceable Reliability Standards.  Under the new electric power reliability system enacted by the Congress, the United States will no longer rely on voluntary compliance by participants in the electric industry with industry reliability requirements for operating and planning the Bulk-Power System.  The Commission believes that, to achieve this goal, it is necessary to have a strong ERO that promotes excellence in the development and enforcement of Reliability Standards.

- A mandatory Reliability Standard should not reflect the “lowest common denominator” in order to achieve a consensus among participants in the ERO’s Reliability Standard development process.  Therefore, the Commission will carefully review each Reliability Standard submitted and, where appropriate, later remand if necessary, an inadequate Reliability Standard to ensure that it protects reliability, has no undue adverse effect on competition, and can be enforced in a clear and even-handed manner.

- The Commission may approve a proposed Reliability Standard if the Commission finds it is just, reasonable, not unduly discriminatory or preferential, and in the public interest.  In addition, the Commission explained in Order No. 672 that “uniformity of Reliability Standards should be the goal and the practice, the rule rather than the exception.”  Yet, the Commission recognized that “the goal of greater uniformity does not, however, mean that regional differences cannot exist.  The Commission then provided the following guidance:

- As a general matter, we will accept the following two types of regional differences, provided they are otherwise just, reasonable, not unduly discriminatory or preferential, and in the public interest, as required by the statute:  (1) a regional difference that is more stringent than the continent-wide Reliability Standard, including a regional difference that addresses matters that the continent-wide Reliability Standard does not; and (2) a regional Reliability Standard that is necessitated by a physical difference in the Bulk-Power System.

- Western Electricity Coordinating Council (WECC)

WECC was formed on April 18, 2002, by the merger of Western Systems Coordinating Council (WSCC), Southwest Regional Transmission Association (SWRTA), and Western Regional Transmission Association (WRTA). The formation of WECC was accomplished over a four-year period through the cooperative efforts of WSCC, SWRTA, WRTA, and other regional organizations in the West. WECC's interconnection-wide focus is intended to complement current efforts to form Regional Transmission Organizations (RTO) in various parts of the West.

WECC is responsible for coordinating and promoting electric system reliability.  In addition to promoting a reliable electric power system in the Western Interconnection, WECC supports efficient competitive power markets, assures open and non-discriminatory transmission access among members, provides a forum for resolving transmission access disputes, and provides an environment for coordinating the operating and planning activities of its members as set forth in the WECC Bylaws.

The WECC region encompasses a vast area of nearly 1.8 million square miles. It is the largest and most diverse of the ten regional councils of the North American Electric Reliability Council.  WECC’s service territory extends from Canada to Mexico. It includes the provinces of Alberta and British Columbia, the northern portion of Baja California, Mexico, and all or portions of the 14 western states in between. Transmission lines span long distances connecting the Pacific Northwest with its abundant hydroelectric resources to the arid Southwest with its large coal-fired and nuclear resources. WECC and the nine other regional reliability councils were formed due to national concern regarding the reliability of the interconnected bulk power systems, the ability to operate these systems without widespread failures in electric service, and the need to foster the preservation of reliability through a formal organization.

- WECC developed a Reliability Management System (RMS) pursuant to which transmission operators in the Western Interconnection agreed by contract to be bound by the WECC reliability criteria and sanctions for non-compliance.  According to WECC, the criteria are recognized by all WECC members but are contractually binding only on members that signed an RMS Agreement.

- The eight Reliability Standards do not require responsible entities to file information with the Commission.  However, the standards do require responsible entities to file periodic reports with WECC and to develop and maintain certain information for a specified period of time, subject to inspection by WECC.  WECC-BAL-STD-002-0 requires balancing authorities and reserve sharing groups to submit to WECC quarterly reports on operating reserves as well as reports after any instance of non-compliance.  WECC-IRO-STD-006-0 requires transmission operators, balancing authorities and load-serving entities to document and report to WECC actions taken in response to direction to mitigate unscheduled flow.  The standard also requires transmission operators to document required actions that are and are not taken by responsible entities. WECC- PRC-STD-001-1 requires certain transmission operators to submit to WECC annual certifications of protective equipment.  WECC-PRC-STD-003-1 requires certain transmission operators to report to WECC any misoperation of relays and remedial action schemes.  WECC-PRC-STD-005-1 requires certain transmission operators to maintain, in stated form, maintenance and inspection records pertaining to their transmission facilities. The standard also requires operators to certify to WECC that the operator is maintaining the required records.  WECC-TOP-STD-007-0 requires certain transmission operators to submit to WECC quarterly reports on transfer capability data and compliance as well as reports after an instance of non-compliance.  WECC-VAR-STD-002a-1 and WECC-VAR-STD-002b-1 require certain generators to submit quarterly reports to WECC on automatic voltage control and power system stabilizers.  All of the foregoing regional Reliability Standards require the reporting entity to retain relevant data in electronic form for one year or for a longer period if the data is relevant to a dispute or potential penalty, except that WECC-PRC-STD-005-1 requires retention of maintenance and inspection records for five years and retention of other data for four years.

- WECC-BAL-STD-002-0 is the subject of this final rule.  The Commission found in its June 2007 Order that the current regional Reliability Standards were more stringent than the corresponding NERC Reliability Standards.  In particular, the Commission found that BAL-002-0 was more stringent because WECC required a more stringent minimum reserve requirement than the continent-wide requirement.  Moreover, the Commission found that WECC’s requirement to restore contingency reserves within 60 minutes was more stringent than the 90 minute restoration period as set forth in NERC’s BAL-002-0.

- In the June 2007 Order, the Commission additionally directed WECC to develop certain minor modifications to WECC-BAL-STD-002-0, as identified by NERC in its filing letter for the current standard.  Specifically, the Commission determined that:  (1) regional definitions should conform to definitions set forth in the NERC Glossary of Terms Used in Reliability Standards (NERC Glossary) unless a specific deviation has been justified; and (2) documents that are referenced in the Reliability Standard should be attached to the Reliability Standard.  The Commission also found that it is important that regional Reliability Standards and NERC Reliability Standards achieve a reasonable level of consistency in their structure so that there is a common understanding of the elements.  Finally, the Commission directed WECC to address stakeholder concerns regarding ambiguities in the terms “load responsibility” and “firm transaction.”

- On March 25, 2009, NERC submitted a petition (NERC Petition) to the Commission seeking approval of BAL-002-WECC-1 and requesting the concurrent retirement of BAL-STD-002-0.  In that March petition, NERC stated that the proposed regional Reliability Standard was approved by the NERC Board of Trustees at its October 29, 2008 meeting.  NERC also requested an effective date for the regional Reliability Standard of 90 calendar days after receipt of applicable regulatory approval.

- The NERC Petition explained that, because WECC developed the modifications to the regional Reliability Standard as submitted to the Commission, and the standard applies on an Interconnection-wide basis, NERC must rebuttably presume that the WECC Reliability Standard is just, reasonable, not unduly discriminatory or preferential, and in the public interest.  NERC stated that it agrees with WECC that the proposed WECC regional Reliability Standard establishes requirements that are more stringent than those provided in the corresponding NERC Reliability Standard.

- Applying the principal of due weight to the technical expertise of NERC and WECC, the Commission finds that the proposed regional Reliability Standard BAL-002-WECC-1 does not meet the statutory criteria for approval, that it must be just, reasonable, not unduly discriminatory or preferential, and in the public interest.  In particular, the Commission is concerned that reliability would be reduced upon approval of the  proposed regional Reliability Standard because WECC’s data indicates that extending the reserve restoration period from 60 to 90 minutes would create an unreasonable risk that a second major contingency could occur before reserves are restored after an initial contingency.  There must be sufficient technical justification showing that the Western Interconnection can be operated reliably with the reduced stringency.  The Commission finds that the NERC and the Regional Entity have failed to demonstrate that the proposal is adequate to ensure the reliability of the Bulk-Power System within WECC.  Accordingly, under section 215(d)(4) of the FPA, the Commission remands regional Reliability Standard BAL-002-WECC-1 to the ERO with instruction for the Regional Entity to develop modification.

2.	HOW, BY WHOM, AND FOR WHAT PURPOSE THE INFORMATION IS TO BE USED AND THE CONSEQUENCES OF NOT COLLECTING THE INFORMATION

Prior to enactment of section 215, FERC had acted primarily as an economic regulator of wholesale power markets and the interstate transmission grid.  In this regard, the Commission acted to promote a more reliable electric system by promoting regional coordination and planning of the interstate grid through regional independent system operators (ISOs) and regional transmission organizations (RTOs), adopting transmission pricing policies that provide price signals for the most reliable and efficient operation and expansion of the grid, and providing pricing incentives at the wholesale level for investment in grid improvements and assuring recovery of costs in wholesale transmission rates.

Sufficient supplies of energy and a reliable way to transport those supplies to customers

are necessary to assure reliable energy availability and to enable competitive markets.  Reasonable supply relative to demand is essential for competitive markets to work.  Without sufficient delivery infrastructure, some suppliers will not be able to enter the market, customer choices will be limited, and prices will be needlessly volatile.  The Commission assists in creating a more reliable electric system by:

•	Fostering regional coordination and planning of the interstate grid through ISOs and RTOs;

•	Adopting transmission policies that provide price signals for the most reliable and efficient operation and expansion of the grid; and

•	Providing pricing incentives at the wholesale level for investment in grid improvements and ensuring opportunities for cost recovery in wholesale transmission rates.

The passage of the Electricity Modernization Act of 2005 added to the Commission’s efforts identified above, by giving it the authority to strengthen the reliability of the interstate grid through the grant of new authority pursuant to section 215 of the FPA which provides for a system of mandatory Reliability Standards developed by the ERO, established by FERC, and enforced by the ERO and Regional Entities.

As part of FERC’s efforts to promote grid reliability, the Commission created a new Office of Electric Reliability (OER) in 2007.  This office oversees the development and review of mandatory Reliability and Security.  OER also ensures compliance with the approved mandatory standards by users, owners, and operators of the Bulk Power System, and maintains a situational awareness monitoring tool to provide wide area visibility of the Bulk Power System.

The Commission uses the data to participate in NERC’s Reliability Standards Development process.  The Commission also uses the data when approving certain regional Reliability Standards such as those produced by WECC.   In addition, FERC’s Office of Electric Reliability uses the data to engage in studies and other activities to assess the longer-term and strategic needs and issues related to power grid reliability.

- The proposed regional Reliability Standard BAL-002-WECC-1 contains three main provisions.  Requirement R1 provides that each reserve sharing group or balancing authority must maintain a minimum contingency reserve that is the greater of (1) an amount of reserve equal to the loss of the most severe single contingency; or (2) an amount of reserve equal to the sum of three percent of the load and three percent of net generation.  Requirement R2 states that each reserve sharing group or balancing authority must maintain at least half of the contingency reserve as spinning reserve.  Requirement R3 identifies acceptable types of reserve to satisfy Requirement R1:

- R3.1.  Spinning Reserve;

- R3.2.  Interruptible Load;

- R3.3.  Interchange Transactions designated by the source Balancing Authority as non-spinning contingency reserve;

- R3.4.  Reserve held by the other entities by agreement that is deliverable on Firm Transmission Service;

- R3.5.  An amount of off-line generation which can be synchronized and generating; or

- R.3.6.  Load, other than Interruptible Load, once the Reliability Coordinator has declared a capacity or energy emergency.

- In addition, Measure M1 provides that a reserve sharing group or balancing authority must have documentation that it maintained 100 percent of required contingency reserve levels “except within the first 105 minutes (15 minute Disturbance Recovery Period, plus 90 minute Contingency Reserve Restoration Period) following an event requiring the activation of Contingency Reserves.”

- NERC’s Disturbance Control Standard, continent-wide Reliability Standard BAL-002-0, requires each balancing authority or reserve sharing group, at a minimum, to maintain at least enough contingency reserve to cover the most severe single contingency.  Similarly, requirement WR1(a)(ii) of WECC’s current WECC-BAL-STD-002-0 requires balancing authorities to maintain a contingency reserve of spinning and nonspinning reserves (at least half of which must be spinning), sufficient to meet the NERC Disturbance Control Standard, BAL-002-0, equal to the greater of:  (1) the loss of generating capacity due to forced outages of generation or transmission equipment that would result from the most severe single contingency; or (2) the sum of five percent of load responsibility served by hydro generation and seven percent of the load responsibility served by thermal generation.  In approving the existing regional BAL-STD-002-0 Reliability Standard, the Commission noted that the regional Reliability Standard is more stringent than the NERC Reliability Standard, BAL-002-0, because WECC requires a more stringent minimum reserve requirement than the continent-wide requirement.

- As proposed, the revised Requirement R1 of BAL-002-WECC-1 would require each reserve sharing group or balancing authority that is not a member of a reserve sharing group to maintain a minimum contingency reserve.  NERC contends that the proposed minimum contingency reserve amount is more stringent than that required by the continent-wide Reliability Standard.

- NERC stated that the proposed requirements for minimum contingency reserves provide a comparable level of contingency reserves to those contained in the currently approved regional Reliability Standard.  NERC explained that, based on operational experience, the requirements have been revised to remove what it considers to be ambiguous terms, such as “load responsibility,” and separate market transactions from the determination of required reserves that exist using the methodology in the current Reliability Standard.  In support of the revised minimum contingency reserve calculations, NERC stated that, based on technical studies covering a total of eight hours from the four operating seasons (summer, fall, winter and spring, both on and off-peak), the drafting team determined that the sum of 3 percent of load and 3 percent of net generation level was appropriate to approximate the same level of contingency reserves as the existing approved standard provides throughout the year.

- Section 215(d)(2) of the FPA provides that the Commission “shall give due weight to the technical expertise” of the ERO or a Regional Entity organized on an Interconnection-wide basis “with respect to the content of a proposed standard or modification.”  As the Commission explained in Order No. 672, the ERO or Interconnection-wide Regional Entity “must justify to the Commission its contention that the proposed Reliability Standard is just, reasonable, not unduly discriminatory or preferential, and in the public interest.”  Thus, consistent with our explanation in Order No. 672, it is necessary for the ERO or Regional Entity to explain adequately a Reliability Standard or modifications to a Reliability Standard.

In its petition, NERC provided a detailed explanation of why it believes the proposal satisfies the statutory criteria for approval based on the guidance provided by the Commission in Order No. 672 regarding the factors it would consider in making that determination.  However, this explanation fails to adequately address the substantive modifications to the regional Reliability Standard.  Moreover, WECC’s comments and supplemental data did not adequately address the Commission’s concerns expressed in the NOPR that the extension of the reserve restoration period will maintain reliable operation of the Western Interconnection.  Without adequate explanation and technical justification, the Commission is unable to determine whether the proposal satisfies the statutory criteria for approval and, therefore, remand the revised Reliability Standard to the ERO with instruction for the Regional Entity to develop modifications.

3.	DESCRIBE ANY CONSIDERATION OF THE USE OF IMPROVED TECHNOLOGY TO REDUCE BURDEN AND TECHNICAL OR LEGAL OBSTACLES TO REDUCING BURDEN.

The Commission has developed the capability for electronic filing of all major submissions to the Commission.  In Order No. 619, the Commission established an electronic filing initiative that permits over 40 qualified types of documents to be filed over the Internet to its website. This includes the ability to submit standard forms using software that is readily available and easy to use.  Electronic filing, combined with electronic posting and service over the web site, permits staff and the public to obtain filings in a faster and more efficient manner.   The Commission is working to expand the qualified types of documents that can be filed over the Internet.

In order that the Commission is able to perform its oversight function with regard to Reliability Standards that are proposed by the ERO and established by the Commission, it is essential that the Commission receive timely information regarding all or potential violations of Reliability Standards.  While section 215 of the FPA contemplates the filing of the record of an ERO or Regional Entity enforcement action, FERC needs information regarding violations and potential violations at or near the time of occurrence.  Therefore, the Commission works with the ERO and regional reliability organizations to be able to use the electronic filing of information so the Commission receives timely information.

4.	DESCRIBE EFFORTS TO IDENTIFY DUPLICATION AND SHOW SPECIFICALLY WHY ANY SIMILAR INFORMATION ALREADY AVAILABLE CANNOT BE USED OR MODIFIED FOR USE FOR THE PURPOSE(S) DESCRIBED IN INSTRUCTION NO. 2

Filing requirements are periodically reviewed as OMB review dates arise or as the Commission may deem necessary in carrying out its responsibilities under the FPA in order to eliminate duplication and ensure that filing burden is minimized.  There are no similar sources of information available that can be used or modified for these reporting purposes.  All reliability requirements will be subject to FERC approval along with the requirements developed by Regional Entities and Regional Advisory Bodies and the ERO.

5.	METHODS USED TO MINIMIZE BURDEN IN COLLECTION OF INFORMATION INVOLVING SMALL ENTITIES

FERC-725E is a filing requirement concerning the implementation of reliability standards by NERC and its responsibilities as well as those of Regional Entities in this instance WECC and Regional Advisory Bodies in the development of Reliability Standards.  The Electricity Modernization Act specifies that the ERO and Regional Entities are not departments, agencies or instrumentalities of the United States government and will not be like most other businesses, profit or not-for–profit.  Congress created the concept of the ERO and Regional Entities as select, special purpose entities that will transition the oversight of the Bulk-Power System reliability from voluntary, industry organizations to independent organizations subject to Commission jurisdiction.

Section 215(b) of the FPA requires all users, owners and operators of the Bulk-Power System to comply with Commission-approved Reliability Standards.  Each proposed Reliability Standard submitted for approval by NERC applies to some subset of users, owners and operators.  Each proposed Reliability Standard includes an “applicability” statement that identifies the functional classes of entities responsible for compliance.  Such functional classes include reliability coordinators, balancing authorities, transmission operators, transmission owners, generator operators, generator owners, interchange authorities, transmission service providers, market operators, planning authorities, transmission planners, resource planners, load-serving entities, purchasing-selling entities, and distribution providers.

- As explained by NERC, a generator operator, for example, could include any entity that operates a generator interconnected to the grid, be it a large unit in excess of 1,000 MW or a small generator of one MW or less.  NERC states that to ensure that Reliability Standards are applied cost effectively and that the applicability of Reliability Standards is focused on entities having a material impact on Bulk-Power System reliability; it will begin providing greater specificity in the applicability section of a Reliability Standard.

- The Commission believes that these Reliability Standards may cause some small entities to experience economic impact.  While the Commission is mindful of the possible impact on small entities, the Commission is also concerned that Bulk-Power-System reliability not be compromised based on an unwillingness of entities, large or small, to incur reasonable expenditures necessary to preserve such reliability.  As the Commission explained in Order No. 672:

A proposed Reliability Standard may take into account the size of the entity that must comply with the Reliability Standard and the cost to those entities of implementing the proposed Reliability Standard.  However, the ERO should not propose a “lowest common denominator” Reliability Standard that would achieve less than excellence in operating system reliability solely to protect against reasonable expenses for supporting this vital national infrastructure.  For example, a small owner or operator of the Bulk Power-System must bear the cost of complying with each Reliability Standard that applies to it. []

- Based on available information regarding NERC’s compliance registry, approximately 180-200 entities will be responsible for compliance with the eight regional Reliability Standards.  Most of those entities, i.e., balancing authorities, generator operators, transmission owners and operators, do not fall within the definition of small entities.  About one-fifth of the approximately 140 load-serving entities that are subject to the approved Standards might qualify as small entities.

- While the Commission cannot rule on the merits until a specific proposal has been submitted, the Commission believes that reasonable limits on applicability based on size may be an acceptable alternative to lessen the economic impact on the proposed rule on small entities. The Commission emphasizes, however, that any such limits must not weaken Bulk-Power-System reliability.

6.	CONSEQUENCE TO FEDERAL PROGRAM IF COLLECTION WERE CONDUCTED LESS FREQUENTLY

The Electric Reliability Organization will conduct periodic assessments of the reliability and adequacy of the Bulk-Power System in North America and report its findings to the Commission, the Secretary of Energy, Regional Entities, and Regional Advisory Bodies annually or more frequently if so ordered by the Commission.  The ERO and Regional Entities will report to FERC on their enforcement actions and associated penalties and to the Secretary of Energy, relevant Regional Entities and relevant Regional Advisory Bodies annually or quarterly in a manner to be prescribed by the Commission.  If the information were conducted less frequently or discontinued, the Commission would be placed at a disadvantage in not having the data necessary for monitoring its mandated obligations.

7.	EXPLAIN ANY SPECIAL CIRCUMSTANCES RELATING TO THE INFORMATION COLLECTION

FERC-725E is a filing requirement necessary to comply with the applicable provisions of the Electricity Modernization Act of 2005 and section 215 of the Federal Power Act.

In accordance with section 39.5 of the Commission’s regulations, the ERO must file each Reliability Standard or a modification to a Reliability Standard with the Commission.  The filing is to include a concise statement of the basis and purpose of the proposed Reliability Standard, either a summary of the Reliability development proceedings conducted by the ERO or a summary of the Reliability Standard development proceedings conducted by a Regional Entity together with a summary of the Reliability Standard review proceedings of the ERO and a demonstration that the proposed Reliability Standard is “just, reasonable, not unduly discriminatory or preferential, and in the public interest.

The ERO must make each effective Reliability Standard available on its Internet website.  Copies of the effective Reliability Standards will be available from the Commission’s Public Reference Room.

- WECC- PRC-STD-005-1 requires retention of maintenance and inspection records for five years and retention of other data for four years.  This exceeds the OMB guidelines in 5 CFR 1320.5(d) (2) (iv) which directs that agencies should require the public to retain records for more than three years.

- There is no explicit statute of limitations set forth in FPA section 215, and no statute of limitations appears in the FPA.  In Order No. 670, the Commission declined to designate a statute of limitations or otherwise adopt an arbitrary time limitation on complaints or enforcement actions that may arise.  However, the Commission noted, that when a statutory provision under which civil penalties may be imposed lacks its own statute of limitations, the general statute of limitations for collection of civil penalties, 28 U.S.C. 2462, applies.  Section 2462 in 28 U.S.C. imposes a five-year limitations period on any “action, suit, or proceeding for the enforcement of any civil fine, penalty, or forfeiture, pecuniary or otherwise.”

8.	DESCRIBE EFFORTS TO CONSULT OUTSIDE THE AGENCY: SUMMARIZE PUBLIC COMMENTS AND THE AGENCY'S RESPONSE TO THESE COMMENTS

Each Commission rulemaking (both NOPR and Final Rules) are published in the Federal Register, thereby affording all public utilities and licensees, state commissions, Federal agencies, and other interested parties an opportunity to submit data, views, comments or suggestions concerning the proposed collection of data.  The notice procedures also allow for public conferences to be held as required.  The Commission has held several workshops and technical conferences to address reliability issues including transition to the NERC Reliability Standards, operator tools, and reactive power.

Comments

- WECC, supported by Bonneville, Idaho Power, SCE, and Xcel, argued that additional studies are unnecessary because the proposed restoration period is identical to the continent-wide restoration period.  WECC commented that the Commission should defer to WECC’s technical expertise in concluding that more stringent contingency reserve restoration period is no longer necessary.  WECC also offered historical data that demonstrated that a second contingency involving the loss of a resource greater than 1000 MW between 60 and 90 minutes after a first contingency occurred six times in the last 15 years or 0.4 events on an annual basis, which, WECC argued, is insufficient to require rejection of a proposed standard on the basis of reliability impact.  Bonneville and Xcel argued that increasing the contingency reserve restoration period will result in more efficient system operation without sacrificing reliability.  Xcel added that it will allow for more efficient communication among balancing authorities because the restoration period will be closer to the e-tagging system approval cycle.

- MISO commented that it is imperative that the Commission give due consideration to approving modifications to Reliability Standards so that Regional Entities can implement changes as understanding grows and experience is gained.  MISO contends that disallowance of reasonable modifications, such as those by NERC, will have the unintended consequence of fostering a reluctance to develop other regional standards, or encouraging a minimalist approach when standards must necessarily be developed.  WECC echoed these concerns and argued that there is no requirement that a regional Reliability Standard can only be modified in a manner that makes it even more stringent.  Such a requirement, WECC contends, would create a “one-way ratchet” that would severely inhibit the ability to adjust Reliability Standards to meet changing conditions, would encourage proposed standards reflecting the “lowest common denominator” and would fail to provide deference to the technical expertise of an interconnection-wide Regional Entity.

- Commission Response

- The Commission finds that the extension of the reserve restoration period has not been justified as an acceptable level of risk within the Western Interconnection.  WECC’s own analysis shows that, based on historical experience, replacing the 60 minute requirement with the continent-wide 90 minute requirement could result in a second major contingency before restoration of reserves would be required, and that a second major contingency occurred within WECC during this extended time frame six times in the last 15 years.  WECC argued that in the Western Interconnection “instability and/or underfrequency load shedding normally would not occur in the absence of a third contingency of significant magnitude within the restoration period.”  WECC’s generalization, however, is unsupported by historical quantification or documentation in this record and, thus, does not persuade the Commission.

- While it is not inevitable that the proposed extension of the contingency reserve restoration period would result in adverse reliability impacts in the Western Interconnection, the data provided shows that the Western Interconnection could be exposed to the potential for a major disturbance every two to three years that could result in frequency-related instability, uncontrolled separation or cascading outages.  The Commission is particularly concerned about these potential events occurring in the Western Interconnection because, as the Commission discussed in the NOPR, it is the Commission’s understanding that a significant number of transmission paths in the Western Interconnection are voltage or frequency stability-limited, in contrast to other regions of the Bulk-Power System where transmission paths more often are thermally-limited.  Disturbances that occur in a stability-limited transmission path overload, generally, must be responded to in a shorter time frame than a disturbance that occurs in a thermally-limited transmission path overload.  A thermal limit is determined by how much a line can overheat without damaging equipment; lines that are thermally-limited can have short-term emergency limits that are higher than the normal line rating, since heating occurs over a period of time.  This is different from a stability limit, which is determined by a system-wide voltage or frequency stability constraint, and loading the line above this limit for any amount of time could result in instability and cascading outages.

- The reliance on stability-limited transmission paths becomes a concern during the contingency reserve restoration period because balancing authorities rely on imported power from external sources until the entity that had the disturbance replaces the resource lost during the disturbance.  Since stability-limited lines do not have higher emergency ratings, as thermally-limited lines can, any disturbance that would result in increasing flows over a stability-limited line must be addressed in a shorter time-frame than a disturbance that only affects thermally-limited lines.  There will be some situations in which imports stress stability-limited transmission lines.  In those circumstances, extending the contingency reserve restoration period would extend the amount of time the imported power could stress the stability limited transmission lines, potentially leaving the Western Interconnection in a stressed condition that could result in adverse reliability impacts if another disturbance were to occur.  On remand, the Commission is directing WECC to develop a modification to the reserve restoration period or provide evidence demonstrating that extending the reserve restoration period to 90 minutes and adding a disturbance recovery period of 15 minutes would not increase the risk of a major disturbance in the Western Interconnection.

- The fact that the proposed extension of the reserve restoration period would match the continent-wide requirement and, thus, would foster certain operational efficiencies through the use of the e-tagging system does not allay the Commission’s concerns that the extension could be harmful to the reliable operation of the Western Interconnection.  The e-tagging system is an efficient tool used for day-ahead and hour-ahead market accounting and as input for day-ahead and hour-ahead transfer capability analysis of scheduled interchange transactions and development of day-ahead and hour-ahead capacity and energy resource schedules.  As such, it may allow for more efficient communication among balancing authorities during operational planning periods.  However, in 2008, a WECC task force expressed concern that the “e-Tag and communications processes are time consuming and cumbersome when scheduling and tagging the large amounts of energy required to recover from system emergencies, particularly in mid-hour.”  Although adoption of the e-tagging system may result in more efficient communication among transmission operators and balancing authorities for day-ahead and hour-ahead scheduling, this fact alone is not sufficient to justify the potential reliability impacts involved with extending the reserve restoration period.

- The Commission’s action in this Final Rule does not create a “one-way ratchet” for the development of regional Reliability Standards.  In specific circumstances, the Commission could approve retirement of a more stringent regional requirement if the Regional Entity demonstrates that the continent-wide Reliability Standard is sufficient to ensure the reliability of that region.  In this case, however, WECC argued only three years earlier that the added stringency of the current regional Reliability Standard was critical to the reliable operation of the Western Interconnection.  The Commission finds that WECC provided insufficient technical detail and analysis for us to make a reasoned determination that the proposed requirement will adequately protect the reliability of the region.  Regional Entities have the discretion to develop regional Reliability Standards and implement changes as understanding grows and experience is gained without concern that the Commission will always hold them to their more stringent requirements in all circumstances regardless of the provided justification.  The Commission will evaluate such proposed changes, including those to a less stringent state, on their merit so long as adequate reliability is maintained.  In this instance, given WECC’s prior statements and its own analysis that such an extended restoration period could lead to major system disturbances, WECC has failed to demonstrate that its proposal will maintain adequate reliability, and therefore has failed to demonstrate that its proposal is just, reasonable, and in the public interest.  Consequently, we remand this proposal.

9.	EXPLAIN ANY PAYMENT OR GIFTS TO RESPONDENTS

No payments or gifts have been made to respondents.

10.	DESCRIBE ANY ASSURANCE OF CONFIDENTIALITY PROVIDED TO RESPONDENTS

- The Commission generally does not consider the data filed to be confidential.

Section 215(e) of the FPA as well as section 39.7(d) of the Commission’s regulations regarding enforcement of Reliability Standards provides for public notice and opportunity for a hearing with respect to both the ERO (or Regional Entity) enforcement proceedings and proceedings before the Commission involving review of a proposed penalty for violation of a Reliability Standard.  Section 39.7(b)(4) provides a limited exception to this notice requirement and allows for non-public proceedings for enforcement actions that involve a Cybersecurity Incident, unless FERC determines on a case-by-case basis that such protection is not necessary.  The Commission has in place procedures to prevent the disclosure of sensitive information, such as the use of protective orders and rules establishing critical energy infrastructure information (CEII).  However, the Commission believes that the specific, limited area of Cybersecurity Incidents requires additional protections because it is possible that system security and reliability would be further jeopardized by the public dissemination of information involving incidents that compromised the cybersecurity system of a specific user, owner or operator of the Bulk-Power System.  In addition, additional information provided with a filing may be submitted with a specific request for confidential treatment to the extent permitted by law and considered pursuant to 18 C.F.R. 388.112 of FERC's regulations.

11.	PROVIDE ADDITIONAL JUSTIFICATION FOR ANY QUESTIONS OF A SENSITIVE NATURE THAT ARE CONSIDERED PRIVATE.

There are no questions of a sensitive nature that are considered private.

- ESTIMATED BURDEN OF COLLECTION OF INFORMATION

- The Commission’s estimates below are based on the total reporting burdens that arise under the approved standards.  The estimates are based on the NERC compliance registry as of April 2010.  For the Western Interconnection that is overseen by WECC and NERC.  WECC and NERC have identified approximately 34 balancing authorities, 206 generator operators, 149 load-serving entities, and 83 transmission operators and owners.

- Burden Estimate:  By remanding the proposed Reliability Standard the Commission is maintaining the status quo until future revisions to the Reliability Standard are approved by the Commission.  Thus, the Commission’s action does not add to or increase entities’ reporting burden. The Public Reporting burden for the requirements in the present order is as follows:

| FERC Data Collection | No. of Respondents (1) | Average No. of Reponses per Respondent (2) | Average Burden Hours per Response (3) | Total Burden Hours (1)x(2)x(3) |
| --- | --- | --- | --- | --- |
| FERC-725E |  |  |  |  |
| Reporting |  |  |  |  |
| Balancing Authorities | 34 | 1 | 20 | 680 |
| Generator Operators | 206 | 1 | 10 | 2060 |
| Load-Serving Entities | 149 | 1 | 10 | 1490 |
| Transmission Operators/ Owners | 83 | 1-7 each (total of 83) | 40 | 3320 |
| Record-keeping | Balancing Authorities |  |  | 68 |
|  | Generator Operators |  |  | 206 |
|  | Load-Serving Entities |  |  | 149 |
|  | Transmission Owners/Operators |  |  | 332 |
|  | Totals |  |  | 755 |

- Total Annual hours for the Information Collection:  7,550 reporting hours + 755 recordkeeping = 8,305 hours.

13.	ESTIMATE OF THE TOTAL ANNUAL COST BURDEN TO RESPONDENTS

The Commission is seeking comments on the costs to comply with these requirements.  It has projected the average annualized cost to be $936,200 as shown below:

Reporting = 7,550 hours @ $120/hour = $906,000

Recordkeeping = 755 hours @ $40/hour = $30,200

Total Costs = Reporting ($906,000) + Recordkeeping ($30,200) = $936,200

(The hourly rate figure is a composite figure.  For reporting, the Commission has set a rate that combines time for legal, technical and administrative support.  With regard to recordkeeping, the hourly rate represents both supervisory and support staff hourly rates.)

14.	ESTIMATED ANNUALIZED COST TO FEDERAL GOVERNMENT

The estimate of the cost to the Federal Government is based on salaries for professional

and clerical support, as well as direct and indirect overhead costs.  Direct costs include all costs directly attributable to providing this information, such as administrative costs and the cost for information technology.  Indirect or overhead costs are costs incurred by an organization in support of its mission.  These costs apply to activities which benefit the whole organization rather than anyone particular function or activity.

Direct Costs = $137,872 x .26 FTE = $35,847.

15.  	REASONS FOR CHANGES IN BURDEN INCLUDING THE NEED FOR ANY INCREASE

There are no changes to the burden.  As noted above, by remanding the proposed Reliability Standard the Commission is maintaining the status quo until future revisions to the Reliability Standard are approved by the Commission.  Because the Commission’s proposed action does not add to or increase entities’ reporting burden there are no changes to the burden and what is reported on OMB’s inventory.

16.	TIME SCHEDULE FOR THE PUBLICATION OF DATA

The filed Reliability Standards are available on the Commission’s eLibrary document retrieval system in Docket No. RR07-11-000 and are available on the ERO’s website, http://www.nerc.com/~filez/nerc_filings_ferc.html.

Copies of the filings are made available to the public within two days of submission to FERC via the Commission's web site.  There are no other publications or tabulations of the information.

17.	DISPLAY OF THE EXPIRATION DATE

It is not appropriate to display the expiration date for OMB approval of the information collected.  The information will not be collected on a standard, preprinted form which would avail itself to that display.  Rather the Electric Reliability Organization must prepare and submit filings that reflect unique or specific circumstances related to the Reliability Standard.  In addition, the information contains a mixture of narrative descriptions and empirical support that varies depending on the nature of the transaction.

18.  EXCEPTIONS TO THE CERTIFICATION STATEMENT

Item No. 19(g) (vi) see Instruction No. 17 above for further elaboration.  In addition, the data collected for this reporting requirement is not used for statistical purposes.  Therefore, the Commission does not use as stated in item no. 19(i) "effective and efficient statistical survey methodology."  The information collected is case specific to each Reliability Standard.

B.	COLLECTION OF INFORMATION EMPLOYING STATISTICAL METHODS.

This is not a collection of information employing statistical methods.

“Electric Reliability Organization” or “ERO” means the organization certified by the Commission the purpose of which is to establish and enforce Reliability Standards for the Bulk-Power System, subject to Commission review.

Rules Concerning Certification of the Electric Reliability Organization; Procedures for the Establishment, Approval and Enforcement of Electric Reliability Standards, Order No. 672, FERC Stats. & Regs. ¶ 31,204 (2006), order on reh’g, Order No. 672-A, FERC Stats. & Regs. ¶ 31,212 (2006).

See North American Electric Reliability Corp., 116 FERC ¶ 61,062 (ERO Certification Order), order on reh’g and compliance, 117 FERC ¶ 61,126 (2006).

16 U.S.C. § 824o (e)(4).

16 U.S.C. §§ 824o(a)(7) ana (e)(4).

16 U.S.C. § 824o (d)(3); 18 C.F.R. § 39.5 (b).

See Mandatory Reliability Standards for the Bulk-Power System, Order No. 693, 118 FERC ¶ 61,218 (March 16, 2007), 72 Fed. Reg. 16,416 (April 4, 2007).

16 U.S.C. 824o (2006).

North American Electric Reliability Corp., 116 FERC ¶ 61,062, order on reh’g & compliance, 117 FERC ¶ 61,126 (2006), aff’d sub nom. Alcoa, Inc. v. FERC, 564 F.3d 1342 (D.C. Cir. 2009).

In Order No. 672, the Commission found that it should order only the ERO to modify a Reliability Standard because the ERO is the only entity that may directly submit a proposed Reliability Standard to the Commission for approval.  Rules Concerning Certification of the Electric Reliability Organization; Procedures for the Establishment, Approval, and Enforcement of Electric Reliability Standards, Order No. 672, 71 FR 8662 (Feb. 17, 2006), FERC Stats. & Regs. ¶ 31,204, at P 423, order on reh’g, Order No. 672-A, 71 FR 19814 (Apr. 18, 2006), FERC Stats. & Regs. ¶ 31,212 (2006).

The Electric Power Outages in the Western United States, July 2-3, 1996, at 76 (ftp://www.nerc.com/pub/sys/all_updl/docs/pubs/doerept.pdf) and WSCC Disturbance Report, For the Power System outage that Occurred on the Western Interconnection August 10, 1996, at 4 (ftp://www.nerc.com/pub/sys/all_updl/docs/pubs/AUG10FIN.pdf).

Maintaining Reliability in a Competitive U.S. Electricity Industry, Final report of the Task Force on Electric System    Reliability,  Secretary of Energy Advisory Board, U.S. Department of Energy (September 1998), at 25-27, 65-67.

Report of the National Energy Policy Development Group, May 2001, at p. 7-6.

16 U.S.C. § 824o (d)(2).

Order No. 672 at P 290.

Id. at 291.

Id.

See WECC April 17, 2007 Comments at 16.

Id.

Id.

Id. P 56.

See 18 C.F.R. 39.5(a) (requiring the ERO to submit regional Reliability Standards on behalf of a Regional Entity).

See NERC Petition at 8; and 16 U.S.C. 824o(d)(3).

A “reserve sharing group” is a group whose members consist of two or more balancing authorities that collectively maintain, allocate, and supply operating reserves required for each balancing authority’s use in recovering from contingencies within the group.  See NERC Glossary, available at:  http://www.nerc.com/docs/standards/rs/Glossary_2009April20.pdf.

Id. at 16.

Order No. 672, FERC Stats. & Regs. ¶ 31,204 at P 345.

Order No. 672, FERC Stats. & Regs. ¶ 31,204 at P 320-337.

See NERC Petition at 9-10.

Id. at 81-82.

Order No. 672 at P 330.

The RFA definition of “small entity” refers to the definition provided in the Small Business Act, which defines a “small business concern” as a business that is independently owned and operated and that is not dominant in its field of operation.  See 15 U.S.C. § 632 (2000).  According to the SBA, a small electric utility is defined as one that has a total electric output of less than four million MWh in the preceding year.

See, e.g., United States v. Godbout-Bandal, 232 F.3d 637, 639 (8th Cir. 2000).

28 U.S.C. 2462 (2000).  The five-year limitation runs “from the date the claim first accrued.”  Id.

WECC’s analysis showed that, over the past 15 years, the proposed increased contingency reserve restoration period would have resulted in 139 more events within the proposed 90 minute contingency reserve restoration period.  Limiting the analysis to losses of generation greater than 500 MW, there were only 58 events occurring within the proposed extended contingency reserve restoration period.  Limiting the analysis to losses of generation greater than 1000 MW, there were only six events during the extended contingency restoration period.  WECC contends that losses of less than 1,000 MW of generation have a minimal impact on the system frequency response of the Western Interconnection and have minimal impacts on the reliability of the interconnected system.  WECC May 24, 2010 Comments at 13.

WECC May 24, 2010 Comments at 13 n.10.

WECC’s statement is consistent with a statement made in a 2007 compliance filing that “WECC operates its system in such a manner that the system is at least two contingencies away from a cascading failure.”  WECC Compliance Filing, Docket       No. RR07-11-000, at 5 (filed July 9, 2007).  Nevertheless, WECC proposed to change its operating conditions by extending the reserve restoration period.  Thus, it must provide adequate technical justification that the revised requirements will maintain reliable operation of the Bulk-Power System in the Western Interconnection.

NOPR, FERC Stats. & Regs. ¶ 32,653 at P 37.

See NERC, Balancing and Frequency Control, at 6-10 (Nov. 2009), available at http://www.nerc.com/docs/oc/rs/NERC_Balancing_and_Frequency_Control_Part_1_9Nov2009_(Revision2).pdf.

WECC Disturbance Task Force, PacifiCorp East February 14, 2008 Detailed Disturbance Report stated in Conclusion 17 (Aug. 2008) available at http://www.wecc.biz/committees/BOD/081308/Lists/Agendas/1/PacifiCorp%20East%20Disturbance%20Board%20presentation%20Aug%2008%20Final.pdf.

In its letter requesting approval of the current regional Reliability Standards WECC states:

The WECC Operating Committee thereafter undertook a comprehensive review of all WECC criteria, policies, and guidelines in an effort to identify all unique (i.e., those not in NERC standards) and essential (i.e., necessary to protect WECC reliability) criteria that it believed critical to the reliability of the Western

Interconnection. The Operating Committee concluded that eight regional standards, proposed for adoption here, are of the highest priority.”

NERC, Request for Approval of Regional Reliability Standards, Docket No. RR07-11-000, at 4 (filed March 26, 2007) (NERC 2007 Petition).

The term “Cybersecurity Incident” is defined as a malicious act or suspicious event that disrupts, or was an attempt to disrupt, the operation of those programmable electronic devices and communications networks including hardware, software and data that are essential to the Reliable Operation of the Bulk-Power System.