## Front
OMB NO.: 0580-0013
U.S. DEPARTMENT OF AGRICULTURE |  |  |  |  | (See reverse)
GRAIN INSPECTION, PACKERS AND STOCKYARDS ADMINISTRATION
FEDERAL GRAIN INSPECTION SERVICE
SAMPLER CONDITION REPORT
NAME OF ELEVATOR, CITY, AND STATE |  | DATE EXAMINED |  | FIELD OFFICE
NAME OF OFFICIAL AGENCY
*INSTRUCTIONS TO EXAMINER: For a six month examination fill out the front of this form. For a complete grain test, including initial sampler test, fill out both sides of this form and send the original to the FGIS Field Office. Explain "FAIL" items in detail. If the sampler is not being used, indicate that fact under "Remarks" and prepare a report before the sampler is put into use.
PRIMARY SAMPLER |  | SECONDARY SAMPLERS
BRAND/MODEL | SERIAL NO. | BRAND/MODEL |  | SERIAL NO.
GRAIN FLOW RATE (Past Sampler) | SAMPLING INTERVAL (Cycle Time) | BRAND/MODEL |  | SERIAL NO.
SECTION 1 -- ALL SAMPLERS |  | SECTION 2 -- D/T SAMPLERS
ITEMS EXAMINED PASS / FAIL |  | ITEMS EXAMINED | PASS / FAIL
Lighting around sampler |  | Pelican speed approx. 0.5 m/s
Safe access to areas |  | Pelican dust seals (interior)
Safe access to inside of devices |  | Pelican go-no-go gauge
Lockouts (safety switches) |  | Pelican cuts entire grain stream
Cleanliness of area |  | Condition of excess sample return leg or belt
Cleanliness of device |  | Timer set correctly
Lubrication (if required) |  | SECTION 3 -- TRUCK PROBES
Panel board indicator lights |  | ITEMS EXAMINED PASS / FAIL
Air or hydraulic pressure |  | Tip not bent/damaged
Delivery tube secure |  | Tip vacuum check with paper
Delivery tube air inlet secure |  | Hydraulic oil level OK
Collection box secure |  | Vacuum adjustments sealed
Collection box screen clean |  | Sample size
Sampler not modified or repaired |  | Collection box seal
Seals/padlocks in place |  | Delivery tube condition
Inspected By: (LI or ACG) |  | Vacuum pressure if known:
Reviewed By: (ACG)
Form FGIS-936 (5-03) Previous editions are obsolete. Expires January 2015
SAMPLER
CODE:
6 - Bargelots
8 - Carlots
7 - Hopper Carlots
9 - Trucklots
5 - Cargolots
D - Diverter
P - Probe
0 - All Grains
1 - Small Grains
2 - Coarse Grains-not corn
3 - IN Inspections
4 - OUT Inspections

## Front Instructions
INSTRUCTIONS FOR COMPLETING
FORM FGIS-936, "SAMPLER CONDITION REPORT," (FRONT)
1. Name of the elevator, city, and state.
2. Date examination was done.
3. Name of FGIS field office in charge of the circuit.
4. Name of the official agency that does original inspections at the facility.
5. Brand name and type of primary (diverter-type sampler) or probe-type sampler being
examined and tested. Are they of a type approved by FGIS?
6. Serial number of primary diverter-type or probe-type sampler.
7. Brand name of secondary sampler.
8. Serial number of secondary sampler.
9. Calculate the maximum flow of spout or belt on which the sampler is installed.
10. Sampling Interval-Read from the timer.
11. Type of carriers or lots the system will sample.
Section 1 – All Samplers
12. Lighting should be approximately 30 footcandles (general task lighting).
13. Safe access includes approved stairs, fixed ladders, platforms, and railings.
14. Safe access to the inside of the housing or hood without endangering the examiner.
15. Lockout switches must be present and meet requirements.
16. Cleanliness of the area-overhead, floor, stairs.
17. Cleanliness/condition of primary-check for plugs, leaks, dust, sprouted grain, broken
hasps/hinges, wiring.
18. Lubrication-Grease or oil leaks.
19. Panel lights-Use radio or phone (if needed) to ensure that the power and traverse lights work
properly. Have any changes been made in the wiring?
20. Air or hydraulic pressure-Is there enough? Record the gage pressure, if available.
21. Delivery tube must be secure from loss or introduction of material.
22. Delivery tube-Pneumatic systems must have a guard over the air supply inlet.
23. Collection box-If not continuously attended, must be secure at inlet and outlet.
24. Collection boxes that have a screen must be maintained in a clean condition.
25. Sampler not Modified-For this check, good installation records are essential.
26. Seals-Were the security seals on inspection doors found intact? Was the delivery tube found
secure?
Section 2 – D/T Samplers
27. Pelican speed must be uniform with no slow spots. Speed can be estimated.
28. Pelican dust seals-Must be present, not torn, and must seal-off the pelican, no air gap.
29. Pelican Go-no-go Gauge-Use it to ensure the opening is between 3/4 and 7/8 inch wide
along its entire length.
3 The reverse of Form FGIS-936 is used for performing a test (grain test). Instructions for completing the reverse
are contained in Chapter 5, Tests.
30. Pelican cuts stream-If practical, observe a cut to see that the pelican is sampling the entire
stream, and that it does not back up from excess grain.
31. Condition of excess sample return-Check if it is leaking, infested, or backing up.
32. Timer-Does the timer setting match the documented setting (required). Use a stopwatch or
read the timer; do not rely on posted signs or old records.
Section 3 – Truck Probes
33. Probe tip must be in good condition.
34. For core-type probes, a small piece of paper is placed over the tip to check the air
supply/vacuum balance. The paper should not fall off or be sucked into the tip.
35. Check levels if possible.
36. After adjustment, air supply/vacuum balance should not be changed. If it is possible to seal
them or record settings, this provides assurance that they remain correctly adjusted.
37. Is the sample size adequate? Has it changed?
38. If the collection box has a gasket, is it in good condition with no air leaks.
39. Is the delivery tube in good condition,
40. If a gage reading is available, it can indicate leaks or misadjustment.
Name of Inspector
41. Show the name of the inspector who completed the examination. If any item is
unsatisfactory, the sampler is not acceptable. Keep the not acceptable Form FGIS-936 as a
record. Even if the facility brings the sampler into compliance immediately, complete
another form.
42. An ACG should review some forms for correctness when possible. Any questionable
information or remarks must be verified to be accurate.

## Back
According to the Paperwork Reduction Act of 1995, an agency may not conduct or sponsor, and a person is not required to respond to a collection of information unless it displays a valid OMB control number. The valid OMB control number for this information collection is 0580-0013. The time required to complete this information collection is estimated to average 45 minutes per response, including the time for reviewing instructions, searching existing data sources, gathering and maintaining the data needed, and completing and reviewing the collection of information.
GRAIN TEST DATA
SAMPLING METHOD USED FOR STANDARD: |  |  |  |  | for Mechanical Truck Probes only
[5 empty] | Date | Sample No. | Type | DKG | BCFM
COMMODITY: | [6 empty] | Test Unit
[6 empty] | 6 | Standard
HP
Test Unit
[6 empty] | 7 | Standard
HP
Test Unit
[6 empty] | 8 | Standard
HP
Test Unit
[6 empty] | 9 | Standard
HP
Test Unit
[6 empty] | 10 | Standard
HP
Test Unit
[6 empty] | 11 | Standard
HP
Test Unit
[6 empty] | 12 | Standard
HP
Date | Sample No. | Type | DKG | BCFM |  |  | Test Unit
|  | Test Unit |  |  |  | 13 | Standard
| 1 | Standard |  |  |  |  | HP
Test Unit
Difference | [5 empty] | 14 | Standard
Tolerance | [6 empty] | HP
Result - One test lot | [6 empty] | Test Unit
[6 empty] | 15 | Standard
HP
Test Unit
Date | Sample No. | Type | DKG | BCFM |  | 16 | Standard
|  | Test Unit |  |  |  |  | HP
| 2 | Standard |  |  |  |  | Test Unit
[6 empty] | 17 | Standard
|  | Test Unit |  |  |  |  | HP
| 3 | Standard |  |  |  |  | Test Unit
[6 empty] | 18 | Standard
|  | Test Unit |  |  |  |  | HP
| 4 | Standard |  |  |  |  | Test Unit
[6 empty] | 19 | Standard
|  | Test Unit |  |  |  |  | HP
| 5 | Standard |  |  |  |  | Test Unit
[6 empty] | 20 | Standard
Test Unit MDS* | [6 empty] | HP
Tolerance |  |  |  |  | Test Unit MDS*
Result - Five test lots |  |  |  |  | Hand Probe MDS*
Regression or T-test
*Mean Deviation from Standard
Form FGIS-936 (5-03) Previous editions are obsolete.
REMARKS:
PELICAN
CUP
COARSE GRAIN
SMALL GRAIN
OTHER
IN
IN
OUT
OUT
IN
OUT
IN
IN
OUT
OUT
IN
OUT
IN
IN
OUT
OUT
IN
OUT
OTHER

## Back Instructions
INSTRUCTIONS FOR COMPLETING
FORM FGIS-936, "SAMPLER CONDITION REPORT,"
(REVERSE)
Use the reverse of Form FGIS-936 for testing (grain test). Always precede a test with an
examination, documented on the front of the form. If the examination and the test are not
recorded on the same sheet, properly identify the test by filling in the Name of Elevator, etc.,
Items 1 through 11, 41 and 42 on the front as described in Chapter 4, Examinations.
1. Method of sampling-What was the standard? If a special location or procedure was used,
explain in remarks.
2. Specify grain.
3. Remarks-Summary of important observations on the sampling system and testing
information. Was the test run at normal load-out speed, air pressure, belt depth, etc.? Was
dust collection turned on? Shipping bins checked?
4. Enter date sampled.
5. One factor is required, but additional factors may be tested. If necessary, the field office
manager shall decide the appropriate factors. Test weight is not to be used as the only factor.
Report percentages to 2 decimal places.
6. Mathematical average of the mechanical sampler results, average of the standard results,
average of other results. Round percentages to 2 places.
7. Tolerance or allowable deviation = 0.10 x (standard average).
8. Mark the appropriate box for each factor tested. If more than one factor was tested, each of
them must be within tolerance for a pass. A factor is considered within tolerance when the
mean deviation from the standard is less than or equal to the allowable deviation for the
applicable factor(s).
9. If 5 test lots are to be evaluated, continue entering sample data.
10. If testing a mechanical truck probe, continue entering sample data for 20 test lots.
11. Truck probe performance is evaluated against a standard and a hand probe, using either a
regression or a T-test. Technical Service Division provides support for the analysis.