Measurement of Maternal Life Experience Study

Visit 1: Blood Collection & Processing Protocols

# Summary

|  | TUBE | ANALYTE | VOLUME OF PLASMA | VOLUME OF CRYOVIAL | SITE OF ANALYSIS |
| --- | --- | --- | --- | --- | --- |
| 1 | 4.0 mL EDTA + APROTININ | CRH | 1.5mL | 2mL | UC Irvine |
|  |  |  | remainder | 2mL |  |
| 2 | 10mL EDTA | CORTISOL | 0.5mL | 2mL | UC Irvine |
|  |  | CRP/EBV | 0.5mL | 2mL | Northwestern |
|  |  |  | 0.5mL | 2mL |  |
|  |  | CYTOKINES | 8 *0.1mL (strip tube), 0.750mL (cryovial) | strip tube + 2mL | San Antonio |
| 3 | 8.5 mL Paxgene tube | DNA | N/A | 8.5mL tube (do not aliquot) |  |

# Cortisol, CRP/EBV and Cytokines (10mL EDTA Purple-Top Tube)

- Collect blood and gently invert tube 10 times to adequately mix blood with EDTA anticoagulant.

Processing Sample:

- Adjust centrifuge to 3000rpm @ 40C and spin for 15 minutes.

Aliquots (On Ice):

- Pipette 0.5mL of plasma into 3 of the 2mL cryovials.

- Pipette 0.75mL of plasma into the fourth 2mL cryovial.

- Pipette 8 X 0.1mL of plasma into the strip tube.

- Store additional samples in extra 2mL cryovials (store locally).

- Immediately store all vials in -80ᵒC freezer.

- Store strip tubes in a small box with 96 x 0.2mL racks with lids.

- Use extra fine alcohol resistant marker to label the side of each tube (tubes can break off the strip when frozen).

- Place a sturdy rubber band around the lid and box.

# DNA (8.5mL Paxgene Tube)

- Collect blood and gently invert tube 10 times.

- No processing or aliquots necessary.

Storage of Aliquots:

- Store Paxgene tubes using the styrofoam inserts and box in which they came.

- Place at ~-20ᵒC for 24 hours and then store tubes in -80ᵒC freezer.

- IMPORTANT: Place the box on its side when placed inside the freezer. Tubes may crack if upright.

# CRH (4mL EDTA Purple-Top Tube + Aprotinin)

- Aprotinin aliquots will be prepared in advance.  (Aprotinin from SIGMA A1153-100mg    $462.00)

- Make Aprotinin on ice and aliquot on ice. Dilute in the original bottle with 5mls of sterile saline. Mix well. Aliquot 35uL into each small 0.6mL tube for storage at -20ᵒC. Make sure to deliver liquid to bottom tube.

- This gives you a concentration of 20mg/mL or 1mg/50ul or 6TIU/50ul. (We need 1TIU/ml blood).

- These aliquots can be stored for up to 1 year.

On day of draw:

- Remove Aprotinin from freezer, put on ice, and take to clinic.

- If aliquot is still frozen when needed, gently roll tube in gloved hands to defrost.

- Collect blood and gently invert tube 10x to mix blood with EDTA anticoagulant.

- Pipette 33uL of Aprotinin protease inhibitor into tube.

- Recap tube and gently invert tube 4x to mix blood with inhibitor.

- Chill on ice until centrifugation.

Processing Sample:

- Sample must be processed within 30 minutes of collection (if needed, sample can sit on ice for up to 1 hour).

- Centrifuge at 3000rpm for 15 minutes at 4ᵒC.

- Carefully remove tube from centrifuge as not to disturb buffy coat and note specimen color (yellow, pink or red).

- Pipette 1.5mL of plasma (carefully so as not to disturb buffy coat) into the first 2mL cryovial and then pipette remainder into the second 2mL cryovial.

- Immediately store all plasma cryovials in -80ᵒC freezer (or -20C if necessary).

# Shipping

Ship frozen specimens on dry ice to:

1) 	University of California Irvine

Institute for Clinical and Translational Sciences

101 THE CITY DRIVE SOUTH, Building-55-Room-334

Orange, Ca. 92868

Attn:  Dr. Frank Zaldivar

714-456-6914

714-456-8248 Georgia

714-456-3417 Mila

Aliquots

2X  	cryovials of plasma + aprotinin

1X  	cryovial of plasma

2)  	Northwestern

Thomas McDade

1810 Hinman Avenue

Evanston, IL  60208

p: 847/467-4304

f: 847/467-1778

e: t-mcdade@northwestern.edu

Aliquots

2X	cryovials of plasma

3)	San Antonio

Joe Cuellar

Biomarkers Laboratory

2.528 McDermott Building

8403 Floyd Curl Drive

San Antonio, TX 78229

p: 210/567-8084

f: 210/567-5507

e: cuellarj4@uthscsa.edu

Aliquots

1X	cryovial of plasma

1X 	strip tube

1x	Paxgene tube

# Text boxes

Plasma

Buffy Coat

Red Cells