Instructions to Complete

Vehicle Scale Test Report

Form P&SP–4400

The scale inspector or person testing the scale must complete form P&SP-4400 to document the scale tests required by the Packers and Stockyards Program.

Mail the completed form to the regional office of the Packers and Stockyards Program as listed below.  The states covered by each regional office are listed below the regional office’s address.

| Regional Offices of the Packers and Stockyards Program Grain Inspection, Packers and Stockyards Administration |  |  |
| --- | --- | --- |
| Eastern Regional Office Suite 230 75 Spring Street Atlanta, GA 30303-3308 Telephone: (404) 562-5840 FAX: (404) 562-5848 e-mail: PSPAtlantaGA.GIPSA@usda.gov | Western Regional Office 3950 Lewiston St., Suite 200 Aurora, CO 80011-1556 Telephone: (303) 375-4240 FAX: (303) 371-4609 e-mail: PSPDenverCO.GIPSA@usda.gov | Midwestern Regional Office Room 317 210 Walnut Street Des Moines, IA 50309-2110 Telephone: (515) 323-2579 FAX: (515) 323-2590 e-mail: PSPDesMoinesIA.GIPSA@usda.gov |
| States Covered | States Covered | States Covered |
| AL, AR, CT, DC, DE, FL, GA, LA, MA, MD, ME, MS, NC, NH, NJ, NY, PA, RI, SC, TN, VA, VT, WV | AK, AZ, CA, CO, HI, ID, KS, MT, NM, NV, OK, OR, TX, UT, WA, WY | IA, IL, IN, KY, OH, MI, MO, MN, ND, NE, SD, WI |

For more information, see Instructions for Testing Livestock and Animal Scales available from a regional office or via our web site at http://www.usda.gov/gipsa/pubs/live.pdf.

If you have any questions regarding this form, please contact the appropriate regional office of the Packers and Stockyards Program listed above.

| Line No. | Subject | Instruction |
| --- | --- | --- |
| 1 | Page Number | The page number is normally 1 of 1. If additional space is needed or when testing multiple indicator/platform installations, number pages identifying the current page number and the total number of pages. For example, page 2 of 3. |
| 2 | Date | Enter date scale test conducted. |
| 3 | Scale Owner | Enter name of firm. |
| 4 | Scale Location | Enter full address of scale being tested, including street address, city, county, and state. |
| 5 | Processor or Dealer Name and Address | Enter name and address of poultry processor or dealer using scale. |
| 6 | Test Agency | Enter name and address of firm conducting the test. |
| 7 | Make of Scale | Enter manufacturer of indicator. |
| 8 | Scale Capacity | Enter how much scale is capable of weighing. |
| 9 | Kind of Indicator | Enter digital, dial, or beam to indicate the kind of indicator on the scale. |
| 10 | Serial Number | Enter serial number of indicator being tested. |
| 11 | Minimum Division | Enter minimum graduation. For example, 10 lbs, or 20 lbs. |
| 12 | Balance Indicator | If applicable, enter the make or manufacturer of the balance indicator. |
| 13 | Platform Size | Enter length and width of platform, in feet. |
| 14 | Balance | Enter the balance condition of indicator on inspector’s arrival, in pounds. |
| 15 | Type of Levers | Enter mechanical, electro-mechanical, or load cell. |
| 16 | Pit Depth | If indicator is below ground, enter depth of pit in feet. |
| 17 | Last Date Tested | Enter the date of the last vehicle scale test. |
| 18 | Year Installed | Enter the year the indicator was installed at the current location. |
| 19 | Test Position | Enter the section of the scale (left to right looking from the scale indicator) used for the test. |
| 20 | Test Weights | Enter the weight of test in pounds. |
| 21 | Scale Indication | Enter the indicated weight amount in pounds. |
| 22 | Error | Enter the difference of test weights and scale indication in pounds. |
| 23 | Empty Truck Weight | Enter the indicated weight of empty truck in pounds. |
| 24 | Test Weights | Enter the amount of test weights added in pounds. |
| 25 | Scale Indication | Enter the scale indication, truck plus weights in pounds. |
| 26 | Error on Test Weights | Enter the error on test weights added in pounds. |
| 27 | Accuracy | For any errors listed above, check the appropriate box to indicate if they are or are not within the accuracy requirements prescribed by the Packers and Stockyards Program. |
| 28 | Repairs, Adjustments, or Changes | To be completed by the State or scale company that conducted the test. Enter any repairs, adjustments, or changes made during the scale test. |
| 29 | Recommendations for Repair or Replacement | To be completed by the State or scale company that conducted the test. Enter your recommendations for repair, replacement, or other action for the scale. |
| 30 | Receipt Signature | If available, have the scale owner or officer sign the form; their signature is not required. |
| 31 | Inspector Signature | The official that conducted the test must sign the form. |