## ZIKA IgM ELISA
Zika MAC ELISA Verification Panel
Laboratory Name:
Primary Contact: | Name: | Phone: | Email:
Address: | City: | State: | Zip:
Testing Personnel Initials | Initial Here:
Test Date: | Date Here:
Test Method. Manual, Dynex Agility, or DSX | Enter Test Method Here:
Reagents and Consumables | Source |  | Catalog # |  | Lot # |  | Working Dilution
Goat anti-human IgM
Zika Vero E6 Tissue Culture Antigen | CDC
Normal Vero E6 Antigen | CDC
Zika COS-1 Recombinant Antigen | CDC
Normal Control COS-1 Recombinant Antigen | CDC
Detecting antibody conjugate: Horseradish peroxidase conjugated monoclonal antibody 6B6C-1
Immulon II HB flat-bottomed 96 well plates
Enhanced K-Blue TMB substrate
Flavivirus IgM Positive Contol | CDC
Calibration Control Serum | CDC
Negative Control Serum | CDC
Panel Results
Sample | Viral Antigen OD |  |  | Mean Viral Antigen O.D. | Normal Antigen OD |  |  | Mean Normal Antigen O.D. | P/N Values |  | Assay Interpretation
| OD1 | OD2 | OD3 |  | OD1 | OD2 | OD3 |  | P/N Within Sample* | P/N of Test Sample**
S1
S2
S3
S4
S5
S6
S7
Flavivirus IgM Positive Contol
Calibration Control Serum
Negative Control Serum
* P/N Within Sample = mean OD of test sample reacted with Zika Antigen divided by the mean OD of test sample reacted with the Normal Antigen
** P/N of Test Sample = mean OD of test sample reacted with the Zika antigen divided by the mean OD of the Calibration Control Serum reacted with the Zika Antigen