## Appendix A to Subpart R of Part 1926—Guidelines for Establishing the Components of a Site-specific Erection Plan: Non-mandatory Guidelines for Complying With §1926.752(e)

PAPERWORK REDUCTION ACT STATEMENT

Under the steel erection standard, these non-mandatory guidelines assist employers who elect to develop a site-specific erection plan.  (29 CFR 1926.752(e)).  According to the Paperwork Reduction Act, an Agency may not conduct or sponsor, and no persons are required to respond to, a collection of information unless such collection displays a valid OMB control number.  Use of these guidelines is optional.  The guidelines assist employers to ensure compliant documentation where employers elect, based on site specific conditions, not to comply with § 1926.753(c)(5), § 1926.757(a)(4) or § 1926.757(e)(4).  OSHA estimates employer burden for the completion of this collection of information is 76 minutes (1.16 hours).  This estimate includes the time for reviewing instructions, searching existing data sources, gathering and maintaining the data needed, and, completing and reviewing the collection of information.  The time estimate includes employer time for development of the site-specific plan and its components.  Send comments regarding this burden estimate or any other aspect of this collection of information, including suggestions for reducing this burden to OSHAPRA@dol.gov or to OSHA’s Directorate of Standards and Guidance, Department of Labor, Room N-3718, 200 Constitution Ave., NW, Washington, DC; 20210; Attn: Paperwork Reduction Act Comment. (This address is for comments regarding this form only; DO NOT SEND ANY COMPLETED SAMPLE FORM TO THIS OFFICE.)

OMB Approval# 1218-0241; Expires: 00-00-0000

(a) General. This appendix serves as a guideline to assist employers who elect to develop a site-specific erection plan in accordance with §1926.752(e) with alternate means and methods to provide employee protection in accordance with §1926.752(e), §1926.753(c)(5), §1926.757(a)(4) and §1926.757(e)(4).

(b) Development of a site-specific erection plan. Pre-construction conference(s) and site inspection(s) are held between the erector and the controlling contractor, and others such as the project engineer and fabricator before the start of steel erection. The purpose of such conference(s) is to develop and review the site-specific erection plan that will meet the requirements of this section.

(c) Components of a site-specific erection plan. In developing a site-specific erection plan, a steel erector considers the following elements:

(1) The sequence of erection activity, developed in coordination with the controlling contractor, that includes the following:

(i) Material deliveries:

(ii) Material staging and storage; and

(iii) Coordination with other trades and construction activities.

(2) A description of the crane and derrick selection and placement procedures, including the following:

(i) Site preparation;

(ii) Path for overhead loads; and

(iii) Critical lifts, including rigging supplies and equipment.

(3) A description of steel erection activities and procedures, including the following:

(i) Stability considerations requiring temporary bracing and guying;

(ii) Erection bridging terminus point;

(iii) Anchor rod (anchor bolt) notifications regarding repair, replacement and modifications;

(iv) Columns and beams (including joists and purlins);

(v) Connections;

(vi) Decking; and

(vii) Ornamental and miscellaneous iron.

(4) A description of the fall protection procedures that will be used to comply with §1926.760.

(5) A description of the procedures that will be used to comply with §1926.759.

(6) A description of the special procedures required for hazardous non-routine tasks.

(7) A certification for each employee who has received training for performing steel erection operations as required by §1926.761.

(8) A list of the qualified and competent persons.

(9) A description of the procedures that will be utilized in the event of rescue or emergency response.

(d) Other plan information. The plan:

(1) Includes the identification of the site and project; and

(2) Is signed and dated by the qualified person(s) responsible for its preparation and modification.