FEDERAL ENERGY REGULATORY COMMISSION

WASHINGTON, DC 20426

# OFFICE OF ELECTRIC RELIABILITY

North American Electric Reliability Corporation

Docket No. RD20-1-000

February 18, 2020

North American Electric Reliability Corporation

1325 G Street N.W., Suite 600

Washington, D.C. 20005

Attention:	Edward Schwerdt

President and CEO of Northeast Power Coordinating Council, Inc.

James McGrane

Senior Counsel for North American Electric Reliability Corporation

Reference:	Petition of the North American Electric Reliability Corporation for Approval of Proposed Regional Reliability Standard PRC-006-NPCC-2

Dear Mr. McGrane:

On December 23, 2019, the North American Electric Reliability Corporation (NERC) and Northeast Power Coordinating Council, Inc. (NPCC) filed a joint petition seeking approval of proposed regional Reliability Standard PRC-006-NPCC-2 (NPCC Automatic Underfrequency Load Shedding).

NERC and NPCC state that regional Reliability Standard PRC-006-NPCC-2 establishes consistent and coordinated requirements for the design, implementation, and analysis of automatic underfrequency load shedding (UFLS) programs among all NPCC applicable entities.  These requirements are more stringent and specific than the NERC continent-wide UFLS Reliability Standard, PRC-006-3, and were established such that the declining frequency is arrested and recovered in accordance with NPCC performance requirements.  NPCC revised currently effective Regional Reliability Standard PRC-006-NPCC-1 to remove redundancies with the Reliability Standard PRC-006-3, clarify obligations for registered entities, improve communication of island boundaries to affected registered entities, and provide entities with the flexibility to calculate net load shed for UFLS in certain situations.

NERC’s filed petition was noticed on December 30, 2019, with interventions, comments and protests due on or before January 29, 2020.  An errata notice issued on January 6, 2020 corrected the comment due date to be January 22, 2020.  No interventions or comments were received.

NERC’s uncontested filing is hereby approved pursuant to the relevant authority delegated to the Director, Office of Electric Reliability under 18 C.F.R. § 375.303 (2019), effective as of the date of this order.

This action shall not be construed as approving any other application, including proposed revisions of Electric Reliability Organization or Regional Entity rules or procedures pursuant to 18 C.F.R. § 375.303(a)(2)(i).  Such action shall not be deemed as recognition of any claimed right or obligation associated therewith and such action is without prejudice to any findings or orders that have been or may hereafter be made by the Commission in any proceeding now pending or hereafter instituted by or against the Electric Reliability Organization or any Regional Entity.

This order constitutes final agency action.  Requests for rehearing by the Commission may be filed within 30 days of the date of issuance of this order, pursuant to 18 C.F.R. § 385.713 (2019)

Sincerely,

# Andrew Dodge, Director

Office of Electric Reliability