Form Approved

OMB No. 0920-1175

Exp. Date 04/30/2020

| Data Dictionary for Data Submission Radon National Environmental Public Health Tracking Network |  |
| --- | --- |
| Characteristic | Description |
| Data Source | Private radon testing labs and public health labs |
| Purpose | This data set contributes to the Environmental Public Health Tracking Network. The Content Workgroup Radon Team identified nationally consistent data sources and developed a nationally consistent indicator and measures of radon in air. |
| Geographic Level | County or census tract |
| Restrictions | This is a restricted access data set. Data will be displayed via the national public portal only when sufficient conditions have been met to protect data privacy. |
| Last Revised | November 26, 2019 |
| Instruction for Use | This data dictionary is a reference for creating the Radon data for submission. Refer to the Radon schema for the order of variables and final data structure. |

CDC estimates the average public reporting burden for this collection of information as 100 hours per response, including the time for reviewing instructions, searching existing data/information sources, gathering and maintaining the data/information needed, and completing and reviewing the collection of information. An agency may not conduct or sponsor, and a person is not required to respond to a collection of information unless it displays a currently valid OMB control number. Send comments regarding this burden estimate or any other aspect of this collection of information, including suggestions for reducing this burden to CDC/ATSDR Information Collection Review Office, 1600 Clifton Road NE, MS D-74, Atlanta, Georgia 30333; ATTN: PRA (0920-0853).

| Radon Data Dictionary for Aggregate Data Environmental Public Health Tracking |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Field Name | Field Description | Data Type | Code Scheme | Legal Values | Field Length | Required |
| AddressID | This is a unique ID that can be linked to the address but maintain confidentiality; this number represents an address level record but it is not the address. | String | Twenty character value (at a maximum) consisting of numbers or letters that link to a specific address | nnnnnn…. String of integers and characters | 20 | Required* (If not submitting the test address) |
| BuildingPurposeCode | The designator that represents the building purpose. | Text | R = Residential N = Non-residential/Commercial C = Community Water Supply this is a water sample D = Daycare center P = Daycare center in public school S = School H= Hospital G = Government building CU = Colleges or Universities U = Unknown | Any of the codes on in Code Scheme column | 2 | Required |
| BuildingTypeCode | The designator that represents the Type of the building tested; R1 buildings are unattached and R2 buildings are attached. | Text | R1A = Mobile home R1B = Single level home R1C = Multi level home R1D = Other R2A = Row house R2B = Town house R2C = Duplex R2D = Apartments and Condominiums | Any of the codes in the Code Scheme column | 3 | Optional |
| CertifiedContractorIndicator | Indicator if the con- tractor performing the test is certified or not. | Integer | 1 = Yes 0 = No | 0,1 | 1 | Optional |
| CensusTract | Consists of the 2 digit state FIPS code, the 3 digit county FIPS code and the 6 digit code for the census tract | String | nnnn… U = Unknown | Ex: Census Tract 48201533701 is located in Harris County, Texas. The 48 is the FIPS code for Texas; the 201 is the FIPS code for Harris County; and the 533701 identifies the specific Census Tract. Alpha Numeric so that leading zeroes are not deleted. | 35 | Optional |
| CountyFIPSCode | County FIPS code over which birth defect cases and underlying birth populations are counted. | String | FIPS U = Unknown | A valid county FIPS code for the state, or ‘U’. | 5 | Required |
| DataIdentifier | A unique identifier for each batch of Radon Test Results. | String | XXXXXXXXX | Nine-character value consisting of numbers or letters identifying the batch | 9 | Optional |
| DataSourceName | The data source where the radon test data is retrieved (when pulling from multiple data sources). | Text | Name of lab | Examples are: VDH-EH Radon Database ACCUSTAR; AIRCHEK; AK Radon Program; ALPHA; EMS; FL Radon Program KS Radon Program LANDAUERINC; Prolabs; RDS; RSSI; RTCA; UDEQ | 25 | Required |
| DeviceTypeName | Name of instrument or equipment used for the Radon test. | String | AC = Activated Charcoal Adsorption AT = alpha track ES = Short-term electret EL = Long-term electret CR = continuous radon monitor CW = continuous working level monitor LS = Charcoal Liquid Scintillation WL = Working Level CC = Charcoal Canister GR = Grab Sample – Radon GW = Grab Sample – Working Level RP = Radon Progeny Integrated Sampling Unit (RPISU) O= Other | Any of the codes in the Code Scheme column | 2 | Optional |
| FloorLevelTested | The floor level in the building where the Radon test was conducted. | String | B = Basement F1 = 1st floor F2 = 2nd floor F3 = 3rd floor F4 = above the 3rd floor O = Other | Any of the codes in the Code Scheme column | 2 | Optional |
| FoundationTypeCode | A designator used to uniquely identify the Foundation Type that facility occupies. | Text | B = Basement C = Crawlspace S = Slab-on-grade P = Pier O = Other | Any of the codes in the Code Scheme column | 1 | Optional |
| MeasureUnitName | The code that represents the unit for measuring Radon (pCi/L = picocuries per Liter) Note: look for conversion factor for Working Levels in How-To Guide | Integer | Please report only as 1= pCi/L for Radon | 1 | 1 | Required |
| MeasureValue | The actual Radon measurement | Integer | 0 – nnnnnn.n -999=LLD (less than the limit of detection) | 0-100000.5, -999 | 5,1 | Required |
| RealEstateTransactionIndicator | Indicator of the building being tested for radon due to a Real Estate transaction or not. | Integer | 1 = Yes 0 = No | 0, 1 | 1 | Optional |
| ReasonForTest | The reason the radon test is being conducted. | Integer | 1=Real Estate Transaction 2=Homeowner’s choice (personal knowledge) 3=Legal requirement 4=Real estate transaction and legal requirement 5=Response to outreach/promotion 6=Post-mitigation test | Any of the codes in the Code Scheme column | 1 | Optional |
| RowIdentifier | An identifier for each row of data | Integer | 1 – nnnn The maximum RowIdentifier should be equal to the number of test results submitted for that year. | Consecutive numerical identifier for each record in the dataset. | N/A | Required |
| StateFIPSCode | State FIPS code. | String | FIPS | A valid state FIPS code. | 2 | Not specified in schema |
| StreetAddress | Please send the complete street address or if you cannot for some reason, please create a unique ID that can be linked to the address. | Text | Complete street address and unit number (if applicable) where test was taken. | Ex: 123 Cleveland Street Apt. 56 Philadelphia, PA 12345 | 100 | Optional |
| TestDeviceLocation | Specific room in the house where the Radon test was conducted | Text | MB = Master Bedroom BR = Bedroom FR = Family Room LR = Living Room DR = Dining Room SD = Study/Den/Office BA = Basement O = Other | Any of the codes in the Code Scheme column | 2 | Optional |
| TestMethodTypeCode | Identifier of the type or category of method. | Integer | 1 = pre-mitigation 2 = post-mitigation 3 = Not collected | 1, 2, 3 | 3 | Required |
| TestResultIdentifier | A unique identifier for each lab result, there may be multiple tests per address, this number will be unique for each test | String | XXXXXX | Any number character value (up to 20) that identifies a unique test result | 20 | Required |
| TestStartDate | The date the test was begun | Integer | YYYYMMDD; NC = not collected | Ex: 20181022 | 8 | Required |
| TestStopDate | The date the test ended | Integer | YYYYMMDD; NC = not collected | Ex: 20181025 | 8 | Required |
| TestYear | The year the data are assigned to | Integer | YYYY | Ex: 2018 | 4 | Required |