U.S. Consumer Product Safety Commission

Virginia Graeme Baker Pool and Spa Safety Act

Verification of Compliance Form

COMPLETE A FORM FOR EACH PUMP AT A FACILITY

PART I – Pool Management Information                                                        OMB Control Number: 3041-0142

| Investigator Name |  | Date of Inspection |  |  |
| --- | --- | --- | --- | --- |
| Facility Name |  | Pool License/Permit Number |  |  |
| Address | Phone Number ( ) |  |  |  |
| City | State |  | Zip Code |  |
| Contact Name | Title |  |  |  |
| Contact Address |  |  |  |  |
| City | State |  |  | Zip Code |
| Email Address | Fax # |  |  |  |

PART II – POOL/SPA Information

| Pool Location | Indoor |  | Outdoor | Water Park |  | Other |
| --- | --- | --- | --- | --- | --- | --- |
| Pool Type | Swimming Pool |  | Wading Pool | Spa Hot tub |  | Other ________ |
| Water Features (if any) | Spray | Slide |  |  | Hydro-jet | Other ________ |
| Volume of Pool (Gallons) | Mfr, Make, Model Number, Horse Power of Pump |  |  |  |  |  |

Part III – Drain Covers

| Total Number of Drain Covers in Pool/Spa Total Number of Drain Covers Installed for VGBA Compliance |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Name of Manufacturer of Drain Covers ____________________________ Drain Cover Expiration Date (s)_______________________ |  |  |  |  |  |  |
| Drain Cover | Drain Cover Dimensions & Shape (Round, Rectangular, Square, etc.) | Drain Cover & Frame Make and Model Number | Date Installed & Location (Wall or Floor) | Cover Flow Rate per Manufacturer Specifications (gallons per minute) | Pump Flow Rate (gallons per minute) | Cover Conforms to ASME/ANSI A112.19.8-2007 or newer standard (Indicate Yes/No) |
| Note: Attach documentation that the drain covers comply with ASME A112.19.8 or successor performance standard ANSI/APSP/ICC-16 (effective May 24, 2021). (i.e. Professional Engineer inspection report) |  |  |  |  |  |  |

Part IV Anti-Entrapment Device/System

1. Single Main Drain Yes No Is this an unblockable drain that is larger than 18 x 23? Yes No ( If no, go to next section) 2. Multi-Drain System Yes No If on the same plane, is the multi-drain system at least three (3) feet from pipe center to pipe center? Yes No Or Is the multi-drain system on different planes (i.e., do they face in different directions, For example: (a) one on the bottom (floor) and the others each on separate walls, or (b) each on separate walls, or (c) each on the same curved wall? Yes No (See Attachment I, page 4) (If no, go to next section)

Select Secondary Backup System that is installed Compliant Safety Vacuum Release System (SVRS) (Compliant with ASME/ANSI A112.19.17 or ASTM-F2387) SVRS Mfr. Name and Model ________________________________________________________________________ Suction- Limiting Vent System Mfr. Name and Model Number ________________________________________________________________________ _ Gravity Drainage System_____________________________________________________________________________ Automatic Pump Shutoff System _______________________________________________________________________ Mfr. Name and Model Number _______________________________________________________________________ Drain Disablement Describe how this was accomplished? ____________________________________________________________________ Other ______________________________________________________________________________________________ Comments_______________________________________________________________________________________________ _ __________________________________________________________________________________________________________ __________________________________________________________________________________________________________ __________________________________________________________________________________________________________ __________________________________________________________________________________________________________

Part V Sump – Equalizer Lines

Sump Size Width ________________ Depth ___________________ Length ________________________ Is Sump existing or new _____________ Is it field fabricated or manufactured ______________________________ Describe how it is fabricated? ________________________________________________________________________________ (If field fabricated, attach copy of certification from Professional Engineer) Manufacturer Name and Model Number ________________________ Installation Date ___________________ Clearance between the bottom of the cover and the opening of the suction pipe is _______________________ (inches)

Equalizer Lines: Are equalizer lines disabled? (Yes/No) (If so, describe how) ____________________________________________________________ Do equalizer lines have covers that cannot be removed? (Yes/No) Describe how this was accomplished _______________________________________________________________________________ Provide manufacturer name AND model number for each equalizer cover _______________________________________________ Installation Date ________________________________________________________________________________________________

Part VI Comments

If pool is not in full compliance, provide a description of actions or steps needed to bring pool or spa into compliance with the Virginia Graeme Baker Pool and Spa Safety Act or attach timeline provided by the pool manager or documentation that drain covers have been ordered.

Comments __________________________________________________________________________________________________ __________________________________________________________________________________________________ __________________________________________________________________________________________________ __________________________________________________________________________________________________

_____________________________ ______________________ ___________________ CPSC Investigator - Print Name Signature Date CPSC Form 120 (10/21)

Note:  This form must be completed by CPSC staff or the designated State or local government official.

CORRECT																						CORRECT

3 FEET APART OR MORE                                                         3 FEET APART OUTMOST OUTLETS

Dual Drain Outlets                                                   Multiple Drain Outlets

Incorrect                                              Incorrect

LESS THAN 3 FEET APART                           	        LESS THAN 3 FEET APART FROM OUTMOST OUTLET

Dual Outlets on Different Planes

(Elevation or Plan View)