## Input Form
Vitamin A Laboratory - External Quality Assurance Program (VITAL-EQA)
Round 35 / Iron Indicators / CRP
INSTRUCTIONS
• E-mail this completed worksheet to: vitaminalab@cdc.gov
| • Round deadline: |  | December 18, 2020
• All cells highlighted red are required or have invalid data that needs to be revised. Click on cell to see data requirements.
• Run these samples in the same way as you would routine patient samples.
• Run in singlicate over a period of two consecutive days (Day 1 and Day 2).
• Record all results with three significant figures (i.e., 105, 10.5, 1.05, 0.105).
• Retain the vials in your ultra-cold freezer for at least two weeks after data submission in case there is a question about the ID code or results.
Laboratory ID
Received Date (MM/DD/YY)
Assay Type
Instrument | [7 empty] | (Manufacturer/Model)
Kit Information (if used) | [7 empty] | (Name/Manufacturer)
|  | Low |  |  | High
Calibration Range |  |  |  | mg/L |  |  | mg/L
LOD |  |  |  | mg/L
Run | Assay Date | Sample ID |  |  | Result (mg/L) | < LOD | Note
1 |  |  |  | 1
1
1
2 |  |  |  | 1
1
1
Laboratory Notes
OFFICIAL USE ONLY
No shipper did not arrive cold
Yes shipper arrived cold
Form Approved
OMB No. 0920-xxxx
Exp. Date xx/xx/20xx
CDC estimates the average public reporting burden for this collection of information as 45 minutes per response, including the time for reviewing instructions, searching existing data/information sources, gathering and maintaining the data/information needed, and completing and reviewing the collection of information. An agency may not conduct or sponsor, and a person is not required to respond to a collection of information unless it displays a currently valid OMB Control Number. Send comments regarding this burden estimate or any other aspect of this collection of information, including suggestions for reducing this burden to CDC/ATSDR Information Collection Review Office, 1600 Clifton Road NE, MS D-74, Atlanta, Georgia 30333; ATTN: PRA (0920-xxxx).

## Business Logic (hidden)
Round # | 35 | Assay List Options | Data Label | Linked Value | IsInvalid?
Kit Name | Iron Indicators | Immunoassay/Protein Binding Assay | Laboratory ID |  | TRUE
Analyte | CRP | Other | Date Received |  | TRUE
Deadline Date | 2020-12-18 |  | Assay |  | TRUE
Unit of Measure | mg/L |  | Other Assay |  | FALSE
|  | Selected Assay | Calibration Range Low |  | TRUE
|  |  | Calibration Range High |  | TRUE
|  |  | LOD |  | TRUE
|  |  | Assay Date 1 |  | TRUE | Assay Date 2 |  | TRUE | 1) blank
[5 empty] | FALSE |  |  | FALSE | 2) not blank and date is less than Received Date
[5 empty] | FALSE |  |  | FALSE | 3) not blank and is not a date
|  |  | Sample ID 1 |  | TRUE | Sample ID 4 |  | TRUE | 1) blank
[5 empty] | FALSE |  |  | FALSE | 2) not blank and not a 7 digit number
[5 empty] | FALSE |  |  | FALSE | 3) not unique among all Sample IDs
|  |  | Result 1 |  | TRUE | Result 7 |  | TRUE | 1) blank and LOD is not checked and Note is <3 characters
[5 empty] | FALSE |  |  | FALSE | 2) not blank and (is not number or number is less than 0)
|  |  | LOD 1 | FALSE | TRUE | LOD 7 | FALSE | TRUE | 1) result is blank and LOD is not checked and Note is <3 characters
[5 empty] | FALSE |  |  | FALSE | 2) checked and result is number greater than or equal to LOD
[5 empty] | FALSE |  |  | FALSE | 3) not checked and result is less than LOD
|  |  | Note 1 |  | TRUE | Note 7 |  | TRUE | result is blank and LOD is not checked and Note is <3 characters
|  |  | Sample ID 2 |  | TRUE | Sample ID 5 |  | TRUE
[5 empty] | FALSE |  |  | FALSE
[5 empty] | FALSE |  |  | FALSE
|  |  | Result 3 |  | TRUE | Result 9 |  | TRUE
[5 empty] | FALSE |  |  | FALSE
|  |  | LOD 3 | FALSE | TRUE | LOD 9 | FALSE | TRUE
[5 empty] | FALSE |  |  | FALSE
[5 empty] | FALSE |  |  | FALSE
|  |  | Note 3 |  | TRUE | Note 9 |  | TRUE
|  |  | Sample ID 3 |  | TRUE | Sample ID 6 |  | TRUE
[5 empty] | FALSE |  |  | FALSE
[5 empty] | FALSE |  |  | FALSE
|  |  | Result 5 |  | TRUE | Result 11 |  | TRUE
[5 empty] | FALSE |  |  | FALSE
|  |  | LOD 5 | FALSE | TRUE | LOD 11 | FALSE | TRUE
[5 empty] | FALSE |  |  | FALSE
[5 empty] | FALSE |  |  | FALSE
|  |  | Note 5 |  | TRUE | Note 11 |  | TRUE
Note on D1: Insert new Assay options above the "Other" cell so list control datasource is updated properly.
Note on H1: 0 - FALSE 1 - TRUE