### Table E: Review of Equipment Inspection Records (Optional)

| Equipment (insert equipment description, serial number or other identifier and inspection date) | Location of spot checks | Name/ Position of person who conducted the inspection or test? | Describe inspection or test performed and results? (29 CFR 1910.119(j) (4)) | Procedures followed (e.g., manufacturer’s instructions or other accepted sources*; 29 CFR 1910.119(j)(4) (ii)) | Were recommendations followed for testing, inspecting, or replacement frequencies? (29 CFR 1910.119(j)(4)(iii)) YES/NO Explain | Were identified deficiencies corrected (29 CFR 1910.119 (j)(5))? YES/NO Explain | Additional Evaluation Findings/ Corrective Actions |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Pressure vessel |  |  |  |  |  |  |  |
| Storage tank |  |  |  |  |  |  |  |
| Piping system/valve |  |  |  |  |  |  |  |
| Relief/ventilation system (include relief valve) |  |  |  |  |  |  |  |
| Emergency shutdown system |  |  |  |  |  |  |  |
| Control systems |  |  |  |  |  |  |  |
| Pump and/or compressor |  |  |  |  |  |  |  |

(*Other accepted sources include: American Petroleum Institute (API) 570, Piping Inspection Code: In-service Inspection, Rating, Repair, and Alteration of Piping Systems; and API 510, Pressure Vessel Inspection Code: In-Service Inspection, Rating, Repair, and Alteration, RAGAGEP)