## Certification
OMB Control Number: 1910-1400 (Expiration Date: XXXXXX XX, XXXX) | [9 empty] | Version 5.x |  |  | 13
DOE F 220.74 | [10 empty] | Certifier | Submitter | 17
Computer Room Air Conditioners |  | Product Type: | Computer Room Air Conditioners |  |  |  |  | Status of This Certification Sheet | No Data |  | 0 | 0 | 20
5.x | [12 empty] | 10
[8 empty] | Overall Status of Template | No Data |  | No Type | No Type | 20
|  |  | Click here for instructions for completing this form | [9 empty] | 20
10
Each Importer and U.S. Manufacturer is legally required to certify the compliance of the products it imports, produces, assembles or manufactures. This party is the "Certifier" on this form. This certification may be submitted by the Importer or U.S. manufacturer or by a Third Party Representative. This party is the "Submitter" on this form. | [12 empty] | 40
| Certifier - Party Legally Obligated to Certify Compliance |  |  |  |  | Submitter - Party Submitting This Report | [6 empty] | 18
| The party responsible for certification is (select one only): |  |  |  |  | The party submitting this report is (select one only): | [6 empty] | 18
|  |  | Please enter required data | [5 empty] | Please enter required data |  | 0 |  | 28
[11 empty] | 0 |  | 28
13
| Certifier Contact Information |  |  |  |  | Third Party Representative Contact Information, if Applicable | [6 empty] | 13
13
Full Legal Name of Individual |  |  |  | Please enter required data | Full Legal Name of Individual |  |  |  | Please enter required data |  | aaaaaaaaaaaaaaaaa |  | 23
Full Legal Name of Company |  |  |  | Please enter required data | Full Legal Name of Company |  |  |  | Please enter required data |  | aaaaaaaaaaaaaaaaa |  | 23
Complete Company Mailing Address |  |  |  | Please enter required data | Complete Company Mailing Address |  |  |  | Please enter required data |  | aaaaaaaaaaaaaaaaa |  | 23
Phone Number |  |  |  | Please enter required data | Phone Number |  |  |  | Please enter required data |  | aaaaaaaaaaaaaaaaa |  | 23
Email Address |  |  |  | Please enter required data | Email Address |  |  |  | Please enter required data |  | aaaaaaaaaaaaaaaaa |  | 23
13
13
| Compliance Statement | [11 empty] | 17
| Select one of the options for 'Submitter - Party Submitting This Report' above | [9 empty] | I certify that: (1) This certification report is submitted in accordance with 10 CFR Parts 429, 430, and 431 and the Energy Policy and Conservation Act, as amended. (2) The basic models listed in this certification report comply with the applicable conservation standard(s); (3) All required testing has been conducted in conformance with the applicable test requirements prescribed in parts 10 CFR Parts 429, 430 and 431, as appropriate, or in accordance with the terms of an applicable test procedure waiver; (4) All information reported in this certification report is true, accurate, and complete; and (5) I am aware of the penalties associated with violations of the Energy Policy and Conservation Act (Pub. L. 94-163), as amended by Pub. L. 95-619, Pub. L. 100-12, Pub. L. 100-357, and Pub. L. 102-486 (the Act), the regulations thereunder, and 18 U.S.C. 1001 which prohibits knowingly making false statements to the Federal Government. | I certify that: (1) This certification report is submitted in accordance with 10 CFR Parts 429, 430, and 431 and the Energy Policy and Conservation Act, as amended. (2) An authorization granting me the authority to submit this information on behalf of the Certifier is on file with the U.S. Department of Energy. (3) The basic models listed in this certification report comply with the applicable conservation standard(s); (4) All required testing has been conducted in conformance with the applicable test requirements prescribed in 10 CFR Parts 429, 430 and 431, as appropriate, or in accordance with the terms of an applicable test procedure waiver; (5) All information reported in this certification report is true, accurate, and complete; and (6) I am aware of the penalties associated with violations of the Energy Policy and Conservation Act (Pub. L. 94-163), as amended by Pub. L. 95-619, Pub. L. 100-12, Pub. L. 100-357, and Pub. L. 102-486 (the Act), the regulations thereunder, and 18 U.S.C. 1001 which prohibits knowingly making false statements to the Federal Government. | 115
6
| Submitter Signature (Type your Full Legal Name) |  |  | Please enter required data |  |  | Date (MM/DD/YYYY) |  | Please enter required data |  |  |  | 38
13
13
13
| OMB Control Number: 1910-1400 (Expiration Date: XXXXXX XX, XXXX) | [11 empty] | 13
13
| Paperwork Reduction Act Statement | [11 empty] | 13
| OMB Burden Disclosure Statement | [11 empty] | 13
13
| This data is being collected for manufacturers to certify compliance to DOE's energy conservation, water conservation, or design standards. The data you supply will be used by the Department to monitor compliance with the energy conservation, water conservation, and design standards and testing requirements for the consumer products and commercial and industrial equipment mandated by the Energy Policy and Conservation Act, as amended. Public reporting burden for this collection of information is estimated to average 35 hours per response, including the time for reviewing instructions, searching existing data sources, gathering and maintaining the data needed, and completing and reviewing the collection of information. Send comments regarding this burden estimate or any other aspect of this collection of information, including suggestions for reducing this burden, to Office of the Chief Information Officer, Records Management Division, IM-23, Paperwork Reduction Project (1910-1400), U.S. Department of Energy, 1000 Independence Ave SW, Washington, DC, 20585-1290; and to the Office of Management and Budget (OMB), OIRA, Paperwork Reduction Project (1910-1400), Washington, DC 20503. Notwithstanding any other provision of the law, no person is required to respond to, nor shall any person be subject to a penalty for failure to comply with a collection of information subject to the requirements of the Paperwork Reduction Act unless that collection of information displays a currently valid OMB control number. Submission of this data is mandatory. | [11 empty] | 185
a U.S. Manufacturer
an Importer
the Certifier (do not complete the Third Party Representative Contact Information below)
a Third Party Representative (you must have valid Third Party Authorization forms on file with the Department of Energy)

## Headers
Computer Room Air Conditioners - v5.x
Column Headers: | Status | Manufacturer | Blank Hidden Column in Template | Brand Name(s) | Basic Model Number | Individual Model Number Covered by Basic Model (Indoor Unit or Package Unit) | Individual Model Number Covered by Basic Model (Outdoor Unit), if Applicable | Have Any of the Model Numbers Been Identified as Private by the Manufacturer? | Action | Product Group Code | Blank Hidden Column in Template | Sample Size (Number of Units Tested) | Is the Certification for this Basic Model Based on a Waiver of DOE's Test Procedure Requirements? | Date of Test Procedure Waiver, if Applicable | Is the Certification based upon any Exception Relief from an Applicable Standard by DOE's Office of Hearing and Appeals? | Date of Exception Relief, if Applicable | Is Certification Based on the use of an Alternative Efficiency Determination Method (AEDM)? | Blank Hidden Column in Template | Name of AEDM (If Applicable) | Does the Manufacturer Elect the Witness Test Option for Verification Testing? (If Applicable) | Is This Basic Model Split System or Single-Package? | Net Sensible Coefficient of Performance (NSenCOP) | Net Sensible Cooling Capacity (Btu/hour) | Net Total Cooling Capacity (Btu/hour) | Rated Airflow (Standard cubic feet per minute (SCFM)) | Configuration (Downflow, Upflow Ducted, Upflow Non-Ducted, Horizontal Flow, Ceiling-Mounted Ducted, or Ceiling-Mounted Non-Ducted) | Fluid Economizer Present? (Yes/No) | Condenser Heat Rejection Medium (Air, Water, or Glycol-Cooled) | Refrigerant Used to Determine the Represented Values | Supplemental Testing Instructions PDF Filename
Pop-Up Headers | Status | Manufacturer |  | Brand Name(s) | Basic Model Number | Individual Model Number | Ind. Model Number Outdoor Unit | Private Model Numbers? | Action | Product Group Code |  | Sample Size | Certification Based on Waiver? | Date of Waiver, if Applicable | Cert. Based on Exception Relief? | Date of Relief, if Applicable | Certification Based on an AEDM? |  | Name of AEDM, If Applicable | Witness Test Option? | Split System or Single Package? | Net Sensible Coeff. of Perf. | Net Sensible Cooling Capacity | Net Total Cooling Capacity | Rated Airflow | Configuration | Fluid Economizer Present? | Condenser Heat Rejection Medium | Refrigerant Used | Testing Instructions Filename
Pop-Up Contents | The cells below show whether there are any issues with the data on that line. If the status is "ok," there are no issues. If the status is "Error," there are issues with the data. See columns to the right for an indication of the issues with the data. | Enter the Manufacturer name in the cells below. |  | Enter the Brand Name(s) in the cells below. | Enter the Basic Model Number in the cells below. | For single-package units, enter the Individual Model Number Covered by the Basic Model in the cells below. For split-systems, enter the Indoor Unit Individual Model Number Covered by the Basic Model in the cells below. | For split-systems only, enter the Outdoor unit Individual Model Number Covered by the Basic Model in the cells below. For single-package units, make no entry. | Enter whether any Model Numbers Have Been Identified as Private by the Manufacturer in the cells below. See 10 CFR 429.7(b) for the private model number requirements. An affirmative entry can be "yes" or "y", and a negative entry can be "no" or "n". | Enter one of following in cells below: N new model ETO engineered to order D discontinued model C correction to previous CCMS submission E submit report on existing (carryover) model F failed Industry Certification Program . | Enter an integer between 1 and 120 in the cells below. See the Product Group Codes worksheet for details on product group codes. |  | Enter the sample size (number of units tested) in the cells below. If the answer to the AEDM question is yes, the entry should be 0, otherwise this should be an integer greater than zero. | Answer whether the certification for the basic model was based on a waiver of DOE's test procedure requirements in the cells below. An affirmative answer can be either 'yes' or 'y' and a negative answer can be either 'no' or 'n'. . | If you enter 'yes' under "Is the certification for this basic model based on a waiver of DOE's test procedure requirements?", enter the date of the waiver in the cells below. The entry should be in the M/D/YYYY format. . | Answer whether the certification was based upon any exception relief from an applicable standard by DOE's Office of Hearing and Appeals in the cells below. An affirmative answer can be either 'yes' or 'y' and a negative answer can be either 'no' or 'n'. | If you enter 'yes' under "Is the certification based upon any exception relief from an applicable standard by DOE's Office of Hearing and Appeals?", enter the date of the exception relief in the cells below. The entry should be in the M/D/YYYY format. | Answer whether the certification was based on the use of an Alternative Efficiency Determination Method in the cells below. An affirmative answer can be either 'yes' or 'y' and a negative answer can be either 'no' or 'n'. |  | If you enter 'yes' under "Is Certification Based on the use of an Alternative Efficiency Determination Method (AEDM)?", enter the name of the AEDM in the cells below. | For basic models rated with an AEDM, answer whether the manufacturer elects the witness test option for verification testing in the cells below (max. 10% of basic models) An affirmative answer can be 'yes' or 'y' and a negative answer can be 'no' or 'n'. | Enter whether the basic model is Split System or Single-Package in the cells below. An entry can be either "single-package" or "split system". | Enter the Net Sensible Coefficient of Performance (NSenCOP) in the cells below. This should be a decimal number greater than zero. | Enter the Net Sensible Cooling Capacity in Btu per hour in the cells below. This should be a decimal number greater than zero. | Enter the Net Total Cooling Capacity in Btu per hour in the cells below. This should be a decimal number greater than zero. | Enter the Rated Airflow in standard cubic feet per minute in the cells below. This should be a decimal number greater than zero. | Enter the Configuration in the cells below. Entries can be as follows: D = downflow UD = upflow ducted UN = upflow non-ducted H = horizontal flow CD = ceiling-mounted ducted CN = ceiling-mounted non-ducted . | Answer whether a Fluid Economizer is present in the model in the cells below. An affirmative answer can be either 'yes' or 'y' and a negative answer can be either 'no' or 'n'. | Enter one of the following in the cells below: A = air-cooled W = water-cooled G = glycol-cooled . | Enter the refrigerant used to determine the represented values in the cells below. Entries should be in the form of "R-" followed by numbers and/or letters. | Enter the name of the PDF file containing supplemental testing instructions. See 429.43(b)(4) for req'd contents. First 7 characters of the filename must be in the form of "DOExxxx" where "xxxx" is four-digit numerical code assigned to the manufacturer

## Product Group Code
The following is a description of each product group code:
Product Group Code | Equipment Type | Medium | Net Sensible Cooling Capacity Range | Configuration
1 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | <80,000 Btu/h | Downflow
2 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | ≥80,000 Btu/h and <295,000 Btu/h | Downflow
3 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | ≥295,000 Btu/h and <930,000 Btu/h | Downflow
4 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | <80,000 Btu/h | Upflow Ducted
5 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | ≥80,000 Btu/h and <295,000 Btu/h | Upflow Ducted
6 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | ≥295,000 Btu/h and <930,000 Btu/h | Upflow Ducted
7 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | <65,000 Btu/h | Upflow Non-Ducted
8 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | ≥65,000 Btu/h and <240,000 Btu/h | Upflow Non-Ducted
9 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | ≥240,000 Btu/h and <760,000 Btu/h | Upflow Non-Ducted
10 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | <65,000 Btu/h | Horizontal Flow
11 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | ≥65,000 Btu/h and <240,000 Btu/h | Horizontal Flow
12 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled | ≥240,000 Btu/h and <760,000 Btu/h | Horizontal Flow
13 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | <80,000 Btu/h | Downflow
14 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | ≥80,000 Btu/h and <295,000 Btu/h | Downflow
15 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | ≥295,000 Btu/h and <930,000 Btu/h | Downflow
16 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | <80,000 Btu/h | Upflow Ducted
17 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | ≥80,000 Btu/h and <295,000 Btu/h | Upflow Ducted
18 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | ≥295,000 Btu/h and <930,000 Btu/h | Upflow Ducted
19 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | <65,000 Btu/h | Upflow Non-Ducted
20 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | ≥65,000 Btu/h and <240,000 Btu/h | Upflow Non-Ducted
21 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | ≥240,000 Btu/h and <760,000 Btu/h | Upflow Non-Ducted
22 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | <65,000 Btu/h | Horizontal Flow
23 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | ≥65,000 Btu/h and <240,000 Btu/h | Horizontal Flow
24 | Floor-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer | ≥240,000 Btu/h and <760,000 Btu/h | Horizontal Flow
25 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | <80,000 Btu/h | Downflow
26 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | ≥80,000 Btu/h and <295,000 Btu/h | Downflow
27 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | ≥295,000 Btu/h and <930,000 Btu/h | Downflow
28 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | <80,000 Btu/h | Upflow Ducted
29 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | ≥80,000 Btu/h and <295,000 Btu/h | Upflow Ducted
30 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | ≥295,000 Btu/h and <930,000 Btu/h | Upflow Ducted
31 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | <65,000 Btu/h | Upflow Non-Ducted
32 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | ≥65,000 Btu/h and <240,000 Btu/h | Upflow Non-Ducted
33 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | ≥240,000 Btu/h and <760,000 Btu/h | Upflow Non-Ducted
34 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | <65,000 Btu/h | Horizontal Flow
35 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | ≥65,000 Btu/h and <240,000 Btu/h | Horizontal Flow
36 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled | ≥240,000 Btu/h and <760,000 Btu/h | Horizontal Flow
37 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | <80,000 Btu/h | Downflow
38 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥80,000 Btu/h and <295,000 Btu/h | Downflow
39 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥295,000 Btu/h and <930,000 Btu/h | Downflow
40 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | <80,000 Btu/h | Upflow Ducted
41 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥80,000 Btu/h and <295,000 Btu/h | Upflow Ducted
42 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥295,000 Btu/h and <930,000 Btu/h | Upflow Ducted
43 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | <65,000 Btu/h | Upflow Non-Ducted
44 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥65,000 Btu/h and <240,000 Btu/h | Upflow Non-Ducted
45 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥240,000 Btu/h and <760,000 Btu/h | Upflow Non-Ducted
46 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | <65,000 Btu/h | Horizontal Flow
47 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥65,000 Btu/h and <240,000 Btu/h | Horizontal Flow
48 | Floor-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥240,000 Btu/h and <760,000 Btu/h | Horizontal Flow
49 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | <80,000 Btu/h | Downflow
50 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥80,000 Btu/h and <295,000 Btu/h | Downflow
51 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥295,000 Btu/h and <930,000 Btu/h | Downflow
52 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | <80,000 Btu/h | Upflow Ducted
53 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥80,000 Btu/h and <295,000 Btu/h | Upflow Ducted
54 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥295,000 Btu/h and <930,000 Btu/h | Upflow Ducted
55 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | <65,000 Btu/h | Upflow Non-Ducted
56 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥65,000 Btu/h and <240,000 Btu/h | Upflow Non-Ducted
57 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥240,000 Btu/h and <760,000 Btu/h | Upflow Non-Ducted
58 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | <65,000 Btu/h | Horizontal Flow
59 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥65,000 Btu/h and <240,000 Btu/h | Horizontal Flow
60 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥240,000 Btu/h and <760,000 Btu/h | Horizontal Flow
61 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | <80,000 Btu/h | Downflow
62 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥80,000 Btu/h and <295,000 Btu/h | Downflow
63 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥295,000 Btu/h and <930,000 Btu/h | Downflow
64 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | <80,000 Btu/h | Upflow Ducted
65 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥80,000 Btu/h and <295,000 Btu/h | Upflow Ducted
66 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥295,000 Btu/h and <930,000 Btu/h | Upflow Ducted
67 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | <65,000 Btu/h | Upflow Non-Ducted
68 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥65,000 Btu/h and <240,000 Btu/h | Upflow Non-Ducted
69 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥240,000 Btu/h and <760,000 Btu/h | Upflow Non-Ducted
70 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | <65,000 Btu/h | Horizontal Flow
71 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥65,000 Btu/h and <240,000 Btu/h | Horizontal Flow
72 | Floor-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥240,000 Btu/h and <760,000 Btu/h | Horizontal Flow
73 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser | <29,000 Btu/h | Ducted
74 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser | ≥29,000 Btu/h and <65,000 Btu/h | Ducted
75 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser | ≥65,000 Btu/h | Ducted
76 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser | <29,000 Btu/h | Non-Ducted
77 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser | ≥29,000 Btu/h and <65,000 Btu/h | Non-Ducted
78 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser | ≥65,000 Btu/h | Non-Ducted
79 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser and Fluid Economizer | <29,000 Btu/h | Ducted
80 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser and Fluid Economizer | ≥29,000 Btu/h and <65,000 Btu/h | Ducted
81 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser and Fluid Economizer | ≥65,000 Btu/h | Ducted
82 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser and Fluid Economizer | <29,000 Btu/h | Non-Ducted
83 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser and Fluid Economizer | ≥29,000 Btu/h and <65,000 Btu/h | Non-Ducted
84 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Free Air Discharge Condenser and Fluid Economizer | ≥65,000 Btu/h | Non-Ducted
85 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Ducted Condenser | <29,000 Btu/h | Ducted
86 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Ducted Condenser | ≥29,000 Btu/h and <65,000 Btu/h | Ducted
87 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Ducted Condenser | ≥65,000 Btu/h | Ducted
88 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Ducted Condenser | <29,000 Btu/h | Non-Ducted
89 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Ducted Condenser | ≥29,000 Btu/h and <65,000 Btu/h | Non-Ducted
90 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Ducted Condenser | ≥65,000 Btu/h | Non-Ducted
91 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer and Ducted Condenser | <29,000 Btu/h | Ducted
92 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer and Ducted Condenser | ≥29,000 Btu/h and <65,000 Btu/h | Ducted
93 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer and Ducted Condenser | ≥65,000 Btu/h | Ducted
94 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer and Ducted Condenser | <29,000 Btu/h | Non-Ducted
95 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer and Ducted Condenser | ≥29,000 Btu/h and <65,000 Btu/h | Non-Ducted
96 | Ceiling-Mounted Computer Room Air Conditioner | Air-Cooled with Fluid Economizer and Ducted Condenser | ≥65,000 Btu/h | Non-Ducted
97 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled | <29,000 Btu/h | Ducted
98 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled | ≥29,000 Btu/h and <65,000 Btu/h | Ducted
99 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled | ≥65,000 Btu/h | Ducted
100 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled | <29,000 Btu/h | Non-Ducted
101 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled | ≥29,000 Btu/h and <65,000 Btu/h | Non-Ducted
102 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled | ≥65,000 Btu/h | Non-Ducted
103 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | <29,000 Btu/h | Ducted
104 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥29,000 Btu/h and <65,000 Btu/h | Ducted
105 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥65,000 Btu/h | Ducted
106 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | <29,000 Btu/h | Non-Ducted
107 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥29,000 Btu/h and <65,000 Btu/h | Non-Ducted
108 | Ceiling-Mounted Computer Room Air Conditioner | Water-Cooled with Fluid Economizer | ≥65,000 Btu/h | Non-Ducted
109 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled | <29,000 Btu/h | Ducted
110 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥29,000 Btu/h and <65,000 Btu/h | Ducted
111 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥65,000 Btu/h | Ducted
112 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled | <29,000 Btu/h | Non-Ducted
113 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥29,000 Btu/h and <65,000 Btu/h | Non-Ducted
114 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled | ≥65,000 Btu/h | Non-Ducted
115 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | <29,000 Btu/h | Ducted
116 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥29,000 Btu/h and <65,000 Btu/h | Ducted
117 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥65,000 Btu/h | Ducted
118 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | <29,000 Btu/h | Non-Ducted
119 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥29,000 Btu/h and <65,000 Btu/h | Non-Ducted
120 | Ceiling-Mounted Computer Room Air Conditioner | Glycol-Cooled with Fluid Economizer | ≥65,000 Btu/h | Non-Ducted