United States Food and Drug Administration

Comment Request; Reporting and Recordkeeping for Electronic Products

– General Requirement

OMB Control No. 0910-0025 -- EXTENSION

SUPPORTING STATEMENT

Part A:  Justification:

- Circumstances Making the Collection of Information Necessary

Sections 532 through 542 of the Federal Food, Drug, and Cosmetic Act (the FD&C Act) (21 U.S.C. 360ii through 360ss) direct the Secretary of the Department of Health and Human Services (the Secretary) to establish and carry out an electronic product radiation control program to protect the public from unnecessary radiation from electronic products. Section 532 authorizes the Secretary to procure (by negotiation or otherwise) electronic products for research and testing purposes and to sell or otherwise dispose of such products. Section 534(g) directs the Secretary to review and evaluate industry testing programs on a continuing basis; and sections 535(e) and (f) direct the Secretary to immediately notify manufacturers of, and assure correction of, radiation defects or noncompliance with performance standards. The authority for records and reports is contained in sections in 537(b) through (c) of the FD&C Act. The program includes the development, issuance, and administration of performance standards to control the emission of electronic product radiation from electronic products. FDA’s regulations regarding Radiological Health (Electronic Products) are codified at 21 CFR, Chapter I, Subpart J (parts 1000 through 1050). FDA is requesting extension of approval from the Office of Management and Budget (OMB), for the information collections associated with the Electronic Products. The following requirements are not subject to review by OMB because they do not constitute a “collection of information” under the PRA: Sections 1002.31(c), 1003.10(a)- (c), 1003.11(a)(3) and (b), 1003.20(a)-(h), 1003.21(a)-(d), 1003.22(a) and (b), 1003.30(a) and (b), 1003.31(a) and (b), 1004.2(a)-(i), 1004.3(a)-(i), 1004.4(a)-(h), 1005.21(a)-(c), and 1005.22(b). These requirements apply to the collection of information during the conduct of investigations or audits (5 CFR 1320.4). The following labeling requirements are also not subject to review under the PRA because they are a public disclosure of information originally supplied by the Federal Government to the recipient for the purpose of disclosure to the public (5 CFR 1320.3(c)(2)): Sections 1030.10(c)(6), 1040.10(g), and 1040.30(c)(1).

The following are descriptions of each information collection (IC) in this ICR:

Technical and safety information for users (21 CFR 1002.3)—Third-party disclosure Requires manufacturers, when directed by the FDA, to provide technical and safety information to users.

Product reports (21 CFR 1002.10(a)-(k))—Reporting

Requires manufacturers to report to FDA product identification, product design and

operation, product testing, quality control procedures, test results, and product labeling

prior to the entry of the product into commerce. The following report forms are used to

obtain the required information requested in 21 CFR 1002.10 for each specific product,

following the applicable performance standard in parts 1020 through 1050:

• FDA Form 3626 “A Guide for the Submission of Initial Reports on Diagnostic

X-Ray Systems and Their Major Components”

• FDA Form 3627 “Diagnostic X-Ray CT Products Radiation Safety Report”

• FDA Form 3630 “Guide for Preparing Product Reports on Sunlamps and

Sunlamp Products”

• FDA Form 3632 “Guide for Preparing Product Reports on Lasers and Products

Containing Lasers”

• FDA Form 3639 “Guidance for the Submission of Cabinet X-Ray System

Reports Pursuant to 21-CFR 1020.40”

• FDA Form 3640 “Reporting Guide for Laser Light Shows and Displays”

• FDA Form 3644 “Guide for Preparing Product Reports for Ultrasonic Therapy

Products”

• FDA Form 3646 “Mercury Vapor Lamp Products Radiation Safety Report”

• FDA Form 3659 “Reporting and Compliance Guide for Television Products”

• FDA Form 3660 “Guidance for Preparing Reports on Radiation Safety of

Microwave Ovens”

• FDA Form 3801 “Guide for Preparing Initial Reports and Model Change Reports

on Medical Ultraviolet Lamps and Products Containing Such Lamps”

Product safety or testing changes (21 CFR 1002.11(a)-(b))—Reporting

Requires manufacturers to provide information to FDA on changes in product safety or testing

Abbreviated reports (21 CFR 1002.12)—Reporting

Requires manufacturers to report abbreviated information on product safety and testing,

instead of 1002.10 reports. The following forms are used to obtain the required

information:

• Form FDA 3629 “Abbreviated Report”

• FDA Form 3661 “Guide for the Submission of an Abbreviated Report on X-ray

Tables, Cradles, Film Changers or Cassette Holders Intended for Diagnostic Use”

• FDA Form 3662 “Guide for Submission of an Abbreviated Radiation Safety

Reports on Cephalometric Devices Intended for Diagnostic Use”

• FDA Form 3663 “Abbreviated Reports on Radiation Safety for Microwave

Products (Other than Microwave Ovens)”

Annual reports (21 CFR 1002.13(a)-(c))—Reporting

Requires manufacturers to report annually to FDA a summary of manufacturer

records maintained in accordance with 1002.30, and provide quarterly updates of

models instead of 1002.10 or 1002.11 reports. The following report forms are used

to obtain the required information:

• FDA Form 3628 “General Annual Report (includes Medical, Analytical, and

Industrial X-Ray Products Annual Report)”

• FDA Form 3631 “Guide for Preparing Annual Reports on Radiation Safety

Testing of Sunlamps and Sunlamp Products”

• FDA Form 3634 “Television Products Annual Report”

• FDA Form 3636 “Guide for Preparing Annual Reports on Radiation Safety

Testing of Laser and Laser Light Show Products”

• FDA Form 3638 “Guide for Filing Annual Reports for X-Ray Components

and Systems”

• FDA Form 3641 “Cabinet X-Ray Annual Report”

• FDA Form 3643 “Microwave Oven Products Annual Report”

• FDA Form 3645 “Guide for Preparing Annual Reports for Ultrasonic

Therapy Products”

• FDA Form 3647 “Guide for preparing Annual Reports on Radiation Safety

Testing of Mercury Vapor Lamps”

# Accidental radiation occurrence reports (21 CFR 1002.20)—Reporting

Requires manufacturers to report to FDA the circumstances, amount of exposure, and remedial actions taken concerning any accidental radiation occurrence involving their electronic products. If a firm is also required to report the incident under 21 CFR part 803, those regulations take precedence.

• Form FDA 3649 “Accidental Radiation Occurrence (ARO)” report is used to obtain the required information requested in 21 CFR 1002.20.

Manufacturers records (21 CFR 1002.30 and 1002.31(a))—Recordkeeping

Requires manufacturers to keep records on test data and procedures, correspondence regarding radiation safety, and distribution records.

# Distribution records (21 CFR 1002.31(c))—Excluded under 5 CFR 1320.4

Requires manufacturers, when requested by FDA, to provide copies of the distribution records required to be maintained by 1002.30(b).

# Dealer/distributor records (21 CFR 1002.40 and 1002.41)—Recordkeeping and

Third-party disclosure

Section 1002.40 requires dealers and distributors to retain first purchaser information, to be used by manufacturers when a product recall is instituted to ensure the radiation safety of a product.  Section 1002.41 specifies that the dealer/distributor records in 1002.40 may be retained by the dealer or forwarded to the manufacturer for retention; also that the manufacturer or dealer shall retain distribution records for five years.

# Exemption requests (21 CFR 1002.50(a) and 1002.51)—Reporting

Section 1002.50(a) specifies criteria by which manufacturers may request exemption from reporting and recordkeeping requirements when there is a low risk of injury. Section 1002.51 specifies criteria by which manufacturers may request exemption from reporting and recordkeeping requirements if the product is intended for U.S. Government use. The burdens are combined because the processes are essentially identical.

• FDA Form 3642 “General Correspondence”

Discovery of defect or failure to comply, notification, and exemption from notification

(21 CFR 1003.10, 1003.11(a)(3) and (b), 1003.20(a)-(h), 1003.21(a)-(d), 1003.22(a) and

(b), 1003.30(a) and (b), 1003.31(a) and (b), 1004.2(a)-(i), 1004.3(a)-(i), 1004.4(a)-(h),

# 1005.21(a)-(c), and 1005.22(b))—Excluded under 5 CFR 1320.4

Section 1003.10(a) and (c) requires manufacturers to notify FDA when their product has a defect or fails to comply with applicable performance standards. If 21 CFR 803 also applies, that regulation takes precedence. Section 1003.10(b) requires manufacturers to notify purchasers, dealers, and distributors of product defects or noncompliance, including a description of hazard, instructions for use pending correction, and a corrective action plan. Section 1003.11(a)(3) specifies criteria by which manufacturers may refute FDA's notice of defective or noncompliant product. Section 1003.11(b) requires manufacturers, when notified by FDA, to provide information on the number of defective products introduced into commerce. Firms provide the information with the 1003.10(a) report. Section 1003.20(a)-(h) requires manufacturers to provide to FDA the same report as 1003.10(a), under different circumstances of discovery. Section 1003.21(a)-(d) specifies the content of the notification required by 1003.10(b). Section 1003.22(a) and (b) requires manufacturers to provide to FDA copies of the 1003.10 disclosure sent to purchasers, dealers or distributors. Firms provide the information with the 1003.10(a) report. Section 1003.30(a) and (b) specifies criteria by which manufacturers may request an exemption from the 1003.10 disclosure and possible product recall. Section 1003.31(a) and (b) specifies the content of the 1003.30 report. Section 1005.21(a)-(c) specifies criteria for manufacturers or importers to request correction of noncompliant products for importation into the United States, including specific corrections, timeframe and location for completion. Such requests are made on Form FDA 766, Application for Authorization to Relabel or to perform other action of the Federal Food, Drug, and Cosmetic Act and other related Acts. Section 1005.22(b) specifies criteria for manufacturers or importers to request extension of time to bring product into compliance.

Product and sample information (21 CFR 1005.10)—Reporting Requires manufacturers or their agents, when notified by FDA, to provide certain information on the product being introduced into commerce and sample being shipped to FDA for testing.

• Form FDA 2767 "Notice of Availability of Sample Electronic Product," is used to collect the required information requested in 21 CFR 1005.10.

# Identification information and compliance status (21 CFR 1005.25(a)-(b))— Reporting

Requires importers to report identification information and compliance status of products to FDA. Initial designations are provided in the 1002.10, 1002.11, and 1002.12 reports, so that burden is included in those sections. For each shipment, identification is made on Form 2877.

• Form FDA 2877, “Declaration for Products Subject to Radiation Control Standards,” is used to collect the required information requested in 21 CFR 1005.25.

# Alternate means of certification (21 CFR 1010.2(d))—Reporting

Specifies criteria for manufacturers to request alternate means of certification to a standard.

# Coding system information (21 CFR 1010.3(a)-(c))—Reporting

Requires manufacturers to provide to FDA the coding systems if information on labels is coded and to identify each brand name, and the name and address of the individual or company for whom each product so branded is manufactured. Firms provide such information in the 1002.10, 1002.11, and 1002.12 reports, therefore the burden is included in those sections.

# Variance (21 CFR 1010.4(b))—Reporting

Specifies criteria for manufacturers to petition FDA for a variance from a performance standard including alternate means of safety, or suitable means of safety along with reasons why the standard is inappropriate.

- Form FDA 3633 “General Variance Request” is applicable to products other than Laser Light Shows and related products and is used to obtain the required information requested in 21 CFR 1010.4.

- Form FDA 3147 “Application for a Variance from 21 CFR 1040.11(c) for a Laser Light Show, Display, or Device” is used only by manufacturers of laser light show products to submit the required information in order to justify a variance approval.

- Form FDA 3635 “Laser Light Show Notification” is used to obtain certain required information specified in Form FDA 3147.

# Exemption from performance standards (21 CFR 1010.5(c)-(d))—Reporting

Specifies criteria by which manufacturers or U.S. government agencies may request an  exemption (or amendment or extension) from performance standards when a product is to be used exclusively by a part of the U.S. Government and has adequate radiation emission specifications.

# Alternate test procedures (21 CFR 1010.13)—Reporting

Specifies criteria for manufacturers to request alternate test procedures from those specified in a performance standard.

Television receiver critical component warning (1020.10(c)(4))—Third-party disclosure Requires manufacturers of television receivers to permanently affix or inscribe a warning label that includes the specification of operating high voltage and an instruction for adjusting the high voltage to the specified value.

# Cold cathode tubes (1020.20(c)(4))—Third-party disclosure

Requires manufacturers of cold cathode tubes to provide safety instructions and specifications to users.

Report of assembly of diagnostic x-ray components (1020.30(d)(1)-(d)(2))—Reporting Requires individuals or companies who install certified diagnostic x-ray components to submit a report of assembly to FDA as certification that the final product meets safety regulations (Form FDA 2579). In this section, reports of assembly need not be submitted for replacement tube housing assemblies that are reinstalled in or newly assembled into existing x-ray systems; Certified accessory components under 21 CFR 1002.10; repaired components; or temporarily installed components into an x-ray system.

• Form FDA 2579 “Report of Assembly of a Diagnostic X-ray System” is used to obtain the required information requested in 21 CFR 1020.30(d).

# Information on diagnostic x-ray systems (1020.30(g))—Recordkeeping and Third-party disclosure

Requires manufacturers of diagnostic x-ray systems and their major components to provide assembly, installation, compatibility, and testing information to assemblers of such products, and others upon request. Section 1020.30(g)(2) requires manufacturers of diagnostic x-ray systems and their major components to provide assemblers a statement of the maximum line current of the x-ray system based on the maximum input voltage and current characteristics of the tube housing assembly compatible with rated output voltage and rated output current characteristics of the x-ray control and associated highvoltage generator.

# Diagnostic x-ray system safety and technical information (1020.30(h)(1)-(h)(4))— Third-party disclosure

Section 1020.30(h)(1)-(h)(4) requires manufacturers of diagnostic x-ray systems and their major components to provide safety and technical information and instructions to the purchasers and users of such products, and others upon request.

Fluoroscopic x-ray system safety and technical information (1020.30(h)(5)-(h)(6) and

# 1020.32(a)(1), (g), and (j)(4))—Third-party disclosure

Section 1020.30(h)(5) and (h)(6) requires manufacturers of fluoroscopic x-ray systems to provide safety information and instructions to the purchasers and users of such products, and others upon request. Section 1020.32(a)(1) requires manufacturers to provide to users precautions concerning the importance of remote control operation. Section 1020.32(g) requires manufacturers of radiographic systems that contain Positive Beam Limitation to provide precautions and safety information to users. Section 1020.32(j)(4) requires the manufacturers of fluoroscopic x-ray equipment to provide technical information to users.

# Computed tomography (CT) equipment (1020.33(c)-(d), (g)(4), and (j))—Third-party disclosure

Section 1020.33(c) requires manufacturers of CT x-ray systems to provide technical and safety information to users. It is provided in the same manual as the information required in 1020.30(h), or in a separate manual devoted entirely to this information. Section 1020.33(d) requires manufacturers of CT systems to provide quality assurance information to users. Section 1020.33(g)(4) requires manufacturers of certain CT systems to provide alignment instructions to users. Section 1020.33(j) requires manufacturers of CT x-ray systems to provide specific, technical instructions  concerning the use of the method provided for calculation of the CT number mean and standard deviation to users.

# Cabinet x-ray systems information (1020.40(c)(9)(i)-(c)(9)(ii))—Third-party disclosure

Requires manufacturers of cabinet x-ray systems to provide technical, safety, maintenance, and assembly information to purchasers.

Microwave oven radiation safety instructions (1030.10(c)(4))—Third-party disclosure Requires manufacturers of microwave ovens to provide legible radiation safety instructions to users. This information should be contained in a separate section and should be an integral part of requirements supplied in an enclosed cookbook or user manual.

# Microwave oven safety information and instructions (1030.10(c)(5)(i)-(c)(5)(iv))—Thirdparty disclosure

Requires manufacturers of microwave ovens to provide safety information and adequate  instructions to service dealers and distributors and others upon request.

Microwave oven warning labels (1030.10(c)(6)(iii))—Third-party disclosure Describes warning labels on Microwave Ovens. In the history of this performance standard, the Director for the Center for Devices and Radiological Health has never determined that a specific warning is required for a microwave oven manufacturer. Therefore, this citation has been added to the burden chart with a minimal burden.

Microwave oven exemption from warning labels (1030.10(c)(6)(iv))—Reporting Specifies the information to be provided to FDA when a manufacturer of microwave ovens requests an exemption from required user warning labels.

# Laser products registration (1040.10(a)(3)(i))—Reporting

Requires manufacturers of laser products sold for use as a component or replacement to register with FDA and provide a listing by type of product in lieu of the reporting required by 1002.10.

• Form FDA 3637 “Laser Original Equipment Manufacturer (OEM) Report” is used to obtain the required information requested in 21 CFR 1040.10(a)(3)(i).

# Laser products distribution records (1040.10(a)(3)(ii))—Recordkeeping

Requires manufacturers of laser products sold for use as a component or replacement to maintain distribution records in accordance with 1002.31.

Laser products information (1040.10(h)(1)(i)-(h)(1)(vi))—Third-party disclosure Requires manufacturers of laser products to provide assembly, operation and maintenance instructions, technical information, legible reproductions of all label and hazard warnings, and a listing of all controls, adjustments, and procedures for operations and maintenance to users. The FDA is considering an amendment to simplify the information and harmonize with the international standards.

Laser product service information (1040.10(h)(2)(i)-(h)(2)(ii))—Third-party disclosure Requires manufacturers of laser products to provide service information to dealers and distributors and to others upon request. It is provided in the same manual, as information required in 1040.10(h)(1).

# Laser products recertification (1040.10(i))—Reporting

The reporting burden for laser products recertification is included in the burden estimate for Product Reports—1002.10.  Section 1040.10(i) requires manufacturers who modify certified laser products to recertify and reidentify the product in accordance with 1010.2 and 1010.3. Thus, the firm is required to report compliance information to FDA as required by 1002.10. Manufacturers report this information on Form FDA 3632.

# Medical laser product instructions (1040.11(a)(2))—Third-party disclosure

Requires manufacturers of certain medical laser products to provide instructions and a schedule for calibration with each product. It may be provided in the same manual as information to purchasers required in 1040.10(h)(1).

# Sunlamp products (1040.20)—Third-party disclosure

Describes the labeling requirements for sunlamp products and ultraviolet lamps intended for use in sunlamp products. As described above, the labeling requirements in 1040.20(d)(1)(i), (d)(2)(i), and (d)(2)(iii) are not subject to review under the PRA because they are a public disclosure of information originally supplied by the Federal Government to the recipient for the purpose of disclosure to the public (5 CFR 1320.3(c)(2)).

# Mercury vapor lamp labeling (l040.30(c)(1)(ii))—Third-party disclosure

Describes the general regulations for high intensity, mercury vapor discharge lamps, specifically the labeling of these lamps. Burden in this area is considered negligible, as the imprinting of the lamps has become industry standard. Industry also has said that if this requirement were eliminated, they would continue the practice because of the cost implications of retooling all manufacturing of mercury vapor lamps.

Mercury vapor lamp permanently affixed labels (l040.30(c)(2))—Third-party disclosure Describes labeling of mercury vapor discharge lamps in lieu of permanently affixing or  inscribing tabs or labels on the product as required by 1010.2(b) and 1010.3(a). The  manufacturer of any high intensity mercury vapor discharge lamp may permanently affix or inscribe such required tags or labels on the lamp packaging uniquely associated with the applicable lamp.

# Ultrasonic therapy products (1050.10(d) and (f))—Third-party disclosure

Section 1050.10(d) requires manufacturers of ultrasonic therapy products to provide informational labels on the components. Section 1050.10(f)(1) requires manufacturers of ultrasonic therapy products to provide service information to dealers and distributors and others upon request. Also provides user instructions concerning safety and precaution, adequate description of the spatial distance of the ultrasonic radiation field, and adequate description of the uncertainties of magnitude. Section 1050.10(f)(2) requires manufacturers of ultrasonic therapy products to provide safety and technical information to users. It is provided in the same manual as information required in 1050.10(f)(1).

- Purpose and Use of the Information Collection

Respondents to the information collection are from the private sector, businesses for profit.  We use the information collection to determine compliance with statutory and regulatory requirements and adherence to performance standards.  Information including records and reports are reviewed by FDA to determine product safety, conformance with performance standards, and adequacy of quality control testing.  Potential and actual problems are resolved with individual firms through follow-up information collection. We discuss these activities on our website at Radiation Emitting Electronic Products.

- Use of Improved Information Technology and Burden Reduction

The information collection is supported by the use of the following forms:

Table 1.  OMB Control No. 0910-0025:  Index of Forms

| AGENCY FORM NUMBER | TITLE |
| --- | --- |
| FDA 2579 | Report of Assembly of Diagnostic X-ray System |
| FDA 2767 | Notice of Availability of Sample Electronic Product |
| FDA 2877 | Declaration for Imported Electronic Products Subject to Radiation Control Standards |
| FDA 3147 | Application for a Variance from 21 CFR 1040.11(c) for a Laser Light Show, Display, or Device |
| FDA 3628 | Reports on Radiation Safety Testing of Electronic Products (General) |
| FDA 3629 | Abbreviated Report |
| FDA 3630 | Product Reports on Sunlamps and Sunlamp Products |
| FDA 3631 | Annual Reports on Radiation Safety Testing of Sunlamp Products |
| FDA 3632 | Product Reports for Lasers and Products Containing Lasers |
| FDA 3633 | General Variance Request |
| FDA 3634 | TV Annual Report |
| FDA 3635 | Laser Light Show Notification |
| FDA 3636 | Annual Reports on Radiation Safety Testing of Laser and Laser Light Show Products |
| FDA 3637 | Laser Original Equipment Manufacture Report |
| FDA 3639 | Cabinet X-ray System Reporting |
| FDA 3640 | Laser Light Shows and Displays |
| FDA 3641 | Cabinet X-Ray Annual Report |
| FDA 3642 | General Correspondence Report for CDRH Electronic Submissions |
| FDA 3643 | Microwave Oven Products Annual Report |
| FDA 3646 | Mercury Vapor Lamp Products Radiation Safety Report |
| FDA 3649 | Accidental Radiation Occurrence Report |
| FDA 3649C | Consumer Accidental Radiation Occurrence Report |
| FDA 3649S | Accidental Radiation Occurrence (ARO) Quarterly Summary Report |
| FDA 3659 | TV Product Report |
| FDA 3660 | Reports on Radiation Safety of Microwave Ovens |
| FDA 3663 | Abbreviated Reports on Radiation Safety for Microwave Products (Other than Microwave Ovens) |
| FDA 3759 | Abbreviated Reports on Radiation Safety of Non-Medical Ultrasonic Products |
| FDA 3760 | Product Reports for Medical Ultrasound Products |
| FDA 3801 | Initial Reports and Model Change Reports on Medical Ultraviolet Lamps and Products Containing Such Lamps |
| FDA 4004 | Abbreviated Reports of Microwave and RF Emitting Electronic Products Intended for Medical Use |

The forms are developed in portable document format (pdf) intended to facilitate the uniform submission of information by respondents.  Although certain submissions continue to be accepted in a paper-based format, most forms are completed and submitted electronically through established FDA IT systems, including systems administered by our Center for Devices and Radiological Health (CDRH) specifically maintained to support information collection associated with electronic products requirements.  We encourage electronic filing using FDA’s Electronic Submissions Gateway (FDA ESG), which allows manufacturers to create accounts and submit files using the CDRH eSubmitter software application.  Additionally, CDRH has developed and maintains a voluntary electronic submission (eSubmitter) mechanism to automatically edit-check for errors in online submissions, ensure data integrity, and allow FDA staff to review information with greater efficiency.  We believe the software reduces the number of supplements needed and provides data often missing from paper-based submissions.  The forms are also supported by instructional information and recommendations found in submission guides and applicable guidance documents.

- Efforts to Identify Duplication and Use of Similar Information

We are unaware of duplicative information collection.

- Impact on Small Businesses or Other Small Entities

The information collection poses no undue burden on small entities.  We estimate 22 percent of respondents are small businesses (manufacturers, importers, and assemblers of electronic products).

- Consequences of Collecting the Information Less Frequently

The information collection schedule is consistent with statutory and regulatory requirements.

- Special Circumstances Relating to the Guidelines of 5 CFR 1320.5

Requiring respondents to report information to the agency more often than quarterly is necessary in instances of accidental radiation occurrences that are associated with a death or serious injury (21 CFR 1002.20).  Immediate health hazards require immediate action and reporting must be prompt.  If FDA and the affected industry or firm did not have access to this information, equipment might not be located quickly when a particular product or system is suspected of causing harm.  These records are needed to protect the public from immediate health hazards, and therefore are considered records pertaining to health which are not subject to the quarterly limit (5 CFR 1320.5(d)(2)(i)).

Over the past several years, recordkeeping requirements have been significantly reduced, but the timeframe for maintaining these records (5 years) remains the same.  If an entire model line is determined to be defective, the firm must be able to locate other installations of the defective units to eliminate additional hazards.  Without this information, FDA’s protection of the public from significant health risks might be compromised. These records are needed for significant risk products, and therefore are considered records pertaining to health which are not subject to the 3-year limit (5 CFR 1320.5(d)(2)(iv)).

- Comments in Response to the Federal Register Notice and Efforts to Consult Outside the Agency

FDA published a 60-day notice for public comment in the Federal Register of July 14, 2025 (90 FR 31211). No comments were received.

- Explanation of Any Payment or Gift to Respondents

There are no incentives, payments or gifts associated with this information collection.

- Assurance of Confidentiality Provided to Respondents

The Privacy Act of 1974

In preparing this supporting statement, we consulted with our Privacy Office to ensure appropriate handling of information collected.  Although the ICR collects personally identifiable information (PII) through the utilization of agency forms, as listed in Q-3 above, the data elements are collected for business contact purposes only.  We have determined that the PII submitted through each of the respective forms is not subject to the Privacy Act of 1974 and the particular notice and other requirements of the Privacy Act do not apply.  Specifically, FDA does not use name or any other personal identifier to retrieve records from the information collected.  FDA also minimizes the PII to be collected to protect the privacy of the individuals.

Freedom of Information Act (FOIA)

Section 537 of the FD&C Act states that the Secretary shall not disclose any information which contains or relates to a trade secret or other matter referred to in section 1905 of Title 18 of the United States Code.  Information provided under this collection is handled in a manner to comply with this requirement and the FDA regulations implementing the Freedom of Information Act, 21 CFR part 20.  All information provided will be protected from inappropriate disclosure.

- Justification for Sensitive Questions

The collection of information does not involve sensitive questions.

- Estimates of Annualized Burden Hours and Cost

12a.  Annualized Hour Burden Estimate

Respondents to this collection of information are electronic product manufacturers, importers, and assemblers.

| Table 1..--Estimated Annual Reporting Burden1 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Activity/ 21 CFR Section | FDA Form | No. of Respondents | No. of Responses per Respondent | Total Annual Responses | Average Burden per Response | Total Hours |
| Product reports—1002.10(a)-(k) | 3639—Cabinet x-ray 3632—Laser 3640—Laser light show 3630—Sunlamp 3659—TV 3660—Microwave oven 3801—UV lamps | 1,686 | 2.2 | 3,709 | 24 | 89,01 |
| Supplemental reports—1002.11(a)-(b) |  | 484 | 2.5 | 1,210 | 0.5 (30 minutes) | 605 |
| Abbreviated reports—1002.12 | 3629—General abbreviated report 3646—Mercury vapor lamp products radiation safety report 3663—Microwave products (non-oven) | 80 | 1.8 | 144 | 5 | 720 |
| Annual reports—1002.13(a)-(b) | 3628—General 3634—TV 3641—Cabinet x-ray 3643—Microwave oven 3636—Laser 3631—Sunlamp | 2,344 | 1.3 | 3047 | 18 | 54,846 |
| Accidental radiation occurrence reports—1002.20 | 3649—ARO | 96 | 4 | 384 | 2 | 768 |
| Accidental radiation occurrence reports—1002.20 | 3649S – ARO Summary | 4 | 4 | 16 | 10 | 160 |
| Accidental radiation occurrence reports—1002.20 | 3649C – Consumer ARO | 10 | 1 | 10 | 0.25 | 3 |
| Exemption requests—1002.50(a) and 1002.51 | 3642—General correspondence | 5 | 1.3 | 7 | 1 | 7 |
| Product and sample information—1005.10 | 2767—Sample product | 10 | 1 | 10 | 0.1 (6 minutes) | 1 |
| Identification information and compliance status—1005.25 | 2877—Imports declaration | 14,506 | 67 | 971,902 | 0.2 (12 minutes) | 194,380 |
| Alternate means of certification—1010.2(d) |  | 1 | 1 | 1 | 5 | 5 |
| Variance—1010.4(b) | 3633—General variance request 3147—Laser show variance request 3635—Laser show notification | 580 | 1.1 | 638 | 1.2 | 766 |
| Exemption from performance standards—1010.5(c) and (d) |  | 1 | 1 | 1 | 22 | 22 |
| Alternate test procedures—1010.13 |  | 1 | 1 | 1 | 10 | 10 |
| Microwave oven exemption from warning labels—1030.10(c)(6)(iv) |  | 1 | 1 | 1 | 1 | 1 |
| Laser products registration—1040.10(a)(3)(i) | 3637—Original equipment manufacturer (OEM) report | 42 | 2.9 | 122 | 3 | 366 |
| Total |  | 19,851 |  | 981,203 |  | 341,676 |
| 1 Numbers have been rounded. |  |  |  |  |  |  |

| Table 2.--Estimated Annual Recordkeeping Burden1 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Activity/ 21 CFR Section | No. of Recordkeepers | No. of Records per Recordkeeper | Total Annual Records | Average Burden per Recordkeeping | Total Hours |
| Manufacturer test and distribution records—1002.30 and 1002.31(a) | 2,129 | 1,650 | 3,512,850 | 0.12 (7 minutes) | 421,542 |
| Dealer/distributor records—1002.40 and 1002.41 | 3,000 | 50 | 1415,000 | 0.05 (3 minutes) | 7,273 |
| Information on diagnostic x-ray systems—1020.30(g) | 50 | 1 | 50 | 0.5 (30 minutes) | 25 |
| Laser products distribution records—1040.10(a)(3)(ii) | 121 | 1 | 121 | 1 | 121 |
| Total | 5,300 |  | 3,663,021 |  | 429,188 |
| 1 Numbers have been rounded. |  |  |  |  |  |

|  | Table 3.--Estimated Annual Third-Party Disclosure Burden |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Activity/ 21 CFR Section |  | FDA Form | No. of Respondents | No. of Disclosures per Respondent | Total Annual Disclosures | Average Burden per Disclosure | Total Hours1 |
| Technical and safety information for users—1002.3 |  |  | 1 | 1 | 1 | 12 | 12 |
| Dealer/distributor records—1002.40 and 1002.41 |  |  | 30 | 3 | 90 | 1 | 90 |
| Television receiver critical component warning—1020.10(c)(4) |  |  | 1 | 1 | 1 | 1 | 1 |
| Cold cathode tubes—1020.20(c)(4) |  |  | 1 | 1 | 1 | 1 | 1 |
| Report of assembly of diagnostic x-ray components—1020.30(d), (d)(1), and (d)(2) |  | FDA 2579—Assembler report | 1,235 | 34 | 41,990 | 0.30 (18 minutes) | 12,597 |
| Information on diagnostic x-ray systems—1020.30(g) |  |  | 6 | 1 | 6 | 55 | 330 |
| Statement of maximum line current of x-ray systems—1020.30(g)(2) |  |  | 6 | 1 | 6 | 10 | 60 |
| Diagnostic x-ray system safety and technical information—1020.30(h)(1)-(h)(4) |  |  | 6 | 1 | 6 | 200 | 1,200 |
| Fluoroscopic x-ray system safety and technical information—1020.30(h)(5)-(h)(6) and 1020.32(a)(1), (g), and (j)(4) |  |  | 5 | 1 | 5 | 25 | 125 |
| CT equipment—1020.33(c)-(d), (g)(4), and (j) |  |  | 5 | 1 | 5 | 150 | 750 |
| Cabinet x-ray systems information—1020.40(c)(9)(i)-(c)(9)(ii) |  |  | 6 | 1 | 6 | 40 | 240 |
| Microwave oven radiation safety instructions—1030.10(c)(4) |  |  | 1 | 1 | 1 | 20 | 20 |
| Microwave oven safety information and instructions—1030.10(c)(5)(i)-(c)(5)(iv) |  |  | 1 | 1 | 1 | 20 | 20 |
| Microwave oven warning labels—1030.10(c)(6)(iii) |  |  | 1 | 1 | 1 | 1 | 1 |
| Laser products information—1040.10(h)(1)(i)-(h)(1)(vi) |  |  | 2 | 1 | 2 | 20 | 40 |
| Laser product service information—1040.10(h)(2)(i)-(h)(2)(ii) |  |  | 2 | 1 | 2 | 20 | 40 |
| Medical laser product instructions—1040.11(a)(2) |  |  | 2 | 1 | 2 | 10 | 20 |
| Sunlamp products instructions—1040.20 |  |  | 1 | 1 | 1 | 10 | 10 |
| Mercury vapor lamp labeling—1040.30(c)(1)(ii) |  |  | 1 | 1 | 1 | 1 | 1 |
| Mercury vapor lamp permanently affixed labels—1040.30(c)(2) |  |  | 1 | 1 | 1 | 1 | 1 |
| Total |  |  | 1,314 |  | 42,129 |  | 15,559 |

1 Total hours have been rounded

The estimated total annual burden for this information collection is 786,423 hours. Our burden estimates are based on our continued experience with the information collection and informal communications with industry, as well as actual data collected from industry, including recent product report submissions.  An evaluation of the type and scope of information requested was also used to derive time estimates associated with the respective activities.  We do not account for burden that may be attributable to requirements found in 21 CFR parts 1002.31(c), 1003.10(a)-(c), 1003.11(a)(3) and (b), 1003.20(a)-(h), 1003.21(a)-(d), 1003.22(a) and (b), 1003.30(a) and (b), 1003.31(a) and (b), 1004.2(a)-(i), 1004.3(a)-(i), 1004.4(a)-(h), 1005.21(a)-(c), and 1005.22(b).  Because these requirements apply to the collection of information during the conduct of investigations or audits (5 CFR 1320.4), we do not believe they otherwise constitute a collection of information as defined by the PRA.  Similarly, we do not account for burden that may be attributable to requirements in 21 CFR parts 1030.10(c)(6), 1040.10(g), and 1040.30(c)(1).  Because the information collection includes public disclosure of information originally supplied by the Federal Government to the recipient for the purpose of disclosure to the public (5 CFR 1320.3(c)(2)), we believe these elements are not subject to OMB review and approval under the PRA.

The final rule revises the applicability of the recordkeeping and reporting requirements for some products (21 CFR 1002.1).  We therefore revised corresponding burden estimates for product reports, supplemental reports, abbreviated reports, annual reports, manufacturer test and distribution records, and dealer and distributor records by reducing the number of respondents/recordkeepers to reflect the revised applicability of the recordkeeping and reporting requirements. We also revised form FDA 3646 “Mercury Vapor Lamp Products Radiation Safety Report” (now listed under Abbreviated Reports consistent with the revision of § 1002.1) and removed the following forms:

•	Form FDA 3626, “Initial Reports on Diagnostic X-Ray Systems and Their Major Components”

•	Form FDA 3627, “Diagnostic X-Ray CT Products Radiation Safety Report”

•	Form FDA 3638, “Annual Reports for X-Ray Components and Systems”

•	Form FDA 3644, “Product Reports for Ultrasonic Therapy Products”

•	Form FDA 3645, “Annual Reports for Ultrasonic Therapy Products”

•	Form FDA 3647, “Annual Reports on Radiation Safety Testing of Mercury Vapor Lamps”

•	Form FDA 3661, “Abbreviated Report on X-ray Tables, Cradles, Film Changers or Cassette Holders Intended for Diagnostic Use”

•	Form FDA 3662, “Abbreviated Radiation Safety Reports on Cephalometric Devices Intended for Diagnostic Use”

The amended applicability of the recordkeeping requirements for dealer and distributor records (1002.40 and 1002.41) results in a small decrease in the number of recordkeepers..

We have eliminated requirements for manufacturers to report model numbers of a model family that do not involve changes in radiation emission or requirements of a performance standard in quarterly updates to their annual reporting (21 CFR 1002.13(c)). We have removed the burden estimate associated with 1002.13(c).  Generally, other subsections require specified product manufacturers to submit annual reports to FDA which summarize certain manufacturing records (21 CFR 1002.13(a) and (b)); the final rule does not amend these annual report requirements.

We have revised the submission schedule for reporting requirements for AROs that are not associated with a death or serious injury (21 CFR 1002.20).  This refers to the Summary quarterly reports.  Want to add the consumer version coming soon here as well?

We have revised the variance applications process (21 CFR 1010.4(b)) to no longer require a manufacturer to submit two additional copies with the original documents.  While this amendment would not generate any substantive change to the information collection, respondents may realize a small monetary savings from the usual and customary administrative expenses associated with the preparation of the copies.

We have modified reporting associated with Form FDA 2579. FDA no longer require these forms to be submitted to the FDA; however, we continue to provide the form on our FDA website for industry to use for the purchasers and applicable state and local offices, in order for them to receive as a record demonstrating the responsible diagnostic x-ray system’s assembler.

We have modified reporting requirements for manufacturers that incorporate a certified laser product to reduce reporting that is considered duplicative under certain conditions.  Manufacturers that incorporate a certified laser system meeting the conditions of 21 CFR 1010.2(e) are considered distributors of the certified laser and only subject to the applicable distribution recordkeeping requirements under 1002.40 and 1002.41 for the certified products.  Accordingly, we have reduced the number of respondents for “Laser products information—1040.10(h)(1)(i)-(vi)” and “Laser product service information—1040.11(h)(2)(i)-(ii).”

We have repealed, and therefore removed any burden attributable to, performance standards for ultrasonic therapy products in 21 CFR 1050.10.

12b.  Annualized Cost Burden Estimate

| Type of Respondent | Total Burden Hours | Hourly Wage Rate | Total Respondent Costs |
| --- | --- | --- | --- |
| Regulatory Affairs Professional | 786,423 | $169.68 | $133,440,254.60 |

We estimate that the information collection will be satisfied by regulatory affairs professionals.  We use, $84.84, the U.S. Bureau of Labor Statistics’ May 2023 National Occupational Employment and Wage Estimates,  https://www.bls.gov/oes/current/oes_nat.htm, mean wage rate for a Lawyer (occupation code 23-1011) to calculate the burden for regulatory affairs professionals.  To account for benefits and overhead, we double this value to $169.68.

- Estimates of Other Total Annual Costs to Respondents/Recordkeepers or Capital Costs

We estimate the costs to read the rule for all respondents to the initial collection of information. We assume all baseline respondents will need to devote time to reading and understanding the regulation to determine whether this final rule applies to their firm. There are 23,040 initial respondents across all three reporting categories.  At an adult average reading speed of 200-250 words per minute, we estimate that each reader will spend about 1 hour reading the rule. We assume one regulatory affairs specialist at each firm will read the rule. Using the adjusted hourly wage rate as calculated in the RIA for the final rule, we value the time spent learning about the rule at a cost of $69.38 per respondent. Multiplying this estimate by the number of total respondents yields a total one-time cost for reading the rule of $1,598,607 ($69.38 x 23,040).

- Annualized Cost to the Federal Government

Assuming an allocation of 15full time equivalent (FTE) positions who have responsibilities under the Radiation Control for Health and Safety Act, and that wage costs are) $348,722 (rounded), including employee salary and non-salary costs (based on FDA’s fully loaded FTE cost model (domestic) for FY 2023, as provided by agency economists). We estimate that 23.9 percent of the total annual reporting burden hours will be eliminated as a result of the rule (an annual cost savings to FDA of $1,068,244). Therefore, we calculate wage costs to be $5,230,830. In addition to the costs above, the Radiological Health program utilizes a Document Control contractor (DCC) exclusively to support the receipt and processing of these forms, which costs $985,974.78 per year.  Cumulatively, we estimate an annualized cost to the Federal government of $4,381,146.

- Explanation for Program Changes or Adjustments*

Our estimated burden for the information collection reflects an overall increase of 381,821 hours and a corresponding increase of 2,135,962 responses. We attribute this adjustment to an increase in the number of submissions we received over the last few years.

- Plans for Tabulation and Publication and Project Time Schedule

This information collected will not be published or tabulated.

- Reason(s) Display of OMB Expiration Date is Inappropriate

The ICR OMB expiration date will be displayed as required by 5 CFR 1320.5.

- Exceptions to Certification for Paperwork Reduction Act Submissions

There are no exceptions to the certification.

Form revised consistent with final rule.

Form revised consistent with final rule.