## Micronutrients Report Form
CDC External Method Performance Verification Program
Method Comparison
0
Instructions
· | Enter information only in the yellow shaded cells. Cell will become green when populated
· | Run these samples in the same way as you would routine patient samples
· | Run the samples designated for each day in duplicate over a period of 4 days.
· | Record all results with three significant figures (i.e., 105, 10.5, 1.05, 0.105)
· | E-mail this completed worksheet to: micronutrbiomarkers@cdc.gov
· | Retain the vials in your freezer in case of any questions regarding the ID or results.
Laboratory Details: |  |  | Laboratory ID#
Name of Laboratory
Shipment Details: |  |  |  | Shipment received date
Was the shipper received cold?
Did shipper contain a temperature monitor?
Color of dot on temperature monitor
Assay Details: | Matrix
Analyte
Units
Assay
| Instrument |  |  |  |  | (Manufacturer/Model)
(if a kit used) | Kit Details |  |  |  |  | (Name/Manufacturer)
Calibrator(s) (if available)
Calibration Range:
| Low |  | 0
| High |  | 0
| LOD |  | 0
Run | Assay Date | Sample | Sample ID | Result 1 | Result 2 | Notes
|  |  |  | 0 | 0
Day 1 |  | 1
2
3
4
5
6
7
8
9
10
QC1
QC2
Day 2 |  | 1
2
3
4
5
6
7
8
9
10
QC1
QC2
Day 3 |  | 1
2
3
4
5
6
7
8
9
10
QC1
QC2
Day 4 |  | 1
2
3
4
5
6
7
8
9
10
QC1
QC2
Laboratory Notes
Form Approved
OMB No. 0920-1389
Exp. Date 03/31/2026
CDC estimates the average public reporting burden for this collection of information as 1 hour and 55 minutes (25 minutes for enrollment and 90 minutes for data return) per response, including the time for reviewing instructions, searching existing data/information sources, gathering and maintaining the data/information needed, and completing and reviewing the collection of information. An agency may not conduct or sponsor, and a person is not required to respond to a collection of information unless it displays a currently valid OMB Control Number. Send comments regarding this burden estimate or any other aspect of this collection of information, including suggestions for reducing this burden to CDC/ATSDR Information Collection Review Office, 1600 Clifton Road NE, MS H21-8, Atlanta, Georgia 30333; ATTN: PRA (0920-1389).

## List (hidden)
Chromatographic/LC-MS/MS [no MeFox in folate result]
Chromatographic/HPLC-UV
Immunoassay/Protein Binding Assay
Microbiologic Assay
Other (Describe in Notes section below)
5-MethylTHF
Folic Acid
Do not know
Other (Describe in Notes section below)
Serum
Whole Blood
Alpha-1-acid glycoprotein (AGP)
C-Reactive Protein (CRP)
Ferritin (FER)
Folate (FOL)
Soluble Transferrin Receptor (sTfR)
Vitamin A (VIA)
Vitamin B12 (B12)
25-hydroxyvitamin D2 + D3 (total VID)
25-hydroxyvitamin D3 only
nmol/L
µmol/L
ng/mL
µg/dL
pg/mL
mg/L
g/L
Yes
No
White/No Color
Pink/Red