## Method Report
Biomonitoring Quality Assurance Support Program
Analytical Method Report
UNIVERSAL PESTICIDES
Laboratory Information
1 | State Report: | Select State
2 | Results for Method: | Select Method
Sample Preparation Information:
3 | Does your method use automation: | Yes or No
4 | Does your sample preparation method include: | Select SPE
5 | Solid phase extraction platform: | N/A
| Additional information on sample prep procedure: | Type description here
6 | What is the method sample volume size:
7 | Name of enzyme:
Enzyme Vendor
| Enzyme Concentration |  | (please include units)
Amount
How long do you incubate the samples
| Temperature during incubations |  | Degrees Celsius
HPLC Configuration:
8 | Instrument manufacturer | Select | Type Other Here
9 | What is the flow rate:
10 | What is the method run time:
11 | What is the sample injection volume:
12 | Column name and Manufacturer
13 | Column dimensions
14 | Elution Type: | Select
15 | Mobile Phase A Composition |  | Describe composition for Mobile Phase A
16 | Mobile Phase B Composition |  | Describe composition for Mobile Phase B
Mass Spectrometer Configuration
17 | Have you optimized the MS Parameters for your method? (Analytes, Precursor and Product Ions, Collision Energy) | Yes or No
18 | What is the ionization mode: | Select Mode
20 | Please complete the table for each analytes LOD, precursor and product ion transitions: | Analyte | LOD | Calibration Range | Precursor Ion (mass) | Product Ion (mass)
|  | Example: MCPP | 0.4 ng/ml | 0.035 - 350 ng/ml | 251 | 103
|  | 13C4-MCPP |  |  | 225 | 103
Analytical and Internal Standards
| Please complete the table for metabolite standards: | Analytical and Internal Standard | Vendor | Purity
|  | Phthalate Metabolites | Cambridge Isotope Laboratory
25 | How do you prepare your standards? | Select
27 | How many points are in the calibration curve?
28 | Is the calibration curve weighted? |  | weighted curve: No weighting, 1/X, 1/X^2,Other ?
29 | What integration software do you use?
Additional Method Questions
30 | Which proficiency testing programs do you participate in? | Select | Please type other programs here
31 | what is the average number of samples analyzed per month for this method?
32 | Have you checked the accuracy of the method using NIST SRMs?
33 | What volume of sample is required for BQASP Analysis?
Please provide a screenshot of your results chromatography:
Right click in the textbox
Click format shape
Click Fill Options
Select picture from your saved file

## Results
UNIVERSAL PESTICIDES
PT Event ID: | 20190FUPSU
Participant:
Analyst:
Reviewer:
Units of Result:
Sample ID | Analyte | Reported Value
20190F001UPSU | 3,5,6-trichloro-2-pyridinol
20190F001UPSU | 3-phenoxybenzoic acid
20190F001UPSU | 2-Isopropyl-4-methyl-6-hydroxypyrimidine
20190F001UPSU | 3-ph2-diethylamino-6-methyl pyrimidin-4-olenoxybenzoic acid
20190F001UPSU | Malathion dicarboxylic acid
20190F001UPSU | Trans-3-(2,2-dichlorovinyl)-2,2-dimethylcyclopropane-1- carboxylic acid
20190F001UPSU | Cis-3-(2,2-dichlorovinyl)-2,2-dimethylcyclopropane-1- carboxylic acid
20190F001UPSU | 4-fluoro-3-phenoxy-benzoic acid
20190F001UPSU | Para-nitrophenol
20190F001UPSU | 2,4-dichlorophenoxyacetic acid
Sample ID | Analyte | Reported Value
20190F002UPSU | 3,5,6-trichloro-2-pyridinol
20190F002UPSU | 3-phenoxybenzoic acid
20190F002UPSU | 2-Isopropyl-4-methyl-6-hydroxypyrimidine
20190F002UPSU | 3-ph2-diethylamino-6-methyl pyrimidin-4-olenoxybenzoic acid
20190F002UPSU | Malathion dicarboxylic acid
20190F002UPSU | Trans-3-(2,2-dichlorovinyl)-2,2-dimethylcyclopropane-1- carboxylic acid
20190F002UPSU | Cis-3-(2,2-dichlorovinyl)-2,2-dimethylcyclopropane-1- carboxylic acid
20190F002UPSU | 4-fluoro-3-phenoxy-benzoic acid
20190F002UPSU | Para-nitrophenol
20190F002UPSU | 2,4-dichlorophenoxyacetic acid
By submitting this form, we attest that the results reported were produced in this laboratory from the analysis of proficiency testing samples that were introduced into the routine workflow of the laboratory and analyzed using protocols and procedures with the same frequency routinely applied to patient specimens. We further attest that the laboratory did not discuss or engage in any communications with anyone outside of our laboratory regarding the proficiency test or the results obtained.
CDC estimates the average public reporting burden for this collection of information as 45 minutes per response, including the time for reviewing instructions, searching existing data/information sources, gathering and maintaining the data/information needed, and completing and reviewing the collection of information. An agency may not conduct or sponsor, and a person is not required to respond to a collection of information unless it displays a currently valid OMB Control Number. Send comments regarding this burden estimate or any other aspect of this collection of information, including suggestions for reducing this burden to CDC/ATSDR Information Collection Review Office, 1600 Clifton Road NE, MS H21-8, Atlanta, Georgia 30333; ATTN: PRA (0920-1389).
Form Approved
OMB No. 0920-1389
Exp. Date 03/31/2026

## Data Fields (hidden)
State | Results for Method: | Yes or No | Does your method use: | Solid Phase Extraction Platform: | Enzyme | Manufacturer | Ionization Mode | Proficiency Testing |  | Select
Select State | Select Method | Yes or No | Select SPE |  |  | Select | Select Mode | Select | Select | Serial dilution
Arizona | Serum Per- and Polyfluoralkyl Substances (PFAS) | Yes | Liquid – Liquid Extraction | Online |  | Sciex | Positive ESI | AMAP | Gradient | by volume
California – EHL | Environmental Phenols (EPSU) | No | Solid phase extraction | Offline |  | Agilent | Negative ESI | G-EQUAS | Isocratic | by weighting a certain volume
California – ECL | Universal Pesticides (UPSU) |  | SPE Cartridge/ Column | N/A |  | Waters | Positive APCI | QMEQAS
Washington | Polycyclic Aromatic Hydrocarbons (PAHU) |  | Protein Precipitation |  |  | Thermo | Negative APCI | Other
New York | Phthalates (PHTU) |  | Dilute and shoot |  |  | Perkin Elmer | Positive APPI
Utah | N/A |  | Online SPE |  |  | Shimazdu | Negative APPI
Colorado | Perchlorate (PCHU) |  | N/A |  |  | other
New Mexico |  |  | Other (specify)
New Hampshire
New Jersey
Virginia
Minnesota