NEW NUCLEAR REACTOR APPLICATIONS

COL-ISG-030

Environmental Considerations for New Nuclear Reactor Applications that Reference the Generic Environmental Impact Statement for Licensing of New Nuclear Reactors

(NUREG-2249)

Interim Staff Guidance

NOTE: This document uses universal tracking numbers (TNs) to better guide readers to appropriate reference materials. Citations are presented in the author-date format followed by a TN. The TN allows for both simplified electronic search and the ability for readers to distinguish between references with identical authors and dates.

# PURPOSE

Title 10 of the Code of Federal Regulations (10 CFR) 51.20, “Criteria for and Identification of Licensing and Regulatory Actions Requiring Environmental Impact Statements” (10 CFR Part 51-TN10253), requires the preparation of an environmental impact statement (EIS) or a supplemental environmental impact statement (SEIS) documenting the U.S. Nuclear Regulatory Commission (NRC) staff’s environmental findings for issuance of an early site permit (ESP) or a combined license (COL) under 10 CFR Part 52, “Licenses, Certifications, and Approvals for Nuclear Power Plants” (TN251), for issuance of a construction permit (CP), or operating license (OL) for a nuclear power reactor under 10 CFR Part 50, “Domestic Licensing of Production and Utilization Facilities” (TN249), or for issuance of a limited work authorization (LWA) for a nuclear power reactor under 10 CFR Part 50 (TN249) or Part 52 (TN251).

The purpose of this interim staff guidance (ISG) is to modify existing guidance and provide supplemental guidance to assist the NRC staff in determining the scope and scale of environmental reviews of new reactors that reference NUREG-2249, “Generic Environmental Impact Statement [GEIS] for Licensing of New Nuclear Reactors” (NUREG-2249, NR GEIS; NRC 2026-TN12155). The guidance highlights unique considerations for new reactors in each resource area typically covered in the staff’s environmental review. The staff should be familiar with the following guidance documents that support the preparation of an EIS or SEIS:

NUREG-1555, Standard Review Plans for Environmental Reviews for Nuclear Power Plants: Environmental Standard Review Plan, issued in 2000 and updated in 2007 (NRC 2000, 2007-TN614);

COL/ESP-ISG-026, “Environmental Issues Associated with New Reactors” (NRC 2014-TN3767), issued August 2014;

COL/ESP-ISG-027, “Specific Environmental Guidance for Light Water Small Modular Reactor Reviews” (NRC 2014-TN3766), issued August 2014; and

COL-ISG-029, “Environmental Considerations Associated with Micro-Reactors” (NRC 2020-TN6710), issued October 2020.

The NRC staff should also consider the guidance in this ISG along with that in Regulatory Guide (RG) 4.2, Preparation of Environmental Reports for Nuclear Power Stations (), when preparing EISs. While RG 4.2 is directed at applicants preparing licensing applications, it was updated more recently than the Environmental Standard Review Plan (ESRP; NUREG-1555; NRC 2000, 2007-TN614) and, therefore, reflects more current guidance for some issues. For example, guidance in ISG-026 (NRC 2014-TN3767) and ISG-027 (NRC 2014-TN3766) has already been incorporated into RG 4.2. In addition, the staff has made changes to RG 4.2 to address the use of the NR GEIS (NRC 2026-TN12155) and Table C-1 of 10 CFR Part 51 Subpart A (TN10253).

In its environmental report (ER), a new reactor applicant may reference generic analyses in NUREG-2249 (NRC 2026-TN12155) if the proposed project meets certain conditions described below. If the conditions are met, the NRC staff would issue an EIS for the proposed action that is a supplement to the NR GEIS.

This ISG focuses on identifying considerations and approaches to better align the environmental reviews with the unique aspects of new reactors that reference the NR GEIS and Table C-1 of 10 CFR Part 51 Subpart A (TN10253). This ISG outlines what the NRC staff considers to be an appropriate scope and level of detail for the specific aspects of the staff’s environmental review that references generic conclusions in the NR GEIS (NRC 2026-TN12155).

The scope of this ISG is limited to environmental review considerations specific to a new reactor that references the NR GEIS. The NRC staff should review other guidance documents, such as ISG-026 (NRC 2014-TN3767), ISG-027 (NRC 2014-TN3766), and ISG-029 (NRC 2020-TN6710), for guidance related to other aspects of the review, such as the following:

preapplication interactions

purpose and need for the proposed project

mitigation

need for power and alternatives

fuel cycle impacts, transportation of fuel and waste, and continued storage of spent fuel

cumulative impact analysis

consistency with safety licensing documents

incorporation by reference

The NRC staff will continue to look for other opportunities to effectively streamline environmental reviews and work with prospective applicants to identify opportunities to streamline ERs. In addition, on a 10-year cycle, the Commission intends to review the material in the NR GEIS and the associated rule and update it if necessary.

# BACKGROUND

The NR GEIS (NRC 2026-TN12155) was prepared to address impact analyses for the environmental issues common to many new reactors that can be addressed generically, thereby eliminating the need to repeatedly reproduce the same analyses each time a licensing application is submitted and allowing applicants and NRC staff to focus future environmental review efforts on issues that can only be resolved once a site is identified. The NR GEIS identifies environmental impact issues for which generic analysis was possible, and impact issues that require project-specific analyses.

New reactors are not defined on the basis of specific technologies, purposes, power outputs, or sizes and may include light-water reactors (LWRs), non-LWRs, and small modular reactors (SMRs). These reactor technologies vary with respect to fuel used, neutron moderators employed, cooling processes, and other factors. Future reactors might serve various possible purposes, such as generating electrical power for sale to the public or supplying a specific facility or installation such as a military base. In addition, a new reactor may have a cogeneration purpose (supplying electricity to the public and thermal power to an industrial facility), or a specific non-electricity purpose, such as desalinating water.

SMRs are generally defined as reactor units with an electrical output of less than 300 megawatts-electric that are produced using modular fabrication and construction techniques. The terms “unit” and “module” both refer to a reactor and are used interchangeably in this ISG. A non-LWR is generally defined as a nuclear power reactor using a coolant other than water. An SMR can be a LWR or a non-LWR. A new reactor may also be a microreactor recognized by U.S. Department of Energy (DOE) as generating less than 20 megawatts-electric.

There are two approaches to developing an ER to support environmental reviews of new reactor applications. The first approach would be for the ER and the associated SEIS to incorporate by the reference the applicable findings from the NR GEIS (NRC 2026-TN12155). The second approach would be for an applicant to prepare its ER without referencing the NR GEIS, and the staff would, in its associated EIS, evaluate all of the issues without relying on the analysis in the NR GEIS. In a new reactor EIS, the staff should use the same three-level standard of significance (SMALL, MODERATE, and LARGE) that is used for a license renewal EIS. These impact categories are defined in a footnote to Table B-1 of 10 CFR Part 51 Subpart A (TN10253).

Non-LWR designs (e.g., high-temperature gas-cooled, liquid-metal, and molten-salt reactors) will present some unique issues associated with environmental analyses of the impacts of operation. While the ESRP (NRC 2000, 2007-TN614); ISGs-026, -027, and -029 (NRC 2014-TN3767, NRC 2014-TN3766, and NRC 2020-TN6710, respectively); and Sections A through D of RG 4.2 (NRC 2026-TN11915) do not specifically address non-LWRs, most of the guidance contained in them could be used for such reactors. Exceptions would include areas such as accidents, fuel cycle, transportation of radioactive materials, and decommissioning, which are addressed in the NR GEIS (NRC 2026-TN12155). The ER for a non-LWR reactor may reference the NR GEIS in accordance with the guidance related to the GEIS.

Section 1.4.1 of the NR GEIS (NRC 2026-TN12155) describes the methodology used by the NRC staff to develop the GEIS. In summary, the staff developed generic analyses that evaluated the environmental impacts of building, operating, and decommissioning a nuclear reactor sited anywhere within the United States and its territories, bounded by specific values and assumptions. Because new reactors are not specific to only one reactor design and could be sited anywhere in the United States and its territories that meets NRC siting requirements as set forth in 10 CFR Part 100 (TN282), the NRC decided to pursue a technology-neutral, performance-based approach using a plant parameter envelope (PPE). The PPE consists of parameters for specific reactor design features regardless of the site. Examples of parameters include the footprint of disturbance, building height, water use, air emissions, employment levels, and noise-generation levels. For each PPE parameter, the staff developed a set of bounding values and assumptions.

In addition, the staff developed a set of site-related parameters termed the site parameter envelope (SPE). Examples of parameters include the size of the site as well as the water bodies supplying water to the reactor. For each SPE parameter, the staff developed a set of bounding values and assumptions related to the condition of the affected environment, such as the extent and occurrence of wetlands and floodplains, position near aquatic features, and proximity to sensitive noise receptors. The NR GEIS (NRC 2026-TN12155) presents generic analyses that evaluate the possible impacts of a reactor that fits within the bounds of the PPE on a site that fits within the bounds of the SPE. The PPE and SPE are presented in Appendix G of the NR GEIS.

In the NR GEIS (NRC 2026-TN12155), the staff identified specific types of impacts relevant to each of 15 environmental resource areas. Each type of impact is termed an issue. Each issue corresponds to a specific type of environmental impact determined by the staff that could potentially result from construction, operation, or decommissioning of a nuclear reactor. For each issue, the staff then determined whether it would be possible to identify values and assumptions in the PPE and SPE that could effectively bound a meaningful generic analysis and provided the basis for each value and assumption. The staff then performed and described their generic analyses for each issue for a hypothetical reactor/site that meets the PPE and SPE values and assumptions. For the NR GEIS, the values and assumptions were set such that the staff could reach a generic conclusion of SMALL adverse impacts, which are designated as Category 1 issues (i.e., issues for which a generic analysis was possible). Issues for which the impacts are beneficial are also designated as Category 1.

After considering potential values and assumptions for the PPE and SPE for some environmental impact issues, the staff could not reach a generic conclusion. In some cases, this was due to requirements of other statutes, such as the National Historic Preservation Act (NHPA; 54 U.S.C. §§ 300101 et seq.; TN4157) and the Endangered Species Act (ESA; 16 U.S.C. §§ 1531 et seq.; TN1010). In other cases, the wide range of potential reactor designs and potential site locations made it impossible for the staff to reach a generic conclusion. These issues are designated as Category 2 issues, which would require a project-specific analysis in an NRC EIS.

In summary, the categories for the issues are as follows:

Category 1 issues—environmental issues for which the NRC has been able to make a generic finding of SMALL adverse environmental impacts, or beneficial impacts, provided that the applicant’s proposed reactor facility and site meet or are bounded by the relevant values and assumptions in the PPE and SPE that support the generic finding for that Category 1 issue.

Category 2 issues—Environmental issues for which a generic finding regarding the environmental impacts cannot be reached because the issue requires the consideration of project-specific information that can only be evaluated once the proposed site is identified. The impact significance (i.e., SMALL, MODERATE, or LARGE) for these issues will be determined in a project-specific evaluation.

In addition, there are two issues for which the state of the science is currently uncertain, and no generic conclusion on human health impacts is possible. These are designated as N/A (i.e., impacts are uncertain), which are neither Category 1 nor 2 (NRC 2026-TN12155).

# APPLICABILITY

This ISG is applicable to the environmental reviews for licensing actions for new reactors that reference the NR GEIS. Specifically, this ISG applies to environmental reviews for new reactors associated with CP, and OL applications submitted under 10 CFR Part 50 (TN249), with ESP and COL applications under 10 CFR Part 52 (TN251), and with LWA applications under 10 CFR Part 50 (TN249) or Part 52 (TN251) (as applicable). Elements of this ISG may also be applicable to other types of projects. Applicants are encouraged to discuss this applicability during the preapplication phase. This ISG also provides the framework for conducting impact analyses and preparing sections for a project-specific SEIS. The ISG also provides for (1) the verification of an applicant’s demonstration that values and assumptions of the PPE and SPE are met or bounded and (2) the consideration of new and significant information for Category 1 issues.

# PAPERWORK REDUCTION ACT

This ISG provides voluntary guidance for implementing the mandatory information collections in 10 CFR Part 51 (TN10253) that are subject to the Paperwork Reduction Act of 1995 (44 U.S.C. 3501 et. seq.). These information collections were approved by the Office of Management and Budget (OMB), approval number 3150-0021. Send comments regarding this information collection to the FOIA, Library, and Information Collections Branch (T6-A10M), U.S. Nuclear Regulatory Commission, Washington, DC 20555 0001, or by email to Infocollects.Resource@nrc.gov, and to the OMB reviewer at: OMB Office of Information and Regulatory Affairs (3150-0021), Attn: Desk Officer for the Nuclear Regulatory Commission, 725 17th Street, NW Washington, DC 20503.

PUBLIC PROTECTION NOTIFICATION

The NRC may not conduct or sponsor, and a person is not required to respond to, a collection of information unless the document requesting or requiring the collection displays a currently valid OMB control number.

# GUIDANCE

This ISG uses the following format:

Introduction to the environmental impact statement

Description of the proposed action and alternatives

Guidance for individual resource areas

Comparing alternatives to the proposed action

Summary and conclusions

Chapters 1 and Chapter 2 guide the description of the proposed action, the development of the purpose and need for the proposed action, and the identification of reasonable alternatives to the proposed action. Chapter 3 addresses the analysis of environmental impacts, including the affected environment. It guides the review of the potential environmental impacts associated with reactor construction, operation, and decommissioning. Chapter 4 addresses the evaluation of the alternatives to authorizing the new reactor and the comparison of the proposed action with reasonable alternatives. Chapter 5 summarizes the conclusions regarding the environmental impacts of authorizing the new reactor.

The guidance in Chapter 3 of this ISG also addresses Category 1 and 2 issues and the search for new and significant information, including providing guidance regarding the following:

evaluation of the applicant’s process for identifying and evaluating new information

evaluation of information submitted by members of the public during the scoping process, and information identified during the environmental review to determine whether new information is significant

verification of the information provided by the applicant to demonstrate that the applicable values and assumptions for an issue have been met

identification of the information required to complete a project-specific review of all Category 2 issues, as well as Category 1 issues for which (1) the values and assumptions have not been met or bounded and/or (2) new and significant information has been identified

preparation of analysis and conclusions for the SEIS

The following sources of information should be considered by the authors of the sections of the SEIS:

applicant’s ER

the NR GEIS, NUREG-2249 (NRC 2026-TN12155)

previous NRC final EISs and other environmental documents (e.g., SEISs)

applicant’s Safety Analysis Report or Updated Final Safety Analysis Reports

scoping comments

NRC Safety Evaluation Reports

other Federal, State, and local agencies, including formal and informal consultations

other reliable information sources

## General Instructions for Developing a SEIS to the NR GEIS

See the Introduction to the ESRP (NRC 2000, 2007-TN614) for general instructions. The NRC staff expects the U.S. Army Corps of Engineers (USACE) to be a cooperating agency with the NRC for new reactor licensing reviews. There could also be other cooperating agencies. Each reviewer should coordinate the review of their resource area with the reviewers for any cooperating agency. In addition, if the proposed project is to be co-located with an existing plant, the reviewer should coordinate with other NRC staff as appropriate on any recent or ongoing issues and reviews at the existing plant. Throughout the process of developing the SEIS, each reviewer should coordinate with other reviewers for issues that overlap between resource areas (“review interfaces in the ESRP”). However, each reviewer should look for unique interfaces for new reactors that go beyond those in the ESRP. The reviewer should initiate this coordination early in the review process to understand how their resource may relate to other subject areas.

Each reviewer should begin by reading the sections in the ER and NR GEIS (NRC 2026-TN12155) for their resource area, as well as the direction provided in RG 4.2 (NRC 2026-TN11915), the latest version of the ESRP (including the draft sections published for use and comment in 2007 [NRC 2000, 2007-TN614]), and any applicable ISGs. The guidance in the ESRP (NRC 2000, 2007-TN614), ISG-026 (NRC 2014-TN3767), ISG-027 (NRC 2014-TN3766), ISG-029 (NRC 2020-TN6710), and RG 4.2 is generally applicable to new reactors, as modified below.

The reviewers typically visit the proposed and alternative sites to gather additional information to support the preparation of the SEIS. However, such site visits may not always be necessary for every resource area. The reviewer should consider the information provided in the ER and other information that has been gathered (e.g., from preapplication interactions and scoping) to determine whether a site visit is warranted. For example, if all of the issues for a given resource area are Category 1, and the relevant values and assumptions have been met, a site visit may not be warranted. The reviewers also typically participate in a site audit to review documents held by the applicant. The scope of the site audit should be limited to the information the reviewer has determined is needed to complete the review for the resource area. If, after completion of the audit, the reviewer still requires more information, then a request for additional information should be developed. These processes are similar to past staff practice, except that the scale of the activities may be adjusted for Category 1 issues for which the applicant has demonstrated that the relevant PPE and SPE values and assumptions have been met.

## Introduction to the Environmental Impact Statement

This chapter provides guidance for the preparation of the Chapter 1, Introduction, for the proposed project’s EIS. The Introduction includes a brief description of the proposed action, the review process, the purpose and need for the proposed action, and the status of reviews, approvals, and consultations that the project must obtain or complete. The reviewer for this chapter should be familiar with the associated guidance in the ESRP (NRC 2000, 2007-TN614), ISG-026 (NRC 2014-TN3767), ISG-027 (NRC 2014-TN3766), ISG-029 (NRC 2020-TN6710), and RG 4.2 (NRC 2026-TN11915).

NRC regulations at 10 CFR Part 51 (TN10253) provide the information that must be included in an EIS prepared by the Commission to meet its responsibilities under the National Environmental Policy Act of 1969 (NEPA; 42 U.S.C. §§ 4321 et seq.; TN661). In appropriate cases, the format for an EIS may expand upon or differ from the format in 10 CFR Part 51 (TN10253). The introduction should describe the format and organization of the EIS. The reviewer should identify the applicant, describe the proposed action, and describe the NRC’s NEPA process, including how the staff will develop a SEIS tiering to the NR GEIS (NRC 2026-TN12155). The introduction should also present the NRC’s definition of purpose and need. Finally, the NRC staff must consider the concerns and requirements of other agencies that have regulatory authority over the proposed project.

The purpose and need for some new reactors may be unlike the purpose and need that has been typical for large light-water cooled reactors. RG 4.2, “Preparation of Environmental Reports for Nuclear Power Stations” (NRC 2026-TN11915), provides additional guidance related to purpose and need in Part C, Section 1.2, and in Appendix C, Section C.2.1. A discussion of purpose and need is also found in Section 1.4 of the NR GEIS (NRC 2026-TN12155). The purpose and need as defined in the EIS is the Commission’s purpose and need and may differ from the purpose and need defined by the applicant in its ER.

The material to be prepared is informational in nature; no specific analysis of the data is required. However, the Chapter 1 author should consult with the reviewers for Need for Power and Alternatives to confirm that the purpose and need is consistent with the evaluations of the need for power and the alternatives. In addition, the Chapter 1 author should consult with all other technical reviewers to ensure that the list and status of reviews, approvals, and consultations is accurate and current. RG 4.2, Part C, Chapter 1 and Appendix C, Section C.2.1 (NRC 2026-TN11915) provide guidance related to the contents of the Introduction.

## Description of Proposed Action and Alternatives

This chapter provides guidance for the preparation of the discussion of alternatives and the proposed action. The proposed action is also discussed in general terms in the Introduction to the SEIS. The reviewer for this chapter should be familiar with the associated guidance in the ESRP (NRC 2000, 2007-TN614), ISG-026 (NRC 2014-TN3767), ISG-027 (NRC 2014-TN3766), ISG-029 (NRC 2020-TN6710), and RG 4.2 (NRC 2026-TN11915). The NR GEIS (NRC 2026-TN12155) does not address alternatives for a specific project.

The purpose of this chapter is to (1) provide a more detailed description of the proposed action for the SEIS and (2) provide a brief description of the alternatives.

Issuance of a license or permit to build and operate a nuclear reactor is defined in 10 CFR Part 51 (TN10253) as an action requiring the preparation of an EIS. The introductory paragraphs prepared for this chapter should clearly define the action and provide the readers with background information related to the proposed action.

This chapter should discuss the no-action alternative, the proposed action, and a reasonable range of alternatives to the proposed agency action. Alternatives should be included that will avoid or minimize adverse effects upon the quality of the human environment while still meeting the purpose of the proposed action. The discussion in this chapter should provide basic information about the alternatives and support the comparison of the proposed action and the reasonable alternatives later in the SEIS. The chapter should also briefly describe alternatives that the staff concluded were not reasonable (i.e., would not meet the purpose and need for the project), explaining the basis for this conclusion. The discussion of each alternative should provide enough information for a reader to understand how its impact was determined and should also be summarized in a table, to make comparisons clear to the reader.

Much of the required material may be taken directly from the applicant’s ER. The reviewer should reflect the applicant’s schedule for activities for the proposed project.

## Affected Environment and Environmental Impacts

General Guidance for All Resource Area Reviewers

This chapter provides guidance for the preparation of the discussion of the affected environment, as well as the impacts of building, operating, and decommissioning the proposed project. After discussing some guidance that is applicable to most of the individual resource areas, this chapter provides resource-specific guidance.

The scope of Chapter 3 of the SEIS includes (1) a description of the affected environment for the proposed site and the surrounding region over which impacts will be felt, and (2) analysis of the environmental impacts that will result from building, operating, and decommissioning the proposed project.

The review conducted under this chapter leads to preparation of a portion of the SEIS describing the affected environment that provides background information that will then be used in evaluating the environmental impacts of project construction, operations, and decommissioning.

The NR GEIS (NRC 2026-TN12155) does not explicitly discuss the affected environment because the affected environment is site-specific. However, many of the values and assumptions in the SPE involve the affected environment. Each reviewer should briefly describe those aspects of the environment related to their resource area that could be affected by the proposed project. The description of the affected environment should be brief and focus only on providing sufficient information to support (1) demonstrating whether relevant PPE and SPE values and assumptions for Category 1 issues are met and (2) the evaluation of the environmental impacts of Category 2 issues, and any Category 1 issues for which the associated values and assumptions are not met, or for which new and significant information has been identified.

In the NR GEIS, the staff treated climate change impacts on environmental resources and cumulative impacts as issues that cut across multiple resources (NRC 2026-TN12155). Both of these issues are Category 2 issues, requiring project-specific analyses. All reviewers should be familiar with current guidance (e.g., the ESRP (NRC 2000, 2007-TN614), ISG-026 [NRC 2014-TN3767], and RG 4.2 [NRC 2026-TN11915]), and with the most recent new reactor EISs to determine how to integrate these issues into the analyses for their resource area(s). For example, the water resource reviewer should consider whether changes in water availability due to cumulative impacts and climate change would affect the demonstration that some values and assumptions are met. As another example, the terrestrial and aquatic ecology reviewers should consider how reasonably projected changes in seasonal temperatures and precipitation could affect the demonstration that some values and assumptions are met.

An applicant, and the staff, may rely on the generic analysis in the NR GEIS (NRC 2026-TN12155) for any Category 1 issue for which the applicant can demonstrate that the relevant values and assumptions of the PPE and SPE have been met, and for which no new and significant information has been identified. Therefore, this demonstration is a key aspect related to the use of the NR GEIS. See Table C-1 in Appendix C to Subpart A of 10 CFR Part 51 (TN10253) for a list of which values and assumptions are relevant to each environmental issue. See RG 4.2, Appendix C, including its Table C-1-1, for guidance about how an applicant can demonstrate that it meets each of the values and assumptions (NRC 2026-TN11915).

Tribal Policy Statement

On January 9, 2017, the NRC published its Tribal Policy Statement of principles to guide the agency’s government-to-government interactions with federally recognized Indian Tribes and Alaska Native Tribes (82 FR 2402). The Tribal Policy Statement is intended to encourage and facilitate Tribal involvement in activities under NRC jurisdiction, including the issuance of a permit or license for nuclear power reactors. This Tribal Policy Statement is based on the U.S. Constitution, treaties, statutes, executive orders, judicial decisions, and the unique relationship between Indian Tribes and the Federal government. Other statutory provisions, such as the National Historic Preservation Act (54 U.S.C. 300101), can require Tribal consultation as part of the NRC’s evaluation of agency activities during licensing actions, rulemaking, or policy development. To foster effective interactions with Indian Tribes, the NRC developed NUREG-2173, Tribal Protocol Manual (NRC 2018-TN6447), to assist NRC management and staff develop and maintain government-to-government relationships with Tribal governments.

Demonstrating Consistency with PPE/SPE Values

The NRC reviewer should use the application, information from scoping, the site audit, and other available information to determine whether each value and assumption on which the applicant is relying has been demonstrated as being met. In addition, because the same value or assumption may be used for multiple resource areas, the reviewer should coordinate with other reviewers evaluating the demonstration for that value or assumption. The complexity of the demonstration varies considerably. For example, it is simple for an applicant to demonstrate that it meets the value for building height. However, the demonstration for groundwater drawdown at the site boundary will require a detailed analysis. While RG 4.2, Appendix C (NRC 2026-TN11915), provides guidance to the applicants for an acceptable method to demonstrate that any given value or assumption is met, applicants may choose to use a different method. In such a case, the reviewer must determine whether the alternate method used by the applicant is an effective method for demonstrating that the value or assumption is met.

The NR GEIS included the assumption that the USACE would be a cooperating agency for any new reactor SEIS. The NR GEIS did not, therefore, distinguish between the impacts of NRC-authorized construction, and preconstruction. The values and assumptions in the PPE and SPE also include, and do not differentiate between, the impacts of NRC-authorized construction and preconstruction. If, for a particular new reactor review, there is no Federal cooperating agency, then the impacts of preconstruction would be considered cumulative impacts. However, the reviewer must still include both NRC-authorized construction and preconstruction when it is evaluating whether the values and assumptions in the PPE and SPE have been met.

In the SEIS, the reviewer should briefly document how the PPE/SPE values and assumptions for Category 1 issues are met using a level of detail appropriate to the complexity of the analysis. If all of the relevant values and assumptions for a Category 1 issue are met, then the staff may rely on the generic conclusion of SMALL impacts in the NR GEIS for that issue, incorporating the analysis in the GEIS by reference (NRC 2026-TN12155). Cite the pages of the NR GEIS containing the relevant generic analyses, but it is not necessary to summarize or paraphrase the analyses.

If any of the values and assumptions relevant to a Category 1 issue are not met, or if new and significant information has been identified for the issue, then the reviewer cannot rely on the generic analysis in the NR GEIS for that issue. The reviewer should complete a project-specific analysis in accordance with the latest version of the ESRP, ISGs, and RG 4.2. The reviewer may incorporate all or a portion of the generic analysis in the NR GEIS, expanding it to account for project-specific information. For Category 2 issues, the reviewer should complete a project-specific analysis in accordance with the latest version of the ESRP, ISGs, and RG 4.2.

New and Significant Information

The regulation at 51.75(d) requires the NRC staff to address any new and significant information that changes the conclusions in the NR GEIS. For a Category 1 issue, new information is information that was not available or available but not considered in the assessment of impacts evaluated in the GEIS. Such information is significant if it could lead to a change in the environmental consequences of the action from that codified in Table C-1. New and significant information may also be information that identifies a significant environmental impact issue that was not considered or addressed in the NR GEIS (NRC 2026-TN12155) and, consequently, not codified in Table C-1, “Summary of Findings on Environmental Issues for Issuing a Permit or License for a New Nuclear Reactor,” in Appendix C, “Environmental Effect of Issuing a Permit or License for a New Nuclear Reactor,” to Subpart A, “National Environmental Policy Act—Regulations Implementing Section 102(2),” of 10 CFR Part 51 (TN10253). When no new and significant information is found, a statement should be included in the SEIS that briefly describes the search for and evaluation of new information and states that no new information was identified or the new information was determined not to be significant.

The NRC staff must identify any new and significant information related to the environmental impacts of new reactor licensing. Other interested parties may also identify new and significant information during the scoping and public comment periods. The process for identifying new and significant information should include the following:

The applicant’s ER. Applicants are required by 10 CFR 51.50(d) to disclose new and significant information of environmental impacts of the project of which they are aware and describe the process it used to search for new and significant information. The process for identifying new information could include the review of environmental monitoring reports, scientific literature, interviews with applicant staff, discussions with licensees and other peer groups and industry organizations, consultations with experts knowledgeable about the local environment, and consultations with other Federal, State, local, and Tribal environmental, natural resource, permitting, and land use agencies. In reviewing the applicant’s ER, NRC staff must evaluate the applicant’s process for discovering and evaluating the significance of any new information. Is the process adequate to ensure a reasonable likelihood that the applicant would be aware of new information, if it existed? The applicant need not include detailed supporting documentation in the ER about the discovery of new and significant information, but such information should be available for review by the NRC staff.

Records of public meetings and correspondence related to the application, including scoping. Compare information presented by the public with information considered in the NR GEIS (NRC 2026-TN12155). Is the information new in the sense that the posted dates of the analysis are later than the analysis conducted for the GEIS, and if so, does that information change the GEIS’s conclusions with regard to the affected Category 1 issue?

Environmental quality standards and regulations. Have the applicable environmental quality standards and regulations changed since the analysis conducted for the NR GEIS (NRC 2026-TN12155)? If so, do the changes in the standards and regulations change the GEIS’s conclusions with regard to the affected Category 1 issue?

Technical literature. Does recent technical literature contain information that would change conclusions in the NR GEIS (NRC 2026-TN12155) for Category 1 issues? Does the information indicate that there may be environmental impacts that were not considered in the GEIS?

The reviewer should be familiar with the guidance in the ESRP (NUREG-1555; NRC 2000, 2007-TN614) and other guidance documents related to the process for identifying new and significant information. Any new information should be used to develop an analysis of the relevant environmental impact issues. After the impact issues have been defined, the significance level of each issue should be determined using the significance level definitions in Table B-1 of 10 CFR Part 51 (TN10253). Appropriate mitigation measures should be identified and considered for each issue for which there is an adverse environmental impact. The consideration of mitigation measures should be in proportion to the potential adverse impact.

If the reviewer’s analysis shows that the impact category is changed to greater than SMALL (i.e., MODERATE or LARGE), the reviewer should prepare an impact assessment for inclusion in the appropriate section of the project-specific SEIS. The assessment should include a concise description of the new environmental impact information (including source) and how this information applies to the nuclear plant. The statement also should list any mitigation measures that would be considered appropriate. A summary statement and a list of references cited in the impact assessment also should be provided.

Impact Conclusions in the SEIS

The staff should include in the SEIS a table listing all environmental issues that are applicable to the project, whether each issue is deemed a Category 1 or 2 issue, and an explicit statement about whether or not the issue can be generically resolved (i.e., the relevant PPE and SPE values and assumptions are met and no new and significant information was identified). An example of such a table including different issues and scenarios is presented below:

Table 3-1	Environmental Issues Applicable to the Project

| Issue | Section of the SEIS Where the Issue Is Analyzed | Is the Issue a Category 1 or a Category 2 Issue? | Can the Issue Be Generically Resolved? |
| --- | --- | --- | --- |
| Onsite Land Use | xxx | Category 1 | Yes. All PPE values and assumptions in Table C-1 are met. |
| Surface Water Use Conflicts during Construction | xxx | Category 1 | No. Information provided by the applicant indicates that the total plant water demand exceeds the PPE threshold of 6,000 gpm. |
| Important Species and Habitats – Resources Regulated under the Endangered Species Act of 1973 | xxx | Category 2 | No. All Category 2 issues require site-specific analysis. |

If the reviewer concludes that the applicant has demonstrated that all of the relevant values and assumptions have been met for one or more Category 1 issue in their resource area, and that there is no new and significant information, then a determination similar to the following should be included in the SEIS:

The NRC staff, based on its review of [state sources such as: [APPLICANT’S] ER, the site audit, the scoping process, and responses to requests for additional information (RAIs)], concludes that [APPLICANT] has demonstrated that the relevant PPE/SPE values and assumptions for the following Category 1 issues have been met; [LIST CATEGORY 1 ISSUES]. The NRC has not identified any information or impacts related to these issues that would change the generic conclusions presented in the NR GEIS. Therefore, based on the generic analyses presented in the NR GEIS, the staff concluded that the impact level for each of these issues is SMALL.

For Category 2 issues, and for any Category 1 issue for which any of the relevant values and assumptions are not met, or for which new and significant information has been identified, the reviewer should follow the guidance in the ESRP (NRC 2000, 2007-TN614), applicable ISGs, and RG 4.2 (NRC 2026-TN11915) to develop the appropriate conclusion.

### LAND USE

The existing land use guidance in the General Guidance section of Chapter 3 above, the ESRP (NRC 2000, 2007-TN614), applicable ISGs, and RG 4.2 (NRC 2026-TN11915) may generally be followed for new reactors. Before writing, the reviewer should inspect any ground-level or aerial (or satellite) photography and maps covering the site and surrounding area included in the application or readily available in online databases. Useful online databases include the U.S. Geological Survey database of 7.5-minute topographic map coverage, the Natural Resources Conservation Service database of soil survey map coverage, and the Flood Insurance Management Agency database of flood insurance rate maps. The reviewer should identify potentially sensitive land use features on or adjacent to the site or any associated offsite rights-of-way (ROWs) or project outparcels. Sensitive land use features include National and State parks, local parks, preserves, and conservation areas, Wild and Scenic River segments, American Heritage Rivers, Class I areas designated under the Clean Air Act (42 U.S.C. §§ 7401 et seq.; TN1141), 100-year floodplains, and riparian lands. Ensure that sensitive land use features are identified out to the distances from the site (and offsite ROWs and outparcels) necessary to determine whether the assumptions established in the NR GEIS regarding land use issues are met. Obtain copies of the zoning maps and any comprehensive land use plans for each local jurisdiction(s) for the site.

Even when relying on the NR GEIS (NRC 2026-TN12155) for all land use issues, the site-specific text for land use should still open with some basic data that will support the review of other resources as well. Present basic statistics regarding the site that will be used by multiple reviewers, such as the site acreage; the length, width, and acreage of any associated ROWs; acreage and location of any affected outparcels such as borrow pits; the cities, counties, and other local jurisdictions involved; and the distance of the site from key landmarks such as cities, major rivers and lakes, and arterial highways. The text should briefly characterize existing land uses on the site (and offsite ROWs and outparcels) and adjacent properties as well as the predominant existing land uses in the surrounding landscape. The text or maps should indicate each local jurisdiction encompassing all or part of the site and surrounding landscape. The text should indicate the site’s ownership and briefly explain any ownership issues such as leases, easements, or ROWs. Enough general information about the site’s location and position in the landscape should be provided to set the tone for descriptions prepared by the reviewers for other resources.

The impact assessment should use text and/or tables to quantify and briefly describe the proposed footprint of disturbance, including any areas of disturbance only for purposes of grading or clearing vegetation. Distinguish between the permanent and temporary footprints of disturbance. Present the footprints of disturbance in a figure. Address offsite outparcels in the manner used for the site, but the footprints of disturbance for ROWs may be presented in a more generalized manner. For example, disturbances within an ROW can be described broadly, such as stating that building a new transmission line would involve clearing a specific width of vegetation and placing poles at a specified distance, with a disturbance of a specified area per pole. Indicate, however, if any disturbance will take place in sensitive land use features.

The land use section must document compliance with the Farmland Protection Policy Act (7 U.S.C. §§ 4201 et seq.; TN708) and the Coastal Zone Management Act (16 U.S.C. §§ 1451 et seq.; TN1243). Even when using the generic analysis in the NR GEIS (NRC 2026-TN12155) to address the prime and unique farmland issue, state why the action is exempt from the Farmland Protection Policy Act or document evidence of compliance. If the project is not exempt, initiate communication (written and/or electronic) with the Natural Resources Conservation Service to determine what actions the staff or applicant must perform to comply. In the text, cite and summarize any farmland evaluations performed and mitigation measures recommended. If any elements of the project fall within areas designated as Coastal Zone, summarize communications between the staff and applicant. Indicate whether the State has issued a Consistency Determination. Cite and briefly summarize the Consistency Determination. If all the project site and any associated offsite ROWs or outparcels are situated outside of areas designated as part of the Coastal Zone, state so.

The NR GEIS identifies all land use environmental issues as Category 1 (NRC 2026-TN12155). The reviewer should address each of these issues as described in the General Instructions for this chapter. After reviewing the application materials and the information gained through scoping and the site audit, use the guidance in RG 4.2, Appendix C (NRC 2026-TN11915), to identify each issue for which the applicant has adequately demonstrated that relevant PPE and SPE values and assumptions are met. For each such issue, indicate that the generic analysis provided in the GEIS is applicable and state that the staff concludes that impacts would be SMALL. Cite the pages of the NR GEIS containing the relevant generic analyses, but it is not necessary to summarize or paraphrase the analyses. Briefly explain how the assumptions are met.

For Category 1 issues not meeting the PPE/SPE or for which new and significant information is identified, the reviewer should consult RG 4.2 (NRC 2026-TN11915), applicable ISGs, and the ESRP (NRC 2000, 2007-TN614) for guidance on impact assessment. For each issue, the reviewer should present the conclusion (SMALL, MODERATE, or LARGE) and provide a brief rationale, incorporating information from the NR GEIS (NRC 2026-TN12155) by reference wherever possible.

### VISUAL RESOURCES

The existing visual resources guidance in the General Guidance section of Chapter 3 above, the ESRP (NRC 2000, 2007-TN614), applicable ISGs, and RG 4.2 (NRC 2026-TN11915) may generally be followed for new reactors. Even when relying on the NR GEIS for visual issues, the reviewer should be sure to identify any offsite features such as transmission lines, access roads, and pipelines, as well as related actions on outparcels. The reviewer should inspect any ground-level or aerial (or satellite) photography covering the site and surrounding area included in the application or readily available in online databases. Useful online resources include the aerial photography included in web-based applications such as Google Earth and the U.S. Geological Survey database of 7.5-minute topographic map coverage. The review should extend to enough of the surrounding area to identify potentially sensitive viewsheds that could be affected by the project, and the determination will need to account for factors such as topography, vegetation (including winter or “leaf-off” vegetation), and climatological factors such as haze, fog, or clouds.

The visual resources section should begin with a brief discussion of the visual sensitivity of the landscape surrounding the site and offsite ROWs and parcels and briefly identify sensitive viewsheds used for the analysis. Visual simulations, in which an image of the proposed new facilities is superimposed onto a baseline photograph taken from one or more sensitive viewpoints, are rarely necessary, even for projects that do not meet all of the PPE and SPE values and assumptions needed to rely on the generic analysis in the NR GEIS (NRC 2026-TN12155). The need for any visual simulations would typically be driven by public comments or the potential for intervention.

The NR GEIS identifies all visual environmental issues as Category 1 (NRC 2026-TN12155). The reviewer should address each of these issues as described in the General Instructions for this chapter. After reviewing the application materials and the information gained through scoping and the site audit, use the guidance in RG 4.2, Appendix C (NRC 2026-TN11915), to identify each issue for which the applicant has adequately demonstrated that relevant PPE and SPE values and assumptions are met. For each such issue, indicate that the generic analysis provided in the GEIS is applicable and state that the staff concludes that impacts would be SMALL. Cite the pages of the NR GEIS containing the relevant generic analyses, but it is not necessary to summarize or paraphrase the analyses. Briefly explain how the assumptions are met.

For Category 1 issues not meeting the PPE/SPE or for which new and significant information is identified, the reviewer should consult RG 4.2 (NRC 2026-TN11915), applicable ISGs, and the ESRP (NRC 2000, 2007-TN614) for guidance on impact assessment. For each issue, the reviewer should present the conclusion (SMALL, MODERATE, or LARGE) and provide a brief rationale, incorporating information from the NR GEIS (NRC 2026-TN12155) by reference wherever possible.

### METEOROLOGY AND AIR QUALITY

The existing air quality guidance in the General Guidance section of Chapter 3 above, the ESRP (NRC 2000, 2007-TN614), applicable ISGs, and RG 4.2 (NRC 2026-TN11915) may generally be followed for new reactors.

The air quality and meteorology reviewer should coordinate with the noise impacts reviewer to provide data on baseline and expected noise levels during the building and operations of the proposed project to determine potential human health impacts and coordinate impacts from construction and operation traffic impacts. The air quality and meteorology reviewer should coordinate with the ecologists to share data regarding salt deposition on terrestrial and aquatic habitats and should coordinate with any reviewer concerned with visual impacts from cooling tower plumes. The air quality reviewer should coordinate with the reviewers for decommissioning, fuel cycle, and transportation of waste and fuel.

The applicant should provide emission estimates for criteria pollutants, hazardous air pollutants, and greenhouse gases for the entire project. The calculations for criteria pollutants can be less rigorous and based off best known information at the time of development (i.e., construction schedules, type of equipment, usage hours, etc.) if the project is located in an attainment area, adjacent to a nonattainment or maintenance area, or are well below de minimis levels which aligns with U.S. Environmental Protection Agency (EPA) guidance (EPA 2025-TN12148). If the project is in an area that is not in attainment, or is a maintenance area, the reviewer should verify the applicant provided estimates of emissions of criteria pollutants and hazardous air pollutants during construction and operation activities. In such a case, the emissions from vehicular traffic and standby nonelectric generators related to construction and operation should be reviewed. Finally, the reviewer should review the applicant’s applicability analysis to determine whether a General Conformity Determination is needed.

The NR GEIS identifies all air quality environmental issues as Category 1 (NRC 2026-TN12155). The reviewer should address each of these issues as described in the General Instructions for this chapter. After reviewing the application materials and the information gained through scoping and the site audit, use the guidance in RG 4.2, Appendix C (NRC 2026-TN11915), to identify each issue for which the applicant has adequately demonstrated that relevant PPE and SPE values and assumptions are met. For each such issue, indicate that the generic analysis provided in the GEIS is applicable and state that the staff concludes that impacts would be SMALL. Cite the pages of the NR GEIS (NRC 2026-TN12155) containing the relevant generic analyses, but it is not necessary to summarize or paraphrase the analyses. Briefly explain how the assumptions are met.

For Category 1 issues not meeting the PPE/SPE or for which new and significant information is identified, the reviewer should consult RG 4.2 (NRC 2026-TN11915), applicable ISGs, and the ESRP (NRC 2000, 2007-TN614) for guidance on impact assessment. For each issue, the reviewer should present the conclusion (SMALL, MODERATE, or LARGE) and provide a brief rationale, incorporating information from the NR GEIS (NRC 2026-TN12155) by reference wherever possible.

### WATER RESOURCES

The existing guidance relative to water resources in the General Guidance section of Chapter 3 above, the ESRP (NRC 2000, 2007-TN614), applicable ISGs, and RG 4.2 (NRC 2026-TN11915) may generally be followed for new reactors. As discussed in the general guidance provided above, each reviewer should review the information in the applicant’s ER related to water resources that may be included in or used by other sections and interface with the subject matter experts of those sections, as needed. These sections may include geology, terrestrial resources, aquatic ecology, land use, environmental hazards, waste management, postulated accidents, socioeconomics, and decommissioning. For water resources, the reviewer may need to review the following information to ensure that PPE and SPE values and assumptions for Category 1 issues have been met and that the data provided in the ER is sufficient and appropriate for use in the environmental review:

site and vicinity maps

water resources datasets and descriptions

site location in relation to water features

regional surface and subsurface characterizations

nearby surface and groundwater use and quality data included in the ER or readily available online databases

flood-related data like Federal Emergency Management Agency flood insurance rate maps, historical floods, water levels, and inundation areas

These data and information are readily available from agencies like U.S. Geological Survey, State departments that regulate natural resources and the environment, Federal Emergency Management Agency, National Oceanic and Atmospheric Administration (NOAA), and Great Lakes Environmental Research Laboratory. This information should be included, as needed, in the SEIS to support the discussion of Category 1 hydrological issues.

The reviewer should verify that the plant’s hydrologic setting description includes potential interfaces with surface water features and groundwater aquifers and sufficient surface and groundwater data to establish baseline conditions regarding high and low water flows and groundwater levels, water users and quantities, water quality, instream flow requirements, and transport characteristics.

As indicated in the general guidance above, the reviewer should normally participate in a site visit unless the plant’s interface with the hydrologic environment is minimal (e.g., a small plant that has all water withdrawal and wastewater discharge needs provided by a municipal service may not require a site visit).

If a site visit is performed, the reviewer should do the following if needed to confirm that the PPE and SPE values and assumptions for Category 1 issues have been met:

View surface water features including withdrawal or discharge locations; groundwater well locations; coastal or littoral areas; streamflow, water levels, and water quality monitoring locations; and the locations of plant’s proposed interfaces with the hydrologic environment.

Discuss current and future water use plans (including those related to the project), sensitive issues that affect water use and quality, and water availability of regional surface water, groundwater, and municipal sources with water planning and permitting agencies.

The permits related to water use, in-water construction, and impacts on water quality may require coordination among several local, regional, State, and Federal agencies (e.g., city governments, water conservation districts, State departments that regulate natural resources and the environment, EPA, USACE). At the time of the application and the staff’s review, the processes to obtain permits required for construction and operation of the plant may be in various stages of completion. The reviewer should obtain an understanding of these processes, describe these processes in the section, and use specific information related to these processes in the project-specific SEIS, as needed.

The impacts assessment for water resources should include a clear description of total plant water withdrawal and discharge including daily rates. The quantities or rates of water withdrawn from all proposed sources for all plant uses should be clearly and individually identified for (1) plant construction and (2) plant operations. Similarly, the rates of discharge, the water quality of the discharge flows, and the receiving water bodies should be clearly and individually identified for construction and operations.

The NR GEIS identified environmental issues related to water use and water quality that may arise from construction and operations activities for a proposed power plant (NRC 2026-TN12155). With the exception of surface water quality degradation due to chemical and thermal discharges during operations, the NRC staff determined that the identified water resources issues are Category 1. Impacts for all Category 1 issues were determined by the staff to be SMALL when the applicable PPE/SPE parameter values and associated assumptions are met. For each Category 1 issue, use the application materials and information gained through scoping and the site audit to evaluate whether the proposed plant parameters and site characteristics meet the PPE/SPE values and assumptions applicable to the issue, as defined in the relevant NR GEIS section (NRC 2026-TN12155). For some PPE/SPE values this evaluation may be relatively simple, e.g., establishing that the total plant water demand is less than 6,000 gallons per minute. Some PPE/SPE values or assumptions may require a more complex evaluation, e.g., establishing that plant groundwater withdrawals result in less than one foot of drawdown at the site boundary. Consult RG 4.2 (Addendum 1 of Appendix C) for guidance on methods of demonstrating that the PPE/SPE values and assumptions have been met (NRC 2026-TN11915). Consult the ESRP (NRC 2000, 2007-TN614) for guidance on reviewing technical information. When the PPE/SPE values and assumptions are met, briefly document the staff’s evaluation using a level of detail appropriate to the complexity of the analysis. In this case, the generic analysis included in the NR GEIS (NRC 2026-TN12155) is applicable for this issue and the impacts would be SMALL.

For Category 1 issues not meeting the PPE/SPE or for which new and significant information is identified, the reviewer should consult RG 4.2 (NRC 2026-TN11915), applicable ISGs, and the ESRP (NRC 2000, 2007-TN614) for guidance on impact assessment. For each issue, the reviewer should present the conclusion (SMALL, MODERATE, or LARGE) and provide a brief rationale, incorporating information from the NR GEIS (NRC 2026-TN12155) by reference wherever possible.

Surface water quality degradation due to chemical and thermal discharges during operations was determined in the NR GEIS to be a Category 2 issue with SMALL, MODERATE, or LARGE impacts depending on project-specific characteristics (NRC 2026-TN12155). The NR GEIS does not include a generic analysis for this issue because impacts from chemical and thermal discharges require consideration of project-specific information on a case-by-case basis. This review should follow existing guidance included in the ESRP (NRC 2000, 2007-TN614), RG 4.2 (NRC 2026-TN11915), and ISGs, as applicable.

### TERRESTRIAL ECOLOGY

The existing terrestrial ecology guidance in the General Guidance section of Chapter 3 above, the ESRP (NRC 2000, 2007-TN614), applicable ISGs, RGs 4.11 and 4.2 (NRC 2012-TN1967 and NRC 2026-TN11915, respectively) may generally be followed for new reactors. The terrestrial ecology reviewer should coordinate with other reviewers such as the water resource reviewer, radiation human health and waste reviewer, air quality reviewer, and aquatic ecology reviewer.

Using information in the ER, the reviewer should identify terrestrial and wetland habitats present on the site and offsite ROWs and outparcels and gain an understanding of the types of terrestrial habitats present in the surrounding landscape. The reviewer should review any wetland delineations and maps included with the ER and verify that the applicant has a plan for obtaining any necessary jurisdictional determinations and wetland permits from the USACE and State agencies that regulate wetlands. The reviewer should be able to assign a terrestrial or wetland habitat type to each land area on the site(s) and ROWs. If basic information about terrestrial and wetland habitats is not provided, the reviewer should request that information from the applicant. The reviewer should identify each terrestrial species and habitat meeting the definition of “important” in the ecology sections of RG 4.2 (NRC 2026-TN11915). Unless the applicant effectively demonstrates that the project would alter only paved areas or areas previously occupied by buildings or other man-made structures, the terrestrial reviewer should normally participate in a site visit. Depending on the complexity of the potentially affected habitats, it might be possible for only one ecologist, terrestrial or aquatic, to participate in the site visit.

The terrestrial ecology section should open with a brief description of the affected ecoregions and then proceed to a general description and map of the terrestrial and wetland habitats on the site(s), ROWs, and surrounding landscapes. Incorporation by reference of a habitat map and habitat descriptions from the ER or other sources is acceptable, especially if the assessment of impacts on terrestrial resources will be relying on the generic evaluations in the NR GEIS (NRC 2026-TN12155) for all or most Category 1 terrestrial ecology issues. Incorporation by reference of species lists using the ER and other published sources is encouraged even if some terrestrial ecology issues will be addressed individually rather than by relying on the generic analyses. Using text or a table, the reviewer should identify each species or habitat determined to be “important” but should refer the reader to the ER or to other widely available published information sources for descriptive life history information.

The impact assessment text for terrestrial ecology should open with a brief description of what terrestrial habitats would be lost as a result of building the new reactor and supporting facilities, including offsite facilities. The text should include, or incorporate by reference, a figure overlaying the proposed footprint of disturbance over a baseline map of terrestrial and wetland habitats and a table that quantifies losses by habitat type, distinguishing between permanent and temporary losses. The text should also briefly indicate how the action could affect each important species and habitat, citing the ER or other sources wherever possible and using a table if more than a few important species and habitats are involved. The reviewer should coordinate with the radiological environmental reviewer for the radiological impacts on terrestrial species.

The NR GEIS identifies most terrestrial ecology issues, other than impacts on federally listed threatened or endangered species, as Category 1 (NRC 2026-TN12155). The reviewer should address each of these issues as described in the General Instructions for this chapter. After reviewing the application materials and the information gained through scoping and the site audit, use the guidance in RG 4.2, Appendix C (NRC 2026-TN11915), to identify each issue for which the applicant has adequately demonstrated that relevant PPE and SPE values and assumptions are met. For each such issue, indicate that the generic analysis provided in the GEIS is applicable and state that the staff concludes that impacts would be SMALL. Cite the pages of the NR GEIS containing the relevant generic analyses, but it is not necessary to summarize or paraphrase the analyses. Briefly explain how the assumptions are met.

For Category 1 issues not meeting the PPE/SPE or for which new and significant information is identified, the reviewer should consult RG 4.2 (NRC 2026-TN11915), applicable ISGs, and the ESRP (NRC 2000, 2007-TN614) for guidance on impact assessment. For each issue, the reviewer should present the conclusion (SMALL, MODERATE, or LARGE) and provide a brief rationale, incorporating information from the NR GEIS (NRC 2026-TN12155) by reference wherever possible.

Resources regulated under the ESA is a Category 2 issue and should be addressed by following guidance in RG 4.2 (NRC 2026-TN11915), the ESRP (NRC 2000, 2007-TN614), and applicable ISGs. The terrestrial reviewer is responsible for working with the aquatic reviewer to complete the consultations required under ESA Section 7. Completion of the consultation typically requires early informal communications with the Service agencies that administer the Section 7 process, including the U.S. Fish and Wildlife Service (FWS) and NOAA Fisheries Service (sometimes referred to as the National Marine Fisheries Service) and may involve preparation of a Biological Assessment.

### AQUATIC ECOLOGY

The existing aquatic ecology guidance in the General Guidance section of Chapter 3 above, the ESRP (NRC 2000, 2007-TN614), applicable ISGs, and RG 4.2 (NRC 2026-TN11915) may generally be followed for new reactors. The aquatic ecology reviewer should coordinate with other reviewers such as the water resource reviewer, radiation human health and waste reviewer, air quality reviewer, and terrestrial ecology reviewer.

The aquatic reviewer should begin by reading the aquatic ecology sections in the ER and NR GEIS (NRC 2026-TN12155), the terrestrial ecology direction provided in RG 4.2 (NRC 2026-TN11915), the latest version of the ESRP, and applicable ISGs. The reviewer should also read RG 4.24 (NRC 2017-TN6720), especially if the applicant submitted aquatic field studies with the application. The reviewer should also read sections of the ER addressing related issues such as terrestrial ecology, hydrology, and land use to seek out information relevant to aquatic ecology. The reviewer should inspect any ground-level or aerial (or satellite) photography covering the site and surrounding area included in the application or readily available in online databases. Other useful information might be available from online databases, including the U.S. Geological Survey database of 7.5-minute topographic map coverage. The reviewer should inspect any maps of the site and surrounding landscape provided with the application or readily available online. If reviewers are unfamiliar with the aquatic ecology of the portion of the United States where the project (and alternatives) is proposed, they should read about the ecoregion(s) involved using data available from the EPA. Becoming familiar with other scientific literature about the regional ecological setting of the project site and alternatives may also be appropriate.

Using information in the ER, the reviewer should identify aquatic habitats present on the site and offsite ROWs and gain an understanding of the types of aquatic habitats present in the surrounding landscape. Aquatic habitats can include oceans, estuaries, lakes, ponds, reservoirs, rivers, perennial and intermittent streams, springs, and other surface water features. For purposes of NRC environmental reviews, wetlands with emergent vegetation are generally addressed as terrestrial habitats, while wetlands with only submerged aquatic vegetation are generally addressed as aquatic habitats (see RG 4.24 [NRC 2017-TN6720]). In addition to the aquatic habitats themselves, the reviewer should use topographic maps and available aerial photography to identify and characterize the specific watersheds occurring within and around the site and offsite ROWs. The aquatic reviewer should communicate with the terrestrial reviewer to ensure that the applicant has a plan for obtaining any necessary jurisdictional determinations and permits from the USACE and State agencies that regulate waters of the United States or the State. If basic information about aquatic habitats is not provided, the reviewer should request the information from the applicant. The reviewer should identify each aquatic species and habitat meeting the definition of “important” in the ecology sections of RG 4.2 (NRC 2026-TN11915). Unless the proposed action does not involve disturbance of aquatic habitats or their associated shorelines and riparian areas and does not involve any surface water withdrawals or discharges, the aquatic reviewer should normally participate in a site visit. Depending on the complexity of the potentially affected habitats and impacts, it might be possible for only one ecologist, terrestrial or aquatic, to participate in the site visit.

The aquatic ecology section should open with a brief description of the typical aquatic biota in affected ecoregions and then proceed to a general description and map of the aquatic habitats (and their associated watersheds) on the site(s), ROWs, and surrounding landscapes. Site-specific information characterizing aquatic biota in specific aquatic habitats is not normally necessary for habitats not subject to direct physical disturbance or the building and operation of intake or discharge structures. Incorporation by reference of habitat descriptions from the ER or other sources may be acceptable even for aquatic habitats subject to physical disturbance or intake or discharge structures, especially if the assessment of impacts on aquatic resources will be relying on the generic evaluations in the NR GEIS (NRC 2026-TN12155) for all or most Category 1 aquatic ecology issues. Incorporation by reference of species lists using the ER and other published sources is encouraged. Using text or a table, the reviewer should identify each species or habitat determined to be “important” in those aquatic habitats subject to physical disturbance, intakes, or discharges. However, the reviewer should refer the reader to the ER or other widely available published information sources for any necessary descriptive life history information.

The impact assessment text for aquatic ecology should open with a brief description of what aquatic habitats would be disturbed as a result of building the new reactor and supporting facilities, including offsite facilities. The text should include, or incorporate by reference, a figure overlaying the proposed footprint of disturbance over a baseline map of aquatic habitats. The figure should prominently depict the proposed locations for any intake or discharge structures, including any riparian land or submerged land subject to physical disturbance. The text should also briefly indicate how the action could affect each important species and habitat (only address those adversely affected), citing the ER or other sources wherever possible and using a table if more than a few important species and habitats are involved. The reviewer should address impacts caused by development in the watershed as well as directly encroachment into the aquatic habitats themselves. The text should briefly summarize the findings of relevant technical studies such as discharge plume modeling or water level drawdown modeling, but the reviewer is encouraged to reference the ER or other technical documents submitted by the applicant for details. The reviewer is also encouraged to reference any applicable National Pollutant Discharge Elimination System permits for details regarding permitted discharge parameters and monitoring requirements. The reviewer should coordinate with the radiological environmental reviewer for the radiological impacts on aquatic species.

The NR GEIS identifies most aquatic ecology issues as Category 1 (NRC 2026-TN12155). The reviewer should address each of these issues as described in the General Instructions for this chapter. After reviewing the application materials and the information gained through scoping and the site audit, use the guidance in RG 4.2, Appendix C (NRC 2026-TN11915), to identify each issue for which the applicant has adequately demonstrated that relevant PPE and SPE values and assumptions are met. For each such issue, indicate that the generic analysis provided in the GEIS is applicable and state that the staff concludes that impacts would be SMALL. Cite the pages of the NR GEIS containing the relevant generic analyses, but it is not necessary to summarize or paraphrase the analyses. Briefly explain how the assumptions are met.

For Category 1 issues not meeting the PPE/SPE or for which new and significant information is identified, the reviewer should consult RG 4.2 (NRC 2026-TN11915), applicable ISGs, and the ESRP (NRC 2000, 2007-TN614) for guidance on impact assessment. For each issue, the reviewer should present the conclusion (SMALL, MODERATE, or LARGE) and provide a brief rationale, incorporating information from the NR GEIS (NRC 2026-TN12155) by reference wherever possible.

Thermal impacts on aquatic biota, other effects of cooling water discharges on aquatic biota, and resources regulated under the ESA and Magnuson Stevens Act are Category 2 issues and should be addressed following guidance in RG 4.2 (NRC 2026-TN11915) and the ESRP (NRC 2000, 2007-TN614). The aquatic reviewer is responsible for completing any consultations required under the Magnuson Stevens Act, including preparing any technical reports required to complete the consultation. The aquatic reviewer is also responsible for working with the terrestrial reviewer to complete the consultations required under ESA Section 7. Completion of the consultation typically requires early informal communications with the Service agencies that administer the Section 7 process, including the FWS and NOAA Fisheries Service (sometimes referred to as the National Marine Fisheries Service) and may involve preparation of one or more Biological Assessments.

### HISTORIC AND CULTURAL RESOURCES

The existing guidance for historic and cultural resources in the General Guidance section of Chapter 3 above, the NUREG-1555 ESRP (NRC 2000, 2007-TN614), applicable ISGs, and RG 4.2 (NRC 2026-TN11915) may generally be followed for new reactors. In the NR GEIS, the staff determined that historic and cultural resources is a Category 2 issue, requiring a project-specific analysis (NRC 2026-TN12155). The reviewer should be familiar with existing guidance regarding historic and cultural resources in the NR GEIS, ESRP, ISG-026 (NRC 2014-TN3767), ISG-029 (NRC 2020-TN6710), and RG 4.2, including RG 4.2 Appendixes B and C. The reviewer should also be familiar with the methods the NRC staff has used to address impacts on historic and cultural resources in recent new reactor EISs.

### ENVIRONMENTAL HAZARDS

#### Radiological Environment

The existing radiological environment guidance in the General Guidance section of Chapter 3 above, the ESRP (NRC 2000, 2007-TN614), applicable ISGs, and RG 4.2 (NRC 2026-TN11915) may generally be followed for new reactors.

The reviewer should coordinate with the terrestrial and aquatic ecology reviewers and should also coordinate with the corresponding safety reviewers for radiation protection program, radiological monitoring (occupational and effluents), radiological waste management, and accidents to ensure consistency between the reviews and to coordinate any necessary audits and information requests.

To present the reader with a baseline understanding, the radiological environment section should begin with a general description of the sources of radiation and pathways of exposure. This section should also present a summary of information regarding the property bounding the facility, known site radiological contamination either at the site itself or in proximity to the site, summary accident information, and a brief overview of the facility emergency plans.

A description of the appropriate radiological protection standards (regulations), facility radiological protection programs, and any health effect studies performed in the region should follow. Section 3.8 of the NR GEIS contains a list of applicable radiological protection regulations (NRC 2026-TN12155). Additionally, any proposed facility program designed to minimize or manage radiological emissions or exposures should be briefly mentioned.

The impact assessment text for the radiological environment should define the occupational and public health impacts during construction and operation from radiological exposures and then outline any proposed mitigation measures. This section should summarize and explain monitoring results or modeling results and occupational monitoring program. The radiological environment section should provide the reader with enough information to determine whether the applicable regulations are met or will be met, and that the applicant is being cognizant in maintaining the safety and health of its occupational workers and members of the public.

Summary information regarding a general description of sources and pathways of exposure, environmental protection standards, programs, and occupational and health impacts should be presented even for a project for which all the relevant PPE and SPE values and assumptions in the NR GEIS (NRC 2026-TN12155) for the radiological environment are met because the information is relevant to assessing impacts on environmental resources other than radiological environment.

The NR GEIS identifies all radiological environment issues as Category 1 (NRC 2026-TN12155). The reviewer should address each of these issues as described in the General Instructions for this chapter. After reviewing the application materials and the information gained through scoping and the site audit, use the guidance in RG 4.2, Appendix C (NRC 2026-TN11915), to identify each issue for which the applicant has adequately demonstrated that relevant PPE and SPE values and assumptions are met. For each such issue, indicate that the generic analysis provided in the GEIS is applicable and state that the staff concludes that impacts would be SMALL. Cite the pages of the NR GEIS containing the relevant generic analyses, but it is not necessary to summarize or paraphrase the analyses. Briefly explain how the assumptions are met.

For Category 1 issues not meeting the PPE/SPE or for which new and significant information is identified, the reviewer should consult RG 4.2 (NRC 2026-TN11915), applicable ISGs, and the ESRP (NRC 2000, 2007-TN614) for guidance on impact assessment. For each issue, the reviewer should present the conclusion (SMALL, MODERATE, or LARGE) and provide a brief rationale, incorporating information from the NR GEIS (NRC 2026-TN12155) by reference wherever possible.

#### Nonradiological Environment

The existing nonradiological environment guidance in the General Guidance section of Chapter 3 above, the ESRP (NRC 2000, 2007-TN614), applicable ISGs, and RG 4.2 (NRC 2026-TN11915) may generally be followed for new reactors.

The reviewer should identify potentially sensitive receptors on or adjacent to the site or any associated offsite ROWs or project outparcels. Sensitive receptors may include hospitals, schools, daycare facilities, and elderly care facilities. Ensure that sensitive receptors are identified out to the distances from the site (and offsite ROWs and outparcels) necessary to determine whether the assumptions established in the NR GEIS regarding the nonradiological environment are met. The reviewer should be able to identify sources and pathways of chemical exposure, biological hazards, electromagnetic field (EMF) exposure and physical hazards.

To present the reader with a baseline understanding, the nonradiological environment section should begin with a general description of the sources (such as types of chemicals) and pathways of exposure. This section should also present brief summary information regarding the property bounding the facility, known site contamination either at the site itself or in proximity to the site, summary accident information, if available, and a brief description of emergency plans.

A description of the appropriate environmental protection regulations, facility programs, facility permits, and any health effect studies performed in the region should follow. Regulations, such as the Clean Air Act, the Clean Water Act (codified as the Federal Water Pollution Control Act of 1972, 33 U.S.C. §§ 1251 et seq.; TN662), and the Occupational Safety and Health Act (29 U.S.C. §§ 651 et seq.; TN4453), which establish practices, procedures, exposure limits, and equipment specifications, should be discussed, along with any permits (obtained or applied for) associated with applicable regulations. Additionally, any proposed facility program designed to minimize or manage chemical hazards, biological hazards, EMFs, or physical hazards should be briefly mentioned.

The impact assessment text for the nonradiological environment should define the occupational and public health impacts during construction and operation from chemical hazards, biological hazards, EMF, and physical hazards, and then outline any proposed mitigation measures. This section should summarize and explain monitoring results or modeling results and detail occupational injury rates or occupational fatality rates. Even when using the generic analysis in the NR GEIS (NRC 2026-TN12155) to address nonradiological environmental hazards, list the permits the applicant has or has applied for and state the regulation each permit is intended to meet. The nonradiological environment section should provide the reader with enough information to determine that the applicable regulations and permits are met or will be met, and that the applicant is cognizant in maintaining the safety and health of its occupational workers and members of the public.

Summary information regarding the general description of sources and pathways of exposure, environmental protection standards, programs, and permits, and occupational and health impacts should be presented even for projects where all the PPE and SPE values and assumptions for the nonradiological environment are met in the NR GEIS (NRC 2026-TN12155), because the information is relevant to assessing impacts on environmental resources other than the nonradiological environment.

The NR GEIS identifies four nonradiological environmental issues (NRC 2026-TN12155). Building impacts of chemical, biological, and physical nonradiological hazards, and construction impacts of chemical, biological, and physical nonradiological hazards are classified as Category 1 issues. The reviewer should address each of these issues as described in the General Instructions for this chapter. After reviewing the application materials and the information gained through scoping and the site audit, use the guidance in RG 4.2, Appendix C (NRC 2026-TN11915), to identify each issue for which the applicant has adequately demonstrated that relevant PPE and SPE values and assumptions are met. For each such issue, indicate that the generic analysis provided in the GEIS is applicable and state that the staff concludes that impacts would be SMALL. Cite the pages of the NR GEIS (NRC 2026-TN12155) containing the relevant generic analyses, but it is not necessary to summarize or paraphrase the analyses. Briefly explain how the assumptions are met.

For Category 1 issues not meeting the PPE/SPE or for which new and significant information is identified, the reviewer should consult RG 4.2 (NRC 2026-TN11915), applicable ISGs, and the ESRP (NRC 2000, 2007-TN614) for guidance on impact assessment. For each issue, the reviewer should present the conclusion (SMALL, MODERATE, or LARGE) and provide a brief rationale, incorporating information from the NR GEIS (NRC 2026-TN12155) by reference wherever possible.

The building impacts of EMF and the operations impacts of EMF are classified as uncertain because there is no generic conclusion about human health impacts from EMFs and there are no U.S. Federal standards limiting residential or occupational exposure; however, a reviewer should look for new scientific information about EMFs that may allow for a categorization of the issue.

### NOISE

The existing noise guidance in the General Guidance section of Chapter 3 above, the ESRP (NRC 2000, 2007-TN614), applicable ISGs, and RG 4.2 (NRC 2026-TN11915) may generally be followed for new reactors.

The noise section should present basic statistics regarding construction and operation activities at the site that may generate noise, including the results of any ambient noise studies that have been conducted, including the locations of noise sources, receptor locations, and corresponding noise levels. The noise section should also document compliance with State and/or local noise abatement laws and ordinances, including any variances or mitigation required, and document any best management practices implemented to minimize impacts. The reviewer should identify potentially sensitive receptors on or adjacent to the site or any associated offsite ROWs or project outparcels. Ensure that sensitive receptors are identified out to the distances from the site (and offsite ROWs and outparcels) necessary to determine whether the assumptions established in the NR GEIS regarding noise are met.

The NR GEIS identifies all noise issues as Category 1 (NRC 2026-TN12155). The reviewer should address each of these issues as described in the General Instructions for this chapter. After reviewing the application materials and the information gained through scoping and the site audit, use the guidance in RG 4.2, Appendix C (NRC 2026-TN11915), to identify each issue for which the applicant has adequately demonstrated that relevant PPE and SPE values and assumptions are met. For each such issue, indicate that the generic analysis provided in the GEIS is applicable and state that the staff concludes that impacts would be SMALL. Cite the pages of the NR GEIS containing the relevant generic analyses, but it is not necessary to summarize or paraphrase the analyses. Briefly explain how the assumptions are met.

For Category 1 issues not meeting the PPE/SPE or for which new and significant information is identified, the reviewer should consult RG 4.2 (NRC 2026-TN11915), applicable ISGs, and the ESRP (NRC 2000, 2007-TN614) for guidance on impact assessment. For each issue, the reviewer should present the conclusion (SMALL, MODERATE, or LARGE) and provide a brief rationale, incorporating information from the NR GEIS (NRC 2026-TN12155) by reference wherever possible.

### WASTE MANAGEMENT

#### Radiological Waste Management

The existing guidance in the General Guidance section of Chapter 3 above, the ESRP (NRC 2000, 2007-TN614), applicable ISGs, and RG 4.2 (NRC 2026-TN11915) may generally be followed for new reactor radiological waste management.

The reviewer should determine the physical layout of the radiological waste systems and buildings, especially for cases where a new reactor could be installed at an existing nuclear facility. Items to be considered include whether the new reactor is a physically separate nuclear facility or, if there is adequate land, whether the radiological management systems and storage structures are integrated within the boundaries of an existing nuclear power plant or other nuclear facility. If the new reactor is a stand-alone facility, the space needed to store onsite radiological wastes would be within the planned footprint of the facility. If the new reactor is sited at an existing nuclear facility, the existing radiological waste infrastructure and management program would need to be reviewed to ensure the existing facility can likely support the additional radiological wastes generated by the new reactor. This aspect of the radiological waste management environmental review must be closely coordinated with the safety review.

The reviewer should be familiar with the Commission’s licensing requirements for the land disposal of low-level radioactive waste (LLRW) as set forth in 10 CFR Part 61 (TN252), “Licensing Requirements for Land Disposal of Radioactive Waste.” Specifically, the review should ensure the applicant is adhering to how Part 61 (TN252) defines LLRW as “radioactive waste not classified as high-level radioactive waste, transuranic waste, spent nuclear fuel, or byproduct material as defined in paragraphs (2), (3), and (4) of the definition of byproduct material set forth in § 20.1003 of this chapter” and has established a classification system that categorizes LLRW as Class A, B, C, or Greater Than Class C according to the NRC’s regulation in 10 CFR 61.55 (TN252). Under the NRC’s current regulations, Greater Than Class C waste is considered to be generally unacceptable for near-surface disposal and must be disposed of in a geologic repository unless the Commission approves, on a case-by-case basis, disposal of such waste in a disposal site licensed pursuant to 10 CFR 61.55(a)(2)(iv) (TN252). Additionally, as described in the NR GEIS (NRC 2026-TN12155), the reviewer should be familiar with the Low-Level Waste Compacts (NRC 2020-TN7083) and the operating disposal facilities in the United States that are licensed to accept LLRW from commercial facilities (including nuclear power plants) (NRC 2020-TN6516) and which ones the new reactor licensee, if approved, could engage for LLRW disposal.

Regarding high-level waste, the reviewer should determine if the reactor design has any online refueling capabilities and any online capacity to remove fission products and other radionuclides (such as activated corrosion products) for a liquid-fueled molten-salt reactor. For spent nuclear fuel storage, the reviewer should evaluate the impacts for the facility, either in a spent fuel pool or in non-water-based spent nuclear fuel storage with an appropriate holding period and transfer to a dry cask storage in an at-reactor independent spent fuel storage installation (ISFSI) under a general license or a stand-alone ISFSI under specific license. If the reactor core is handled as one unit, the reviewer should assess the environmental impacts for onsite spent nuclear fuel storage of the depleted core in a similar manner.

For mixed wastes, the reviewer needs to coordinate the review with the environmental nonradiological waste management reviewer because mixed wastes are also regulated under the Resource Conservation and Recovery Act of 1976, as amended (RCRA; 42 U.S.C. §§ 6901 et seq.; TN1281) and are subject to dual regulation by the EPA or an authorized State for their hazardous chemical components. As for LLRW, the reviewer should verify that any mixed waste is accumulated onsite in designated areas as authorized under RCRA, then shipped offsite for treatment as appropriate, and for disposal at a licensed LLRW disposal facility.

The NR GEIS identifies all radiological environment issues as Category 1 (NRC 2026-TN12155). The reviewer should address each of these issues as described in the General Instructions for this chapter. After reviewing the application materials and the information gained through scoping and the site audit, use the guidance in RG 4.2, Appendix C (NRC 2026-TN11915), to identify each issue for which the applicant has adequately demonstrated that relevant PPE and SPE values and assumptions are met. For each such issue, indicate that the generic analysis provided in the GEIS is applicable and state that the staff concludes that impacts would be SMALL. Cite the pages of the NR GEIS (NRC 2026-TN12155) containing the relevant generic analyses, but it is not necessary to summarize or paraphrase the analyses. Briefly explain how the assumptions are met.

For Category 1 issues not meeting the PPE/SPE or for which new and significant information is identified, the reviewer should consult RG 4.2 (NRC 2026-TN11915), applicable ISGs, and the latest version of the ESRP for guidance on impact assessment. For LLRW, compare the expected annual quantities of LLRW to the total annual quantity shipped to the appropriate disposal site as provided in Table 3-14 and Table 3-15 of the NR GEIS (NRC 2026-TN12155). If the quantity of LLRW is a small percentage of the disposal site’s total annual quantity (e.g., less than 5 percent), then the impacts should be concluded as SMALL. For each issue, the reviewer should present the conclusion (SMALL, MODERATE, or LARGE) and provide a brief rationale, incorporating information from the NR GEIS by reference wherever possible.

#### Nonradiological Waste Management

The existing nonradiological waste guidance in the General Guidance section of Chapter 3 above, the ESRP (NRC 2000, 2007-TN614), applicable ISGs, and RG 4.2 (NRC 2026-TN11915) may generally be followed for new reactors.

The reviewer should inspect any maps of the site and surrounding landscape provided with the application or online in order to determine the locations of receptors (occupational workers or members of the public) and identify potentially sensitive receptors on or adjacent to the site or any associated offsite ROWs or project outparcels. Sensitive receptors may include hospitals, schools, daycare facilities, and elderly care facilities. Ensure that sensitive receptors are identified out to the distances from the site (and offsite ROWs and outparcels) necessary to determine whether the assumptions established in the NR GEIS regarding nonradiological waste are met. The reviewer should be able to identify management plans for gaseous, liquid, and solid wastes generated by facility processes.

The nonradiological waste section should begin with a general description of the sources of waste by type (gaseous, liquid, and solid forms) that would occur during construction or operation. This section should present how the waste is stored, whether it is stored onsite, and how it is treated. For instance, gaseous waste is generally treated by running it through a scrubber or filter and discharging it through exhaust stacks; while liquid waste, such as sanitary waste sewage, is piped to a permitted municipal sewage treatment facility. If the new reactor is co-located with a LLRW- or other nonradiological waste-producing facility, this section should present information defining hazardous and nonhazardous waste disposal amounts over the past 5 years with estimated amounts by year for the new reactor, identify onsite storage capacity, and the disposal company or facility where applicable. If the new reactor is not co-located, the section should present information defining hazardous and nonhazardous waste disposal estimates by year, identify onsite storage capacity, and the disposal company or facility where applicable. The reviewer should determine the physical layout of the nonradiological waste systems and buildings, especially for cases where a new reactor could be installed at an existing facility and inspect any waste management plans or permits listed in the application or those available via State or Federal agency websites.

The discussion should include a description of the appropriate environmental protection standards (regulations), facility programs, facility permits, and any relevant health effect studies. Regulations such as the Clean Air Act, Clean Water Act, and RCRA, should be discussed, along with any permits (obtained or applied for), associated with applicable regulations. Additionally, any proposed facility program designed to minimize or manage nonradiological waste should be briefly mentioned.

The impact assessment text for the nonradiological waste management section should define the nonradiological waste impacts during construction and operation and outline any proposed mitigation measures.

The NR GEIS identifies all nonradiological environment issues as Category 1 (NRC 2026-TN12155). The reviewer should address each of these issues as described in the General Instructions for this chapter. After reviewing the application materials and the information gained through scoping and the site audit, use the guidance in RG 4.2, Appendix C (NRC 2026-TN11915), to identify each issue for which the applicant has adequately demonstrated that relevant PPE and SPE values and assumptions are met. For each such issue, indicate that the generic analysis provided in the GEIS is applicable and state that the staff concludes that impacts would be SMALL. Cite the pages of the NR GEIS (NRC 2026-TN12155) containing the relevant generic analyses, but it is not necessary to summarize or paraphrase the analyses. Briefly explain how the assumptions are met.

For Category 1 issues not meeting the PPE/SPE or for which new and significant information is identified, the reviewer should consult RG 4.2 (NRC 2026-TN11915), applicable ISGs, and the ESRP (NRC 2000, 2007-TN614) for guidance on impact assessment. For each issue, the reviewer should present the conclusion (SMALL, MODERATE, or LARGE) and provide a brief rationale, incorporating information from the NR GEIS (NRC 2026-TN12155) by reference wherever possible.

### POSTULATED ACCIDENTS

The existing guidance for postulated accidents in the General Guidance section of Chapter 3 above, the ESRP (including the draft sections published in 2007 [NRC 2000, 2007-TN614]), applicable ISGs, and RG 4.2 (NRC 2026-TN11915) may generally be followed for new reactors. In addition to these documents, the reviewer should base the review of accidents on the Commission’s Policy Statement “Nuclear Power Plant Accident Considerations Under National Environmental Policy Act of 1969” (45 FR 40101-TN4270), NUREG-0800 (NRC 2007/2019-TN6221), 10 CFR Part 50 (TN249), 10 CFR Part 52 (TN251), 10 CFR Part 100 (TN282), RGs 1.200 (NRC 2009-TN6211), 1.145 (NRC 1983-TN279), 1.183 (NRC 2000-TN517) and 1.233 (NRC 2020-TN6441), other probabilistic risk assessment guidance, and the final safety analysis report/preliminary safety analysis report (FSAR/PSAR), as appropriate. The environmental review of postulated accidents for new reactors will be a continuation of and referenced to the safety analysis methodology in applicant’s FSAR/PSAR. If there is the potential for accidents involving releases of hazardous chemicals, the reviewer should apply 40 CFR Part 68 (TN5494) and 40 CFR Part 355 (TN5493); NUREG-1520 (NRC 2015-TN6822) may also provide useful information. When evaluating the radiological and hazardous chemical releases from postulated accidents, the reviewer should consider the design’s safety features and analyses, including the results of a probabilistic risk assessment, as appropriate, and as presented in the applicant’s FSAR/PSAR. The reviewer should also coordinate the review of such postulated radiological and hazard chemical accidents with the NRC safety reviewers. The results of the NRC safety reviews will be published in the final safety evaluation report for the new reactor application.

The NR GEIS identifies postulated accidents issues as Category 1 (NRC 2026-TN12155). The reviewer should address the Category 1 issues of design basis accidents, severe accidents and acts of terrorism as described in the General Instructions for this chapter. After reviewing the application materials and the information gained through scoping (if appropriate) and the application audit, use the guidance in RG 4.2, Appendix C (NRC 2026-TN11915), to identify each issue for which the applicant has adequately demonstrated that relevant PPE value(s) and assumptions are met. For each such issue, indicate that the generic analysis provided in the GEIS is applicable and state that the NRC staff concludes that impacts would be SMALL. Cite the pages of the NR GEIS containing the relevant generic analyses, but it is not necessary to summarize or paraphrase the analyses. Briefly explain how the assumptions are met.

If a new reactor facility has the potential to release hazardous chemicals from licensed operations and the PPE values and assumptions for accidents involving releases of hazardous chemicals are exceeded, then the analysis in the FSAR/PSAR and the ER that contains the estimates of the consequences to members of the public in the event of such a release should be reviewed. This review should be coordinated with the NRC safety reviewers. Generally available information about chemical protective emergency guidelines can also be useful when characterizing the consequences (e.g., Acute Exposure Guideline Levels [AEGLs], Emergency Response Planning Guidelines [ERGPs], Temporary Emergency Exposure Limits [TEELs], or Protective Action Criteria for Chemicals [PACs]). Relevant analysis prepared for compliance with other State or Federal regulations (e.g., a Risk Management Plan submitted under 40 CFR Part 68-TN5494) should be reviewed as applicable. If the reviewer determines that the new reactor satisfies the protective emergency guidelines for chemical hazards, the conclusion of SMALL should be presented along with a brief rationale. Incorporate information from the FSAR/PSAR, ER, and the NR GEIS (NRC 2026-TN12155) by reference wherever possible.

To address the release of radioactive material due to a severe accident (e.g., application of the safety methodology for beyond-design-basis events, licensing basis events, or maximum hypothetical events presented in safety analysis), an applicant can select one of several alternative PPE values in Section 3.11 of the NR GEIS (NRC 2026-TN12155) to demonstrate an environmental finding of SMALL for severe accident impacts. The PPE value selected for this demonstration should be dependent on the postulated accident methodology selected for the safety analysis to be presented in the FSAR/PSAR, such as application of NUREG-0800 (NRC 2007-TN613), RG 1.233 (NRC 2020-TN6441), RG 4.7 Appendix A (NRC 2014-TN3550), or another safety analysis guidance document. With regards to mitigation, the applicant should acknowledge applicability of 10 CFR 50.155 (TN249) requirements in the FSAR/PSAR and can also discuss the application of Diverse and Flexible Coping Strategies (FLEX) for the general mitigation of severe accidents that all nuclear power plants must conform to. If the reviewer determines that the new reactor satisfies the selected PPE value and identifies the application as appropriately addressing mitigation, the conclusion of SMALL should be presented along with an appropriate rationale. Incorporate information from the FSAR/PSAR, ER, and the NR GEIS (NRC 2026-TN12155) by reference wherever possible.

For environmental reviews which new and significant information is identified, the reviewer should consult RG 4.2 (NRC 2026-TN11915), applicable ISGs, and the latest version of the ESRP for guidance on impact assessment.

### SOCIOECONOMICS

The existing socioeconomic guidance in the General Guidance section of Chapter 3 above, the ESRP (NRC 2000, 2007-TN614), applicable ISGs, and RG 4.2 (NRC 2026-TN11915) may generally be followed for new reactors. The socioeconomics reviewer should inspect any ground-level and aerial (or satellite) photography covering the site and surrounding area included in the application or readily available in online databases, such as Google Earth.

Building, constructing, installing, and operating a new reactor would affect socioeconomic conditions in local communities; community services including public education and other social services; local governments; and infrastructure such as housing, transportation, public utilities, and tourism and recreational resources.

Following any site visit, the reviewer should develop the impacts discussion of the social, economic, and infrastructure characteristics of the impact area. Using text and/or tables, the reviewer should quantify and briefly describe socioeconomic baseline conditions. The level of detail should be commensurate with the expected magnitude of potential socioeconomic impacts.

In the NR GEIS, all socioeconomic environmental issues are considered Category 1, and, while potentially greater than SMALL, beneficial effects are also considered Category 1 (NRC 2026-TN12155). In addition, the reviewer should address each issue as described in the General Instructions for this chapter. After reviewing the applicant’s ER and the information gained during scoping and site audit, the reviewer should use guidance in RG 4.2, Appendix C (NRC 2026-TN11915), to identify each of the socioeconomic issues where the applicant has demonstrated relevant PPE and SPE values and assumptions. For each issue, determine whether the generic analysis provided in the GEIS is applicable and, if so, state that the NRC staff concludes that the socioeconomic impact would be SMALL. Cite the pages in the NR GEIS (NRC 2026-TN12155) providing generic analyses. It is not necessary to summarize or paraphrase the analyses. Briefly explain how the assumptions are met.

For Category 1 issues not meeting the PPE/SPE or for which new and significant information is identified, the reviewer should consult RG 4.2 (NRC 2026-TN11915), applicable ISGs, and the ESRP (NRC 2000, 2007-TN614) for guidance on how to conduct the impact assessment. For each socioeconomic issue, the reviewer should present an impact determination of SMALL, MODERATE, or LARGE and provide the basis for this determination, incorporating information from the NR GEIS (NRC 2026-TN12155) by reference wherever possible.

### FUEL CYCLE

The existing guidance in the General Guidance section of Chapter 3 above, the ESRP (NRC 2000, 2007-TN614), applicable ISGs, and RG 4.2 (NRC 2026-TN11915) may generally be followed for the new reactor fuel cycle.

The reviewer should be familiar with the uranium fuel cycle section of the License Renewal GEIS (NRC 2024-TN10161), WASH-1248 (AEC 1974-TN23), NUREG-0116 (NRC 1976-TN292), Non-LWR Fuel Cycle Environmental Data report (PNNL-29367, Rev. 2; Napier 2020-TN6443), NUREG-2157 (NRC 2014-TN4117), and the applicable regulations. The reviewer should inspect the information about the fuel cycle provided by the applicant and should be aware of any environmental reviews for fuel cycle facilities that have been developed or modified to support new reactors. The reviewer will need to coordinate with the corresponding environmental and safety reviewers along with NRC facility licensing managers (as appropriate) of the various fuel cycle facilities licensed to support new reactor fuels to evaluate any necessary updated fuel cycle facility and process information.

The NR GEIS identifies all fuel cycle environmental issues as Category 1 (NRC 2026-TN12155). The reviewer should address each of these issues as described in the General Instructions for this chapter. The impact assessment text for the fuel cycle section should compare the fuel cycle environmental data for the new reactor to that of Table S-3, which presents environmental data for the entirety of the fuel cycle. The reviewer should keep in mind that environmental data higher than Table S-3 for one part of the fuel cycle may be compensated by lower impacts in other parts of the fuel cycle. The fuel cycle section should provide the reader with enough information to determine whether the applicable regulations are met or will be met, and that the applicant is being cognizant of minimizing impacts from the fuel cycle.

Summary information regarding a general description of the fuel cycle should be presented even for projects where all the PPE values and assumptions for the fuel cycle are met in the NR GEIS (NRC 2026-TN12155) (see Appendix G) because the information is relevant to assessing impacts on environmental resources other than for the radiological environment.

After reviewing the application materials and the information gained through scoping and the site audit, identify each issue for which the applicant has adequately demonstrated that relevant PPE values and assumptions are met. For each such issue, indicate that the generic analysis provided in the GEIS is applicable and state that the staff concludes that impacts would be SMALL. Cite the pages of the NR GEIS (NRC 2026-TN12155) containing the relevant generic analyses, but it is not necessary to summarize or paraphrase the analyses. Briefly explain how the assumptions are met and that there is no new and significant information identified.

For any of the six environmental issues that may not be bounded by Table S-3, consult RG 4.2 (NRC 2026-TN11915), applicable ISGs, the latest version of the ESRP, PNNL-29367 Rev. 2 (Napier 2020-TN6443), and, if necessary, NUREG-2157 (NRC 2014-TN4117) for guidance on fuel cycle impact assessment. For each such issue, present the conclusion (SMALL, MODERATE, or LARGE) and provide a brief rationale. If the environmental finding is MODERATE or LARGE, describe any mitigation that could be implemented to reduce the impacts to SMALL. Incorporate information from the NR GEIS (NRC 2026-TN12155) by reference wherever possible.

### TRANSPORTATION OF FUEL AND WASTE

The existing guidance for the transportation of fuel and waste in the General Guidance section of Chapter3 above, the ESRP (NRC 2000, 2007-TN614), and RG 4.2 (NRC 2026-TN11915) may generally be followed for new reactors. The reviewer should also be familiar with WASH-1238 (AEC 1972-TN22), NUREG–75/038 (NRC 1975-TN216), NUREG/CR-6703 (Ramsdell et al. 2001-TN4545), 10 CFR Part 71 (TN301), 49 CFR Parts 171-177 (TN5466), DOE’s Transportation Risk Assessment Handbook (DOE 2002-TN418), and Maheras (2020-TN6509). Potential interfaces include reviewers involved with licensing reviews of reactor type and rated core thermal power, the fuel assembly description, and the average irradiation level of irradiated fuel; characteristics, treatment, and packaging systems for radioactive waste; and transportation packages and transport modes.

Table S-4, which provided the environmental effects of transportation of fuel and waste, is only applicable to LWRs that use uranium oxide, or UO2, fuel that meets specific criteria in 10 CFR 51.52(a) (TN10253) and as extended in the License Renewal GEIS (NRC 2024-TN10161). Reactor developers are expected to use uranium fuel with enrichment levels of up to 20 percent enrichment, known as high-assay low-enriched uranium, or HALEU. In addition, several of the potential non-LWR designs are expected to deploy non-UO2 fuels (e.g., uranium metal, uranium carbide, uranium in a molten-salt, etc.) or deploy fuels based on a Th-232/U-233 fuel cycle. If Table S-4 does not apply (i.e., because the application is for a non-LWR or to use non-UO2 fuels), the reviewer must include an evaluation of transportation impacts for fuel and waste. Both the radiological and nonradiological environmental impacts from incident-free and accident conditions resulting from (1) shipment of unirradiated fuel to the reactor site, (2) shipment of LLRW and mixed waste to offsite disposal facilities, and (3) shipment of spent fuel to an interim storage facility or a permanent geologic repository must be addressed by the applicant and reviewed.

Based on the criteria in 10 CFR 51.52 (TN10253) and the License Renewal GEIS (NRC 2024-TN10161), it is unlikely that some reactor designs would satisfy the conditions to apply Table S-4. There is limited information regarding the transportation of several forms of non-LWR fuel due to the expected higher enrichment levels (i.e., high-assay low-enriched uranium fuel) and the physical form of the non-LWR fuel being shipped. Accordingly, the reviewer should consider the following in the review of transportation packages for unirradiated and irradiated non-LWR fuel and radioactive waste:

non-LWR fresh fuel shipments likely to be similar to those for LWRs (except for molten-salt)

significantly different processing operations and transportation for molten-salt reactors and sodium fast reactors than for the current reactor fleet

uncertainty in the post irradiation forms for transport and storage

The NR GEIS identifies all transportation environmental issues as Category 1 (NRC 2026-TN12155). The reviewer should address each of these issues as described in the General Instructions for this chapter. After reviewing the application materials and the information gained through scoping and the site audit, use the guidance in RG 4.2, Appendix C (NRC 2026-TN11915), to identify each issue for which the applicant has adequately demonstrated that relevant PPE and SPE values and assumptions are met. For each such issue, indicate that the generic analysis provided in the GEIS is applicable and state that the staff concludes that impacts would be SMALL. Cite the pages of the NR GEIS (NRC 2026-TN12155) containing the relevant generic analyses, but it is not necessary to summarize or paraphrase the analyses. Briefly explain how the assumptions are met.

For Category 1 issues not meeting the PPE/SPE or for which new and significant information is identified, the reviewer should consult RG 4.2 (NRC 2026-TN11915), applicable ISGs, and the ESRP (NRC 2000, 2007-TN614) for guidance on impact assessment. For each issue, the reviewer should present the conclusion (SMALL, MODERATE, or LARGE) and provide a brief rationale, incorporating information from the NR GEIS (NRC 2026-TN12155) by reference wherever possible.

### DECOMMISSIONING

The existing guidance for the impacts of decommissioning in the General Guidance section of Chapter 3 above, the ESRP (NRC 2000, 2007-TN614), applicable ISGs, and RG 4.2 (NRC 2026-TN11915) may generally be followed for new reactors.

Reviewers should be familiar with NUREG-0586 Supplement 1 and NUREG-1496. Additionally, NUREG-0586 Supplement 1 was published in 2002; decommissioning impacts have been modified in new reactor EISs from what is presented in the version of the ESRP published in March 2000 (NRC 2000, 2007-TN614). The reviewer should examine the decommissioning section in the recent new reactor EISs for site-specific examples of this modification.

To present the reader with a baseline understanding, the site-specific decommissioning section in the SEIS should begin with a general description of the decommissioning process. The description should include a discussion of how the decommissioning of the new reactor could vary (if at all) from the decommissioning process discussed in the NR GEIS (NRC 2026-TN12155). Summary information regarding a general description of the decommissioning should be presented even for projects where all the PPE values and assumptions for the decommissioning are met in the NR GEIS, because the information may be relevant to assessing impacts on other environmental resources (e.g., land use, ecology, and historical and cultural impacts).

The NR GEIS identifies decommissioning as a Category 1 issue (NRC 2026-TN12155) for those issues that were considered in NUREG-0586 to be generic and SMALL, and Category 2 for those issues that were identified as either project-specific or conditionally project-specific. The reviewer should address these issues as described in the General Instructions for this chapter. After reviewing the application materials and the information gained through scoping and the site audit, use the guidance in RG 4.2, Appendix C (NRC 2026-TN11915), to determine whether the applicant has adequately demonstrated that relevant PPE and SPE values and assumptions are met for the Category 1 issue and that no new and significant information was identified. If all of the relevant values and assumptions are met, indicate that the generic analysis provided in the GEIS is applicable and state that the staff concludes that impacts would be SMALL. Cite the pages of the NR GEIS (NRC 2026-TN12155) containing the relevant generic analyses, but it is not necessary to summarize or paraphrase the analyses. Briefly explain how the assumptions are met.

If the issue does not meet the PPE/SPE or if new and significant information was identified, and for the Category 2 issue, the reviewer should consult RG 4.2 (NRC 2026-TN11915), applicable ISGs, and the ESRP (NRC 2000, 2007-TN614) for guidance on impact assessment. For this issue, the reviewer should present the conclusion (SMALL, MODERATE, or LARGE) and provide a brief rationale, incorporating information from the NR GEIS (NRC 2026-TN12155) by reference wherever possible.

### ISSUES APPLYING ACROSS ALL RESOURCES

The NR GEIS identified two issues as applying across all resource areas: climate change and cumulative impacts (NRC 2026-TN12155). Both issues were classified as Category 2. This section provides guidance for these two issues. The reviewer should scale the depth of review for these issues based on the expected level of impacts on any individual resource under consideration.

#### Climate Change Impacts on Environmental Resources

The reviewer should be familiar with existing guidance regarding climate change in the ESRP (NRC 2000, 2007-TN614), ISG-026 (NRC 2014-TN3767), and RG 4.2 (NRC 2026-TN11915). The reviewer should also be familiar with the methods the NRC staff has used to address climate change impacts on environmental resources in recent new reactor EISs.

The climate change impact analyses prepared by the reviewer should describe and quantify climate change projections using available models, studies, and reports. The geographic scope considered for climate change projections should not be greater than the U.S. National Climate Assessment regions (Northeast, Southeast, Midwest, etc.), and when available, local scale projections should be considered. When discussing changes in climate parameters, the reviewer should identify climate models and the future greenhouse gas emission projections and scenarios selected. Changes in climate parameters should be quantified and can include changes in, but not limited to, ambient temperature, precipitation, surface water temperature and levels, length of growing season, and/or flooding, as appropriate. The reviewer should determine how and to what extent climatological changes could affect the environmental resource baseline conditions. The impact analyses should discuss reasonably foreseeable climate change impacts on environmental resources in proportion to their significance, including trends, on environmental resource areas that are potentially affected by construction and operation activities to establish the future environmental baseline.

#### Cumulative Impacts

The reviewer should be familiar with existing guidance regarding cumulative impacts in the ESRP (NRC 2000, 2007-TN614), ISG-026 (NRC 2014-TN3767), ISG-027 (NRC 2014-TN3766), ISG-029 (NRC 2020-TN6710), and RG 4.2 (NRC 2026-TN11915), including RG 4.2 Appendix C. The reviewer should also be familiar with the methods the NRC staff has used to address cumulative impacts in recent new reactor EISs.

### NON-RESOURCE RELATED ISSUES

The NR GEIS identified multiple non-resource related issues (NRC 2026-TN12155). This section discusses the purpose and need and the need for power. Both issues were classified as Category 2. Alternatives are discussed in Chapter 4.

#### Purpose and Need

The reviewer should consider existing guidance regarding the purpose and need in the ESRP (NRC 2000, 2007-TN614), ISG-026 (NRC 2014-TN3767), ISG-027 (NRC 2014-TN3766), ISG-029 (NRC 2020-TN6710), and RG 4.2 (NRC 2026-TN11915), including RG 4.2 Appendix C. The reviewer should also be familiar with the methods the NRC staff has used to address the purpose and need in recent new reactor EISs. However, some new reactors may present a purpose and need that includes industrial uses other than providing electricity, such as process steam for industrial uses or area heating. In such cases, the reviewer should consult ISG-027 and ISG-029.

#### Need for Power

The reviewer should consider existing guidance regarding the need for power in the ESRP (NRC 2000, 2007-TN614), ISG-026 (NRC 2014-TN3767), ISG-027 (NRC 2014-TN3766), ISG-029 (NRC 2020-TN6710), and RG 4.2 (NRC 2026-TN11915), including RG 4.2 Appendix C, and the need for power discussions in recent new reactor EISs. However, the purpose of some new reactors could be other than generating electricity (e.g., process heat). In such cases, the reviewer should provide a brief discussion of the benefits that the non-electricity related uses would provide.

## Comparing Alternatives to the Proposed Action

The NR GEIS identified three classes of alternatives: site alternatives, energy alternatives, and system design alternatives (NRC 2026-TN12155). All three of these issues were classified as Category 2. This section provides guidance for comparing these three classes of alternatives to the proposed action.

### SITE ALTERNATIVES

The reviewer should be familiar with existing guidance regarding site alternatives in the ESRP (NRC 2000, 2007-TN614), ISG-026 (NRC 2014-TN3767), ISG-027 (NRC 2014-TN3766), ISG-029 (NRC 2020-TN6710), and RG 4.2 (NRC 2026-TN11915), including RG 4.2 Appendix C. The reviewer should also be familiar with the methods the NRC staff has used to address site alternatives in recent new reactor EISs. As discussed in ISG-027, there may be cases in which the region of interest for siting is much smaller than has been typical for large LWRs. But the basic process will be the same, simply using that smaller region of interest.

The NR GEIS can be used for both the proposed and alternative sites for the evaluation of resource impacts. However, the staff must compare the differences between the proposed and alternative sites, so that a determination can be made about whether an alternative site is environmentally preferable or obviously superior to the proposed site.

### ENERGY ALTERNATIVES

The reviewer should be familiar with existing guidance regarding energy alternatives in the ESRP (NRC 2000, 2007-TN614), ISG-026 (NRC 2014-TN3767), ISG-027 (NRC 2014-TN3766), ISG-029 (NRC 2020-TN6710), RG 4.2 (NRC 2026-TN11915), including RG 4.2 Appendix C, and the staff white paper on energy alternatives (NRC 2026-TN7078). The reviewer should also be familiar with the methods the NRC staff has used to address energy alternatives in recent new reactor EISs. However, the small size of some new reactors may require the staff to further evaluate some energy alternatives that are typically eliminated for large LWRs. In other cases, the purpose and need for the project (i.e., demonstration of a specific technology) may obviate the need for consideration of energy alternatives.

### SYSTEM DESIGN ALTERNATIVES

The reviewer should be familiar with existing guidance regarding system design alternatives in the ESRP (NRC 2000, 2007-TN614), ISG-026 (NRC 2014-TN3767), ISG-027 (NRC 2014-TN3766), ISG-029 (NRC 2020-TN6710), and RG 4.2 (NRC 2026-TN11915), including RG 4.2 Appendix C. The reviewer should also be familiar with the methods the NRC staff has used to address system design alternatives in recent new reactor EISs. However, because the system design alternatives are all related to the cooling water system, such alternatives would not be applicable to a plant that does not use cooling water. In addition, if, because of the small size of a new reactor, all of the impacts caused by the cooling system are SMALL, then the consideration of system design alternatives (which are, in effect, mitigation) would not be warranted.

## Conclusions and Recommendations

The reviewer should be familiar with existing guidance regarding the conclusions and recommendations chapter in the ESRP (NRC 2000, 2007-TN614), ISG-026 (NRC 2014-TN3767), ISG-027 (NRC 2014-TN3766), and RG 4.2 (NRC 2026-TN11915), including RG 4.2 Appendix C. The reviewer should also be familiar with the methods the NRC staff has used to address the conclusions and recommendations chapter in recent new reactor EISs.

# IMPLEMENTATION

The NRC staff will use the information discussed in this ISG when performing environmental reviews of new reactor licensing actions that rely at least in part on the NR GEIS (NRC 2026-TN12155).

# BACKFITTING AND ISSUE FINALITY DISCUSSION

The final rule codifies in 10 CFR Part 51 (TN10253) certain environmental issues identified in the NR GEIS. The final rule also revises 10 CFR Part 51 (TN10253) to allow an applicant for a new nuclear reactor CP or OL under 10 CFR Part 50 (TN249), or a new nuclear reactor ESP or COL under 10 CFR Part 52 (TN251), to use the NR GEIS in preparing its ER. The final rule requires the NRC staff to prepare a project-specific draft SEIS and final SEIS for each application that references the NR GEIS. The NRC has determined that the backfitting rule specified in § 50.109, “Backfitting,” and the issue finality provisions in 10 CFR Part 52 (TN251) do not apply to this final rule because this amendment does not involve any provision that would either constitute backfitting as that term is defined in 10 CFR Chapter I (TN6351) or affect the issue finality of any approval issued under 10 CFR Part 52 (TN251).

The final rule will not constitute backfitting for applicants for CPs or OLs under 10 CFR Part 50 (TN249) and will not affect the issue finality of applicants for ESPs or COLs under 10 CFR Part 52 (TN251). These applicants are not, with certain exceptions not applicable here, within the scope of the backfitting or issue finality provisions. The backfitting and issue finality regulations include language delineating when the backfitting and issue finality provisions begin; in general, they begin after the issuance of a license, permit, or other approval (e.g., §§ 50.109(a)(1)(iii) and 52.98(a)). Furthermore, neither the backfitting provisions nor the issue finality provisions, with certain exceptions not applicable here, are intended to apply to NRC actions that substantially change the expectations of current and future applicants. Applicants cannot reasonably expect that future requirements will not change.

The exceptions to the general principle are applicable when an applicant references a 10 CFR Part 52 (TN251) approval (e.g., an ESP or design certification rule) with specified issue finality provisions or a CP under 10 CFR Part 50 (TN249). However, this final rule will have no effect on a CP held by an applicant for a 10 CFR Part 50 (TN249) OL or an early site permit referenced by an applicant for a 10 CFR Part 52 (TN251) combined license. Therefore, for purposes of this final rule, the exceptions to the general principle do not apply.

# CONGRESSIONAL REVIEW ACT

This final rule is a rule as defined in the Congressional Review Act (5 U.S.C. 801-808). However, the Office of Management and Budget has not found it to be a major rule as defined in the Congressional Review Act.

# FINAL RESOLUTION

This guidance will be incorporated into the next revision of NUREG-1555, “Environmental Standard Review Plans.” Following the transition of this guidance to NUREG-1555, this ISG will be closed.

# REFERENCES

10 CFR Chapter I. Code of Federal Regulations, Title 10, Energy, Chapter I, “Nuclear Regulatory Commission.” TN6351.

10 CFR Part 50. Code of Federal Regulations, Title 10, Energy, Part 50, “Domestic Licensing of Production and Utilization Facilities.” TN249.

10 CFR Part 51. Code of Federal Regulations, Title 10, Energy, Part 51, “Environmental Protection Regulations for Domestic Licensing and Related Regulatory Functions.” TN10253.

10 CFR Part 52. Code of Federal Regulations, Title 10, Energy, Part 52, “Licenses, Certifications, and Approvals for Nuclear Power Plants.” TN251.

10 CFR Part 61. Code of Federal Regulations, Title 10, Energy, Part 61, “Licensing Requirements for Land Disposal of Radioactive Waste.” TN252.

10 CFR Part 71. Code of Federal Regulations, Title 10, Energy, Part 71, “Packaging and Transportation of Radioactive Material.” TN301.

10 CFR Part 100. Code of Federal Regulations, Title 10, Energy, Part 100, “Reactor Site Criteria.” TN282.

40 CFR Part 68. Code of Federal Regulations, Title 40, Protection of Environment, Part 68, “Chemical Accident Prevention Provisions.” TN5494.

40 CFR Part 355. Code of Federal Regulations, Title 40, Protection of Environment, Part 302, “Emergency Planning and Notification.” TN5493.

49 CFR Parts 171-177. Code of Federal Regulations, Title 49, Transportation, Subchapter C, “Hazardous Materials Regulations (49 CFR Parts 171-177).” TN5466.

45 FR 40101. June 13, 1980. “Nuclear Power Plant Accident Consideration Under the National Environmental Policy Act of 1969.” Federal Register, Nuclear Regulatory Commission. TN4270.

AEC (U.S. Atomic Energy Commission). 1972. Environmental Survey of Transportation of Radioactive Materials to and from Nuclear Power Plants. WASH–1238, Washington, D.C. ADAMS Accession No. ML14092A626. TN22.

AEC (U.S. Atomic Energy Commission). 1974. Environmental Survey of the Uranium Fuel Cycle. WASH–1248, Washington, D.C. ADAMS Accession No. ML14092A628. TN23.

Clean Air Act. 42 U.S.C. § 7401 et seq. TN1141.

Coastal Zone Management Act of 1972. 16 U.S.C. § 1451 et seq. TN1243.

DOE (U.S. Department of Energy). 2002. A Resource Handbook on DOE Transportation Risk Assessment. DOE/EM/NTP/HB-01, Washington, D.C. ADAMS Accession No. ML12192A286. TN418.

Endangered Species Act of 1973. 16 U.S.C. § 1531 et seq. TN1010.

EPA (U.S. Environmental Protection Agency). 2025. “General Conformity.” Washington, D.C. TN12148.

Farmland Protection Policy Act of 1981. 7 U.S.C. § 4201 et seq. TN708.

Federal Water Pollution Control Act of 1972 (commonly referred to as the Clean Water Act). 33 U.S.C. § 1251 et seq. TN662.

Maheras, S.J. 2020. Environmental Impacts from Transportation of Fuel and Wastes to and from Non-LWRs. PNNL-29365, Pacific Northwest National Laboratory, Richland, Washington. ADAMS Accession No. ML20267A157. TN6509.

Napier, B.A. 2020. Non-LWR Fuel Cycle Environmental Data. PNNL-29367, Revision 2, Richland, Washington. ADAMS Accession No. ML20267A217. TN6443.

National Environmental Policy Act of 1969 (NEPA), as amended. 42 U.S.C. § 4321 et seq. TN661.

National Historic Preservation Act. 54 U.S.C. § 300101 et seq. TN4157.

NRC (U.S. Nuclear Regulatory Commission). 1975. Environmental Survey of Transportation of Radioactive Materials to and from Nuclear Power Plants, Supplement 1. NUREG–75/038, Washington, D.C. ADAMS Accession No. ML14091A176. TN216.

NRC (U.S. Nuclear Regulatory Commission). 1976. Environmental Survey of the Reprocessing and Waste Management Portions of the LWR Fuel Cycle. W.P. Bishop and F.J. Miraglia, Jr. (eds.). NUREG–0116 (Supplement 1 to WASH–1248), Washington, D.C. ADAMS Accession No. ML14098A013. TN292.

NRC (U.S. Nuclear Regulatory Commission). 1983. Atmospheric Dispersion Models for Potential Accident Consequence Assessments at Nuclear Power Plants. Regulatory Guide 1.145, Revision 1, Washington, D.C. ADAMS Accession No. ML003740205. TN279.

NRC (U.S. Nuclear Regulatory Commission). 2000. Alternative Radiological Source Terms for Evaluating Design Basis Accidents at Nuclear Power Reactors. Regulatory Guide 1.183, Washington, D.C. ADAMS Accession No. ML003716792. TN517.

NRC (U.S. Nuclear Regulatory Commission). 2000, 2007. Environmental Standard Review Plan—Standard Review Plans for Environmental Reviews for Nuclear Power Plants. NUREG–1555, Main Report and 2007 Revisions, Washington, D.C. Available at https://www.nrc.gov/reading-rm/doc-collections/nuregs/staff/sr1555/toc/index.html and https://www.nrc.gov/reading-rm/doc-collections/nuregs/staff/sr1555/updates.html. TN614.

​NRC (U.S. Nuclear Regulatory Commission). 2007. Standard Review Plan for the Review of Safety Analysis Reports for Nuclear Power Plants, LWR Edition. NUREG-0800, Washington, D.C. ADAMS Accession No. ML070660036. TN613.

NRC (U.S. Nuclear Regulatory Commission). 2009. An Approach for Determining the Technical Adequacy of Probabilistic Risk Assessment Results for Risk-Informed Activities. Regulatory Guide 1.200, Revision 2, Washington, D.C. ADAMS Accession No. ML090410014. TN6211.

NRC (U.S. Nuclear Regulatory Commission). 2012. Terrestrial Environmental Studies for Nuclear Power Stations. Regulatory Guide 4.11, Revision 2, Washington, D.C. ADAMS Accession No. ML113350385. TN1967.

NRC (U.S. Nuclear Regulatory Commission). 2013. Generic Environmental Impact Statement for License Renewal of Nuclear Plants. NUREG-1437, Revision 1, Washington, D.C. ADAMS Accession No. ML13107A023. TN2654.

NRC (U.S. Nuclear Regulatory Commission). 2014. General Site Suitability Criteria for Nuclear Power Stations. Regulatory Guide 4.7, Revision 3, Washington, D.C. ADAMS Accession No. ML12188A053. TN3550.

NRC (U.S. Nuclear Regulatory Commission). 2014. Generic Environmental Impact Statement for Continued Storage of Spent Nuclear Fuel. Final Report, NUREG–2157, Washington, D.C. ADAMS Accession No. ML14198A440. TN4117.

NRC (U.S. Nuclear Regulatory Commission). 2014. Interim Staff Guidance on Environmental Issues Associated with New Reactors. COL/ESP–ISG–026, Washington, D.C. ADAMS Accession No. ML14092A402. TN3767.

NRC (U.S. Nuclear Regulatory Commission). 2014. Response to Public Comments on NRC Draft Interim Staff Guidance ESP/COL-ISG-026 and ESP/COL-ISG-027. Docket IDs NRC-2013-0211 and NRC-2013-0212, Washington, D.C. ADAMS Accession No. ML13347B127. TN3766.

NRC (U.S. Nuclear Regulatory Commission). 2015. Standard Review Plan for Fuel Cycle Facilities License Applications. NUREG-1520, Revision 2, Washington, D.C. ADAMS Accession No. ML15176A258. TN6822.

NRC (U.S. Nuclear Regulatory Commission). 2017. Aquatic Environmental Studies for Nuclear Power Stations. Regulatory Guide 4.24, Washington, D.C. ADAMS Accession No. ML15309A219. TN6720.

NRC (U.S. Nuclear Regulatory Commission). 2018. Tribal Protocol Manual. NUREG–2173, Revision 1, Washington, D.C. ADAMS Accession No. ML18214A663. TN6447.

NRC (U.S. Nuclear Regulatory Commission). 2007/2019. Standard Review Plan for the Review of Safety Analysis Reports for Nuclear Power Plants, LWR Edition. NUREG–0800, with updates. Available at https://www.nrc.gov/reading-rm/doc-collections/nuregs/staff/sr0800/. Washington, D.C. TN6221.

NRC (U.S. Nuclear Regulatory Commission). 2020. Environmental Considerations Associated with Micro-Reactors. Final COL-ISG-029, Washington, D.C. ADAMS Accession No. ML20252A076. TN6710.

NRC (U.S. Nuclear Regulatory Commission). 2020. Guidance for a Technology-Inclusive, Risk-Informed, and Performance-Based Methodology to Inform the Licensing Basis and Content of Applications for Licenses, Certifications, and Approvals for Non-Light-Water Reactors. Regulatory Guide 1.233, Revision 0, Washington, D.C. ADAMS Accession No. ML20091L698. TN6441.

NRC (U.S. Nuclear Regulatory Commission). 2020. “Low-Level Waste Compacts.” Washington, D.C. ADAMS Accession No. ML21231A301. TN7083.

NRC (U.S. Nuclear Regulatory Commission). 2020. “Low-Level Waste Disposal.” Washington, D.C. ADAMS Accession No. ML21145A388. TN6516.

NRC (U.S. Nuclear Regulatory Commission). 2024. Generic Environmental Impact Statement for License Renewal of Nuclear Plants. NUREG-1437, Revision 2, Washington, D.C. ADAMS Accession No. ML25155B863. TN10161.

NRC (U.S. Nuclear Regulatory Commission). 2026. Energy and System Design Mitigation Alternatives White Paper. Washington, D.C. ADAMS Package Accession No. ML25044A472. TN7078.

NRC (U.S. Nuclear Regulatory Commission). 2026. Generic Environmental Impact Statement for Licensing of New Nuclear Reactors. NUREG-2249, Washington, D.C. ADAMS Accession No. ML25324A130. TN12155.

NRC (U.S. Nuclear Regulatory Commission). 2026. Regulatory Guide 4.2, Revision 4, Preparation of Environmental Reports for Nuclear Power Plant License Renewal Applications. Washington, D.C. ADAMS Accession No. ML25043A345. TN11915.

Occupational Safety and Health Act of 1970, as amended. 29 U.S.C. § 651 et seq. TN4453.

Ramsdell, J.V. Jr., C.E. Beyer, D.D. Lanning, U.P. Jenquin, R.A. Schwarz, D.L. Strenge, P.M. Daling, and R.T. Dahowski. 2001. Environmental Effects of Extending Fuel Burnup Above 60 GWd/MTU. NUREG/CR-6703, Pacific Northwest National Laboratory, Richland, Washington. ADAMS Accession No. ML010310298. TN4545.

Resource Conservation and Recovery Act of 1976. 42 U.S.C § 6901 et seq. Public Law 94-580, 90 Stat. 2795. TN1281.

Appendix A

Incorporation by Reference Guidance for an Environmental Impact Statement

Purpose

The U.S. Nuclear Regulatory Commission (NRC) promotes measures to streamline internal processes to improve efficiency. Efficiency measures include those aimed at optimizing the environmental reviews performed by the NRC staff. One initiative to streamline the environmental review process and reduce unnecessary repetition of previous analyses is to incorporate by reference publicly available documents. This appendix provides methodologies for incorporating previous analyses by reference into environmental review documentation.

Background

The NRC staff may incorporate by reference any information contained in a final environmental document previously prepared by the NRC staff that relates to the same facility. Incorporation by reference may be used as appropriate to aid in the presentation of issues, eliminate repetition, or reduce the size of an environmental impact statement (EIS). This approach of incorporating by reference analyses, studies, or relevant information allows NRC technical reviewers to comply with the requirements of NEPA by referring to materials already published elsewhere.

Incorporation by reference involves the incorporation of material, such as planning studies, analyses, or other relevant information, into environmental documents by reference when the effect will be to cut down on bulk without impeding agency and public review of the action. The NRC staff shall cite the incorporated material in the document and briefly describe its content. The NRC staff may not incorporate material by reference unless it is reasonably available for inspection by potentially interested persons within the time allowed for comment. The NRC staff shall not incorporate by reference material based on proprietary data that is not available for review and comment.

General Staff Guidance

When incorporating by reference, technical reviewers should adhere to the following three principles:

- Specificity: After ensuring that reference material is publicly available, identify the documents that are being incorporated by reference and specify the section or page range, or both, that is being incorporated.

- Summarize: Provide a summary of the information being incorporated by reference.

- Address new information: Identify and discuss any new information relevant to environmental concerns and bearing on the proposed action or its impacts that was not considered in the documents being incorporated by reference.

Environmental reviewers are encouraged to incorporate by reference any relevant information from other publicly available documents (from the NRC, applicant documents submitted for the record, or any other reputable source, such as other governmental entities or academic institutions). The staff must only incorporate by reference documents that are publicly available and properly cite them in the EIS reference list. Incorporating material from applicant documents (such as the ER and safety analysis report) may be appropriate. The staff should not, however, incorporate by reference conclusions from the applicant’s environmental report.

The regulations at 10 CFR 51.41 (TN10253), “Requirement to submit environmental information,” state that “[t]he Commission will independently evaluate and be responsible for the reliability of any information which it uses.” As such, the staff is responsible for evaluating and verifying the reliability of the information that is incorporated by reference.

Generic Example

When NRC technical reviewers decide to use incorporation by reference for applicable documents, the staff’s review document should contain a clear statement to that effect. For example, at first usage in an EIS, the staff can accomplish incorporation by reference by using language similar to the following:

Where appropriate, the NRC staff has summarized and incorporated by reference material from the EIS for [XXX].

At the first appearance of each document incorporated by reference, the text should fully spell out the title, and the EIS reference list should properly cite each document mentioned.

References

10 CFR Part 51. Code of Federal Regulations, Title 10, Energy, Part 51, “Environmental Protection Regulations for Domestic Licensing and Related Regulatory Functions.” TN250.

National Environmental Policy Act of 1969 (NEPA), as amended. 42 U.S.C. §§ 4321 et seq. TN661.

In Staff Requirements Memorandum (SRM) SECY-23-0001, dated April 13, 2023, the Commission directed the NRC staff to regulate near-term fusion systems under the 10 CFR Part 30 byproduct material framework. Therefore, the NR GEIS does not address the environmental impacts of fusion systems and such systems are not addressed in this ISG.

Unless stated otherwise, references to RG 4.2 in this document refer to revision 4 to RG 4.2, which is being published at the same time as this ISG.

Beneficial impacts may include increased tax revenues associated with the increased assessed value of new reactor projects, and other economic activity such as increases in local employment, labor income, and economic output.

Some of the guidance in this chapter may not be applicable to LWAs, because LWAs generally are of limited scope and do not fully address building, operating, and decommissioning of a new reactor.

As used in this document, when the staff states that the project meets a value or assumption of the PPE or SPE, it should be read as to mean that the project meets or is bounded by the value or assumption.