## Welcome
Template Name | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID | 60.6065(a) and 60.6605(a)
Template Version | Final ICR Draft
Last Updated Date | 4555400%
Blank | OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
Blank | 40 CFR Part 60, Subparts VVVV and WWWW Standards of Performance for Large Municipal Waste Combustors and Emissions Guideline and Compliance Times for Large Municipal Waste Combustors That are Constructed on or Before January 23, 2024 §§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Instructions for Spreadsheet Template
Purpose: This spreadsheet template was designed by the U.S. EPA to facilitate Annual Semiannual Compliance reporting for facilities subject under the 40 CFR part 60, subparts VVVV and WWWW, Standards of Performance and Emissions Guidelines for Municipal Waste Combustors. At §60.6265(a)(5) in subpart VVVV, State Plans are required to incorporate the reporting requirements of subpart VVVV. The citations listed in this template will direct users to the appropriate sections of subpart VVVV for reference.
Electronic reporting: Electronic submission of Annual and Semiannual Compliance Reports through the EPA's Compliance and Emissions Data Reporting Interface (CEDRI) is required under §§60.6065(d) and 60.6605(d). CEDRI is accessed through the EPA's Central Data Exchange (https://cdx.epa.gov).
The CEDRI spreadsheet template upload feature allows you to submit data in a single report for a single company or multiple companies, as well as multiple sites, using this EPA provided Excel workbook. Data for each company/site must be entered into the worksheet labeled "Company Information" in this Excel workbook. Each row in the "Company Information" worksheet includes the data for a single company. The Company Record No. will be used to match the information on each worksheet to the appropriate company. For each facility record found in the Company_Information worksheet, you may reference a single file attachment that includes additional information.
IMPORTANT: The spreadsheet must be uploaded into CEDRI as a single ZIP file, which must include this Excel workbook and any related attachments that were referenced in the workbook (i.e., additional information file found in the Company_Information worksheet).
Note: If you are uploading file attachments for your report, the uploaded files may be in any format (e.g., zip, docx, PDF). If you would like to include an additional Excel file(s) as an attachment, you must first zip the Excel file(s) into a separate ZIP file and include that ZIP file in the master ZIP file that will be uploaded into CEDRI.
Once all data have been entered in the worksheet, combine this Excel workbook and all attachment files (including any ZIP file containing separate Excel file(s), if applicable) into a single ZIP file for upload to CEDRI. Please ensure your report includes all of the required data elements found in the listed citations below for this spreadsheet upload submission.
Do not submit information you claim as confidential business information (CBI) to EPA via CEDRI. EPA will make all the information submitted through this form via CEDRI available to the public without further notice to you. Anything submitted using CEDRI cannot later be claimed to be CBI. Furthermore, under CAA section 114(c) emissions data is not entitled to confidential treatment and requires EPA to make emissions data available to the public. Thus, emissions data will not be protected as CBI and will be made publicly available.
Although we do not expect persons to assert a claim of CBI, if persons wish to assert a CBI claim for some of the information in this report, you must submit a version of the report with the CBI omitted via CEDRI and submit a complete report, including any information claimed to be CBI, to EPA. The preferred method to receive CBI is for it to be transmitted electronically using email attachments, File Transfer Protocol, or other online file sharing services. Electronic submissions must be transmitted directly to the OAQPS CBI Office at the email address oaqps_cbi@epa.gov to the attention of the Large Municipal Waste Combustor Sector Lead. If assistance is needed with submitting large electronic files that exceed the file size limit for email attachments, and if you do not have your own file sharing service, please email oaqpscbi@epa.gov to request a file transfer link. If you cannot transmit the file electronically, you may send CBI information through the postal service to the following address:
OAQPS Document Control Officer (C404-02) OAQPS, U.S. Environmental Protection Agency Attn: Large Municipal Waste Combustor Sector Lead 109 T.W. Alexander Drive P.O. Box 12055 Research Triangle Park, North Carolina 27711
The mailed CBI material should be double wrapped and clearly marked. Any CBI markings should not show through the outer envelope. Clearly mark the part or all of the information that you claim to be CBI. Information not marked as CBI may be authorized for public release without prior notice. Information marked as CBI will not be disclosed except in accordance with procedures set forth in 40 CFR part 2.
Blank | Template Navigation and Tabs to Complete: Gray Tabs (Complete first): The gray tabs (Company_Information, Process_Unit, and CMS_Identificaiton) contains general information that is likely to be mostly unchanged from report to report. These tabs do contain dates and the operating time of the sources over the reporting period, which must be updated with each report. After completing the gray tabs, the workbook may be saved as a site specific template for use in subsequent reports to limit subsequent data entry. Yellow Tab: The yellow tab (Certification) contains the certification statements for §60.7(c)(4) as well as the performance test exceedance information required by §§60.6100(b) and 60.6645(b) and the dioxin and furan and carbon injection options of §§60.6090(i) and 60.6630(i) and must be completed for each report. The statement of truth, accuracy, and completeness required by §60.7(d) is completed in the certifcation step within CEDRI. Green Tabs: Green tabs are completed as necessary for the facility with each semiannual report. The two Detail tabs, CMS_Deviation_Details and Limit_Deviation_Details, are only completed in full if the applicable excess emissions and CMS downtime criteria are met. The Limit_Deviation_Details tab contains some information that must be completed with each report per §§60.6105(a) and 60.6645(a). Blue Tabs: The blue tabs (Annual_PT_Results_Summary, Annual_CEM_Results_Summary, Annual_Current_Valid_Data, Previous_Yr_PT_Results_Summary, Previous_Yr_CEM_Results_Summary, Previous_Yr_Valid_Data, Annual_Certified_Operators, CEM_BlockAvg_24hr, CEM_BlockAvg_4hr, and CEM_BlockAvg_2Week) are completed as appropriate for each annual report only, and are not required to be completed during a semiannual report that is not also an annual report. Do not delete any tabs that are not being used as it will prevent the file from being accepted in CEDRI. Within the tabs, example rows are colored light red (rows 14 through 23), and the XML tags (row 13) are colored green. These rows are locked; no data entry is made in these rows. The certification that the report is true, accurate and complete (see Figure 1 in §60.7) is accomplished through the certification process in CEDRI.

## Company_Information
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID | 60.6065(a) and 60.6605(a)
Template Version | Final ICR Draft
Last Updated Date | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
| SITE INFORMATION | [7 empty] | REPORTING PERIOD |  | ADDITIONAL INFORMATION
Company Record No. (Field value will automatically generate if a value is not entered.) | Company Name (§60.7(d)) | Address (§60.7(d)) | Address 2 | City (§60.7(d)) | County | State Abbreviation (§60.7(d)) (Select from dropdown) | Zip Code (§60.7(d)) | Responsible Agency Facility ID (State Facility Identifier) | Beginning Date of Reporting Period (§60.7(d)) | Ending Date of Reporting Period (§60.7(d)) | Please enter any additional information. | Enter associated file name reference.
RecordId | CompanyName | AddressLine1 | AddressLine2 | CityName | CountyName | StateName | ZipCode | StateFacId | PeriodStartDate | PeriodEndDate | AddInfo | AddFile
e.g.: 1 | e.g.: ABC Company | e.g.: 123 Main Street | e.g.: Suite 100 | e.g.: Brooklyn | e.g.: Kings | e.g.: NY | e.g.: 11221 | e.g.: 9145555555 | e.g.: 01/01/2020 | e.g.: 6/30/2020 |  | e.g.: addlinfo.zip
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:

## Certification
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID | 60.6065(a) and 60.6605(a)
Template Version | Final ICR Draft
Last Updated Date | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Autocompleted) | Is the statement "There were no excess emissions during this reporting period" applicable? (§60.7(c)(4)) (Select from dropdown) | Is the statement "The continuous monitoring systems were not inoperative, repaired, or adjusted during the reporting period" applicable? (§60.7(c)(4)) (Select from Dropdown) | If During this Semiannual Reporting Period, A Performance Test Was Conducted, Did Any Emissions Exceed The Applicable Pollutant Limits? If Yes, List Which Pollutant Limits Were Exceeded. (§60.6100(b) and §60.6645(b)) (Select from dopdown) | For Annual Report: This facility intends to begin the reduced dioxin/furan performance testing schedule specified in §60.5980(a) or (b) or §60.6535(a) or (b) during the following calendar year. (§60.6090(i) and §60.6630(i)) (Select from dropdown) | For Annual Report: This facility intends to apply the average carbon mass feed rate and associated system operating parameter levels as established in §60.5980(c) or §60.6535(c) to similarly designed and equipped units. (§60.6090(i) and §60.6630(i)) (Select from dropdown)
RecordId | ExcessFlag | CPMSPeriodFlag | PTExceededLimits | AnnnualReducedDFNotification | AnnualCarbonFeedNotification
e.g.: 1
Complete the Company_Information tab

## Process_Unit
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID | 60.6065(a) and 60.6605(a)
Template Version | Final ICR Draft
Last Updated Date | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Select from dropdown) | Process Unit Cross Reference ID | Process Unit Description (§60.7(d)) | Total Operating Time (Hours) (§60.7(d)) | Subpart That Applies to This Process Unit (Select from dropdown)
RecordId | ProcessUnit_PU | PUDescription_PU | TotalOperatingTime_PU | Subpart_PU
e.g.: 1 | e.g.: Unit 1 | e.g.: Big City Unit 1 | e.g.: 5421.25 | e.g.: Subpart Eb
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:

## CMS_Identification
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID | 60.6065(a) and 60.6605(a)
Template Version | Final ICR Draft
Last Updated Date | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Autocompleted from Column D) | Process Unit (§60.7(d)) (Autocompleted from Column D) | Company Record Number and Process Unit (Select from dropdown) | Brief Description of CMS Including Manufacturer and Model Number (§60.7(d)) | Date of Last CMS Certification or Audit (§60.7(d))
RecordId | ProcessUnit_Identification | RecordUnit_Identification | CPMSEqDesc_Identification | CMSCertification_Identification
e.g.: 1 | e.g.: Unit 1 | e.g.: 1 Unit 1 | e.g.: TC1792 PM Filter Bank Inlet Temperature | e.g.: 2/2/2017
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:

## Description_of_Changes
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID | 60.6065(a) and 60.6605(a)
Template Version | Final ICR Draft
Last Updated Date | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert |  | Intentionally Blank
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors |  | Intentionally Blank
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
CMS, Process, or Control Changes
Company Record No. (Select from dropdown) | Description of any changes in CMS, process, or controls. (§60.7(d)) | Intentionally Blank
RecordId | CmsChangesDesc
e.g.: 1

## CMS_Inoperative_Summary
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name |  | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID |  | 60.6065(a) and 60.6605(a)
Template Version |  | Final ICR Draft
Last Updated Date |  | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Autocompleted) | Process Unit (§60.7(d)) (Autocompleted) | Brief Description of CMS (§60.7(d)) (Autocompleted) | Total Operating Time (hours) (§60.7(d)) (Autocompleted) | Total Duration of CMS Downtime (hours, minutes for opacity) (§60.7(d)) | Total Duration of CMS Downtime as a Percent of Total Operating Time (§60.7(d)) | Total Duration of CMS Downtime Due to Monitoring System Malfunctions (hours, minutes for opacity) (§60.7(d)) | Total Duration of CMS Downtime Due to Nonmonitoring Equipment Malfunctions (hours, minutes for opacity) (§60.7(d)) | Total Duration of CMS Downtime Due to Quality Assurance/Quality Control Calibrations (hours, minutes for opacity) (§60.7(d)) | Total Duration of CMS Downtime Due to Other Known Causes (hours, minutes for opacity) (§60.7(d)) | Total Duration of CMS Downtime Due to Unknown Causes (hours, minutes for opacity) (§60.7(d))
RecordId | ProcessUnit_CMSSummary | CPMSEqDesc_CMSSummary | TotalOperatingTime_CMSSummary | CPMSDowntimeDuration_CMSSummary | CPMSDowntimePercent_CMSSummary | MonitEquipmentCausedDeviation_CMSSummary | NonMonitEquipmentCausedDeviation_CMSSummary | QAQCCausedDeviation_CMSSummary | OtherCausedDeviation_CMSSummary | UnknownCausedDeviation_CMSSummary
e.g.: 1 | e.g.: Unit 1 | e.g.: TC1792 PM Filter Bank Inlet Temperature | e.g.: 5421.25 | e.g.: 72.50 | e.g.: 1.34% | e.g.: 36.25 | e.g.: 36.25 | e.g.: 0 | e.g.: 0 | e.g.: 0
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:

## CMS_Inoperative_Detail
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name |  | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID |  | 60.6065(a) and 60.6605(a)
Template Version |  | Final ICR Draft
Last Updated Date |  | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Autocomplete from Column E) | ProcessUnit (§60.7(c), §60.6090(h), and §60.6630(h)) (Autocomplete from Column E) | Brief Description of CMS (§60.7(c), §60.6090(h), and §60.6630(h)) (Autocomplete from Column E) | Company Record Number, Process Unit, and Brief Description of CMS (Select from dropdown) | Starting Date CMS Inoperative or Out of Control (§63.7(c)(3) | Starting Time CMS Inoperative or Out of Control (§63.7(c)(3)) | Ending Date CMS Inoperative or Out of Control (§63.7(c)(3)) | Ending Time CMS Inoperative or Out of Control (§63.7(c)(3)) | Nature of Repair or Adjustment or Description of Corrective Action Taken (§63.7(c)(3))
RecordId | ProcessUnit_CMSDetail | CPMSEqDesc_CMSDetail | RecordUnit_CMSDetail | DeviationStartDate_CMSDetail | DeviationStartTime_CMSDetail | DeviationEndDate_CMSDetail | DeviationEndTime_CMSDetail | Repair_CMSDetail
e.g.: 1 | e.g. Unit 1 | e.g.: TC1792 PM Filter Bank Inlet Temperature | e.g.: 1 Unit 1 TC1792 PM Filter Bank Inlet Temperature | e.g.: 2/12/2020 | e.g.: 13:05 | e.g.: 2/12/2020 | e.g.: 16:15 | e.g.: Replaced thermocouple
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:

## Limit_Deviation_Detail
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name |  |  | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID |  |  | 60.6065(a) and 60.6605(a)
Template Version |  |  | Final ICR Draft
Last Updated Date |  |  | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Autocompleted from Column D) | Process Unit (§60.7(c)(2)) (Autocompleted from Column D) | Company Record Number and Process Unit (Select from dropdown) | Pollutant (§60.7(c)(1), §60.6090(h), §60.6105(a), §60.6630(h), and §60.6645(a)) (Select from Dropdown) | Starting Date of Excess Emissions (§60.7(c)(1), §60.6090(h), §60.6105(a), §60.6630(h), and §60.6645(a)) | Starting Time of Excess Emissions (§60.7(c)(1)) | Ending Date of Excess Emissions (§60.7(c)(1)) | Ending Time of Excess Emissions (§60.7(c)(1)) | Magnitude of Excess Emissions (§60.7(c)(1), §60.6105(a),and §60.6645(a)) | Units of Excess Emissions (§60.7(c)(1), §60.6105(a), and §60.6645(a)) | Were the Excess Emissions During Startup, Shutdown, or Malfunction? (§60.7(c)(1)) (Select from dopdown) | Nature and Cause of (Reasons for) Excess Emissions (§60.7(c)(1), §60.6090(h), §60.6105(a), §60.6630(h),and §60.6645(a)) | Corrective Action Taken or Preventative Measures Taken (§60.7(c)(1), §60.6090(h), §60.6105(a), §60.6630(h),and §60.6645(a))
RecordId | ProcessUnit_LimitDetail | RecordUnit_LimitDetail | Pollutant_LimitDetail | DeviationStartDate_LimitDetail | DeviationStartTime_LimitDetail | DeviationEndDate_LimitDetail | DeviationEndTime_LimitDetail | Magnitude_LimitDetail | Units_LimitDetail | SSM_LimitDetail | DeviationCause_LimitDetail | CorrectiveAction_LimitDetail
e.g.: 1 | e.g.: Unit 1 | e.g.: 1 Unit 1 | e.g.: Particulate Matter | e.g.: 2/12/2020 | e.g.: 13:05 | e.g.: 2/12/2020 | e.g.: 16:15 | e.g.: 12.2 | e.g.: mg/dscm | e.g.: None of These | e.g.: Control Equipment Problems | e.g.: Replaced bags
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:

## Limit_Deviation_Summary
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name |  | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID |  | 60.6065(a) and 60.6605(a)
Template Version |  | Final ICR Draft
Last Updated Date |  | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Autocompleted) | Process Unit (§60.7(d)) (Autocompleted) | Total Operating Time (hours) (§60.7(d)) (Autocompleted) | Company Record Number and Process Unit (Select from dropdown) | Emission Limitation (§60.7(d) and §60.59b(h)(1)) (Select from Dropdown) | Total Duration of Deviations from Emission Limitation or Work Practice (hours, minutes for opacity or visible emissions) (§60.7(d)) | Total Duration of Deviations from Emission Limitation or Work Practice as a percent of Total Operating Time (§60.7(d)) (Autocalculated) | Total Duration of Deviations from Emission Limitation or Work Practice Due to Startup/Shutdown (hours, minutes for opacity or visible emissions) (§60.7(d)) | Total Duration of Deviations from Emission Limitation or Work Practice Due to Control Equipment Problems (hours, minutes for opacity or visible emissions) (§60.7(d)) | Total Duration of Deviations from Emission Limitation or Work Practice Due to Process Problems (hours, minutes for opacity or visible emissions) (§60.7(d)) | Total Duration of Deviations from Emission or Opacity Limits Due to Other Known Causes (hours, minutes for opacity or visible emissions) (§60.7(d)) | Total Duration of Deviations from Emission or Opacity Limits Due to Unknown Causes (hours, minutes for opacity or visible emissions) (§60.7(d))
RecordId | ProcessUnit_LimitSummary | TotalOperatingTime_LimitSummary | RecordUnit_LimitSummary | Pollutant_LimitSummary | TotalDeviationDuration_LimitSummary | TotalDeviationPercent_LimitSummary | StartupCausedDeviation_LimitSummary | EquipmentCausedDeviation_LimitSummary | ProcessCausedDeviation_LimitSummary | OtherCausedDeviation_LimitSummary | UnknownCausedDeviation_LimitSummary
e.g.: 1 | e.g.: Unit 1 | e.g.: 5421.25 | e.g.: 1 Unit 1 | e.g.: Particulate Matter | e.g.: 72.50 | e.g.: 1.34% | e.g.: 36.25 | e.g.: 36.25 | e.g.: 0 | e.g.: 0 | e.g.: 0
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:

## Carbon Injection System
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name |  |  | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID |  |  | 60.6065(a) and 60.6605(a)
Template Version |  |  | Final ICR Draft
Last Updated Date |  |  | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Autocompleted from Column D) | Process Unit (§60.7(c)(2)) (Autocompleted from Column D) | Company Record Number and Process Unit (Select from dropdown) | Carbon Injection System Parameter Below Level Estimated (§60.6100(c) and §60.6645(c)) (Select from Dropdown) | Starting Date (§60.6100(c) and §60.6645(c)) | Ending Date (§60.6100(c) and §60.6645(c)) | Reasons for Paramter Being Below Estimated Level (§60.6100(c) and §60.6645(c)) | Corrective Action Taken or Preventative Measures Taken (§60.6100(c) and §60.6645(c)) | Filename of the Attached File Containing the Hourly Average Carbon Mass Feed Rate and Supporting Caclulations Required by §60.59b(h)(5) (§60.6100(c) and §60.6645(c))
RecordId | ProcessUnit_CIS | RecordUnit_CIS | Parameter_CIS | DeviationStartDate_CIS | DeviationEndDate_CIS | DeviationCause_CIS | CorrectiveAction_CIS | AverageFilename
e.g.: 1 | e.g.: Unit 1 | e.g.: 1 Unit 1 | e.g.: Screw feeder speed | e.g.: 2/12/2020 | e.g.: 2/12/2020 | e.g.: Loss of power to screw feeder | e.g.: Replace shorted circuit | e.g.: Unit 1 Averages.xls
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:

## CEMS_OutofControl
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name |  | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID |  | 60.6065(a) and 60.6605(a)
Template Version |  | Final ICR Draft
Last Updated Date |  | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Autocomplete from Column E) | ProcessUnit (§60.7(c), §60.6090(h), and §60.6630(h)) (Autocomplete from Column E) | Brief Description of CEMS (§60.6090(h), and §60.6630(h)) (Autocomplete from Column E) | Company Record Number, Process Unit, and Brief Description of CEMS (Select from dropdown) | Starting Date CEMS Out of Control (§60.6105(d), and §60.6645(d)) | Starting Time CEMS Out of Control (§60.6105(d), and §60.6645(d)) | Ending Date CEMS Out of Control (§60.6105(d), and §60.6645(d)) | Ending Time CEMS Out of Control (§60.6105(d), and §60.6645(d)) | Nature of Repair or Adjustment or Description of Corrective Action Taken (§60.6105(d), and §60.6645(d))
RecordId | ProcessUnit_CEMOoC | CPMSEqDesc_CEMOoC | RecordUnit_CEMOoC | DeviationStartDate_CEMOoC | DeviationStartTime_CEMOoC | DeviationEndDate_CEMOoC | DeviationEndTime_CEMOoC | Repair_CEMOoC
e.g.: 1 | e.g. Unit 1 | e.g.: SO2 CEM | e.g.: 1 Unit 1 SO2 CEM | e.g.: 2/12/2020 | e.g.: 13:05 | e.g.: 2/12/2020 | e.g.: 16:15 | e.g.: Replaced thermocouple
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:

## Annual_PT_Results_Summary
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID | 60.6065(a) and 60.6605(a)
Template Version | Final ICR Draft
Last Updated Date | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Autocompleted from Column D) | Process Unit (§60.7(d)) (Autocompleted from Column D) | Company Record Number and Process Unit (Select from dropdown) | Performance Test Start Date | Total Dioxin and Furan Average Result (ng/dscm @ 7% O2 or Equivalent) (§60.6090(a)(1) and §60.66630(a)(1)) | Cadmium Average Result (mg/dscm @ 7% O2 or Equivalent) (§60.6090(a)(2) and §60.66630(a)(2)) | Lead Average Result (mg/dscm @ 7% O2 or Equivalent) (§60.6090(a)(3) and §60.66630(a)(3)) | Mercury Average Result (mg/dscm @ 7% O2 or Equivalent) (§60.6090(a)(4) and §60.66630(a)(4)) | Particulate Matter Average Result (mg/dscm @ 7% O2 or Equivalent) (§60.6090(a)(5) and §60.66630(a)(5)) | Opacity Average Result (%) (§60.6090(a)(6) and §60.66630(a)(6)) | Hydrogen Chloride Average Result (ppmv @ 7% O2 or Equivalent) (§60.6090(a)(7) and §60.66630(a)(7)) | Fugitive Ash Average Result (% of Observation Period) (§60.6090(a)(8) and §60.66630(a)(8)) | If the Carbon Dioxide to Oxygen Relationship Was Established as Part of the Performance Test, the Name of the File Containing Documentation (§60.6090(k) and §60.66630(k))
RecordId | ProcessUnit_APTRS | RecordUnit_APTRS | PTStartDate_APTRS | DFAvgResult_APTRS | CdAvgResult_APTRS | PbAvgResult_APTRS | HgAvgResult_APTRS | PMAvgResult_APTRS | OpacityAvgResult_APTRS | HClAvgResult_APTRS | AshAvgResult_APTRS | CO2O2Relationship_APTRS
e.g.: 1 | e.g.: Unit 1 | e.g.: 1 Unit 1 | e.g.: 2/15/2020 | e.g.: 1.25 | e.g.: 0.85 | e.g.: 11.20 | e.g.: 5.52 | e.g.: 3.21 | e.g.: 5.00% | e.g.: 2.23 | e.g.: 2.00% | e.g.: Incin1CO2O2.pdf
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:

## Annual_CEM_Results_Summary
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID | 60.6065(a) and 60.6605(a)
Template Version | Final ICR Draft
Last Updated Date | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Autocompleted from Column D) | Process Unit (§60.7(d)) (Autocompleted from Column D) | Company Record Number and Process Unit (Select from dropdown) | Sulfur Dioxide Highest 24-Hour Average (ppmvd @ 7% O2 or Equivalent) (§60.6090(b)(1) and (c)(1) and §60.6630(b)(1) and (c)(1)) | Sulfur Dioxide Annual Average (ppmvd @ 7% O2 or Equivalent) (§60.6090(c)(1) and §60.6630(c)(1)) | Nitrogen Oxides Highest 30-Day Average (ppmvd @ 7% O2 or Equivalent) (§60.6090(b)(2) and (c)(1) and §60.6630(b)(2) and (c)(1)) | Nitrogen Oxides Annual Average (ppmvd @ 7% O2 or Equivalent) (§60.6090(c)(1) and §60.6630(c)(1)) | Carbon Monoxide Highest 4 or 24-hour Average (as per Applicable Standard) (ppmvd @ 7% O2 or Equivalent) (§60.6090(b)(3) and (c)(1) and §60.6630(b)(3) and (c)(1)) | Carbon Monoxide Annual Average (ppmvd @ 7% O2 or Equivalent) (§60.6090(c)(1) and §60.6630(c)(1)) | Load Level Highest 4-Hour Average (tons/day) (§60.6090(b)(4) and (c)(1) and §60.6630(b)(4) and (c)(1)) | Load Level Highest 4-Hour Average (tons/day) (§60.6090(c)(1) and §60.6630(c)(1)) | Inlet to PM Control Device Temperature Highest 4-Hour Average (§60.6090(b)(5) and (c)(1) and §60.6630(b)(5) and (c)(1)) | Inlet to PM Control Device Temperature Highest 4-Hour Average (tons/day) (§60.6090(c)(1) and §60.6630(c)(1)) | Units for Temperature at Inlet to Control Device (§60.6090(b)(5) and (c)(1) and §60.6630(b)(5) and (c)(1)) (Select from dropdown) | Particulate Matter Highest 30-Day Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(b)(6)(i) and (c)(1) and §60.6630(b)(6)(i) and (c)(1)) | Particulate Matter Annual Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(c)(1) and §60.6630(c)(1)) | Mercury Highest 30-Day Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(b)(6)(iv) and (c)(1) and §60.6630(b)(6)(iv) and (c)(1)) | Mercury Annual Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(c)(1) and §60.6630(c)(1)) | Hydrogen Chloride Highest 30-Day Average (If CEM option used) (ppmv @ 7% O2 or Equivalent) (§60.6090(b)(6)(v) and (c)(1) and §60.6630(b)(6)(v) and (c)(1)) | Hydrogen Chloride Annual Average (If CEM option used) (ppmv @ 7% O2 or Equivalent) (§60.6090(c)(1) and §60.6630(c)(1)) | Cadmium Highest 30-Day Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(b)(6)(ii) and (c)(1) and §60.6630(b)(6)(ii) and (c)(1)) | Cadmium Annual Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(c)(1) and §60.6630(c)(1)) | Lead Highest 30-Day Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(b)(6)(iii) and (c)(1) and §60.6630(b)(6)(iii) and (c)(1)) | Lead Annual Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(c)(1) and §60.6630(c)(1)) | Total Dioxin and Furan Highest 30-Day Average (If CEM option used) (ng/dscm @ 7% O2 or Equivalent) (§60.6090(b)(6)(vi) and (c)(1) and §60.6630(b)(6)(vi) and (c)(1)) | Total Dioxin and Furan Annual Average (If CEM option used) (ng/dscm @ 7% O2 or Equivalent) (§60.6090(c)(1) and §60.6090(c)(1)) | Highest Opacity Measured (%) (§60.6090(d) and §60.6630(d))
RecordId | ProcessUnit_ACEMRS | RecordUnit_ACEMRS | SO2HighAvg_ACEMRS | SO2AnnualAvg_ACEMRS | NOxHighAvg_ACEMRS | NOxAnnualAvg_ACEMRS | COHighAvg_ACEMRS | COAnnualAvg_ACEMRS | LoadHighAvg_ACEMRS | LoadAnnualAvg_ACEMRS | TempHighAvg_ACEMRS | TempAnnualAvg_ACEMRS | TempUnits_ACEMRS | PMHighAvg_ACEMRS | PMAnnualAvg_ACEMRS | HgHighAvg_ACEMRS | HgAnnualAvg_ACEMRS | HClHighAvg_ACEMRS | HClAnnualAvg_ACEMRS | CdHighAvg_ACEMRS | CdAnnualAvg_ACEMRS | PbHighAvg_ACEMRS | PbAnnualAvg_ACEMRS | DFHighAvg_ACEMRS | DFAnnualAvg_ACEMRS | OpacityHighest_ACEMRS
e.g.: 1 | e.g.: Unit 1 | e.g.: 1 Unit 1 | e.g.: 12.25 | e.g.: 1.25 | e.g.: 21.25 | e.g.: 18.65 | e.g.: 85.25 | e.g.: 76.25 | e.g.: 12.25 | e.g.: 1.25 | e.g.: 400 | e.g.: 380 | e.g.: ° C | e.g.: 3.75 | e.g.: 1.76 | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: 2.00%
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:

## Annual_Current_Valid_Data
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID | 60.6065(a) and 60.6605(a)
Template Version | Final ICR Draft
Last Updated Date | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Autocompleted from Column D) | Process Unit (§60.7(d)) (Autocompleted from Column D) | Company Record Number and Process Unit (Select from dropdown) | Parameter (Select from dropdown) | Total Number of Hours Valid Data Was Not Obtained (or Not Sampling for Hg or Dioxin/Furan Sampling System) During First Quarter (§60.6090(e) and §60.6630(e)) | Total Number of Hours Valid Data Was Not Obtained (or Not Sampling for Hg or Dioxin/Furan Sampling System) During Second Quarter (§60.6090(e) and §60.6630(e)) | Total Number of Hours Valid Data Was Not Obtained (or Not Sampling for Hg or Dioxin/Furan Sampling System) During Third Quarter (§60.6090(e) and §60.6630(e)) | Total Number of Hours Valid Data Was Not Obtained (or Not Sampling for Hg or Dioxin/Furan Sampling System) During Fourth Quarter (§60.6090(e) and §60.6630(e)) | Total Number of Hours Valid Data Was Not Obtained (or Not Sampling for Hg or Dioxin/Furan Sampling System) During Calendar Year (§60.6090(e) and §60.6630(e)) (Autocalculated) | Total Number of Hours Valid Data During First Quarter as a Percent of Total Hours Combusting Waste (%) (§60.6090(e) and §60.6630(e)) | Total Number of Hours Valid Data During Second Quarter as a Percent of Total Hours Combusting Waste (%) (§60.6090(e) and §60.6630(e)) | Total Number of Hours Valid Data During Third Quarter as a Percent of Total Hours Combusting Waste (%) (§60.6090(e) and §60.6630(e)) | Total Number of Hours Valid Data During Fourth Quarter as a Percent of Total Hours Combusting Waste (%) (§60.6090(e) and §60.6630(e)) | Total Number of Hours Valid Data During Calendar Year as a Percent of Total Hours Combusting Waste (%) (§60.6090(e) and §60.6630(e)) | Total Number of Hours Data Excluded from Calcualtion of Average Levels (§60.6090(f) and §60.6630(f))
RecordId | ProcessUnit_ACVD | RecordUnit_ACVD | PTStartDate_ACVD | HoursNoValidDataQ1_ACVD | HoursNoValidDataQ2_ACVD | HoursNoValidDataQ3_ACVD | HoursNoValidDataQ4_ACVD | HoursNoValidDataYear_ACVD | HoursValidDataPcntQ1_ACVD | HoursValidDataPcntQ2_ACVD | HoursValidDataPcntQ3_ACVD | HoursValidDataPcntQ4_ACVD | HoursValidDataPcntYear_ACVD | HoursDataExcluded_ACVD
e.g.: 1 | e.g.: Unit 1 | e.g.: 1 Unit 1 | e.g.: Particulate Matter CEM | e.g.: 25.25 | e.g.: 20.00 | e.g.: 18.75 | e.g.: 14.50 | e.g.: 78.50 | e.g.: 93.2% | e.g.: 95.1% | e.g.: 98.5% | e.g.: 99.0% | e.g.: 97.6% | e.g.: 14.50
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
5%

## Previous_Yr_PT_Results_Summary
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID | 60.6065(a) and 60.6605(a)
Template Version | Final ICR Draft
Last Updated Date | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Autocompleted from Column D) | Process Unit (§60.7(d)) (Autocompleted from Column D) | Company Record Number and Process Unit (Select from dropdown) | Previous Year Performance Test Start Date (§60.6090(g) and §60.66630(g)) | Total Dioxin and Furan Average Result (Previous Year) (ng/dscm @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Cadmium Average Result (Previous Year) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Lead Average Result (Previous Year) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Mercury Average Result (Previous Year) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Particulate Matter Average Result (Previous Year) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Opacity Average Result (Previous Year) (%) (§60.6090(g) and §60.66630(g)) | Hydrogen Chloride Average Result (Previous Year) (ppmv @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Fugitive Ash Average Result (Previous Year) (% of Observation Period) (§60.6090(g) and §60.66630(g))
RecordId | ProcessUnit_PYPTRS | RecordUnit_PYPTRS | PTStartDate_PYPTRS | DFAvgResult_PYPTRS | CdAvgResult_PYPTRS | PbAvgResult_PYPTRS | HgAvgResult_PYPTRS | PMAvgResult_PYPTRS | OpacityAvgResult_PYPTRS | HClAvgResult_PYPTRS | AshAvgResult_PYPTRS
e.g.: 1 | e.g.: Unit 1 | e.g.: 1 Unit 1 | e.g.: 2/20/2019 | e.g.: 1.25 | e.g.: 0.85 | e.g.: 11.20 | e.g.: 5.52 | e.g.: 3.21 | e.g.: 5.00% | e.g.: 2.23 | e.g.: 2.00%
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:

## Previous_Yr_CEM_Results_Summary
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID | 60.6065(a) and 60.6605(a)
Template Version | Final ICR Draft
Last Updated Date | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Autocompleted from Column D) | Process Unit (§60.7(d)) (Autocompleted from Column D) | Company Record Number and Process Unit (Select from dropdown) | Sulfur Dioxide Highest 24-Hour Average (ppmvd @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Sulfur Dioxide Annual Average (ppmvd @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Nitrogen Oxides Highest 30-Day Average (ppmvd @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Nitrogen Oxides Annual Average (ppmvd @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Carbon Monoxide Highest 4 or 24-hour Average (as per Applicable Standard) (ppmvd @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Carbon Monoxide Annual Average (ppmvd @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Load Level Highest 4-Hour Average (tons/day) (§60.6090(g) and §60.66630(g)) | Load Level Highest 4-Hour Average (tons/day) (§60.6090(g) and §60.66630(g))2 | Inlet to PM Control Device Temperature Highest 4-Hour Average (§60.6090(g) and §60.66630(g)) | Inlet to PM Control Device Temperature Highest 4-Hour Average (tons/day) (§60.6090(g) and §60.66630(g)) | Units for Temperature at Inlet to Control Device (§60.6090(g) and §60.66630(g)) (Select from dropdown) | Particulate Matter Highest 30-Day Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Particulate Matter Annual Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Mercury Highest 30-Day Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Mercury Annual Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Hydrogen Chloride Highest 30-Day Average (If CEM option used) (ppmv @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Hydrogen Chloride Annual Average (If CEM option used) (ppmv @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Cadmium Highest 30-Day Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Cadmium Annual Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Lead Highest 30-Day Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Lead Annual Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Total Dioxin and Furan Highest 30-Day Average (If CEM option used) (ng/dscm @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Total Dioxin and Furan Annual Average (If CEM option used) (ng/dscm @ 7% O2 or Equivalent) (§60.6090(g) and §60.66630(g)) | Highest Opacity Measured (%) (§60.6090(g) and §60.66630(g))
RecordId | ProcessUnit_PYrCEMRS | RecordUnit_PYrCEMRS | SO2HighAvg_PYrCEMRS | SO2AnnualAvg_PYrCEMRS | NOxHighAvg_PYrCEMRS | NOxAnnualAvg_PYrCEMRS | COHighAvg_PYrCEMRS | COAnnualAvg_PYrCEMRS | LoadHighAvg_PYrCEMRS | LoadAnnualAvg_PYrCEMRS | TempHighAvg_PYrCEMRS | TempAnnualAvg_PYrCEMRS | TempUnits | PMHighAvg_PYrCEMRS | PMAnnualAvg_PYrCEMRS | HgHighAvg_PYrCEMRS | HgAnnualAvg_PYrCEMRS | HClHighAvg_PYrCEMRS | HClAnnualAvg_PYrCEMRS | CdHighAvg_PYrCEMRS | CdAnnualAvg_PYrCEMRS | PbHighAvg_PYrCEMRS | PbAnnualAvg_PYrCEMRS | DFHighAvg_PYrCEMRS | DFAnnualAvg_PYrCEMRS | OpacityHighest_PYrCEMRS
e.g.: 1 | e.g.: Unit 1 | e.g.: 1 Unit 1 | e.g.: 12.25 | e.g.: 1.25 | e.g.: 21.25 | e.g.: 18.65 | e.g.: 85.25 | e.g.: 76.25 | e.g.: 12.25 | e.g.: 1.25 | e.g.: 400 | e.g.: 380 | e.g.: ° C | e.g.: 3.75 | e.g.: 1.76 | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: 2.00%
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:

## Previous_Yr_Valid_Data
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID | 60.6065(a) and 60.6605(a)
Template Version | Final ICR Draft
Last Updated Date | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Autocompleted from Column D) | Process Unit (§60.7(d)) (Autocompleted from Column D) | Company Record Number and Process Unit (Select from dropdown) | Parameter (Select from dropdown) | Total Number of Hours Valid Data Was Not Obtained (or Not Sampling for Hg or Dioxin/Furan Sampling System) During First Quarter (§60.6090(g) and §60.66630(g)) | Total Number of Hours Valid Data Was Not Obtained (or Not Sampling for Hg or Dioxin/Furan Sampling System) During Second Quarter (§60.6090(g) and §60.66630(g)) | Total Number of Hours Valid Data Was Not Obtained (or Not Sampling for Hg or Dioxin/Furan Sampling System) During Third Quarter (§60.6090(g) and §60.66630(g)) | Total Number of Hours Valid Data Was Not Obtained (or Not Sampling for Hg or Dioxin/Furan Sampling System) During Fourth Quarter (§60.6090(g) and §60.66630(g)) | Total Number of Hours Valid Data Was Not Obtained (or Not Sampling for Hg or Dioxin/Furan Sampling System) During Calendar Year (§60.6090(g) and §60.66630(g)) (Autocalculated) | Total Number of Hours Valid Data During First Quarter as a Percent of Total Hours Combusting Waste (%) (§60.6090(g) and §60.66630(g)) | Total Number of Hours Valid Data During Second Quarter as a Percent of Total Hours Combusting Waste (%) (§60.6090(g) and §60.66630(g)) | Total Number of Hours Valid Data During Third Quarter as a Percent of Total Hours Combusting Waste (%) (§60.6090(g) and §60.66630(g)) | Total Number of Hours Valid Data During Fourth Quarter as a Percent of Total Hours Combusting Waste (%) (§60.6090(g) and §60.66630(g)) | Total Number of Hours Valid Data During Calendar Year as a Percent of Total Hours Combusting Waste (%) (§60.6090(g) and §60.66630(g)) | Total Number of Hours Data Excluded from Calcualtion of Average Levels (§60.6090(g) and §60.66630(g))
RecordId | ProcessUnit_PYrVD | RecordUnit_PYrVD | PTStartDate_PYrVD | HoursNoValidDataQ1_PYrVD | HoursNoValidDataQ2_PYrVD | HoursNoValidDataQ3_PYrVD | HoursNoValidDataQ4_PYrVD | HoursNoValidDataYear_PYrVD | HoursValidDataPcntQ1_PYrVD | HoursValidDataPcntQ2_PYrVD | HoursValidDataPcntQ3_PYrVD | HoursValidDataPcntQ4_PYrVD | HoursValidDataPcntYear_PYrVD | HoursDataExcluded_PYrVD
e.g.: 1 | e.g.: Unit 1 | e.g.: 1 Unit 1 | e.g.: Particulate Matter CEM | e.g.: 25.25 | e.g.: 20.00 | e.g.: 18.75 | e.g.: 14.50 | e.g.: 78.50 | e.g.: 93.2% | e.g.: 95.1% | e.g.: 98.5% | e.g.: 99.0% | e.g.: 97.6% | e.g.: 14.50
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:

## Annual_Certified_Operators
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID | 60.6065(a) and 60.6605(a)
Template Version | Final ICR Draft
Last Updated Date | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Autocompleted from Column D) | Process Unit (§60.7(d)) (Autocompleted from Column D) | Company Record Number and Process Unit (Select from dropdown) | Start Date When All Certified Chief Facility Operators and Certified Shift Supervisors are Off-Site for More Than 12 Hours (§60.6090(l) and §60.6630(l)) | Duration of Time All Certified Chief Facility Operators and Certified Shift Supervisors are Off-Site for More Than 12 Hours (Hours) (§60.6090(l) and §60.6630(l))
RecordId | ProcessUnit_ACO | RecordUnit_ACO | Start Date_ACO | Duration_ACO
e.g.: 1 | e.g.: Unit 1 | e.g.: 1 Unit 1 | e.g.: 12/25/2023 | e.g.: 25.25
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.:

## CEM_BlockAvg_24hr
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID | 60.6065(a) and 60.6605(a)
Template Version | Final ICR Draft
Last Updated Date | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Autocompleted from Column D) | Process Unit (§60.7(d)) (Autocompleted from Column D) | Company Record Number and Process Unit (Select from dropdown) | Date (§60.6090(c)(2) and §60.6630(c)(2)) | Identification if During Warmup, Startup or Shutdown (§60.6090(c)(2) and §60.6630(c)(2)) (Select from dropdown) | Sulfur Dioxide 24-Hour Geometric Average (ppmvd @ 7% O2 or Equivalent) (§60.6090(c)(2) and §60.6630(c)(2)) | Nitrogen Oxides 24-Hour Arithmetic Average (ppmvd @ 7% O2 or Equivalent) (§60.6090(c)(2) and §60.6630(c)(2)) | Carbon Monoxide 24-Hour Arithmetic Average (ppmvd @ 7% O2 or Equivalent) (§60.6090(c)(2) and §60.6630(c)(2)) | Particulate Matter 24-Hour Arithmetic Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(c)(2) and §60.6630(c)(2)) | Mercury 24-Hour Arithmetic Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(c)(2) and §60.6630(c)(2)) | Hydrogen Chloride 24-Hour Arithmetic Average (If CEM option used) (ppmv @ 7% O2 or Equivalent) (§60.6090(c)(2) and §60.6630(c)(2)) | Cadmium 24-Hour Arithmetic Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(c)(2) and §60.6630(c)(2)) | Lead 24-Hour Arithmetic Average (If CEM option used) (mg/dscm @ 7% O2 or Equivalent) (§60.6090(c)(2) and §60.6630(c)(2))
RecordId | ProcessUnit_CB24 | RecordUnit_CB24 | Date_CB24 | WSSIdentification_CB24 | SO224HrAvg_CB24 | NOx24HrAvg_CB24 | CO24HrAvg_CB24 | PM24HrAvg_CB24 | Hg24HrAvg_CB24 | HCl24HrAvg_CB24 | Cd24HrAvg_CB24 | Pb24HrAvg_CB24
e.g.: 1 | e.g.: Unit 1 | e.g.: 1 Unit 1 | e.g.: 01/01/2024 | e.g.: Startup | e.g.: 1.25 | e.g.: 18.65 | e.g.: 76.25 | e.g.: 1.76 | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:

## CEM_BlockAvg_4hr
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID | 60.6065(a) and 60.6605(a)
Template Version | Final ICR Draft
Last Updated Date | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Autocompleted from Column D) | Process Unit (§60.7(d)) (Autocompleted from Column D) | Company Record Number and Process Unit (Select from dropdown) | Date (§60.6090(c)(2) and §60.6630(c)(2)) | Start Time (§60.6090(c)(2) and §60.6630(c)(2)) | Identification if During Warmup, Startup or Shutdown (§60.6090(c)(2) and §60.6630(c)(2)) (Select from dropdown) | Carbon Monoxide 4-Hour Arithmetic Average (ppmvd @ 7% O2 or Equivalent) (§60.6090(c)(2) and §60.6630(c)(2))
RecordId | ProcessUnit_CB4 | RecordUnit_CB4 | Date_CB4 | StartTime_CB4 | WSSIdentification_CB24 | CO24HrAvg_CB4
e.g.: 1 | e.g.: Unit 1 | e.g.: 1 Unit 1 | e.g.: 01/01/2024 | e.g.: 20:00 | e.g.: Startup | e.g.: 76.25
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:

## CEM_BlockAvg_2Week
DO NOT REMOVE OR EDIT INFORMATION IN ROWS 1 THROUGH 5 FOR INTERNAL USE ONLY
Template Name | 60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report (Spreadsheet Template)
CitationID | 60.6065(a) and 60.6605(a)
Template Version | Final ICR Draft
Last Updated Date | 4555400%
OMB No.: 2060-0210 and 2060-0390 Form 5900-645 For further Paperwork Reduction Act information see: https://www.epa.gov/electronic-reporting-air-emissions/paperwork-reduction-act-pra-cedri-and-ert
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Company Record No. (Autocompleted from Column D) | Process Unit (§60.7(d)) (Autocompleted from Column D) | Company Record Number and Process Unit (Select from dropdown) | Start Date (§60.6090(c)(2) and §60.6630(c)(2)) | Identification if During Warmup, Startup or Shutdown (§60.6090(c)(2) and §60.6630(c)(2)) (Select from dropdown) | Total Dioxin and Furan 2-Week Average (If CEM option used) (ng/dscm @ 7% O2 or Equivalent) (§60.6090(c)(2) and §60.6090(c)(2))
RecordId | ProcessUnit_CB2W | RecordUnit_CB2W | Date_CB2W | WSSIdentification_CB24 | DF24HrAvg_CB2W
e.g.: 1 | e.g.: Unit 1 | e.g.: 1 Unit 1 | e.g.: 01/01/2024 | e.g.: Startup | e.g.: 1.21
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:
e.g.: | e.g.: | e.g.: | e.g.: | e.g.: | e.g.:

## Lists (hidden)
Rank | Name | Unitlist | Column1 | Column2 | Column1 | Companylist | Column3 | Rank | Cem | CEMName | Column1 | CMSCauseList | Column5 | Facility | Source | Limit | Unique | Column4 | Column42 | Column43 | Column432 | Column1 | Column2 | states | Column5 | Facility | Source | operating hours | Unique | Column4 | Column43 | Column42 | 43 | Column432 | Column5 | Facility | Source | operating hours | Unique | Column4 | Column43 | Column42 | 43 | Column432 | Column433 | Annual Report Parameters
1 | Complete the Process_Unit tab | Complete the Process_Unit tab | Complete the Process_Unit tab | 1 | Complete the Company_Information tab | Complete the Company_Information tab | Complete the Company_Information tab |  |  |  |  | Monitoring System Malfunctions | [11 empty] | AK | [6 empty] | Complete the Process_Unit tab | [9 empty] | Complete the CMS_Identification tab |  |  |  |  | Sulfur Dioxide CEM
[12 empty] | Nonmonitoring Equipment Malfunctions | [11 empty] | AL | [21 empty] | Nitrogen Oxides CEM
[12 empty] | Quality Assurance/Quality Control Calibrations | [11 empty] | AR | [21 empty] | Carbon Monoxide CEM
[12 empty] | Other Known Causes | [11 empty] | AS | [21 empty] | Municipal Waste Combustor Load
[12 empty] | Unknown Causes | [11 empty] | AZ | [21 empty] | Particulate Matter Control Device Temperature
[24 empty] | CA | [21 empty] | Particulate Matter CEM
[24 empty] | CO | [21 empty] | Cadmium CEM
[24 empty] | CT | [21 empty] | Lead CEM
[24 empty] | DC | [21 empty] | Mercury CEM
[24 empty] | DE | [21 empty] | Hydrogen Chloride CEM
[12 empty] | Malfunction | [11 empty] | FL | [21 empty] | Dioxin/Furan Automated Sampling System
[12 empty] | Other Period | [11 empty] | GA | [21 empty] | Mercury Automated Sampling System
GU
[12 empty] | Deviation Causes | [11 empty] | HI | [21 empty] | Semiannual Report Parameters
[12 empty] | Startup/Shutdown | [11 empty] | IA | [21 empty] | Sulfur Dioxide
[12 empty] | Control Equipment Problems | [11 empty] | ID | [21 empty] | Nitrogen Oxides
[12 empty] | Process Problems | [11 empty] | IL | [21 empty] | Carbon Monoxide
[12 empty] | Other Known Causes | [11 empty] | IN | [21 empty] | Particulate Matter (If continuosly monitored)
[12 empty] | Unknown Causes | [11 empty] | KS | [21 empty] | Cadmium (If continuosly monitored)
[24 empty] | KY | [21 empty] | Lead (If continuosly monitored)
[12 empty] | Engineering Calculation | [11 empty] | LA | [21 empty] | Mercury (If continuosly monitored)
[12 empty] | Process Knowledge | [11 empty] | MA | [21 empty] | Hydrogen Chloride (If continuosly monitored)
[12 empty] | Emission Factor (AP-42 or similar) | [11 empty] | MD | [21 empty] | Dioxin/Furan (If continuously monitored)
[12 empty] | Combination of Engineering Calculation, Process Knowledge, and/or Emission Factor | [11 empty] | ME | [21 empty] | Municipal Waste Combustor Load Level
[12 empty] | Other (Specify by typing here in formula bar above) | [11 empty] | MI | [21 empty] | Particulate Matter Control Device Inlet Temperature
[24 empty] | MN | [21 empty] | Opacity
[12 empty] | ° C | [11 empty] | MO
[12 empty] | ° F | [11 empty] | MP
MS
MT
NC
ND
NE
NH
NJ
NM
NV
NY
OH
OK
OR
PA
PR
RI
SC
SD
TN
TX
UT
VA
VI
VT
WA
WI
WV
WY

## Revisions
40 CFR Part 60, Subpart VVVV and WWWW, Standards of Performance and Emissions Guidelines for Large Municipal Waste Combustors
§§60.6065(a) and 60.6605(a) Annual and Semiannual Compliance Report Spreadsheet Template
Revision Number | Date | Revisions
DRAFT | 4512400% | Initial Draft Version
Final ICR Draft | 4555400% | Update regulatory citations to reflect transition to subparts VVVV and WWWW throughout; Added CEMS_OutofControl Previous_Yr_CEM_Results_Summary, Previous_Yr_PT_Results_Summary, CEM_BlockAvg_24hr, CEM_BlockAvg_4hr, CEM_BlockAvg_2Week to address final rule requirements, Renamed Annual_Previous_Yr_Valid_Data to Previous_Yr_Valid_Data and CMS_Deviation_Detail and CMS_Deviation_Summary to CMS_Inoperative_Detail and CMS_Inoperative_Summary; Updated XML tags; Welcome: updated to reflect added sheets; Limit_Deviation_Detail: Remove filename column; Certifications: Update language in header for column E; Annual _PT_Results_Summary: Reorder columns to be consistent with order in regulation, Add column for name of file containing O2/CO2 relationship; Annual_CEM_Results_Summary: Correct SO2 averging period to 24-hour, add columns for load level and flue gas inlet temperature; Annual_Current_Valid_Data: updated headers reflect applicabliity to all parameters, removed duplicative columns, removed calculation from column T and unprotected, added data exclusion column; Previous_Yr_Valid_Data: updated to match Annual_Current_Valid_Data;

## Worksheet Map (hidden)
Worksheet Name | Parent | JSON Key | Parent Primary Key | Child Foreign Key
Company_Information |  | records
Certification | records | Certification | RecordId | RecordId
Process_Unit | records | ProcessUnit | RecordId | RecordId
CMS_Identification | records | CMSIdentification | RecordId | RecordId
Description_of_Changes | records | DescriptionofChanges | RecordId | RecordId
CMS_Inoperative_Summary | records | CMSInoperativeSummary | RecordId | RecordId
CMS_Inoperative_Detail | records | CMSInoperativeDetail | RecordId | RecordId
Limit_Deviation_Detail | records | LimitDeviationDetail | RecordId | RecordId
Limit_Deviation_Summary | records | LimitDeviationSummary | RecordId | RecordId
Carbon Injection System | records | Carbon Injection System | RecordId | RecordId
CEMS_OutofControl | records | CEMSOutofControl | RecordId | RecordId
Annual_PT_Results_Summary | records | AnnualPTResultsSummary | RecordId | RecordId
Annual_CEM_Results_Summary | records | AnnualCEMResultsSummary | RecordId | RecordId
Annual_Current_Valid_Data | records | AnnualCurrentValidData | RecordId | RecordId
Previous_Yr_PT_Results_Summary | records | PreviousYrPTResultsSummary | RecordId | RecordId
Previous_Yr_CEM_Results_Summary | records | PreviousYrCEMResultsSummary | RecordId | RecordId
Previous_Yr_Valid_Data | records | PreviousYrValidData | RecordId | RecordId
Annual_Certified_Operators | records | AnnualCertifiedOperators | RecordId | RecordId
CEM_BlockAvg_24hr | records | CEMBlockAvg24hr | RecordId | RecordId
CEM_BlockAvg_4hr | records | CEMBlockAvg4hr | RecordId | RecordId
CEM_BlockAvg_2Week | records | CEMBlockAvg2Week | RecordId | RecordId